400/220 kV Sohawal Substation

POWER GRID CORPORATION OF INDIA LIMITED

SCOPE OF WORK

Technical specification of providing Temporary Highly Skilled manpower for HV Transmission line under Sohawal TLM

Scope of work: The scope of work under the subject contract broadly covers providing service for attending Shutdown Nature of defects of Transmission Lines through highly skilled fitters under Sohawal TLM.

The Work shall include: Fixing tightening of loose/dislocated conductor VD, tightening of jumper, Re-fixing of broken spacer, replacement of disc insulators with polymer and attend all types of emergency break down as De- capping, conductor snapping etc. of 220KV 400KV, 500KV HVDC lines, 765 KV & 800KV HVDC transmission lines.

The work is to be carried out as per terms and condition of BOQ.

- In case of double circuit towers, the work shall be carried out on one circuit keeping the second circuit in charge condition. The contractor shall deploy the trained manpower.

- POWER GRID shall provide all tools & plants and personal protective 
equipment as per requirement of site.

- The contractor shall also be responsible for safety of all workman employed by 
him and he shall be responsible for payment of compensation that may rise out 
of any accident, injury or death of workers during the execution of contract.

- The contractor shall make his own arrangement for providing all facilities like 
lodging, boarding at the mentioned site and other sites as and when required for 
attending line maintenance works.

- These fitters will generally have their headquarters at respective stations. 
However, they can be shifted to any other place depending upon 
requirement as per the direction of Engineer-in-charge.  Arrangement for Shifting of manpower shall be done by POWERGRID.

- For outstation assignments, house/tent will be arranged by POWERGRID for 
lodging of fitters near workplace and an amount of Rs 150/- per man day will 
be paid towards food expenses. In case of lodging arrangement is not provided 
by POWERGRID, then an additional amount of Rs 500/- per man day will be 
paid towards lodging charges.

- If any litigation/dispute arises in a court in relation to manpower employed by 
the contractor, the same shall be settled or defended by the contractor without 
involving POWERGRID.

- The contractor shall provide accidental insurance cover for the engaged fitters, as per workman compensation act, suitable for working at heights to meet any 
exigency arising out of accident to these personnel while discharge of their 
responsibilities under the scope of this contract. POWERGRID in no case shall 
be liable for any failure in this part. The cost of insurance premium for policy 
of accident cover of fitters as per workmen compensation act will be 
reimbursed extra by POWERGRID on production of documentary evidence. 
Party shall take insurance before deployment of fitters at site.

- Eligibility Criteria: The man power that will be deployed by the agency must 
meet the following minimum requirement:

- Age: Above 18 years and not more than 45 years. Health: Should have good physique.

- Education: He should be able to report/ communicate the defects / reports 
over telephone / in writing.

- Experience: He should have experience to work at heights in transmission lines (up to 765KV D/C and +/- 800KV HVDC) and line construction especially in the work of erection and stringing and he must be capable of doing all the works mentioned in the scope of work.

- Language: He must have knowledge of Hindi