## Summary (hidden)
SUMMARY
PART | PARTICULARS | AMOUNT (EXCL GST) | AMOUNT (EXCL GST)
PART-1 | CONNECTING DRAIN (20M) | 4865193.9806 | 5740928.8971
PART-2 | RCC TANK (20X30M) WITH RAILING | #REF! | #REF!
PART-3 | DISMANTLING & DEMOLISHING WORK | #REF! | #REF!
| TOTAL= | #REF! | #REF!

## BOQ
BOQ FOR Repair and Height Increase of South Side Boundary Wall at 220 kV Dalkhola Substation
SL. NO. | DSR 23Ref | DESCRIPTION OF WORK | Unit | Qty | DSR 23 Rate (A) | Rate Excl. GST B =0.8475 x A | Rate Incl. GST C=B*1.18 | Amount excl GST (Rs.) | Amount Incl GST (Rs.) | Remarks | Remarks
1 | PART-1 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | sqm | 616.5 | [6 empty] | All Price to be quoted in SRM Portal
2 | 2.6.1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | cum | 22.34 | 177.5 | 150.4313 | 177.5089 | 3360.6341 | 3965.5483
3 | 2.25 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | cum | 2.34 | 196 | 166.11 | 196.0098 | 388.6974 | 458.6629
4 | 4.1.8 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Cum | 1.09 | 6812 | 5773.17 | 6812.3406 | 6292.7553 | 7425.4513
5 | 4.1.3 | Dismantling barbed wire, flexible wire rope, concertina coil in fencing including making rolls and stacking within 50 metres lead. | kg | 583.62 | 7878.5 | 6677.0288 | 7878.8939 | 3896847.5191 | 4598280.0725
6 |  | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in:Channels, angles, tees and flats | kg | 749.16
7 | 5.9.1 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | kg | 91.83 | 392.15 | 332.3471 | 392.1696 | 30519.4365 | 36012.9351
8 | 5.22.6 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 2.26 | 107.85 | 91.4029 | 107.8554 | 206.5705 | 243.7532
9 |  | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | sqm | 22.55
10 | 19.6.4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:4 (1 cement : 4 coarse sand) | cum | 155.14 | 994.3 | 842.6693 | 994.3497 | 130731.7074 | 154263.4148
11 | 19.6.5 | 12 mm cement plaster of mix :1:4 (1 cement: 4 fine sand) | sqm | 580.05 | 1620.95 | 1373.7551 | 1621.031 | 796846.6603 | 940279.0591
12 |  | 15 mm cement plaster on rough side of single or half brick wall of mix:1:4 (1 cement: 4 fine sand) | sqm | 744.45 |  |  | TOTAL= | 4865193.9806 | 5740928.8971
13 | PART-2A | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the wall complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-ChargeWith cement mortar 1:4 (1cement: 4 coarse sand) | sqm | 391.192
14 | 2.6.1 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | sqm | 1283.21 | 177.5 | 150.4313 | 177.5089 | 193034.8843 | 227781.1635
15 | 2.26.1 | Finishing walls withAcrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | sqm | 2843.3 | 126.8 | 107.463 | 126.8063 | 305549.5479 | 360548.4665
16 | 2.25 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :One or more coats on old work | sqm | 28.56 | 196 | 166.11 | 196.0098 | 4744.1016 | 5598.0399
17 | 4.1.8 | Structural steel work excluding supply in single section, fixed with or without connectingplate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. Available Y angle to be used | kg | 749.16 | 6812 | 5773.17 | 6812.3406 | 4325028.0372 | 5103533.0839
17A | 5.1.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | kg | 100 | 9045.75 | 7666.2731 | 9046.2023 | 766627.3125 | 904620.2288
18 | 13.18 | Providing and laying in position specified grade of cement concrete, excluding the cost of centering, shuttering1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 1.5 | 79.95 | 67.7576 | 79.954 | 101.6364 | 119.931
19 | 4.1.3 | Reinstallation of concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) (Dismantled materials in good condition to be reused) | metre | 287.7 | 7878.5 | 6677.0288 | 7878.8939 | 1920981.1714 | 2266757.7822
20 | 5.22.6 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | metre | 123.3 | 107.85 | 91.4029 | 107.8554 | 11269.9745 | 13298.5699

## MS Sheet (hidden)
RAIN WATER HARVESTING CALCULATION SHEET
Sl No | DSR 23 Ref | ACTIVITY NO. | DESCRIPTION OF WORK | Unit | Nos of structure | No. | L | B | H | QTY | Remarks
PART-1 |  |  | DRAIN (AS PER SITE REQUIREMENT)
1 | 2.6.1 | 120000345 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | CUM
I. |  |  | All kinds of soil
|  |  | DRAIN SEC C-C |  |  | 1 | 5 | 1.65 | 1.075 | 8.8688
|  |  | RCC CHAMBER 1000X1000X1000 |  |  | 1 | 2.05 | 2.05 | 1.075 | 4.5177
[9 empty] | TOTAL= | 13.3864
2 | 2.25 | 170000817 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | CUM
|  |  | TOTAL EXCAVATION = | [6 empty] | 13.3864
|  |  | DRAIN SEC C-C |  |  | -1 | 5 | 0.9 | 1.075 | -4.8375
|  |  | RCC CHAMBER 1000X1000X1000 |  |  | -1 | 1.3 | 1.3 | 1.075 | -1.8167
[9 empty] | TOTAL= | 6.7322
3 | 4.1.8 | 120000442 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | CUM
|  |  | DRAIN SEC C-C |  |  | 1 | 5 | 1.05 | 0.075 | 0.39375
|  |  | RCC CHAMBER 1000X1000X1000 |  |  | 1 | 1.45 | 1.45 | 0.075 | 0.15769
[9 empty] | TOTAL= | 0.55144
4 | 4.1.3 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 10 mm nominal size derived from natural sources) | CUM
|  |  | encasing 300 dia hume pipe |  |  | 1 | 5 | 0.7 | 0.7 | 2.45
|  |  | deduction pipe dia |  |  | -1 | 5 | 0.096162 |  | -0.48081
|  |  | encasing 450 dia hume pipe |  |  | 1 | 5 | 0.9 | 0.9 | 4.05
|  |  | deduction pipe dia |  |  | -1 | 5 | 0.21637 |  | -1.0818
[9 empty] | TOTAL= | 4.9374
5 |  |  | Centering and shuttering including strutting, propping etc. and removal of form for : | SQM
| 5.9.1 | 120000499 | Foundations, footings, bases of columns, etc.
|  |  | DRAIN SEC C-C PCC+RAFT |  |  | 1 | 5 | - | 0.2 | 1
|  |  | WALL |  |  | 2 | 5 | - | 1 | 10
|  |  | BRICK CHAMBER 1000X1000X1000 PCC+RAFT |  |  | 1 | 5.2 | - | 0.2 | 1.04
|  |  | encasing 450+300 dia hume pipe |  |  | 2 | 20 | - | 0.8 | 32
[9 empty] | TOTAL= | 44.04
6 |  |  | RF STEEL
DRAIN
|  |  | RAFT 8D 250C/C MAIN |  |  | 20 | 2.75 | - | 0.395 | 21.725
[6 empty] | 20 | 1 | - | 0.395 | 7.9
|  |  | DIST |  |  | 12 | 5 | - | 0.395 | 23.7
CHAMBER 1000X1000X1000
|  |  | raft+wall |  | 1 | 5 | 3 | - | 0.395 | 5.925
[5 empty] | 1 | 5 | 3 | - | 0.395 | 5.925
|  |  | raft extra top |  | 1 | 5 | 1.3 | - | 0.395 | 2.5675
[5 empty] | 1 | 5 | 1.3 | - | 0.395 | 2.5675
|  |  | wall dist |  | 1 | 5 | 4 | - | 0.395 | 7.9
[9 empty] | TOTAL= | 78.21
PART-2 |  |  | STORAGE TANK |  | 1 |  | 30 | 20 | 2
1 |  |  | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.
|  | 120000345 | wall | Cum | 1 | 1 | 100 | 1.75 | 2.575 | 450.625
|  |  | mid area | Cum | 1 | 1 | 29.125 | 19.125 | 2 | 1114.0312
1564.6562
2 |  |  | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials.
I |  |  | wall | Cum | 1 | 1 | 100 | 1.75 | 1.075 | 188.125
|  |  | mid area | Cum | 1 | 1 | 29.125 | 19.125 | 0.5 | 278.5078
466.6328
3 | 2.25 | 170000817 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m.
|  |  | total excavation qty | [6 empty] | 1564.6562
|  |  | volume of well deduction |  | 1 | -1 | 30.6 | 20.6 | 2 | -1260.72
[9 empty] | total= | 303.9362
4 | 4.1.8 | 120000442 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size)
|  |  | BELOW WALL | cum | 1 | 1 | 100 | 1.45 | 0.075 | 10.875
[9 empty] | total= | 10.875
5 | 5.1.2 | 120000488 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size)
|  |  | RCC for RAFT | cum | 1 | 1 | 100 | 1.3 | 0.25 | 32.5
|  |  | RCC for Wall | cum | 1 | 1 | 100 | 0.3 | 2 | 60
|  |  | SUMP PIT | cum | [5 empty] | 0.5
[9 empty] | Total | 93
6 | 13.18 | 120001425 | Neat cement punning.
|  |  | For inner face | sqm | 1 | 1 | 100 | 0 | 2 | 400 | INNER SIDE
[9 empty] | Total | 400
7 | 4.1.3 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 10 mm nominal size derived from natural sources) | Cum | 1 | 1 | 100 | 0.3 | 0.1 | 3
8 | 5.22.6 | 120000543 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more.
RAFT +WALL
|  |  | RAFT top/bottom 12 dia 200c/c main bar | kg | 1 | 909.0909 | 1.5 | - | 0.89 | 1213.6364
|  |  | dist bar 12 dia 200c/c | kg | 1 | 14 | 100 | - | 0.89 | 1246
|  |  | wall main 12 dia 125 c/c | kg | 1 | 1602 | 2.65 | - | 0.89 | 3778.317
|  |  | wall dist 10 di 200 c/c outer side | kg | 1 | 20 | 100 | - | 0.617 | 1234
|  |  | SUMP PIT | [6 empty] | 100
[9 empty] | TOTAL= | 7571.9534 |  | 81.4189
9 |  |  | Centering and shuttering including strutting, propping etc. and removal of form for :
I | 5.9.1 | 120000499 | Foundations, footings, bases of columns, etc. | sqm | 1 | 2 | 100 |  | 0.325 | 66 | INCL SUMP PIT
II | 5.9.2 |  | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc | sqm | 1 | 2 | 100 |  | 2 | 405 | INCL SUMP PIT
10 | 10.2 |  | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete.
FOR LADDER
|  |  | 20mm dia bar 300c/c | kg | 1 | 7.6667 | 1.8 |  | 2.47 | 34.086
RAILING
|  |  | 150X150X6 MS PLATE |  | 1 | 41 | 0.15 | 0.15 | 0.006 | 43.4497
|  |  | 10 DIA LUGS |  | 1 | 41 | 0.6 |  | 0.61728 | 15.1852
|  |  | 50DIA MS PIPE MEDIUM DUTY | kg | 1 | 41 | 1 |  | 5.03 | 206.23
|  |  |  | kg | 1 | 1 | 100 |  | 5.03 | 503
|  |  | 50X6 FLAT | KG | 1 | 2 | 100 |  | 2.355 | 471
[9 empty] | Total | 1272.9509
11 | 13.61.1 | 120001490 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work
FOR LADDER
|  |  | 20mm dia bar 300c/c | sqm | 1 | 7.6667 | 0.7 |  | 1 | 5.3667
RAILING
|  |  | 150X150X6 MS PLATE | sqm | 1 | 41 | 0.15 | 0.15 |  | 7241.625
|  |  | 50DIA MS PIPE MEDIUM DUTY | sqm | 1 | 41 | 1 | 0.157 |  | 6.437
|  |  |  | sqm | 1 | 1 | 100 | 0.157 |  | 15.7
|  |  | 50X6 FLAT | sqm | 1 | 2 | 100 | 0.112 |  | 22.4
[9 empty] | Total | 7291.5287
12 |  |  | stone soling-BELOW WALL | cum | 1 | 1 | 100 | 1.75 | 0.25 | 43.75 | cum
13 |  |  | PVC PIPE | RM | 1 | 67.6667 | 0.3 |  |  | 20.3

## DWG (hidden)
|  | NGL | 150
300 TH RCC WALL
2000
250 |  |  |  | 1300 |  |  |  | COMPACTED SOIL
75 |  |  | PCC 1:4:8
250 | STONE SOLING 250MM TH
1450
SECTION DETAILS
30M
300 TH RCC WALL
20M
MAY BE CONNETED WITH HUME PIPE/RCC DRAIN (IL down than ex. Drain to divert water into tank)
[6 empty] | EXISTING RCC DRAIN |  |  |  |  | OVERFLOW WATER
RCC STORAGE TANK (JEERAT)
RCC WALL AS PER CC/ENGG/STD/RWH/2019/01
1000X10000XD SUMP