| Sl. No. | Ref Section | Provision in bidding document | Bidders Queries | POWERGRID Reply |
| --- | --- | --- | --- | --- |
| 1. | Vol. II TS, Section GIS Rev. 5A, Cl. 27 | TESTING & MAINTENACE EQUIPMENT 27.5 Online Partial Discharge Monitoring System (Applicable for 765kV& 400 kV GIS) | BPS requirement is “Portable Partial Discharge measurement test kit with all necessary accessories, Industrial Grade Laptop and licensed software as per Technical specification.” Please confirm whether we need to supply Online or Portable(Offline) PD monitoring system for the said tender. | Online PD monitoring system is not envisaged under present scope. Portable PD monitoring system shall be supplied as per bidding document. |
| 2. | Vol. II TS, Section GIS Rev. 5A, Cl. 27 | 27.2 Gas filling and evacuating plant: (Gas Processing unit) | No item is mentioned against the said item in BPS. We presume there is no requirement of Gas Processing unit. Please confirm. | Gas processing unit is not envisaged under present scope. Bidder to quote as per bidding document. |