| Sl. No. | Details as per Technical Specification Document No / Clause No / | Description as per Bid Document | Remarks - Query / Clarification | POWERGRID’s Clarification |
| --- | --- | --- | --- | --- |
| 1. | General |  | Please send the coordinates and Transmission line inputs of TL01 for 400 KV DC RIL Oil Refinery GIS Jam Khambaliya GIS Twin HTLS line associated with Transmission Project Jamnagar Oil Refinery of RIL to connect with Jam Khambaliya ISTS PS. Please provide the Line route so that we can start the walk over survey and arrange for bidding. | Please refer Clause 1.4.1 of Section-IA regarding coordinate and transmission line details. |