| Sl. No. | Details as per Technical Specification Document No / Clause No / | Description as per Bid Document | Remarks - Query / Clarification | POWERGRID’s clarification |
| --- | --- | --- | --- | --- |
| 1. | Bid Price Schedule, Sch 1 & Sch 2 | HTLS (ACCC TYPE) CONDUCTOR-400KV TL AND CLAMPS & ACCESSORIES | With reference to amendment 5 & Corrigendum 1 issued dated 18.08.2022, we have noted that the ACCC conductor is added in the scope. However, technical specification for ACCC conductor and its hardware is inadvertently missing in the amendments uploaded. It may be noted that scope of the tender includes design of tower, its foundations and supply of bought out items including ACCC conductor and its hardware for carrying out design of Towers and its foundations. We, therefore, request you to kindly provide technical specification of ACCC conductor and its hardware at earliest. | Kindly refer Section - VIB for clamp fitting and accessories for ACCC HTLS Conductor & Section-VIIB for Technical Specification for ACCC HTLS Conductor. |
| 2. | Bid Price Schedule, Sch 1 & Sch 2 | HTLS (ACCC TYPE) CONDUCTOR-400KV TL | Technical price schedule species the “ACCC” type of conductor, “ACCC” is registered trade mark of “CTC global” and no other core manufacturer can use the same. We request you to specify technology which is carbon composite conductor (CCC) instead of “ACCC”. Request you to issue a corrigendum giving clarification that “ACCC” wherever appearing in the tender may be read as (CCC) carbon composite conductor (Solid Core type). Kindly request you to provide us the technical specification of the revised HTLS (Solid composite core type) conductor (if applicable) required for the subject tender, so that we shall be provide documents to respective vendors for their offer. | Provisions of bidding documents shall prevail. |