| Sl. No. | Details as per Technical Specification Document No / Clause No / | Description as per Bid Document | Remarks - Query / Clarification | POWERGRID’s clarification |
| --- | --- | --- | --- | --- |
| 1. | Section IB, Vol II, of Technical Specification | HTLS Conductor for 400 KV voltage level transmission lines | It may please be noted that the scope includes supply of HTLS ACCC conductor and we are facing serious difficulties in getting offers for HTLS conductor from conductor manufacturers. Moreover, as per Qualification criteria of HTLS Conductor 2.26 of Section IB, Vol II, there are very limited suppliers who are getting qualified both on direct and licensor-licensee mode. As we are yet to receive technical and commercial offer from conductor manufacturer, we are not in a position to commence design of towers. Looking to the circumstances as mentioned above, we, therefore, request you kindly intervention in this matter and arrange to modify the qualification criteria so that there will be more qualified conductor suppliers for competitive bidding. Alternatively, the supply of conductor may be deleted from Conductor’s scope and owner may procure and supply the same as OSM for stringing. | Provisions of QR and scope in bidding documents shall prevail. |