Qualifying Requirements (QR) for Pre Bid Tie up for STATCOM Package ST-07T for (a) ± 1x300 MVAr STATCOM with 2x125 MVAr MSC, 1x125 MVAr MSR at 765/400/220kV Bikaner-IV S/s in 400kV Bus Section-1; (b) ± 1x300 MVAr STATCOM with 2x125 MVAr MSC, 1x125 MVAr MSR at 765/400/220kV Bikaner-IV S/s in 400kV Bus Section-2 associated with “Transmission system for evacuation of power from Rajasthan REZ Ph-IV (Part 3: 6GW) [Bikaner Complex]: Part A” through Tariff Based Competitive Bidding (TBCB) route prior to RfP bid submission by POWERGRID to BPC. Spec No: CC/T/W-STAT/DOM/A10/24/10580

QUALIFICATION OF THE BIDDER Qualification of bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid can be submitted by an individual firm or a Joint Venture of two or more firms (Specific requirements for Joint Ventures are given under Para 3 below). The Employer may asses the capacity and capability of the Bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) Bidder’s work/manufacturing facilities visit ; (iii) manufacturing capacity, details of works executed , works in hand , anticipated in future & the balance capacity available for the present scope of works ; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place ; (vi) past experience and performance ; (vii) customer feedback ; (viii) banker’s feedback etc. - Technical Experience - The bidder must have executed a STATCOM Project, in the network of power utility, controlling 132kV or above system voltage (as point of common coupling) having at least ±50 MVAR rating for STATCOM portion@, as a Prime Contractor*, wherein the scope involves engineering, supply, erection, testing and commissioning of the STATCOM, and the above project must be in #satisfactory operation for at least 2 (two) years as on the Originally scheduled last date of bid submission (soft copy) i.e. 26/08/2024. AND The bidder must have designed, manufactured, tested and supplied at least STATCOM Valve(s) & its associated Control for a STATCOM Project of 345kV or above system voltage (as point of common coupling) having at least ±100 MVAR rating for STATCOM portion@, in the network of power utility, and the above project must be in #satisfactory operation as on the date of bid submission mentioned above. - In case the Bidder is a foreign entity, following requirements shall be complied: - Bidder must have incorporated either as a Subsidiary or Group Company or a Joint Venture Company (JVC) in India as per Companies Act 1956 or 2013 of India as on the date of bid Submission mentioned above. - The above Subsidiary/Group Company or Joint Venture Company (JVC) shall establish manufacturing facilities/works and would supply at least one STATCOM. - For the offered STATCOM as indicated above, the Semiconductor based Power Modules must be manufactured/assembled and tested at the Indian manufacturing facilities / works. - Bidder shall furnish an undertaking toward the clause 1.2.1, 1.2.2 & 1.2.3 as mentioned above (as per enclosed format at sl. no. 20 or 21 of Section-VI, Vol.-I of the bidding document) along with the bid, to guarantee quality, timely supply, performance and warranty obligations for five (5) years for the STATCOM component to be supplied from the works in India. - If bid is submitted as an Individual Firm or in a Joint Venture without any Indian Entity as a Partner, the Bidder should propose, in its Bid, an Indian Associate for executing the On-Shore Supply and On-Shore Services Contract, as per the provisions of bidding documents. The proposed Indian Associate must have: erected, tested and commissioned at least one (1) substation having minimum four (4) nos. AIS^/GIS^ Circuit Breaker equipped bays of 345kV or above voltage level during the last seven (7) years and these bays must be in #satisfactory operation as on the date of bid submission as mentioned above. OR erected, tested and commissioned at least one (1) project of SVC/FSC/STATCOM/ HVDC at 220kV or above voltage level in India during the last seven (7) years and the same must be in #satisfactory operation as on the date of bid submission mentioned above. - Bidder must have designed, manufactured and supplied at least STATCOM Valve(s) & its associated Control for a STATCOM Project of 132kV or above system voltage (as point of common coupling) having at least +50 MVAR rating for STATCOM portion@, in the network of power utility in any country other than home country, and the above project must be in #satisfactory operation as on the date of bid submission mentioned above. - In case, the bidder is an Indian entity not meeting the requirement stipulated in para 1.1 & 1.2 above, he shall also be considered, provided he meets the following requirements: - The bidder must have established manufacturing/assembling and testing facilities in India for STATCOM Valve(s), based on the technological support of the Collaborator(s)/ Parent/Principal and the bidder must have manufactured, tested & supplied at least one (1) no. STATCOM Valve(s) for 345KV or above voltage level STATCOM Project and the same must be in satisfactory operation as on the date of bid submission mentioned above. - The Collaborator(s)/Parent/Principal of the bidder must meet qualification requirements mentioned at para 1.1 & 1.2 above. - The bidder shall also submit the following along with the bid: - A legally enforceable undertaking (jointly with the Collaborator(s)/Parent/Principal) to guarantee quality, timely supply, commissioning, performance and warranty obligations as specified for the equipment(s); - A valid collaboration agreement for technology transfer/license to design, manufacture, test and supply STATCOM in India. Note-1 (*): In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture Partner shall be considered limited to the scope of that partner under the said contract. Note-2 (#): satisfactory operation means Certificate issued by the employer certifying the operation without any adverse remark. Note-3 (@): Rating of STATCOM Portion (connected to a common coupling transformer) is excluding fixed, mechanical switched or power-device switched inductors and capacitors. Further, in the rating, ‘-‘indicates inductive and ‘+’ indicates capacitive reactive power continuous capacities. Note-4 (^): AIS means Air Insulated Switchgear. GIS means Gas Insulated Switchgear. Note-5 : In case, Bidder is a holding company, the technical experience referred to in Clause 1 above shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case Bidder is a subsidiary of a holding company, the technical experience referred to in Clause 1 above shall be of that subsidiary company only (i.e. excluding its holding company). - Financial Position For the purpose of this particular bid, bidders shall meet the following minimum criteria: (a) Net Worth for last 3 financial years should be positive. (b) Minimum Average Annual Turnover** (MAAT) of the bidder for best three years i.e. 36 months out of last five financial years as annualized should be Rs. 2302.43 million or USD $ 27.56 million or equivalent for STATCOM Package-07T. **Note: Annual Gross Revenue from operations/ Gross Operating Income as incorporated in the profit & loss account excluding Other Operative Income/Other Income. (c) Bidder shall have liquid assets (L.A.) or/and evidence of access to or availability of credit facilities of not less than Rs. 383.74 million or USD $ 4.59 million or equivalent for STATCOM Package-07T. Note: - In case bidder is a holding company, the Financial Position criteria referred to in para 2 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case bidder is a subsidiary of a holding company, the Financial Position criteria referred to in para 2 above shall be that of subsidiary company only (i.e. excluding its holding company). - In case bidder has established manufacturing/assembling facility in India and yet to complete three (3) financial years, the Net Worth and average of the turnover as per financial statement for completed financial years shall be considered for the purpose of compliance to the specified Net Worth and MAAT requirements. - In case of bidder qualifying through Para 1.3 above, who has established manufacturing/assembling & testing facility in India as Subsidiary/JVC/Group company by its parent/principal but not meeting the Financial Position requirement as per note (i) read along with note (ii) above, the following shall be applicable: In case bidder is yet to complete five (5) years from the date of commercial production of such equipment(s) as on the date of bid Submission mentioned above, the financial position requirement as per para 2 (b) & (c) of parent/principal company providing collaboration for technological support shall be considered. However, once he completes five (5) years from the date of commercial production of such equipment (s) in India as on the date of bid Submission mentioned above, the financial position requirements as specified at 2 (b) and (c) above shall also be required to be met by such bidder on their own as per note (i) above and not based on their parent/principal company. Further, in case the bidder is yet to complete one (1) financial year, the Net worth requirement as per para 2 (a) above of parent/principal shall be considered. - Relaxation for Start-Ups^^/ MSEs Start-Ups^^/ MSEs, meeting the specified requirements at Para 2 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 2 (b) & 2 (c) above in Financial Position. ^^ Start-Ups as defined by DIPP, applicable as on the Originally scheduled last date of bid submission (soft copy) - Joint Venture Bids - In case a bid is submitted by a Joint Venture (JV) of two or more firms as partners, Joint Venture must meet the following requirements: - The lead partner of the JV shall meet 100% of Technical Experience criteria given at para 1 above. - Each of the other partner(s) of the JV must have manufactured and supplied at least one 345kV or above voltage class Equipment such as Circuit breaker/Isolator/Instrument transformer/Power Transformer/Reactor /Power Capacitor/Control & Protection Systems which should be in #satisfactory operation as on the date of bid submission mentioned above. OR erected, tested and commissioned at least one (1) substation having minimum four (4) nos. AIS^/GIS^ Circuit Breaker equipped bays of 345kV or above voltage level during the last seven (7) years and these bays must be in #satisfactory operation as on the date of bid Submission as mentioned above. OR erected, tested and commissioned at least one (1) project of SVC/ FSC/STATCOM/ HVDC at 220kV or above voltage level in India during the last seven (7) years and the same must be in #satisfactory operation as on the date of bid Submission mentioned above. - All the partners of the JV shall meet individually the Financial Position criteria given at para 2 (a) above. - The lead partner shall meet, not less than 40% of the Financial Position minimum criteria given at para 2 (b) & (c) above. - Each of the other partner(s) individually shall meet not less than 25% of the Financial Position minimum criteria given at para 2 (b) & (c) above. - All the partners of Joint Venture shall meet collectively the requirement of para 2 (b) & (c) above. The figure of average annual turnover and liquid assets/credit facilities for each of the partners of the JV shall be added together to determine the JV’s compliance with the minimum qualifying criteria set out in Para 2 (b) & (c) above. - The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above.