## QUALIFICATION OF THE BIDDER

Qualification of bidder will be based on meeting the minimum pass/ fail criteria specified below regarding the Bidder’s Technical Experience and Financial Position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. The bid can be submitted by: i. a qualified manufacturer meeting the specified Qualifying Requirements, or ii. a Qualified Licensee of a Qualified Manufacturer

## The Purchaser may assess the capacity and capability of the bidder, to ascertain that the bidder can successfully execute the scope of work covered under the package within stipulated completion period. The assessment shall inter-alia include (i) document verification; (ii) bidders work/manufacturing facilities visit; (iii) manufacturing capacity, details of work executed, works in hand, anticipated in future & the balance capacity available for the present scope of work; (iv) details of Plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) Banker’s feedback etc.

## POWERGRID reserves the right to waive minor deviations if they do not materially affect the capability of the Bidder to perform the contract.

## 1.1 Technical Experience:

## 1.1 (a) The bidder’s experience should include the following:

- The Qualified Manufacturer should have designed, manufactured, tested and supplied minimum 2000 nos. of 160kN insulator) or above rating Composite long rod insulators for 345KV or above voltage transmission lines/ sub-stations and the same should have been in satisfactory operation$ for a minimum period of two years as on originally scheduled date of bid opening i.e. 27.03.2023. ## $ Satisfactory operation wherever mentioned under above clauses means certificate issued by the Employer certifying the operation without any adverse remark

ii. The Qualified manufacturer should also have successfully completed at least the following tests on insulator units and insulator strings (of Composite long rod insulators) as on originally scheduled date of bid opening mentioned above.

## Tests on individual units of 210kN or above rating as per IEC 61109-1995 or IEC 61109-2008.

## Following Type tests on insulator strings assembly for 765 KV or above Voltage transmission lines with 210kN or above electromechanical strength insulators: - Power Frequency Voltage withstand test (Wet) - Switching Surge Voltage Withstand test (Wet) - Lightning Impulse Voltage Withstand test (Dry) - Radio Interference Voltage Test (Dry)

## c. Accelerated ageing test of 5000hrs as described in appendix-C of IEC 61109 or Test at Multiple stresses of 5000 hrs as described in IEC 62730 or Annex-B of IEC- 62217

1.1 (b) However, if the manufacturer is not meeting the above requirements specified at 1.1 (a) of its own, he should be a qualified Licensee of a qualified manufacturer meeting the above specified requirements and should also meet the following conditions - Manufacturer/Qualified Licensee shall have adequate design infrastructure and manufacturing facility and capacity and procedures including quality control. - A qualified Licensee of a qualified manufacturer shall comply with all of the following requirements and furnish a joint undertaking by the Licensor along with the bidder in its bid as per Performa enclosed in Section-VI: Forms and Procedures, Volume-I of Bidding Document. - Any design undertaken by the Licensee shall be approved by the Licensor. - Manufacturing by the Licensee shall be done with the approval of the Licensor and Purchaser under a quality assurance programme approved and monitored by the Licensor. - Licensee must furnish back-up guarantee from the licensor for individual and overall performance of all materials supplied under the contract. - Licensor must guarantee sequential and timely supply of materials and submission of technical information and data as desired by the Purchaser so as to meet the overall construction schedule and - The agreement between Licensee and Licensor (copy to be submitted along with the bid) shall be valid for a period of at least five (5) years after the guarantee period of equipment and materials under supply is over.

## In case bidder is a holding company, the technical experience referred to in clause 1.1 above shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, the technical experience referred to in clause 1.1 above shall be of that subsidiary company only (i.e. excluding its holding companies)

1.2 Financial Position ## For the purpose of this particular bid, bidders shall meet the following criteria

## (a) Net worth of bidder for last 3 financial years should be positive.

(b) Minimum Average Annual Turnover@ (MAAT) for best three years i.e. 36 months out of last five financial years of the bidder should be: Rs. 19.67 Crore for Package-CIS-01 ## Rs. 19.67 Crore for Package-CIS-02

@ Annual Gross Revenue from operations/Gross operating income as incorporated in the profit & loss account excluding other operative Income/ Other Income

(c) Bidder shall have liquid assets (L.A) or/and evidence of access to or availability of credit facilities of not less than: Rs. 3.28 Crore for Package-CIS-01 ## Rs. 3.28 Crore for Package-CIS-02

## For Bidders to qualify for more than one package, their financial position at 1.2 (b) & 1.2 (c) shall not be less than the sum of the requirement for the packages they propose to qualify for.

In case bidder is a holding company, the financial position criteria referred to in clause 1.2 above shall be of that holding company only (i.e excluding its subsidiary/ group companies). In case bidder is a subsidiary of a holding company, the financial position criteria referred to in clause 1.2 above shall be of that subsidiary company only (i.e. excluding its holding company).

## (d) In case of a bid submitted by a qualified Licensee of a qualified manufacturer, the requirements stipulated at Clause 1.2 above shall be individually met by the Licensee as well as the Licensor

NOTE : RELAXATION FOR MSEs/ STARTUPs i) MSEs^/ START-UPs^^ meeting the specified requirements at para 1.2(a) above, shall also be considered qualified if they meet 80% (Eighty percent) of the requirements specified at para 1.2(b) & para 1.2(c) above. ii) MSEs^ meeting the specified requirements at para 1.2(a) above, but not meeting the specified requirements at para 1.2(b) &/or para 1.2(c) above, shall also be considered qualified for award upto 25% (Twenty five percent) of the package order value. ^ MSEs as defined in bidding documents. ## ^^ START-Ups as defined by DPIIT, applicable as on the originally scheduled date of bid opening

## 2.0 The bidder shall furnish documentary evidence in support of the qualifying requirements stipulated above.