| ###### S N | Clause Reference | Existing Clause | Amended Clause |
| --- | --- | --- | --- |
| Volume-I; Conditions of Contract (Document Code No. DC-2900-15298, Jan’2019) |  |  |  |
| 1 | GCC Cl. 4 (SCC) | 4. Time for Commencement and Completion 4.1 The Contractor shall commence work on the Facilities from the Effective Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement. 4.2 …………………………….. | 4. Time for Commencement and Completion 4.1 Time for Completion is the essence of Contract. The Contractor shall commence work on the Facilities from the Effective Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement. 4.2 …………………………….. |
| 2 | Appendix-4 (Time Schedule) to Form of Contract Agreement, Section – VI | Appendix-4 TIME SCHEDULE - The Project Completion Schedule shall be as follows: …………. 1.1 ……………………………….. Liquidated damages for delay in successful completion of the Facilities or specific part thereof (where specific parts are specified in SCC) and Operational Acceptance at rates specified in Clause 21 of GCC shall be applicable beyond the date specified above. 1.2 LD for delay as applicable under “Second Contract” shall also be recoverable from the Contractor. LD under both the Contracts shall run concurrently. | Appendix-4 TIME SCHEDULE - The Project Completion Schedule shall be as follows: …………. 1.1 …………………………………….. This master network will be discussed and agreed before Award in line with above, engineering drawing and data submission schedule shall also be discussed and finalised before Award. Liquidated damages for delay in successful Completion of the Facilities or specific part thereof (where specific parts are specified in SCC) and Operational Acceptance at rates specified in Clause 21 of GCC shall be applicable beyond the date specified above. 1.2 The Employer reserves the right to request minor changes in the work schedule at the time of Award of Contract to the successful Bidder. 1.3 The successful Bidder shall be required to prepare detailed Network(s) and project implementation plans & programmes and finalise the same with the Employer as per the requirement specified in Technical Specifications, which shall from a part of the Contract. 1.4 Time for Completion is the essence of Contract. |
| Volume-III; Bid Form and Price Schedule (Document Code No. DC-2900-15300, Jan’2019) |  |  |  |
| 3 | Attachment-3 (QR), Bid Form, 1st Envelope | ……………………………………… Format A Format for the Bidder (Single Firm / Partner in case of Joint Venture) [In case of Joint Venture bidder, the QR data of each of the partner (in support of meeting the requirement of para 1.1 of Annexure-A(BDS), Conditions of Contract, Volume-I of the bidding documents] is also is to furnished, as applicable, using this format. Name of the Bidder (Single Firm/Lead partner/Partners of a JV). A1.; Name of Contract (executed during the last 7 years as on the date of bid opening):. A2.; ###### Contract Reference No. & Date of Award. A3.; Name and Address of the Employer/Utility by whom the Contract was awarded e-mail ID Telephone No. Fax No.; _________________ ________________ ________________. A4(i) (ii) (iii) (iv); Name of sub-station or switchyard executed under the Contract Voltage level of sub-station or switchyard No. of bays in the sub-station or switchyard (a) No. of CB in the bay (b) No. of single phase CTs or Bushing CTs in the bay (c) No. of disconnectors in the bay; __________________ __________________. A5(i) (ii); Date of successful execution of the Contract No. of years the above referred substation is in successful operation as on the date of bid opening; ______________ ____________ years. A6.; Scope of work executed under the above contract. A7.; Capacity in which the Contract was undertaken (Check One); ○ Prime Contractor ○Sub Contractor ○Partner of JV (Tick whichever is applicable). A8.; Details/documentary evidence submitted in support of stated experience/Contract. | ……………………………………… Format A: Format for the bidders who wish to qualify through route 1.1.1 and for Parent Company (Principals) or collaborator of bidder who want to qualify through route 1.1.2:. Name of the Bidder (Single Firm (as per 1.1.1 above)/Name of Parent Company (Principals) or Collaborator (As per para 1.1.2 above). 1.; Name of Contract. 2.; ###### Contract Reference No. & Date of Award. 3.; Name and Address of the Employer/Utility for whom the Contract was executed by bidder/Parent Company (Principals)/ Collaborator e-mail ID Telephone No. Fax No.; ____________________ ____________________ ____________________. 4.; Voltage level of Reactor supplied under the Contract (Indicate only 345 kV or above class Reactor ) MVAR Capacity of the Reactor Name of sub-station or switchyard Type of cooling in the above Reactor; ___________________ kV ________________ MVAR ___________________ ___________________. 5.; Scope of work involved in the supply of above Reactor under the Contract; □ Design □ Manufacture □ Testing □ Supply □ Installation & commissioning of 345kV or above class Reactor (Tick only whichever is/are applicable). 6.; Date of Commissioning of above Reactor. 7.; No. of years the above Reactor is in satisfactory operation as on the originally scheduled date of bid opening i.e. 20/02/2019.; ______________ years. 8.; Details of documents submitted in support of stated experience/Contract/ design, infrastructure and manufacturing facilities and capacity and procedures including quality control & adequately experienced & readily available Personnel. Format B: Format for the bidders (Manufacturers) who wish to qualify through route 1.1.2 :. Name of Bidder (Manufacturer). 1. 2. 3 4. 5.; The 345kV or above class Reactor manufacturer, who has established production line in India for these equipment(s), based on technological support of a parent company or collaborator for 345 kV class Reactor or above class Reactor. Name of the parent company (Principals) or collaborator for 220 kV class Reactor (The qualifying data for parent company (Principals) or collaborator for the Reactor shall be furnished in Format-A) Whether the bidder (manufacturer) has … Date of Commissioning of above Reactor Whether the 220kV class Reactor manufacturer (bidder) has furnished: (a) a legally enforceable undertaking (jointly with the parent company or collaborator) to guarantee quality, timely supply, performance and warranty obligations as specified for the equipment(s); and (b) a confirmation letter from the parent company or collaborator alongwith the bid stating that parent company or collaborator shall furnish performance guarantee for an amount of 10% of the ex-works cost of such equipment (s) [This performance guarantee shall be in addition to Contract Performance Guarantee to be submitted by the Bidder].; □ Designed □Manufactured □Tested □ Supplied □ Installation & Commissioning of 220kV or above class Reactor. (Tick only whichever is/are applicable) □ Yes □ No □ Yes □ No. 6; Details of documents submitted in support of stated experience/Contract/ design, infrastructure and manufacturing facilities and capacity and procedures including quality control & adequately experienced & readily available Personnel. (Use separate sheet for each experience / Contract). |
| 4 | Attachment-9, Bid Form, 1st Envelope | Formula errors in Attachment-9 (Work Completion Schedule) have been corrected. |  |
| 5 | - Replace existing file “01_ First Envelope (Bid Form and Attachments.xls” with “01_ First Envelope (Bid Form and Attachments)-Rev01.xls” - Replace existing file “03_Attachment-3 (QR).doc” with “03_Attachment-3 (QR)_Rev-01.doc” |  |  |