# Section-III

QUALIFYING REQUIREMENT

for the work of

# “Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects)”

General: Qualification of bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by the bidder’s responses in the corresponding Bid schedules. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the bidder’s compliance with the qualifying criteria. The bid can be submitted by an individual firm meeting the Qualifying Requirement (QR). The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification, (ii) bidders work/manufacturing facilities visit; (iii) manufacturing capacity, details of work executed, work in hand, anticipated in future in addition to the works involved in present bid; (iv) details of quality systems in place; (v) past experience and performance; (vi) customer feedback; (vii) banker’s feedback etc. POWERGRID reserves the right to waive minor deviations if they do not materially affect the capability of the bidder to perform the contract.

- Technical Experience:

Bidder must have erected, tested and commissioned as a prime contractor* under a single contract, of 220kV or above voltage level in one (1) substation or switchyard of Central/State/ reputed Private Power utility with IEC61850 based Control, Relay & Protection system during last seven (7) years and these bays must be in satisfactory operation# for at least two (2) years as on the originally scheduled date of bid opening.

The offered Power & Control Cables, Numerical relays, BCUs in the Control and Relay Panel should have been already type tested as per relevant clause given in Technical Specification.

Note:-

1. (*): In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract.

2. # Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark.

3. ^ AIS means Air Insulated Substation.

Note-1: In case bidder is a holding company, the technical experience referred to in clause 1.0 above shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, the technical experience referred to in clause 1.0 above shall be of that subsidiary company only (i.e. excluding its holding company).

2.0 Financial Position

Bidder must meet the following minimum criteria:

- Net Worth for last 3 financial years should be positive.

- Minimum Average Annual Turnover* (MAAT) of the bidder for best three years i.e. 36 months out of last five financial years as annualized should be Rs. 11.05 Cr.

Note- “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/other income”.

- Bidder shall have Liquid Assets (LA) and/or evidence of access to or availability of credit facilities of not less than Rs 1.8 Cr .

Note 1:- In case bidder is a holding company, the Financial Position criteria referred to in clause 2.0 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case bidder is a subsidiary of a holding company, the Financial Position criteria referred to in clause 2.0 above shall be that of subsidiary company only (i.e. excluding its holding company).

- Copy of GSTIN. etc . are to be furnished with Bid.

- The complete annual reports together with Audited statement of accounts of the company for last five years of its own (separate) immediately preceding the date of submission of bid as per requirement.

- All bidders should have valid UDIN in the Audited Statement.

Note 2:- Relaxation for Start-Ups^/ MSEs

Start-Ups^/ MSEs, not meeting the specified requirements at Para 2.0 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 2.0 (b) & 2.0 (c) above in Financial Position.

a) ^ Start-Ups as defined by DIPP, applicable as on the originally scheduled date of bid opening.

3.0 The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above.

== End of Qualifying Requirement ==