## Basic
ENVELOPE-2: Price_Schedule Part (Bid Proposal Sheet).
:: COVER PAGE ::
Name of Package | Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects).
NIT Ref. No.: | NESH/CSM/1500-1391
Address of Purchaser/ Owner | General Manager (C&M)
Power Grid Corporation of India Limited.
Dongtieh, Lower Nongrah, Lapalang.
Shillong - 793006.
Phone/Fax -0364- 2536406; Mobile:8837372383
email: solankidas@powergrid.in ¦ s.k.saikia@powergrid.in

## Cover (hidden)
General guidelines for filling up the Attachments
: Attachments : | Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects). |  | Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects).
| 1 | Fill up only green shaded cells in the relevent attachments.
| 2 | Attachments 3(QR), Attach QR, 4, 4(A), 4(B), 5, 5(A), 6, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20,21 and Bid Form for 1st Envelope are included here.
| 3 | Attachment 1 Bid Security : To be submitted as per proforma provided in the bidding document.
| 4 | Attachment 2 Power of Attorney : No specific format is provided by POWERGRID. Bidder may use their own format.
| 5 | Attachment 8 Manufacturer’s Authorisation Form : Format for Manufacturer’s Authorisation Form is annexed Seperetely herewith this Volume
| 6 | Attachment 14 Integrity Pact : To be submitted as per the proforma Annexed separately herewith this volume.
| 7 | Attachment 18 Safety Pact : To be submitted as per ITB Clause 9.3(s) and as per the proforma Annexed separately herewith this volume.
| 8 | Attachment 19 Declaration of Key Managerial Person and Power of Attorney holder: Format is annexed Seperetely herewith this Volume
| 9 | Attachment 20 Affidavit of Self certification regarding Minimum Local Content in line with PPP-MII order and MoP Order December 2018: Format is annexed Seperetely herewith this Volume
| 10 | Attachment 21 Declaration regarding events encountered pursuant to ITB Clause 2.1: Format is annexed Seperetely herewith this Volume
| 11 | Attachment 22 Format for Affidavit of Self certification regarding Local Content in line with PPP-MII order and DoT order, if applicable, to be provided on a non-judicial stamp paper of Rs. 100/-.
| 12 | Attachment Format of ‘Authorization certificate issued by Domestic Manufacturer for selling Domestically Manufactured Iron & Steel Products’
| Note : | Enable the Active X Control & Macros. Also ensure to keep option of "Trust acess to VBA project object Model" cheched [√]. Ensure that you work on MS Excel 2007 or higher version.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click for Detailed General Instructions
Click for Detailed General Instructions

## Instructions
Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24.
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24.
| Specification No.:NESH/CSM/1500-1180 | [9 empty] | Sole Bidder | 1
[11 empty] | JV (Joint Venture) | 2 or More
Enter following details of the bidder
FALSE
| Specify type of Bidder [Select from drop down menu] |  | Sole Bidder |  |  | 1 | Sole Bidder | 1 | 2 |  | 0
|  |  | 1 |  |  |  | JV (Joint Venture) | 2 or More
Micro and Small Enterprise (MSE)
| Name of Sole Bidder |  | Name
| Address of Sole Bidder | Principal place of business | Add1
Add2
[6 empty] | FALSE |  |  |  | .
| Name of other Partner |  | 1
Address of other Partner
Name of other Partner - 2 (more, if any)
Name of other Partner - 2
Address of other Partner - 2
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
| MSE Bidder ? |  |  |  |  | TRUE
| Enter the name of Registration Authority. |  | Udyam Registered Bidder
| Whether Medium/Small/Micro |  | Micro
Udyam Registeration No.:
Type of Enterprise
Major Activity
Social Category of Enterpreneur
| Gender |  | Male
Contact Person
Email-ID_1
Email-ID_2
Mobile No.
| Printed Name |  | Printed Name
| Designation |  | Desig
| Date : |  | 11 | Jan | 2025 |  | 31
| Place : |  | Place
11 Jan 2025
YES
Click for Bid Form 2nd Envelope

## Bid Form 2nd Envelope
#REF! |  |  |  |  | Bid Form 2nd Envelope |  | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[7 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | 11/Jan/2025 | [9 empty] | 6 | th | 11 | 6 | June
[11 empty] | 7 | th | 1 | 7 | July
To: | [10 empty] | 8 | th | January | 8 | August
General Manager (C&M) | [10 empty] | 9 | th | 2025 | 9 | September
Power Grid Corporation of India Limited | [10 empty] | 10 | th |  | 10 | October
North Eastern Region | [10 empty] | 11 | th |  | 11 | November
Dongtieh, Lower Nongrah, Lapalang | [10 empty] | 12 | th |  | 12 | December
Shillong – 793 006 (Meghalaya). | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects). | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of Techno-commercial Bid,we hereby submit the Second Envelope of the Bid,both of which shall be read together and in conjunction with each other,and shall be construed as an integral part of our Bid. Accordingly,we the undersigned,submit our offer for Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects). under the above-named package in full conformity with the said Bidding Documents for the sum of (Specify the currency and the amount in figures and words) …………. or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | #REF! | #REF! | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [7 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [7 empty] | 22 | th
| Schedule IA |  | Supply portion |  |  | Sole Bidder |  |  |  |  | 23 | th
| Schedule IB |  | Freight & Insurance
| Schedule 4 |  | Training charges for training to be imparted [NOT APPLICABLE] | [7 empty] | 24 | th
| Schedule IC |  | Erection Portion | [7 empty] | 25 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted [NOT APPLICABLE] | [7 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 7.0.0, SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | #REF!
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Dated this 11th day of January 2025
Thanking you, we remain,
Yours faithfully,
|  |  |  | For and on behalf of | Name
Signature :
Date : | 11/Jan/2025 |  |  | Printed Name :
Place : | Place |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Sch-IA
#REF! | [9 empty] | Schedule-IB to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[16 empty] | BO Total | #REF! | #REF!
Name of Package:Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects).
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) | [6 empty] | To,
General Manager (C&M)
Name : | Name | [6 empty] | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | Add1 | [6 empty] | North Eastern Region
| Add2 | [6 empty] | Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
SUPPLY PORTION | [16 empty] | Direct
[9 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | HSN/SAC Code | Whether SAC in column ‘B’ is confirmed. If not, indicate applicable "SAC code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘D is confirmed. If not indicate applicable rate of GST# (in %) | Non DSR | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 | 2 | 5B | 5C | 5D |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
400kV BONGAIGAON SUBSTATION
A | [5 empty] | Main Equipment/items
1 | [5 empty] | Relay Panels (With Automation)
a | 85371000 |  | 18% |  |  | 400kV Circuit Breaker Relay Panel With Auto Reclose (With Automation) | Nos. | 4 |  | Included
b | 85371000 |  | 18% |  |  | 400kV Circuit Breaker Relay Panel Without Auto Reclose (With Automation) | Nos. | 1 |  | Included
c | 85371000 |  | 18% |  |  | 400kV Line Protection Panel (With Automation) | Nos. | 2 |  | Included
d | 85371000 |  | 18% |  |  | 400kV Transformer Protection panel (For both HV & MV side) With Automation | Nos. | 1 |  | Included
e | 85371000 |  | 18% |  |  | 400kV Reactor Protection panel with Automation | Nos. | 6 |  | Included
3 | [5 empty] | Common Equipment pertaining to C&R System
a | 85371000 |  | 18% |  |  | Time synchronising equipment with hardware and accessories | Nos. | 1 |  | Included
4 | [5 empty] | Complete Substation Automation System/Augmentation substation Automation system including hardware and software for the substation and remote control stations along with associated equipments as per Technical spections
a | 85371000 |  | 18% |  |  | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification | Bay Nos | 5 |  | Included
b | 85371000 |  | 18% |  |  | Augmentation of Substation automation System for 400kV Tie bay as per Technical Specification | Bay Nos | 2 |  | Included
5 | [5 empty] | Marshalling Kiosk
a | 72169990 |  | 18% |  |  | 400KV BMK | Nos. | 5 |  | Included
b | 72169990 |  | 18% |  |  | CT JB for 400kV | Nos. | 8 |  | Included
c | 72169990 |  | 18% |  |  | CVT JB for 400kV | Nos. | 2 |  | Included
6 | [5 empty] | Power & Control Cables
6.1 | [5 empty] | 1.1Kv Grade Control Cable. (Multicore,PVC,Armoured 2.5 sq. mm. Copper)
a | 85446020 |  | 18% |  |  | 27Cx2.5 Sqmm | kM | 2 |  | Included
b | 85446020 |  | 18% |  |  | 19Cx2.5Sqmm | kM | 3 |  | Included
c | 85446020 |  | 18% |  |  | 14CX2.5Sqmm | kM | 13 |  | Included
d | 85446020 |  | 18% |  |  | 10CX2.5Sqmm | kM | 14 |  | Included
e | 85446020 |  | 18% |  |  | 5CX2.5Sqmm | kM | 18 |  | Included
f | 85446020 |  | 18% |  |  | 3CX2.5Sqmm | kM | 6 |  | Included
g | 85446020 |  | 18% |  |  | FO cable 6Px1.5 | kM | 3 |  | Included
6.2 | [5 empty] | 1.1Kv Grade Aux. Power Cable. (PVC,Armoured )
a | 85446020 |  | 18% |  |  | 3.5CX70 Sqmm ( Will be used for supply from DB located in Control Room to BMK in Yard) | kM | 6 |  | Included
b | 85446020 |  | 18% |  |  | 3.5CX35 Sqmm ( Will be used from BMK to Kiosk) | kM | 3 |  | Included
c | 85446020 |  | 18% |  |  | 2C x6 Sqmm ( Will be used for supply in PLCC & CRP Panel) | kM | 8 |  | Included
d | 85446020 |  | 18% |  |  | 4C x16 Sqmm ( DC cable Will be used for supply in CRP from DCDB) | kM | 20 |  | Included
7 | [5 empty] | Earthmat
a | 72159090 |  | 18% |  |  | 75x12mm GS Flat | kM | 1.5 |  | Included
b | 72159090 |  | 18% |  |  | 50x6 GS Flat | kM | 1.5 |  | Included
c | 72159090 |  | 18% |  |  | 40mm Dia MS rod for Earthmat and Riser | kM | 3 |  | Included
8 | 72169990 |  | 18% |  |  | Cable Trays, PVC Pipes of suitable sizes for Cable Laying, Cable Lugs, cable Gland, Cable Tagging, any other accessories etc. | LS | 1 |  | Included
9 | [5 empty] | Items for SPR / AC Bay Kiosk Room
a | 84151090 |  | 28% |  |  | Air conditioning system for Switchyard Panel Room of 6m length (including receptacles & all other accessories) | SET | 4 |  | Included
b | 85311020 |  | 18% |  |  | Fire Detection and Alarm System for Switchyard Panel Room of 6m length | SET | 4 |  | Included
c | 94059900 |  | 18% |  |  | Illumination System for switchyard panel room of 6 m length (including accessories & arrangement for Aux Power) | NO | 4 |  | Included
[6 empty] | Total Amount, Main Equipment (A) |  |  |  | 0
B | [5 empty] | MANDATORY SPARES
1 | 85371000 |  | 18% |  |  | Trip Circuit Supervision relay | No | 2 |  | Included
2 | 85371000 |  | 18% |  |  | Self Reset Trip Relay (1 No of each type) | Set | 1 |  | Included
3 | 85371000 |  | 18% |  |  | Hand Reset Trip Relay (1 No of each type) | Set | 1 |  | Included
4 | 85371000 |  | 18% |  |  | DC Supervision Relay (1 No of each type) | Set | 1 |  | Included
5 | 85371000 |  | 18% |  |  | Flag Relay (1 No of each type) | Set | 1 |  | Included
6 | 85371000 |  | 18% |  |  | Auxillary Relays (1 No of each type) | Set | 1 |  | Included
7 | 85371000 |  | 18% |  |  | Numerical Distance relay (Main I) | Set | 1 |  | Included
8 | 85371000 |  | 18% |  |  | Numerical Distance relay (Main II) | Set | 1 |  | Included
9 | 85371000 |  | 18% |  |  | Transformer Differential Protection relay | No | 1 |  | Included
10 | 85371000 |  | 18% |  |  | Restricted Earth Fault Relay | No | 1 |  | Included
11 | 85371000 |  | 18% |  |  | Directional OC EF Relay | Set | 1 |  | Included
12 | 85371000 |  | 18% |  |  | Reactor Differential Protection Relay | No | 1 |  | Included
13 | 85371000 |  | 18% |  |  | Numerical Reactor BU Impedanec relay | No | 1 |  | Included
14 | 85371000 |  | 18% |  |  | Power supply module for BB protection | No | 1 |  | Included
15 | 85371000 |  | 18% |  |  | Numerical LBB Relay | Set | 1 |  | Included
16 | 85371000 |  | 18% |  |  | Bay Unit Module-Bus Bar Protection | No | 1 |  | Included
17 | 85371000 |  | 18% |  |  | Control Switch (TNC) for Breaker | No | 2 |  | Included
18 | 85371000 |  | 18% |  |  | Trip Transfer Switch | no | 2 |  | Included
19 | 85389000 |  | 18% |  |  | Bay Control Unit (IED) of Each Type | Set | 1 |  | Included
20 | 85389000 |  | 18% |  |  | Ethernet Switch | Set | 1 |  | Included
[6 empty] | Total Amount, Mandatory Spares (B) |  |  |  | 0
Total Bid Price for the Schedule-IA | [9 empty] | 0 |  |  |  |  | #REF!
Note : | Specify amount of GST on the transaction between the Contractor and the Employer. GST Shall be applicable at extra as applicable.
# | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
Date : | 11/Jan/2025 | [7 empty] | Printed Name : | Printed Name
Place : | Place | [7 empty] | Designation : | Desig

## Sch-IB
#REF! | [5 empty] | Schedule-IB to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[12 empty] | BO Total | #REF! | #REF!
Name of Package:Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects).
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) |  |  | To,
General Manager (C&M)
Name : |  |  |  | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : |  |  |  | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
Feright and Insurance | [12 empty] | Direct
[5 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | Non DSR | Item Description | Unit | Qty. | F&I Rate (Rs) (inclusive of GST) | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
400kV BONGAIGAON SUBSTATION
A |  | Main Equipment/items
1 |  | Relay Panels (With Automation)
a |  | 400kV Circuit Breaker Relay Panel With Auto Reclose (With Automation) | Nos. | 4 |  | Included
b |  | 400kV Circuit Breaker Relay Panel Without Auto Reclose (With Automation) | Nos. | 1 |  | Included
c |  | 400kV Line Protection Panel (With Automation) | Nos. | 2 |  | Included
d |  | 400kV Transformer Protection panel (For both HV & MV side) With Automation | Nos. | 1 |  | Included
e |  | 400kV Reactor Protection panel with Automation | Nos. | 6 |  | Included
2 |  | Common Equipment pertaining to C&R System
a |  | Time synchronising equipment with hardware and accessories | Nos. | 1 |  | Included
3 |  | Complete Substation Automation System/Augmentation substation Automation system including hardware and software for the substation and remote control stations along with associated equipments as per Technical spections
a |  | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification | Bay Nos | 5 |  | Included
b |  | Augmentation of Substation automation System for 400kV Tie bay as per Technical Specification | Bay Nos | 2 |  | Included
4 |  | Marshalling Kiosk
a |  | 400KV BMK | Nos. | 5 |  | Included
c |  | CT JB for 400kV | Nos. | 8 |  | Included
d |  | CVT JB for 400kV | Nos. | 2 |  | Included
5 |  | Power & Control Cables
5.1 |  | 1.1Kv Grade Control Cable. (Multicore,PVC,Armoured 2.5 sq. mm. Copper)
a |  | 27Cx2.5 Sqmm | kM | 2 |  | Included
b |  | 19Cx2.5Sqmm | kM | 3 |  | Included
c |  | 14CX2.5Sqmm | kM | 13 |  | Included
d |  | 10CX2.5Sqmm | kM | 14 |  | Included
e |  | 5CX2.5Sqmm | kM | 18 |  | Included
f |  | 3CX2.5Sqmm | kM | 6 |  | Included
g |  | FO cable 6Px1.5 | kM | 3 |  | Included
5.2 |  | 1.1Kv Grade Aux. Power Cable. (PVC,Armoured )
a |  | 3.5CX70 Sqmm ( Will be used for supply from DB located in Control Room to BMK in Yard) | kM | 6 |  | Included
b |  | 3.5CX35 Sqmm ( Will be used from BMK to Kiosk) | kM | 3 |  | Included
c |  | 2C x6 Sqmm ( Will be used for supply in PLCC & CRP Panel) | kM | 8 |  | Included
d |  | 4C x16 Sqmm ( DC cable Will be used for supply in CRP from DCDB) | kM | 20 |  | Included
6 |  | Earthmat
a |  | 75x12mm GS Flat | kM | 1.5 |  | Included
b |  | 50x6 GS Flat | kM | 1.5 |  | Included
c |  | 40mm Dia MS rod for Earthmat and Riser | kM | 3 |  | Included
8 |  | Cable Trays, PVC Pipes of suitable sizes for Cable Laying, Cable Lugs, cable Gland, Cable Tagging, any other accessories etc. | LS | 1 |  | Included
9 |  | Items for SPR / AC Bay Kiosk Room
a |  | Air conditioning system for Switchyard Panel Room of 6m length (including receptacles & all other accessories) | SET | 4 |  | Included
b |  | Fire Detection and Alarm System for Control Room Building(400kV) | SET | 4 |  | Included
c |  | Illumination System for switchyard panel room of 6 m length (including accessories & arrangement for Aux Power) | NO | 4 |  | Included
|  | Total Amount, Main Equipment (A) |  |  |  | 0
B |  | MANDATORY SPARES
1 |  | Trip Circuit Supervision relay | No | 2 |  | Included
2 |  | Self Reset Trip Relay (1 No of each type) | Set | 1 |  | Included
3 |  | Hand Reset Trip Relay (1 No of each type) | Set | 1 |  | Included
4 |  | DC Supervision Relay (1 No of each type) | Set | 1 |  | Included
5 |  | Flag Relay (1 No of each type) | Set | 1 |  | Included
6 |  | Auxillary Relays (1 No of each type) | Set | 1 |  | Included
7 |  | Numerical Distance relay (Main I) | Set | 1 |  | Included
8 |  | Numerical Distance relay (Main II) | Set | 1 |  | Included
9 |  | Transformer Differential Protection relay | No | 1 |  | Included
10 |  | Restricted Earth Fault Relay | No | 1 |  | Included
11 |  | Directional OC EF Relay | Set | 1 |  | Included
12 |  | Reactor Differential Protection Relay | No | 1 |  | Included
13 |  | Numerical Reactor BU Impedanec relay | No | 1 |  | Included
14 |  | Power supply module for BB protection | No | 1 |  | Included
15 |  | Numerical LBB Relay | Set | 1 |  | Included
16 |  | Bay Unit Module-Bus Bar Protection | No | 1 |  | Included
17 |  | Control Switch (TNC) for Breaker | No | 2 |  | Included
18 |  | Trip Transfer Switch | no | 2 |  | Included
19 |  | Bay Control Unit (IED) of Each Type | Set | 1 |  | Included
20 |  | Ethernet Switch | Set | 1 |  | Included
|  | Total Amount, Mandatory Spares (B) |  |  |  | 0
Total Bid Price for the Schedule-IB | [5 empty] | 0 |  |  |  |  | #REF!
Note : | F&I Charges shall be quoted inclusive of GST. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
#
Date : | 11/Jan/2025 |  |  |  | Printed Name : | Printed Name
Place : | Place |  |  |  | Designation : | Desig

## Sch-IC
#REF! | [9 empty] | Schedule-IB to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[16 empty] | BO Total | #REF! | #REF!
Name of Package:Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects).
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) | [6 empty] | To,
General Manager (C&M)
Name : | Name | [6 empty] | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | Add1 | [6 empty] | North Eastern Region
| Add2 | [6 empty] | Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
Erection Portion | [16 empty] | Direct
[9 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | HSN/SAC Code | Whether SAC in column ‘B’ is confirmed. If not, indicate applicable "SAC code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘D is confirmed. If not indicate applicable rate of GST# (in %) | Non DSR | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 | 2 | 5B | 5C | 5D |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
400kV BONGAIGAON SUBSTATION
1 | [5 empty] | Relay Panels (With Automation)
a | 998736 |  | 18% |  |  | 400kV Circuit Breaker Relay Panel With Auto Reclose (With Automation) | Nos. | 4 |  | Included
b | 998736 |  | 18% |  |  | 400kV Circuit Breaker Relay Panel Without Auto Reclose (With Automation) | Nos. | 1 |  | Included
c | 998736 |  | 18% |  |  | 400kV Line Protection Panel (With Automation) | Nos. | 2 |  | Included
d | 998736 |  | 18% |  |  | 400kV Transformer Protection panel (For both HV & MV side) With Automation | Nos. | 1 |  | Included
e | 998736 |  | 18% |  |  | 400kV Reactor Protection panel with Automation | Nos. | 4 |  | Included
3 | [5 empty] | Common Equipment pertaining to C&R System
a | 998736 |  | 18% |  |  | Time synchronising equipment with hardware and accessories | Nos. | 1 |  | Included
4 | [5 empty] | Complete Substation Automation System/Augmentation substation Automation system including hardware and software for the substation and remote control stations along with associated equipments as per Technical spections
a | 998736 |  | 18% |  |  | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification | Bay Nos | 5 |  | Included
b | 998736 |  | 18% |  |  | Augmentation of Substation automation System for 400kV Tie bay as per Technical Specification | Bay Nos | 2 |  | Included
5 |  |  | 18% |  |  | Marshalling Kiosk
a | 998731 |  | 18% |  |  | 400KV BMK | Nos. | 5 |  | Included
a | 998731 |  | 18% |  |  | 33KV BMK | Nos. | 1 |  | Included
c | 998731 |  | 18% |  |  | CT JB for 400kV | Nos. | 8 |  | Included
d | 998731 |  | 18% |  |  | CVT JB for 400kV | Nos. | 2 |  | Included
6 | [5 empty] | Power & Control Cables
6.1 | [5 empty] | 1.1Kv Grade Control Cable. (Multicore,PVC,Armoured 2.5 sq. mm. Copper)
a | 998736 |  | 18% |  |  | 27Cx2.5 Sqmm | kM | 2 |  | Included
b | 998736 |  | 18% |  |  | 19Cx2.5Sqmm | kM | 3 |  | Included
c | 998736 |  | 18% |  |  | 14CX2.5Sqmm | kM | 13 |  | Included
d | 998736 |  | 18% |  |  | 10CX2.5Sqmm | kM | 14 |  | Included
e | 998736 |  | 18% |  |  | 5CX2.5Sqmm | kM | 18 |  | Included
f | 998736 |  | 18% |  |  | 3CX2.5Sqmm | kM | 6 |  | Included
g | 998736 |  | 18% |  |  | FO cable 6Px1.5 | kM | 3 |  | Included
6.2 | [5 empty] | 1.1Kv Grade Aux. Power Cable. (PVC,Armoured )
a | 998736 |  | 18% |  |  | 3.5CX70 Sqmm ( Will be used for supply from DB located in Control Room to BMK in Yard) | kM | 6 |  | Included
b | 998736 |  | 18% |  |  | 3.5CX35 Sqmm ( Will be used from BMK to Kiosk) | kM | 3 |  | Included
c | 998736 |  | 18% |  |  | 2C x6 Sqmm ( Will be used for supply in PLCC & CRP Panel) | kM | 8 |  | Included
d | 998736 |  | 18% |  |  | 4C x16 Sqmm ( DC cable Will be used for supply in CRP from DCDB) | kM | 20 |  | Included
7 | [5 empty] | Earthmat
a | 998739 |  | 18% |  |  | 75x12mm GS Flat | kM | 1.5 |  | Included
b | 998739 |  | 18% |  |  | 50x6 GS Flat | kM | 1.5 |  | Included
c | 998739 |  | 18% |  |  | 40mm Dia MS rod for Earthmat and Riser | kM | 3 |  | Included
8 | 998731 |  | 18% |  |  | Installatio of Cable Trays, PVC Pipes of suitable sizes for Cable Laying, Cable Lugs, cable Gland, Cable Tagging, any other accessories etc. | LS | 1 |  | Included
9 | [5 empty] | Civil works
a | 995429 |  |  |  |  | Dismantling of existing C&R panels including removing of glands, cables, numerical relays and shifting of the panel to a designated area. | Each | 30 |  | Included
10 |  |  | 18% |  |  | Civil works
a | 995433 |  | 18% |  |  | Excavation in all types of soil and rock including backfilling disposal etc. for all leads and lifts. | Cum | 480 |  | Included
b | 995428 |  | 18% |  |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | Sqm | 805 |  | Included
c | 995428 |  | 18% |  |  | Antiweed treatment including supply of all materials | Sqm | 805 |  | Included
d | 995454 |  | 18% |  |  | Providing and laying Plain Cement Concrete (PCC) (1:4:8) | Cum | 35 |  | Included
e | 995454 |  | 18% |  |  | Providing and laying Reinforced Cement Concrete (RCC) (1:1.5:3)including pre cast, shuttering, grouting of pockets & underpinning but excluding steel reinforcement. | Cum | 170 |  | Included
f | 995454 |  | 18% |  |  | Steel Reinforcement | MT | 11 |  | Included
g | 995455 |  | 18% |  |  | Misc. Structural steel including rails, embedments, edge protection angles, grating etc. but excluding reinforcement. | MT | 7 |  | Included
h | 995414 |  | 18% |  |  | 400kV Panel Room- Civil works. All civil works as per drawing and speciifcation complete, including-brickwork, finishing (externla & internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid seperately as per BPS. | Sqm | 170 |  | Included
11 | [5 empty] | Items for SPR / AC Bay Kiosk Room
a | 995463 |  | 18% |  |  | Air conditioning system for Switchyard Panel Room of 6m length (including receptacles & all other accessories) | SET | 4 |  | Included
b | 995461 |  | 18% |  |  | Fire Detection and Alarm System for Switchyard Panel Room of 6m length | SET | 4 |  | Included
c | 998739 |  | 18% |  |  | Illumination System for switchyard panel room of 6 m length (including accessories & arrangement for Aux Power) | Nos. | 4 |  | Included
Total Bid Price for the Schedule-IC | [9 empty] | 0 |  |  |  |  | #REF!
Note : | Specify amount of GST on the transaction between the Contractor and the Employer. GST Shall be applicable at extra as applicable.
# | # In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
Date : | 11/Jan/2025 | [7 empty] | Printed Name : | Printed Name
Place : | Place | [7 empty] | Designation : | Desig

## Sch-3
#REF! |  |  | Summary to BPS-Vol-IC
Package: Upgradation of 400kV Bongaigaon Substation from Conventional Substation to SAS substation under ADD CAP tariff block 2019-24 (Under KTLP Projects).
(GRAND SUMMARY)
Bidder’s Name and Address:( Sole Bidder) |  | To,
Name : | Name |  | General Manager (C&M)
Address : | Add1 |  | Power Grid Corporation of India Limited
| Add2 |  | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. IA
| Supply |  | 0
2 | TOTAL SCHEDULE NO. IB
| Freight & Insurance |  | 0
3 | TOTAL SCHEDULE NO. IC
| Erection Charges |  | 0
5 | TOTAL SCHEDULE NO. 5 |  | #REF!
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | NOT APPLICABLE
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3] |  | 0
Date : | 1900-01-10 | Printed Name : | Printed Name
Place : | Place | Designation : | Desig