## Kargil
BOQ for "Construction of Water Storage tanks at Kargil & Drass as an initative towards Rain Water harvesting"
PR line item NO | SAP Activity code. | SAC CODE | DSR No. | Item Description | Unit | POWERGRID Rate GST rate (in %) | Quantity
Kargil
Civil Items
|  |  | 1 | Carriage of material
|  |  | 1.1 | By mechanical transport including loading,unloading and stacking
10 | 120000008 | 995428 | 1.1.2 | Earth (1 Km) | Cum | 18 | 126.8746
|  |  | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.
20 | 120000345 | 995433 | 2.6.1 | All kinds of soil | cum | 18 | 162.744
30 | 120000391 | 995433 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | cum | 18 | 35.8694
|  |  | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
40 | 120000437 | 995454 | 4.1.3 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 18 | 1.1
50 | 120000442 | 995454 | 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 18 | 11.7985
|  | 995454 | 5.1 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering ,shuttering,finshing and reinforcement - All works up to plinth level. |  | 18
60 | 120000488 | 995454 | 5.1.2 | 1:1.5:3 (1 Cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 18 | 20.5068
70 | 120003032 | 995454 | 5.3 | Reinforced cement concrete work in beams,suspended floors,roofs having slope up to 15° landings, balconies , shelves , chajja , lintels, bands , plain window sills , staircases and spiral staircases above plinth level upto floor five level, excluding the cost of centering ,shuttering ,finishing and reinforcement with(1 Cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 18 | 5.8729
|  |  | 5.9 | Centering and shuttering including strutting ,propping etc and removal of form for
80 | 120000499 | 995457 | 5.9.1 | Foundations,footings,bases of columns etc for mass concrete | sqm | 18 | 6.66
90 | 120000500 | 995457 | 5.9.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and stringing courses etc. | sqm | 18 | 47.84
100 | 120000501 | 995457 | 5.9.3 | Suspended floors,roofs,landings,balconies and access platforms. | sqm | 18 | 37.6716
110 | 120000503 | 995457 | 5.9.5 | Lintels,beams,plinth beams,girders,bressumers and cantilevers | sqm | 18 | 1.932
120 | 120000514 | 995457 | 5.9.16.1 | Edges of Slabs and breakers in floors and walls ( 120 cm wide) | metre | 18 | 33.44
|  |  | 5.22 | Steel reinforcement for RCC Work including straghtening,cutting,bending,placing in position and binding all complete upto plinth level.
130 | 120000543 | 995454 | 5.22.6 | Thermo-mechanically treated bars of grade Fe-500D or more | kgs | 18 | 2637.967
|  |  | 6.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
140 | 120000601 | 995456 | 6.1.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 18 | 25.543
|  |  | 6.4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level upto floor V Level in all shades and sizes in :
150 | 120000607 | 995456 | 6.4.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 18 | 7.423
|  |  | 9.48 | Providing and fixing M.S. grills in required pattern in frames of windows with M.S. round bars including primer coat with approved primer.
160 | 120000867 | 995476 | 9.48.2 | Fixed to openings/wooden frames with rawl lugs , screws etc. | kgs | 18 | 35
170 | 120001115 | 995476 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting ,fixing in position and applying a priming coat of approved steel primer all complete. | kgs | 18 | 16.8
|  |  | 10.5 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6mm angle iron and gusset plate 3mm thick at junctions and corners and all necessary fittings complete , including applying of priming coat of approved steel primer.
180 | 120001119 | 995476 | 10.5.1 | Unsing MS angles 40 x 40 x 6 mm for diagonal braces. | sqm | 18 | 1.89
|  |  | 11.3 | Cement concrete flooring 1:2:4 ( 1: Cement, 2: Coarse Sand 4: Graded stone aggregate) finished with a floating coat of neat cement including slurry but excluding nosing etc complete
190 | 120001170 | 995474 | 11.3.1 | 40 mm thick with nominal size stone aggregate | sqm | 18 | 6
200 | 120003081 | 995474 | 11.37A | Providing and fixing first quality ceramic glazed tiles conforming to IS:15622 of approved makes in all colours, shades except burgundy, bottle green, black of any size approved by EIC in skirting, risers of steps, flooring over 12mm thick bed of 1:3 cement mortar and jointing with grey cement slurry @ 3.3 kgs /sqm including pointing in white cement mixed with pigment of matching shade complete. | sqm | 18 | 6
210 | 120001319 | 995453 | 12.22 | Making khurras 45 x 45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over PVC sheet 1 m x 1m x 400 micron , finshed with 12 mm cement plaster 1:3 ( 1 cement : 3 Coarse sand) and a coat of neatcement, rounding the edges and making the finshing the outlet complete . | each | 18 | 1
|  |  | 13.4 | 12 mm cement plaster of mix
220 | 120001406 | 995472 | 13.4.2 | 1:6 ( 1 cement : 6 coarse sand) | sqm | 18 | 22.695
|  |  | 13.7 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
230 | 120001412 | 995472 | 13.7.2 | 1:4 (1 cement : 4 fine sand) | sqm | 18 | 160.6
240 | 120001419 | 995472 | 13.12 | 18 mm cement plaster in 02 coats underlayer 12 mm thick cement plaster 1:5 ( 1cement : 5 coarse sand) and top layer 6 mm thick cement plaster 1:3 ( 1 cement 3: coarse sand) finshed rough with sponge | sqm | 18 | 37.4092
|  |  | 13.16 | 6 mm plaster of mix
250 | 120001423 | 995472 | 13.16.1 | 1:3 ( 1 cement : 3 fine sand) | sqm | 18 | 6
260 | 120001428 | 995472 | 13.21 | Extra for providing and mixing water proofing material in cement plaster work in proportion recommended by the manufacturer | per bag of 50 kg cement used in the mix | 18 | 407.8588
|  |  | 13.41 | Distempering with first quality acrylic distemper having VOC content less than 50 gram/litre, of approved manufacturer and required shade and colour, all complete to achieve even shade and colour
270 | 120001461 | 995473 | 13.41.1 | New Work ( Two or more coats) over and including water thinable priming coat with cement primer having VOC content less than 50 gms / litre. | sqm | 18 | 28.695
|  |  | 13.46 | Finshing walls with acrylic amooth exterior paint of required shades
280 | 120001466 | 995473 | 13.46.1 | New Work ( Two or more coats) applied @ 1.67 litre/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | sqm | 18 | 37.4092
|  |  | 13.62 | Painting with synthetic enamel paint of approved brand and manufacturer of required colour to give an even shade :
290 | 120001491 | 995473 | 13.62.1 | Two or more new coats over an undercoat of suitable shade with ordinary paint of approved brand and manufacture. | sqm | 18 | 4.5
|  |  | 18.7 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.
300 | 120002107 | 995424 | 18.7.6 | 50 mm nominal dia Pipes | metre | 18 | 5
|  |  | 18.9 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.
310 | 120002119 | 995424 | 18.9.8 | 80 mm nominal dia Pipes | metre | 18 | 20
|  |  | 18.19 | Providing and fixing gun metal non- return valve of approved quality ( screwed end) :
320 | 120002165 | 995424 | 18.19.6.2 | 80 mm nominal bore (Vertical) | each | 18 | 2
|  |  | 19.18 | Supply and fixing C.I cover without frame for manholes :
330 | 120002693 | 995424 | 19.18.2 | 50mm diameter C.I cover (medium duty) the weight of the cover to be not less than 58kg | each | 18 | 2
340 | 120002831 | 995453 | 22.3 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS: 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement: 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @1.7 kg/sqm). | sqm | 18 | 108.16
Electrical Items
|  |  | 1.10 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
350 | 130000025 | 995461 | 1.10.1 | Group A | EA | 18 | 2
|  |  | 1.14 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
360 | 130000032 | 995461 | 1.14.2 | 2 * 2.5 sq. mm + 1 * 2.5 . mm earth wire | Metre | 18 | 15
370 | 130000035 | 995461 | 1.14.5 | 2 * 10 sq . mm + 1 * 6 sq. mm earth wire | Metre | 18 | 50
|  |  | 1.24 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
380 | 130000121 | 995461 | 1.24.1 | 5/6 A switch | each | 18 | 2
390 | 130000124 | 995461 | 1.24.4 | 3 pin 5/6 A socket outlet | each | 18 | 2
400 | 130000146 | 995461 | 1.32 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | each | 18 | 2
410 | 130000149 | 995461 | 1.35 | Installation, Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | each | 18 | 2
|  |  | 2.10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
420 | 130000233 | 998736 | 2.10.1 | Single pole | each | 18 | 3
430 | 130000237 | 998736 | 2.10.5 | Triple pole and neutral | each | 18 | 1
|  |  | 2.15 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
440 | 130000249 | 998736 | 2.15.3 | 63 A | each | 18 | 1
450 | 130000419 | 998739 | 5.6 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | Set | 18 | 1
460 | 130000423 | 998739 | 5.10 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | Metre | 18 | 1
470 | 130000427 | 998739 | 5.14 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | Metre | 18 | 10
480 | 100007701 | 995462 | NS | Supply & erecting dewatering pump - 02 H.P | Each | 18 | 1
Civil Items
|  |  | 18.17 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwedend) :
490 | 120002150 | 995424 | 18.17.6 | 80 mm nominal bore | each | 18 | 1

## Drass
BOQ for "Construction of Water Storage tank at Drass as an initative towards Rain Water harvesting"
PR line item NO | SAP Activity code. | SAC CODE | DSR No. | Item Description | Unit | POWERGRID Rate GST rate (in %) | Quantity
Drass
Civil Items
|  |  | 1 | Carriage of material
|  |  | 1.1 | By mechanical transport including loading,unloading and stacking
10 | 120000008 | 995428 | 1.1.2 | Earth (1 Km) | Cum | 18 | 82.89
|  |  | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.
20 | 120000345 | 995433 | 2.6.1 | All kinds of soil | cum | 18 | 104.09
30 | 120000391 | 995433 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | cum | 18 | 21.21
|  |  | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
40 | 120000437 | 995454 | 4.1.3 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 18 | 0.25
50 | 120000442 | 995454 | 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 18 | 5.1
|  | 995454 | 5.1 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering ,shuttering,finshing and reinforcement - All works up to plinth level. |  | 18
60 | 120000488 | 995454 | 5.1.2 | 1:1.5:3 (1 Cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 18 | 20.51
70 | 120003032 | 995454 | 5.3 | Reinforced cement concrete work in beams,suspended floors,roofs having slope up to 15° landings, balconies , shelves , chajja , lintels, bands , plain window sills , staircases and spiral staircases above plinth level upto floor five level, excluding the cost of centering ,shuttering ,finishing and reinforcement with(1 Cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 18 | 5.87
|  |  | 5.9 | Centering and shuttering including strutting ,propping etc and removal of form for
80 | 120000499 | 995457 | 5.9.1 | Foundations,footings,bases of columns etc for mass concrete | sqm | 18 | 6.66
90 | 120000500 | 995457 | 5.9.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and stringing courses etc. | sqm | 18 | 47.84
100 | 120000501 | 995457 | 5.9.3 | Suspended floors,roofs,landings,balconies and access platforms. | sqm | 18 | 37.67
110 | 120000503 | 995457 | 5.9.5 | Lintels,beams,plinth beams,girders,bressumers and cantilevers | sqm | 18 | 1.93
120 | 120000514 | 995457 | 5.9.16.1 | Edges of Slabs and breakers in floors and walls ( 120 cm wide) | metre | 18 | 33.44
|  |  | 5.22 | Steel reinforcement for RCC Work including straghtening,cutting,bending,placing in position and binding all complete upto plinth level.
130 | 120000543 | 995454 | 5.22.6 | Thermo-mechanically treated bars of grade Fe-500D or more | kgs | 18 | 2637.97
|  |  | 6.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
140 | 120000601 | 995456 | 6.1.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 18
5.99
|  |  | 6.4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level upto floor V Level in all shades and sizes in :
150 | 120000607 | 995456 | 6.4.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 18 | 7.42
|  |  | 9.48 | Providing and fixing M.S. grills in required pattern in frames of windows with M.S. round bars including primer coat with approved primer.
160 | 120000867 | 995476 | 9.48.2 | Fixed to openings/wooden frames with rawl lugs , screws etc. | kgs | 18 | 35
170 | 120001115 | 995476 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting ,fixing in position and applying a priming coat of approved steel primer all complete. | kgs | 18 | 16.8
|  |  | 10.5 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6mm angle iron and gusset plate 3mm thick at junctions and corners and all necessary fittings complete , including applying of priming coat of approved steel primer.
180 | 120001119 | 995476 | 10.5.1 | Unsing MS angles 40 x 40 x 6 mm for diagonal braces. | sqm | 18 | 1.89
|  |  | 11.3 | Cement concrete flooring 1:2:4 ( 1: Cement, 2: Coarse Sand 4: Graded stone aggregate) finished with a floating coat of neat cement including slurry but excluding nosing etc complete
190 | 120001170 | 995474 | 11.3.1 | 40 mm thick with nominal size stone aggregate | sqm | 18 | 6
200 | 120003081 | 995474 | 11.37A | Providing and fixing first quality ceramic glazed tiles conforming to IS:15622 of approved makes in all colours, shades except burgundy, bottle green, black of any size approved by EIC in skirting, risers of steps, flooring over 12mm thick bed of 1:3 cement mortar and jointing with grey cement slurry @ 3.3 kgs /sqm including pointing in white cement mixed with pigment of matching shade complete. | sqm | 18 | 6
210 | 120001319 | 995453 | 12.22 | Making khurras 45 x 45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over PVC sheet 1 m x 1m x 400 micron , finshed with 12 mm cement plaster 1:3 ( 1 cement : 3 Coarse sand) and a coat of neatcement, rounding the edges and making the finshing the outlet complete . | each | 18 | 1
|  |  | 13.4 | 12 mm cement plaster of mix
220 | 120001406 | 995472 | 13.4.2 | 1:6 ( 1 cement : 6 coarse sand) | sqm | 18 | 22.7
|  |  | 13.7 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
230 | 120001412 | 995472 | 13.7.2 | 1:4 (1 cement : 4 fine sand) | sqm | 18 | 36.5
240 | 120001419 | 995472 | 13.12 | 18 mm cement plaster in 02 coats underlayer 12 mm thick cement plaster 1:5 ( 1cement : 5 coarse sand) and top layer 6 mm thick cement plaster 1:3 ( 1 cement 3: coarse sand) finshed rough with sponge | sqm | 18 | 37.41
|  |  | 13.16 | 6 mm plaster of mix
250 | 120001423 | 995472 | 13.16.1 | 1:3 ( 1 cement : 3 fine sand) | sqm | 18 | 6
260 | 120001428 | 995472 | 13.21 | Extra for providing and mixing water proofing material in cement plaster work in proportion recommended by the manufacturer | per bag of 50 kg cement used in the mix | 18 | 407.86
|  |  | 13.41 | Distempering with first quality acrylic distemper having VOC content less than 50 gram/litre, of approved manufacturer and required shade and colour, all complete to achieve even shade and colour
270 | 120001461 | 995473 | 13.41.1 | New Work ( Two or more coats) over and including water thinable priming coat with cement primer having VOC content less than 50 gms / litre. | sqm | 18 | 28.7
|  |  | 13.46 | Finshing walls with acrylic amooth exterior paint of required shades
280 | 120001466 | 995473 | 13.46.1 | New Work ( Two or more coats) applied @ 1.67 litre/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | sqm | 18 | 37.41
|  |  | 13.62 | Painting with synthetic enamel paint of approved brand and manufacturer of required colour to give an even shade :
290 | 120001491 | 995473 | 13.62.1 | Two or more new coats over an undercoat of suitable shade with ordinary paint of approved brand and manufacture. | sqm | 18 | 4.5
|  |  | 18.7 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.
300 | 120002107 | 995424 | 18.7.6 | 50 mm nominal dia Pipes | metre | 18 | 5
|  |  | 18.9 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.
310 | 120002119 | 995424 | 18.9.8 | 80 mm nominal dia Pipes | metre | 18 | 20
|  |  | 18.17 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwedend) :
320 | 120002150 | 995424 | 18.17.6 | 80 mm nominal bore | each | 18 | 1
|  |  | 18.19 | Providing and fixing gun metal non- return valve of approved quality ( screwed end) :
330 | 120002165 | 995424 | 18.19.6.2 | 80 mm nominal bore (Vertical) | each | 18 | 2
340 |  |  | 19.18 | Supply and fixing C.I cover without frame for manholes :
a | 120002693 | 995424 | 19.18.2 | 50mm diameter C.I cover (medium duty) the weight of the cover to be not less than 58kg | each | 18 | 2
| 120002831 | 995453 | 22.3 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS: 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement: 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @1.7 kg/sqm). | sqm | 18 | 108.16
Electrical Items
|  |  | 1.10 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
360 | 130000025 | 995461 | 1.10.1 | Group A | each | 18 | 2
|  |  | 1.14 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
370 | 130000032 | 995461 | 1.14.2 | 2 * 2.5 sq. mm + 1 * 2.5 . mm earth wire | Metre | 18 | 15
380 | 130000035 | 995461 | 1.14.5 | 2 * 10 sq . mm + 1 * 6 sq. mm earth wire | Metre | 18 | 50
|  |  | 1.24 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
400 | 130000121 | 995461 | 1.24.1 | 5/6 A switch | each | 18 | 2
410 | 130000124 | 995461 | 1.24.4 | 3 pin 5/6 A socket outlet | each | 18 | 2
| 130000146 | 995461 | 1.32 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | each | 18 | 2
420 | 130000149 | 995461 | 1.35 | Installation, Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | each | 18 | 2
|  |  | 2.10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
430 | 130000233 | 998736 | 2.10.1 | Single pole | each | 18 | 3
440 | 130000237 | 998736 | 2.10.5 | Triple pole and neutral | each | 18 | 1
|  |  | 2.15 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
450 | 130000249 | 998736 | 2.15.3 | 63 A | each | 18 | 1
460 | 130000419 | 998739 | 5.6 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | Set | 18 | 1
470 | 130000423 | 998739 | 5.10 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | Meter | 18 | 1
480 | 130000427 | 998739 | 5.14 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | Metre | 18 | 10
490 | 100007701 | 995462 | NS | Supply & erecting dewatering pump - 02 H.P | Each | 18 | 1