## Sheet1 (hidden)
RFX. No. 5002003106 NIT-433
Name of the Package | Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap.

## Basic
RFX. No. 5002003106 NIT-433
Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap.
General Guidelines for filling up the Price Schedule and other attachments.
1 | Fill only Green shaded cells in Details and Schedule-I.
2 | All the cells in Summary will be auto filled, therefore no cell is required to be filled in that sheet.
3 | Instructions ,if any will be displayed automatically after selecting the cell.
Click here to proceed.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)

## Details
RFX. No. 5002003106 NIT-433
Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap.
Enter the following details of the bidder
Name of the bidder
Address
Contact No.
E-mail
Alternative E-mail
Printed Name
Designation
Place
Date

## Schedule-I
RFX. No. 5002003106 NIT-433
Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap.
Schedule-I of Price Bid
Name of the bidder |  | 0 |  |  | To,
Address |  | 0 |  |  | Contracts and Materials Department
|  | 0 |  |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
Sl. No. | Name of Work |  | Description |  |  |  | Total Cost Estimate
A | Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap. |  | As given in sheet "CIVIL" |  |  |  | 12080525.2345
B | Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap. |  | As given in sheet "PHE " |  |  |  | 842430.2909
C | Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap. |  | As given in sheet "ELECTRICAL" |  |  |  | 1957232.201
D | Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap. |  | As given in sheet "DEMOLITION |  |  |  | 148500
Total amount for the work "Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap. " | [6 empty] | 15028687.7264
Above (+)and below (-)(in %): To be quoted by bidder | [6 empty] | 0%
Quoted Price | [6 empty] | 15028687.7264
GST (in percentage )@ |  |  |  | 18% | on Quoted Price |  | 2705163.7908
Total amount including taxes | [6 empty] | 17733851.5172
Note: If any part of price which required to be filled by bidder kept blank, the bid price shall be considered as inclusive and evaluation shall be done accordingly
Date | 0 |  |  |  | Printed name | 0
Place | 0 |  |  |  | Designation | 0

## Summary
RFX. No. 5002003106 NIT-433
Construction of Administrative Block on demolition of existing Administrative Building at Biharsharif S/S under Add Cap.
Name of the bidder |  | 0 |  | To,
Address |  | 0 |  | Contracts and Materials Department
|  | 0 |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated Total Estimated Cost as indicated in the "Bill of Quantity(BOQ) & Prices" covering entire scope of works enclosed herewith as Schedule-I.
I |  | Total for Installation/Services as per Schedule-I |  |  |  | 15028687.7264
II |  | Total GST on services/Installation as per Schedule-I |  |  |  | 2705163.7908
III |  | Toal BID Price including all taxes |  |  |  | 17733851.5172
Date | 0 |  | Printed Name |  | 0
Place | 0 |  | Designation |  | 0

## CIVIL
B.O.Q. for the construction of Administrative Block of Power Grid at Biharsharif Sub-Station.
Civil Works
Sl.No. | DSR'2023 | DESCRIPTION | UNIT | QTY | RATE(Rs.) | Rate | AMOUNT
SECTION-I (EARTH WORK AND SAND FILLING IN FOUNDATION AND PLINTH)
1 | 2.8 | Earth work in excavation by mechanical means ( Hydraulic excavator)/ manual means in foundation trenches or drains (not exceding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, including getting out the excavated soil and disposal of surplus excavated soil as directed, with all lead & lifts.
| 2.8.1 | All kinds of soil | Cum | 432.9273 | 260.3 | 220.5932 | 95500.8273
2 | 2.25 | Filling available excavated earth(excluding rock) in trenches , plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 260 | 196 | 166.1017 | 43186.4407
3 | 2.27 | Supplying and filling in plinth with local sand under floors including, watering, ramming consolidating and dressing complete. | Cum | 129.4019 | 2123.75 | 1799.7881 | 232895.9875
4 | RATE ANALYSIS | Providing brick of class designation 75 in one brick flat soling joints filled with local sand including cost of watering taxes royalty all complete as per specification and direction of Engineer-in-charge. | Sqm | 526.3562 | 377.99 | 377.99 | 198957.3989
SECTION-II (RCC / PCC WORK)
5 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering-all work upto plinth level.
| 4.1.3 | 1:2:4 ( 1 Cement:2 coarse sand: 4 graded stone aggregate 20 mm nominal size) | Cum | 39.4767 | 7878.5 | 6676.6949 | 263574.0073
6 | 5.1 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centring, shuttering, finishing and reinforcement-all work upto plinth level.
| 5.1.2 | 1:1:5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size) | Cum | 82.7767 | 9045.75 | 7665.8898 | 634556.6795
7 | 5.3 | Reinforced cement concrete work in roof beams, suspended floors, roofs having slope upto 15 degree, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor five level excluding the cost of centring, shuttering, finishing and reinforcement with 1:11/2:3 ( 1 cement: 11/2 coarse sand: 3 graded stone aggregate 20 mm nominal size). | Cum | 136.877 | 11505.5 | 9750.4237 | 1334608.639
8 | 5.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts, etc. upto floor five level excluding cost of centring, shuttering, finishing, and reinforcement.
| 5.2.2 | 1:1:5:3 ( 1 cement: 1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size) | Cum | 24.9998 | 10852.95 | 9197.4153 | 229933.7718
9 | 5.22 | Reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete.
| 5.22.6 | Thermo-mechanically treated bars | Kg | 26806.2773 | 107.85 | 91.3983 | 2450048.3138
10 |  | Centering & shuttering including
a | 5.9.1 | Foundation, footings, bases of columns etc. for mass concrete | Sqm | 46.595 | 392.15 | 332.3305 | 15484.94
b | 5.9.5 | Lintels, beams, plinth beams, girders, bressumers and cantilevers. | Sqm | 709.8154 | 736.4 | 624.0678 | 442972.9264
c | 5.9.3 | Suspended floors, roofs, landings, balconies and access platform. | Sqm | 577.92 | 927.25 | 785.8051 | 454132.4746
d | 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sqm | 324.3 | 961.3 | 814.661 | 264194.5678
e | 5.9.15 | small lintel not exceeding 1.5 m clear span, moulding as in cornices,window sill,string courses, bands, copings,bed plates, anchor blocks and like | Sqm | 60.745 | 392.15 | 332.3305 | 20187.4167
f | 5.9.7 | stairs,( excluding landing except spiral-staircases) | Sqm | 47.7 | 764.95 | 648.2627 | 30922.1314
g | 5.9.19 | Weather shade, Chajjas, corbels etc., including edges | Sqm | 13.5675 | 951.1 | 806.0169 | 10935.635
SECTION-III ( MASONRY WORK)
11 | 6.1.2 | Brick work with common burnt clay F.P.S.( Non modular) bricks of class designation 75, in foundation and plinth leve in. cement mortar 1:6(1 cement: coarse sand). | Cum | 20.8732 | 7132.25 | 6044.2797 | 126163.4771
12 | 6.4.2 | Brick work with common burnt clay F.P.S.( non modular) bricks of class designation 75, in superstructure above plinth level upto floor V level in all shapes and sizes in cement mortar 1:6 (1 cement: 6 coarse sand). | Cum | 114.1657 | 9105.95 | 7716.9068 | 881005.8714
13 | 6.13.2 | Half brick masonry with common burnt clay F.P.S.( non modular) bricks of class designation 75 in superstructure above plinth level upto floor V level . Cement mortar 1:4 ( 1 cement :4 coarse sand ) | Sqm | 263.286 | 1123.8 | 952.3729 | 250746.4464
SECTION-IV (PLASTERING WORK)
14 | 13.16 | 6mm cement plaster to ceiling of mix:
| 13.16.1 | 1:3 ( 1 cement: 3 fine sand) | Sqm | 540.9409 | 300.45 | 254.6186 | 137733.6334
15 | 13.4 | 12mm cement plaster of mix:
| 13.4.2 | 1:6 (1 cement:6 coarse sand) | Sqm | 793.0869 | 343.65 | 291.2288 | 230969.7497
16 | 13.5 | 15 mm Cement plaster of rough side of single or half brick wall of mix 1:6 ( 1 cement:6 coarse sand)
| 13.5.2 | 1:6(1 cement: 6 coarse sand) | Sqm | 281.1156 | 395.35 | 335.0424 | 94185.6377
17 | 13.6 | 20 mm cement plaster of mix
| 13.6.2 | 1:6 ( 1 cement: 6 coarse sand ) |  | 803.3835 | 466.05 | 394.9576 | 317302.4408
SECTION-V (FLOORING WORK)
18 | 11.26.1 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) :25 mm thick | Sqm | 41.3544 | 1948.25 | 1651.0593 | 68278.5676
21 | 11.41 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete.
| 11.41.2 | 11.41.2 Size of Tile 600x600 mm | Sqm | 422.3666 | 1553.45 | 1316.4831 | 556038.4438
19 | 8.2 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
| 8.2.2 | Granite of any colour and shade
| 8.2.2.2 | Area of slab over 0.50 sqm | Sqm | 5.88 | 5136.3 | 4352.7966 | 25594.4441
20 | 11.37 | Providing and laying ceramic glazed floor tiles 300x300 mm( thickness to be specified by the manufacturer )of 1st quality conforming to IS:15622 of approved make in colours such as white, ivory, grey, fume red brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement:4 Coarse sand )including pointing the joints in white cement mixed and matching pigment etc. complete. | Sqm | 63.2384 | 1096.55 | 929.2797 | 58766.1589
21 | 8.9 | Stone tile (polished) work for wall lining over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and cement slurry @ 3.3 kg/sqm including pointing in white cement complete.
| 8.9.1 | 8.9.1 8mm thick
| 8.9.1.2 | Granite of any colour and shade | Sqm | 7.28 | 3617.55 | 3065.7203 | 22318.4441
22 | 11.27 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | Sqm | 16.611 | 2354.7 | 1995.5085 | 33147.3913
23 | 11.46 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shade, in skirting, riser of steps,over 12 mm thick bed of cement mortar 1:3( 1 cement:3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joints with whitw cement and matching pigments etc. complete |  |  |  | #VALUE!
| 11.46.2 | Size of Tile 600x600 mm | Sqm | 27.929 | 1623.05 | 1375.4661 | 38415.3928
24 | 8.31 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS:15622 ( thickness to be specified by the manufacture) of approved make in all colours, shades except begundy, bottle green,blackof any size as approved by Engineer-in-chage in skirting, risers of steps and dados over 12mm thick bed of Cement Mortar 1:3 (1 Cement:3 Coarse sand ) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | Sqm | 156.5175 | 1267.95 | 1074.5339 | 168183.3594
25 | 11.38 | Providing and laying ceramic glazed floor tiles of size 300x300 mm( thickness to be specified by the manufacturer )of 1st quality conforming to IS:15622 of approved make in colours, shades, except , ivory, grey, fume red brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement:4 Coarse sand ) jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc. complete. | Sqm | 119.9255 | 1315.3 | 1114.661 | 133676.2798
SECTION-VI (CARPENTARY, STEEL AND HARDWARE WORK)
26 | 9.1 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately).
| 9.1.2 | sal wood | Cum | 0.84937 | 116520.3 | 98746.0169 | 83872.3981
27 | 9.131 | Providing and fixing factory made shutters of Pre-laminated particle board flat pressed three layer or graded wood particle board with one side decorative finish and other side balancing lamination conforming to IS: 12823 Grade l Type ll, of approved design, and edges sealed with water resistant paint and lipped with aluminium 'U' type edge beading all- round the shutter, including fixing with angle cleat, grip strip, cadmium plated steel screws, including fixing of aluminium hinges 100x63x4 mm etc. complete as per architectural drawing and direction of Engineer-in-Charge (Cost of 'U' beading and hinges will be paid for separately).
| 9.131.1 | 25 mm thick | Sqm | 31.5 | 1801.6 | 1526.7797 | 48093.5593
28 | 9.132 | Providing and fixing aluminum U beading of required size to Pre-laminated/flush door shutter, including fixing etc. complete as per direction of Engineer-in-charge (@ 1 Kg Per Meter ) | kg | 45.3 | 596.15 | 505.2119 | 22886.0975
29 | 9.147C | Providing and fixing factory made uPVC white colour casement/ Casement cum fixed glazed door comprising of uPVC multi-chambered frame, sash and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length(shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, zinc alloy (white powder coated) 3D hinges and one handle on each side of panels along with zinc plated mild steel multi point locking having transmission gear, cylinder with keeps and one side key, G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws, etc.
a | 9.147C.2 | Casement door with top hung ventilator with 3D and S.S. friction hinges (400 x 19 x 1.9 mm) made of (big series) frame 67 x 64 mm, sash 67 x 110 mm & mullion 67 x 80 mm all having wall thickness of 2.3 ±. 0.2 mm and single glazing bead / double glazing bead of appropriate dimension.(Area of door upto 2.50 sqm) | Sqm | 12.15 | 10451.95 | 9332.0982 | 113384.9933 | DSR21
b | 9.147C.1 | Casement door with 3D hinges made of (big series) frame 67 x 64 mm & sash 67 x 110 mm both having wall thickness of 2.3 ± 0.2 mm and single glazing bead / double glazing bead of appropriate dimension.(Area of door upto 2.00 sqm) | Sqm | 18.711 | 10284.7 | 9182.7679 | 171818.7694 | DSR 21
30 | 9.147B | Providing and fixing factory made uPVC white colour fixed glazed windows/ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing
| 9.147B | hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. |  |  |  | 0 | 0
| 9.147B.1 | Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area upto 0.75 sqm.) | Sqm | 5.04 | 7249.9 | 6473.125 | 32624.55 | DSR21
31 | 9.147A.6 | Casement cum fixed panel window having both end single casement panel, middle fixed panels and at top completely fixed ventilator with S.S friction hinges (350 x 19 x 1.9) made of (big series) frame 67 x 60 mm , sash 67 x 80 mm & mullion 67 x 80 mm all having wall thickness of 2.3 ± 0.2 mm and single glazing bead/double glazing bead of appropriate dimension. (Area of window above 3.00 sqm upto 5.00 sqm) | Sqm | 35.64 | 8135.75 | 7264.0625 | 258891.1875 | DSR21
32 | 9.147A.3 | Casement window double panels with top fixed with S.S. friction hinges (350 x 19 x 1.9 mm) made of (small series) frame 47 x 50 mm, sash 47 x 68 mm & mullion 47 x 68 mm all having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. ( Area of window upto 2.50 sqm). | Sqm | 33.075 | 7776.7 | 6943.4821 | 229655.6719 | DSR21
33 | 9.149 | Providing and fixing casement handle made of zinc alloyed (white powder coated) for uPVC casement window with necessary screws etc. complete | no | 56 | 231.05 | 195.8051 | 10965.0847
34 | 9.7.7.2 | Providing and Fixing Float glass panes 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). sqm | sqm | 106.101 | 2600.45 | 2203.7712 | 233822.3267
35 | 9.96 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodiccoating not less than grade AC 10 as per IS : 1868), transparent or dyed torequired colour or shade, with nuts and screws etc. complete :
| 9.96.2 | 250x16mm | each | 36 | 260.6 | 220.8475 | 7950.5085
36 | 9.97 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodiccoating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
| 9.97.2 | 250x10mm | each | 2 | 115.15 | 97.5847 | 195.1695
37 | 9.1 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete.
| 9.100.1 | 125 mm | Each | 18 | 66.25 | 56.1441 | 1010.5932
| 9.100.2 | 100 mm | Each | 24 | 59.55 | 50.4661 | 1211.1864
38 | 9.101 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour and shade with necessary screws etc. complete.
| 9.101.2 | Twin rubber stopper | Each | 2 | 72.35 | 61.3136 | 122.6271
39 | 10.28 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, ( for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.).. | k.g. | 116.67 | 772.4 | 654.5763 | 76369.4136
SECTION-VII (FINISHING WORK)
40 | 13.26 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | Sqm | 1434.5159 | 262.7 | 222.6271 | 319362.1314
41 | 13.83 | Wall painting with Premium acrylic amulsion paint of interior grade, having VOC ( Volatile Organic Compound) content less than 50 grams/ litre of approved brand and manufacture including applying additional coats wherever required to achieve even shade and colour
| 13.83.2 | Two coats | Sqm | 1434.5159 | 142.8 | 121.0169 | 173600.7323
42 | 13.47 | Finishing walls with premium Acrylic smooth exterior paint with silicone additives of required shade:
| 13.47.1 | New work (Two or more coats applied @ 1.43kg/10sqm) over and including base coat of waterproffing cement paint Snowcem Plus or equivalent applied @ 2.20 kg/10 sqm | Sqm | 803.3835 | 171.1 | 145 | 116490.6075
43 | 13.61 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade:
| 13.61.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved band and manufacure | Sqm | 20.0681 | 300.45 | 254.6186 | 5109.7188
SECTION-VIII (MISCELLANEOUS ITEMS)
44 | 10.18 | Providing and fixing circular/hexagonal M.S sheet ceiling fan box with clamp of internal dia 140 mm, 73 mm height, 3 mm thick rim, top and bottom lid of 1.5 mm M.S sheet. Lids shall be screwed into M.S box by means of 3 mm round headed screws, clamps shall be made of 12 mm dia M.S bar bent to shape as per standard drawing with over all length as 80 cm. | Each | 24 | 220.65 | 186.9915 | 4487.7966
45 | 22.5 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | Sqm | 39.8809 | 617.05 | 522.9237 | 20854.6689
46 | 22.7 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces / sunken slabs etc consisting of following operations.
Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS:2645 and approved by engineer -in-charge over the RCC slab including adjoining walls up to 300 mm height including cleaning the surface before treatment.
Laying brick bats 25mm to 115mm size with 50% of cement mortar 1:5 (1cement: 5 coarse sand) admixed with proprietary water profing compound conforming to IS: 2645 over 20mm thick layer of cement mortar of mix 1:5 (1 cement: 5 coarse sand) admixed with prorietary water proofing compound conforming to IS: 2645 and appeoved by engineer-in-charge to requiredslope and treating similary the adjoining walls upto 300mm height including rounding of junctions to walls and slabs.
After twodays of proper curing applying a second coat of cement slurry using 2.75 kg / sqm of cement admixed with proprietary water proofing compound conforming to IS: 2645.and approved by engineer-in charge.
Finishing the surface with 20mm thick jointless cement mortar of mix 1:4 (1 cement:4 coarse sand) admixed with proprietary water proofingcompound conforming to IS: 2645 and laying approved by engineer - in charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowelwith neat cement slurry and making pattern of 300 x 300 mm square 3 mm deep.
The whole terraceso finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Enigneer-in-charge.
The whole twrrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test . all above operations to be done in order and as directed and specified by engineer - in - charge.
| 22.7.1 | With average thickness of 120mm and minimum thickness at khurra as 65 mm | Sqm | 167.25 | 1684.6 | 1427.6271 | 238770.6356
47 | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 ( 1 cement:3 coarse sand: 6 graded stone aggregate 20mm nominal size) over 75mm bed od dry brick ballast 40mm nominal size well rammed and consolidated and grouted with fine sane including finishing the top smooth. | Sqm | 68.2613 | 749.3 | 635 | 43345.8938
48 | 12.22 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | Each | 4 | 298.25 | 252.7542 | 1011.0169
|  | TOTAL |  |  |  |  | 12080525.2345

## PHE works
PROJECT:- PROPOSED ADMINISTRATIVE BLOCK
AT BIHAR SARIF SUB STATION
CLINT-POWER GRID CORPORATION OF INDIA LIMITED
RATE REFERANCE- D.S.R. (2019)/S.O.R.(2020)/MR
ESTIMATE OF COST (P. H. E. WORKS )
S.N. | DSR23 | Description | Unit | Quantity | Rate | Rate | Amount
[5 empty] | Rs. |  | Rs.
A | WATER SUPPLY
C.P.V.C PIPES
1 | DSR 18.7 | Providing and fixing Chlorinated polyvinyl Chloride(CPVC) pipes,having thermal stability for hot & cold water supply,including all CPVC plain & brass threaded fittings,including fixing the pipe with clamp at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.
(A) | DSR 18.7.1 | 15 mm dia. Nominal outer dia pipes | Metre | 4 | 286.8 | 243.0508 | 972.2034
(B) | DSR 18.7.2 | 20 mm dia. Nominal outer dia pipes | Metre | 25 | 335 | 283.8983 | 7097.4576
(C) | DSR 18.7.3 | 25 mm dia. Nominal outer dia pipes | Metre | 13 | 401.55 | 340.2966 | 4423.8559
(D) | DSR 18.7.4 | 32 mm dia. Nominal outer dia pipes | Metre | 14 | 518.75 | 439.6186 | 6154.661
(E) | DSR 18.7.5 | 40 mm dia. Nominal outer dia pipes | Metre | 39 | 702.95 | 595.7203 | 23233.0932
2 | DSR 18.8 | Providing and fixing Chlorinated polyvinyl Chloride(CPVC) pipes,having thermal stability for hot & cold water supply,including all CPVC plain & brass threaded fittings,i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of engineer in charge. |  |  |  | 0 | 0
|  | Concealed work, including cutting chases and making good the walls etc. |  |  |  | 0 | 0
(A) | DSR 18.8.1 | 15 mm dia. Nominal outer dia pipes | Metre | 41 | 497.8 | 421.8644 | 17296.4407
(B) | DSR 18.8.2 | 20 mm dia. Nominal outer dia pipes | Metre | 30 | 537.6 | 455.5932 | 13667.7966
(C) | DSR 18.8.3 | 25 mm dia. Nominal outer dia pipes | Metre | 13 | 627.25 | 531.5678 | 6910.3814
3 | DSR 18.9 | Providing and fixing Chlorinated polyvinyl Chloride(CPVC) pipes,having thermal stability for hot & cold water supply,including all CPVC plain & brass threaded fittings, This includes jointing of pipes & fittings with one step CPVC solvent cement trenching,refilling and testing of joints complete as per direction of engineer in charge. |  |  |  | 0 | 0
(A) | DSR 18.9.4 | 32 mm dia. Nominal outer dia pipes | Metre | 15 | 438.6 | 371.6949 | 5575.4237
4 | DSR 18.13 | Making connection of G.I. distribution branch with G.I. Main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete. |  |  |  | 0 | 0
(A) | DSR 18.13.1 | 25 to 40 mm Nominal bore | each | 1 | 911.9 | 772.7966 | 772.7966
5 | DSR 18.16 | Providing and fixing brass stop cock of approved quality. |  |  |  | 0 | 0
(A) | DSR 18.16.1 | 15 mm Nominal bore | each | 2 | 353.35 | 299.4492 | 598.8983
6 | SOR 18.17 | Providing and fixing brass gate valve with C.I. wheel of approved quality. |  |  |  | 0 | 0
(A) | DSR 18.17.1A | 20 mm Nominal bore | Each. | 8 | 539.95 | 457.5847 | 3660.678
(B) | DSR 18.17.1 | 25 mm Nominal bore | Each. | 4 | 622.4 | 527.4576 | 2109.8305
(C) | DSR 18.17.3 | 40 mm Nominal bore | Each. | 2 | 826.1 | 700.0847 | 1400.1695
7 | DSR 18.19 | Providing and fixing metal non-return valve of approved quality. |  |  |  | 0 | 0
| DSR 18.19.2 | 32 mm nominal bore |  |  |  | 0 | 0
| DSR 18.19.2.1 | Horizontal | Each. | 1 | 791.9 | 671.1017 | 671.1017
| DSR 18.19.2.2 | Vertical | Each. | 1 | 850.25 | 720.5508 | 720.5508
8 | DSR 18.46 | Providing and fixing G.I. union in G.I.pipe including cutting and threading the pipe and making long screws etc.complete |  |  |  | 0 | 0
(A) | DSR 18.46.1 | 15 mm dia. Nominal bore | each | 2 | 318.35 | 269.7881 | 539.5763
(B) | DSR 18.46.2 | 20 mm dia. Nominal bore | each | 11 | 346.8 | 293.8983 | 3232.8814
(C) | DSR 18.46.3 | 25mm dia. Nominal bore | each | 5 | 439.25 | 372.2458 | 1861.2288
(D) | DSR 18.46.4 | 32mm dia. Nominal bore | each | 3 | 489.05 | 414.4492 | 1243.3475
(E) | DSR 18.46.5 | 40mm dia. Nominal bore | each | 7 | 631.3 | 535 | 3745
9 | DSR 18.48 | Providing and placing on terrace(at all floor levels)polythethylene water storage tank ,ISI-12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | litre | 2000 | 11 | 9.322 | 18644.0678
|  | C.P. BRASS FITTINGS |  |  |  | 0 | 0
10 | DSR 18.49 | Providing and fixing C.P brass bib cock of approved quality confirming to IS:8931 |  |  |  | 0 | 0
| DSR 18.49.1 | 15mm nominal bore | Each | 10 | 506.8 | 429.4915 | 4294.9153
11 | DSR 18.53 | Providing and fixing C.P. brass angle valve for basin mixer and geyser pointsof approved quality confirming to8931 |  |  |  | 0 | 0
| DSR 18.53.1 | 15 mm Nominal bore | Each | 12 | 574.3 | 486.6949 | 5840.339
12 | DSR 18.58 | Providing and fixing P.T.M.T. grating of approved quality & colour |  |  |  | 0 | 0
| DSR 18.58.1 | circular type |  |  |  | 0 | 0
| DSR 18.58.1.1 | 100 mm nominal dia, | Each | 11 | 37.6 | 31.8644 | 350.5085
B | SANITARY INSTALLATION |  |  |  |  | 0 | 0
1 | DSR 17.1 | Providing and fixing water closet squatting pan(indian type WC pan)with 100mm sand cast iron P or S trap, 10 litre low fixture complete , including ctting and making good the walls and level white PVC flushing cistern,including flush pipe with manuall controlled device(handle leer) cofirming to IS 7231, with all fittings and floors wherever required |  |  |  | 0 | 0
| DSR 17.1.1 | white vitreous china Orissa pattern WC pan of size 580X440mm with integral type foot rests | Each | 4 | 6767.4 | 5735.0847 | 22940.339
2 | DSR 17.2 | Providing and fixing white vitreous china pedestal type-water closet (European type WC pan) with seat & lid, 10 litre low level white PVC flushing cisternincluding flush pipe,with manually controlled device(handle leaver) confirming to IS:7231 with all fittings and fixture complete , including cutting and making good the wall and floors wherever required |  |  |  | 0 | 0
| DSR 17.2.1 | WC pan with ISI marked white solid plastic seat and lid | Each | 5 | 6515.55 | 5521.6525 | 27608.2627
3 | DSR 17.4 | Providing and fixing .white vitreous china flat back or wall corner type lipped front urinal basin of size 450 x 260 x 350mm and 340 x 410 x 265 mm sizes respectively with automatic flushing cistern with standard flush pipe and CP brass spreaders with brass unions and GI clamps complete including painting of fittings and brackets, cutting and making good the walls and floors wherever required. |  |  |  | 0 | 0
| DSR 17.4.4 | Range of four urinal basin with 10 litres white P.V.C. automatic flushing cistern. | Each | 2 | 18579.95 | 15745.7203 | 31491.4407
4 | DSR 17.7 | Provding and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, , 32 mm C.P. brass waste of standard pattern, including paintings of fittings and brackets, cutting and making good the .wall wherever required. |  |  |  | 0 | 0
| DSR 17.7.4 | White vitreous china flat back wash basin size 550X400mm with a single15mm CP brass pillar tap | Each | 10 | 1879.2 | 1592.5424 | 15925.4237
5 | DSR 17.10 | Provding and fixing Stainless Steel A ISI 304 (18/8) Kitchen sink as per I.S. 13983 with C.I. brackets and stainless steel plug 40mm inculding painting of fitting and brackets, cutting and making good the walls wherever required. |  |  |  | 0 | 0
| DSR 17.10.1 | Kitchen sink with drain board. |  |  |  | 0 | 0
| DSR 17.10.1.1 | 510X1040mm bowl depth 250mm | Each | 2 | 6945.6 | 5886.1017 | 11772.2034
6 | DSR 17.28 | Provding and fixing PVC waste pipe for sink or wash basin including PVC waste fittings complete |  |  |  | 0 | 0
| DSR 17.28.2 | Flexiable pipe |  |  |  | 0 | 0
| DSR 17.28.2.2 | 40 mm dia | Each | 2 | 119.55 | 101.3136 | 202.6271
7 | DSR 17.31 | Provding and fixing 600X450mm bevelled edge mirror of superior glass (of approved quality) complete with 6mm thick hard board ground fixed to wooden cleats with CP brass screws & washers complete. | Each | 10 | 1607.95 | 1362.6695 | 13626.6949
8 | DSR 17.33 | Provding and fixing 600X120X5 mm glass shelf with edges rounded off supported on anodised aluminium angle frame with CP brass brackets and guard rail complete fixed with 40 mm long screws ,rawl plug etc, complete. | Each | 10 | 1083.5 | 918.2203 | 9182.2034
9 | DSR 17.34 | Provding and fixing toilet paper holder |  |  |  | 0 | 0
| DSR 17.34.1 | C.P. brass | Each | 4 | 803.7 | 681.1017 | 2724.4068
10 | DSR 17.70 | Provding and fixing PTMT bottle traps for wash basin & sink |  |  |  | 0 | 0
| DSR 17.70.2 | Bottle trap 38 mm single piece moulded with height of 270mm , effective length of tail pipe 260mm from the centre of waste coupling 77mm breadth with 25mm minimum water seal ,weighing not less than 263 gms. | Each | 12 | 375.65 | 318.3475 | 3820.1695
[6 empty] | 0 | 0
11 | DSR 17.71 | Provding and fixing PTMT liquid soap container 109 mm wide,125mm high and 112mm distance from wall of standard shape with bracket of same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | Each | 6 | 168.35 | 142.6695 | 856.0169
12 | DSR 17.73 | Provding and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. |  |  |  | 0 | 0
| DSR 17.73.2 | 600 mm long towel rail with total length of 645mm width78mm and effective height of 88mm,weighing not less than 190 gms. | Each | 6 | 708.95 | 600.8051 | 3604.8305
|  | RAIN WATER PIPE & BALCONY DRAINAGE |  |  |  | 0 | 0
13 | DSR 12.41 | Providing and fixing on wall face unplasticised-Rigid PVC rain water pipes conforming to IS:13592 Type-A including jointing with seal ring conforming to IS:5382 leaving 10mm gap for thermal expansion |  |  |  | 0 | 0
| DSR 12.41.2 | 110mm diameter | Metre | 38 | 377.4 | 319.8305 | 12153.5593
14 | DSR 12.42 | Providing and fixing on wall face unplasticised -PVC moulded fittings/ accessories for unplasticised Rigid PVC rainwater pipes conforming to IS: 13592 Type-A including jointing with seal ring conforming to IS:5382 leaving 10mm gap for thermal expansion. |  |  |  | 0 | 0
| DSR 12.42.1 | Coupler |  |  |  | 0 | 0
| DSR 12.42.1.2 | 110mm | Each | 4 | 136.15 | 115.3814 | 461.5254
| DSR 12.42.5 | Bend 87.50 |  |  |  | 0 | 0
| DSR 12.42.5.2 | 110mm bend | Each | 5 | 150.35 | 127.4153 | 637.0763
| DSR 12.42.6 | Shoe (Plain) |  |  |  | 0 | 0
| DSR 12.42.6.2 | 110mm Shoe | Each | 5 | 131.85 | 111.7373 | 558.6864
15 | DSR 12.43 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised-PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with M.S screws of required length including cutting brick work and fixing in cement mortar 1:4( 1 cement: 4 coarse sand) and making good the wall etc. complete. |  |  |  | 0 | 0
| DSR 12.43.2 | 110mm | Each | 28 | 371.3 | 314.661 | 8810.5085
16 | DSR 12.44 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | Each | 5 | 54.7 | 46.3559 | 231.7797
C | DRAINAGE |  |  |  |  | 0 | 0
1 | DSR 2.10 | Excavating trenches of required width for pipes, cables etc including excavation for sockets and dressing of sides, ramming of bottoms depth upto 1.5m ,including getting out the excavated soil , and then returning the soil as required,in the layers not exceeding 20 cm in depth including consolidating each deposited layers by ramming watering and desposing of surplus excavated soil as dirceted within a lead of 50m |  |  |  | 0 | 0
(A) | DSR 2.10.1.2 | pipes cables etc exceeding 80mm dia but not exceeding 300 mm dia | Metr. | 35 | 352.15 | 298.4322 | 10445.1271
2 | DSR 19.6 | Providing and laying non -pressure NP2 class(light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 including testing of joints etc. complete |  |  |  | 0 | 0
(A) | DSR 19.6.2 | 150 mm dia R.C.C. pipe | Metr. | 35 | 556.45 | 471.5678 | 16504.8729
3 | DSR 19.7 | Constructing brick masonary manhole in cement mortar 1:4 (1 cement, 4 coarse sand.) with R.C.C. top slab with1:1.5:3 mix(1 cement, 1.5 coarse sand, 3 graded stone aggregate 20 mm nominal size) foundation concrete 1:4:8 mix (1cement, 4 coarse sand, 8 graded stone aggregate 40 mm nominal size.) inside plastering 12 mm thick with cement mortar 1:3 (1 cement, 3 coarse sand.) finished with floating coat of neat cement and making channels in cement concrete 1:2:4. finished with floating coat of neat cement complete as per standard design. |  |  |  | 0 | 0
(a) | DSR 19.7.1 | Inside size 90x80cm and 45 cm deep including C.I. cover with frame ( light duty) 455x610 mm internal diamension tatal weight of cover and fram to be not less than 38 kg (weight of cover23 kg and weight of frame 15 kg ) |  |  |  | 0 | 0
| DSR 19.7.1.1 | With cmmon burnt clay F.P.S. (non modular)bricks with class designation 7.5 | Each | 13 | 12770.55 | 10822.5 | 140692.5
4 | DSR 19.32 | Making soak pit 2.5 m diameter 3.0 meter deep with 45x45 cm dry brick honey comb shaft with brick and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. |  |  |  | 0 | 0
| DSR 19.32.1 | With cmmon burnt clay F.P.S. (non modular)bricks with class designation 7.5 | Each | 1 | 26861.9 | 22764.322 | 22764.322
D | SEPTIC TANK |  |  |  |  | 0 | 0
| Liquid Dimension 3600X1500X1500 cu-m |  |  |  |  | 0 | 0
1 | DSR 2.8 | Earthwork in excavation by mechanical means (Hydraulic excavtor)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sq m on plan ) including dressing of sides and ramming of bottoms,lift upto 1.5m,including getting out the excavated soil and disposal of surplus excavated as directed within a lead of 50m |  |  |  | 0 | 0
| DSR 2.8.1 | All kind of soil | Cum | 39.31 | 260.3 | 220.5932 | 8671.5195
2 | 2.27 | Supplying and filling in plinth with sand and under floors including watering,ramming consolidating and dressing complete | Cum | 1.82 | 2123.75 | 1799.7881 | 3275.6144
3 | DSR 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering -All work upto plinth level |  |  |  | 0 | 0
| DSR 4.1.3 | 1:2:4(1cement:2 corse sand:4 graded stone aggregate 20mm nominal size | Cum | 1.82 | 7878.5 | 6676.6949 | 12151.5847
4 | DSR 6.1 | Brick work with common burnt clay FPS bricks of class designation 7.5 in foundations and plinth in |  |  |  | 0 | 0
| DSR 6.1.2 | Cement morter 1:6(1 cement : 6 corse sand) | Cum | 10 | 7132.25 | 6044.2797 | 60442.7966
5 | DSR 13.7 | 12 mm cement plaster finished with a floting coat of neat cement of mix |  |  |  | 0 | 0
| DSR 13.7.2 | 1:4(1 cement : 4 fine sand) | Sqm. | 42.57 | 425.55 | 360.6356 | 15352.2572
6 | RATE ANALYSIS | Providing designation 100 A one brick flat soling joints filled with local sand including cost of watering, taxes, royalty all complete as per building specification and direction of E/l, | Sqm. | 12.12 | 377.99 | 377.99 | 4581.2388
7 | DSR 5.3. | Reinforced cement concrete work in beams,suspended floors roofs,having slope upto 15, landing,balconies, shelves,chajjas,lintal,bends,plain window sills stair case,and spiral staircases up to floor five level excluding the cost of centering,shuttering,finishing and reinforcement with 1:1.5:3 | Cum | 2.46 | 11505.5 | 9750.4237 | 23986.0424
8 | DSR 5.9 | Centring and shuttering including strutting propping etc. and removal of form for |  |  |  | 0 | 0
| DSR 5.9.3 | Suspended floors ,roofs,landings,balconies and access platform | Sqm. | 6.12 | 927.25 | 785.8051 | 4809.1271
| DSR 5.9.5 | Lintels,beams, plinth beams, griders, bressumers and cantilivers | Sqm. | 0.19 | 736.4 | 624.0678 | 118.5729
| DSR 5.9.6 | Columns,pillars,piers,abutments,posts and struts | Sqm. | 6 | 961.3 | 814.661 | 4887.9661
9 | DSR 5.22 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level |  |  |  | 0 | 0
| DSR 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more | Kg | 160 | 107.85 | 91.3983 | 14623.7288
10 | DSR 19.18 | Supplying and fixing C.I cover without frame for manholes: |  |  |  | 0 | 0
| DSR 19.18.2 | 500 mm diameter C.I cover (medium duty) the weiht of he cover to be not less than 58 kg. | Each | 1 | 3441.2 | 2916.2712 | 2916.2712
11 | DSR 19.15 | Providing M.S foot rests including fixing in septic tank with 20 x 20 x 10 cm cement concrete blocks 1:3:6 ( 1 cement: 3 coarse sand: 6 graded stone aggregate 20mm nominal size) as per standard design: |  |  |  | 0 | 0
| DSR 19.15.1 | With 20 x 20 mm square bar | Each | 9 | 544.7 | 461.6102 | 4154.4915
E | NON SCHEDULED ITEMS(MARKET RATE) | [5 empty] | 0
| P.V.C. PIPE | [5 empty] | 0 | 10% Escalation considered on market rates
| ANALYSIS | Provding and fixing soil,waste and vent pipes |  |  |  |  | 0
| ANALYSIS 1(a) | 110 mm dia | metre | 135 | 1320 | 1320 | 178200
| P.V.C. FITTINGS | [5 empty] | 0
| 12.42.3.2 | DOOR TEE with Bend |  |  |  |  | 0
|  | 110 mm dia | each | 13 | 234.15 | 234.15 | 3043.95
| (iv) | VENT COWEL |  |  |  |  | 0
|  | 110 mm dia | each | 6 | 354.2 | 354.2 | 2125.2 | 1640 | 15% Contractors profit extra+10% installation
| (v) | PIPE CLIP |  |  |  |  | 0
|  | 110 mm dia | each | 77 | 20.24 | 20.24 | 1558.48 | 7215 | 15% Contractors profit extra+10% installation
| (vi) | FLOOR TRAP |  |  |  |  | 0
|  | 110X110 mm dia | each | 11 | 452.87 | 452.87 | 4981.57 | 1890 | 15% Contractors profit extra+10% installation
| (vii) | DOUBLE DOOR TEE |  |  |  |  | 0
| ANALYSIS | 110 mm dia | each | 1 | 518.1 | 518.1 | 518.1
0
|  | GRAND TOTAL = |  |  |  |  | 0
|  | SAY |  |  |  |  | 0
842430.2909
`

## Electrical works
PROJECT : ADMINISTRATIVE BLOCK AT BIHAR SARIF SUBSTATION , POWER GRID CORPORATION LTD.
NAME OF WORK : BOQ & ESTIMATE FOR ELECTRICAL & TELEPHONE WIRING
Sl. No | Item of work | Unit | Quantity | Rate (Rs) | Rate | Amount | Remarks
| WIRING | [5 empty] | DSR 2022/OTHERS
1 | Wiring for Light plug & circuit wiring with 2x2.5 sq.mm FRLS PVC insulated copper conductor single core cable in recessed PVC conduit along with 1 No.2.5 sq mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | Meter | 800 | 275 | 245.5357 | 196428.5714 | 1.14.2
2 | Wiring for power plug with 2x4 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit along with 1 No.4 sq mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | Meter | 720 | 334 | 298.2143 | 214714.2857 | 1.12
3 | Wiring for submain with 4x6 sq.mm +2X6 sq mm earth wire FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit etc. as required.(Main to L.DB) | Meter | 180 | 754 | 673.2143 | 121178.5714 | 1.14.9
4 | Wiring for submain with 4x10 sq.mm +2X6 sq mm earth wire FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit etc. as required.(Main to P.DB) | Meter | 120 | 1005 | 897.3214 | 107678.5714 | 1.14.10
5 | Supplying and fixing metal box of following size (nominal size) in surface/ recess with suitable size of phenolic laminated sheet cover in the front including painting etc. as required. |  |  |  | 0 | 0
| (a)100mmX100mmX60mm deep | Each | 8 | 209 | 186.6071 | 1492.8571 | 1.22.2
| (b)200mmX125mmX60mm deep | Each | 6 | 323 | 288.3929 | 1730.3571 | 1.22.6
6 | Supplying & fixing of following size medium class PVC conduit along with accessories in surface/ recess including cutting of wall and making good the same in case of recessed conduit as required. |  |  |  | 0 | 0
| (a) 20 mm dia | Meter | 800 | 128 | 114.2857 | 91428.5714 | 1.21.1
| (b) 25 mm dia | Meter | 700 | 145 | 129.4643 | 90625 | 1.21.2
7 | Supplying and fixing metal following size / modules, GI box along with modular base & cover plate for modular switches/ socket/TV / Telephone outlet in surface/ recess etc. as required. |  |  |  | 0 | 0
| (a)75mmX75mmX50mm | Each | 35 | 298 | 266.0714 | 9312.5 | 1.27.1
8 | Wiring for light point/ fan point/ exhaust fan point / call bell point with 1.5 Sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq mm FRLS PVC insulated copper conductor single core cable etc as required. - Group C | Point | 207 | 1467 | 1309.8214 | 271133.0357 | 1.10.3
9 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess including providing and fixing 3 pin 5/6 amps moduler socket outlet & 6A modular type switch connection etc. as required. | Point | 41 | 477 | 425.8929 | 17461.6071 | 1.31
10 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess including providing and fixing 6 pin 5/6 & 15/ 16 amps moduler socket outlet & 15/16A modular type switch connection etc. as required. | Point | 36 | 586 | 523.2143 | 18835.7143 | 1.32
11 | Supplying and drawing 2 pair 0.5 sq mm. FR PVC insulated copper conductor telephone cable through existing PVC concuit/ raceway including connection, testing etc. as required. | Meter | 460 | 38 | 33.9286 | 15607.1429 | 1.18.2
12 | Supplying and fixing moduler type 2 pin telephone socket on the existing box including making connection etc. as required. | Each | 23 | 148 | 132.1429 | 3039.2857 | 1.24.6
13 | Supplying Installing Testing and commissioning of 30 Pair distribution tag box all complete as per specification and direction of E/I | Each | 1 | 2238.5 | 1897.0339 | 1897.0339 | M/R | 10% escalation on market rate
14 | Supplying Installing Testing and commissioning of 10 Pair distribution tag box all complete as per specification and direction of E/I | Each | 2 | 1077.9533 | 913.5197 | 1827.0395 | M/R | 10% escalation on market rate
15 | Supplying and installation of 10 pair 0.5 sq mm.ATC unarmoured PVC insulated copper conductor telephone cable through existing PVC conduit including connection, testing etc. as required. | Meter | 50 | 67.0703 | 56.8392 | 2841.9599 | M/R | 10% escalation on market rate
16 | Supplying and drawing low resistance co-axial T.V cable RJ-6 grade 0.7mm solid copper conductor PE insulated shielded with fine tinned copper braid and protected with PVC sheath in the existing PVC concuit etc. as required. | Meter | 40 | 47 | 41.9643 | 1678.5714 | 1.19
17 | Supplying and fixing modular type TV antenna socket outlet on the existing box including making connection etc. as required. | Each | 2 | 148 | 132.1429 | 264.2857 | 1.24.7
18 | Supplying and fixing modular blanking plate on the existing modular plate & box excluding moduler plate etc. as required. | Each | 20 | 40 | 35.7143 | 714.2857 | 1.26
19 | Supplying and fixing stepped type electronic fan regulator on the existing switch box including connections excluding modular plate etc. as required. | Each | 41 | 369 | 329.4643 | 13508.0357 | 1.25
20 | Supplying and fixing call bell/ buzzer suitable for DC/AC single phase 230 volt complete etc. as required. | Each | 5 | 99 | 88.3929 | 441.9643 | 1.38
| D.B.s |  |  |  | 0 | 0
21 | Supplying and fixing 3x4 way double door horizontal type three pole and Neutral sheet steel M.C.B. D.B, 415 Volts on surface/ recess, complete with tinned copper busbar, neutral bus bar, earth bar, din bar , detachable gland plate, interconnection including painting, earthing etc. as required | Each | 8 | 4091 | 3652.6786 | 29221.4286 | 2.4.1
22 | Supplying and fixing 3x6 way double door horizontal type three pole and Neutral sheet steel M.C.B. D.B, 415 Volts on surface/ recess, complete with tinned copper busbar, neutral bus bar, earth bar, din bar , detachable gland plate, interconnection including painting, earthing etc. as required | Each | 2 | 4974 | 4441.0714 | 8882.1429 | 2.4.2
23 | Supplying and fixing cable end box ( Loose wire box , IP 43) suitable for following three pole and Neutral sheet steel M.C.B. Distribution board, 415 volt on surface/ recess, complete with testing commissioning etc. as required |  |  |  | 0
| (i) For 4 way Double door TPN MCB DB | Each | 8 | 1080 | 964.2857 | 7714.2857 | 2.24.1
| (ii) For 6 way Double door TPN MCB DB | Each | 2 | 1124 | 1003.5714 | 2007.1429 | 2.24.2
24 | Supplying and fixing of following rating C series MCB/ Isolator suitable for lighting and other loads of following poles in the existing MCB DB complete witth connections ,testing and commissioning etc. as required . |  |  |  | 0
| 6 Amp. To 32 Amp. SP MCB 240 Volt | Each | 120 | 256 | 228.5714 | 27428.5714 | 2.10.1
| 32 Amp. TPN MCB 415 Volt | Each | 6 | 1228 | 1096.4286 | 6578.5714 | 2.10.5
25 | Supplying and fixing of following rating four pole 415V Isolator in the existing MCB DB & MCB VTPN DB complete witth connections ,testing and commissioning etc. as required . |  |  |  | 0
| 40 Amp FP 415 volts Isolator | Each | 4 | 970 | 866.0714 | 3464.2857 | 2.13.1
26 | Providing and fixing MV danger notice plate of 200mmX150mm made of mild steel at least 2mm thick, and vitreous enamelled white on both sides, and with inscription in single red colour on front side etc as required. | Each | 1 | 269 | 240.1786 | 240.1786 | 2.21
| COMPUTER NETWORK |  |  |  | 0
27 | Supplying and drawing of UTP 4 Pair CAT-6 LAN cable in the existing surface / recessed PVC concuit etc. as required. | Meter | 900 | 55 | 49.1071 | 44196.4286 | 1.53.1
28 | Supplying and fixing following size/modules, GI box along with modular base & cover plate for modular fitting in recess etc. as required. |  |  |  | 0
| (a) 2 module (75 mm x 75 mm) | Each | 45 | 298 | 266.0714 | 11973.2143 | 1.27.1
29 | Wiring for computer circuit with 2x2.5 sq.mm +1X2.5 sq mm earth wire FR PVC insulated copper conductor single core cable insurface/ recessed medium class PVC conduit as required. (Each circuit containing 2 NO computer) | Meter | 450 | 270 | 241.0714 | 108482.1429 | 1.14.2
30 | Supplying and fixing Two RJ 45 Cat - 6E Lan I/O with Gang box & dual port face plate complete set of D-Link Make including making connection, soldering etc. as required. | Each | 45 | 961.4 | 814.7458 | 36663.5593 | M/R | 10% Escalation considered on market rates
31 | Supplying fitting fixing CAT6 U/UTP 24 Port Patch Panel loaded with 24x Toolless RJ 45 complete etc as required . (Make: D-Link, Ortronics, Panduit-PANNET) | Pc | 2 | 4567.2 | 3870.5085 | 7741.0169 | M/R
32 | Supplying CAT6 U/UTP RJ45 Patch Cord 1 Mtr Grey in colour . (Make:D- Link, Ortronics, Panduit-PANNET) | Pc | 45 | 353.1 | 299.2373 | 13465.678 | M/R
33 | Supplying CAT6 U/UTP RJ45 Patch Cord 2 Mtr PVC Grey in colour. (Make: D- Link, Ortronics, Panduit-PANNET) | Pc | 45 | 555.5 | 470.7627 | 21184.322 | M/R
34 | Supplying fitting fixing 6U Networking Rack , CRCA steel,CNC programmed punched bended , welded and powder coated with highest quality standred including welded frame ntegrated with side walls and vented top cover with fan mounting provision rear side of the enclosure having wall mounting provision front Glass Door, of D-Link make | Pc | 1 | 6213.9 | 5266.0169 | 5266.0169 | M/R
35 | Supplying fitting fixing 9U Networking Rack , CRCA steel,CNC programmed punched bended , welded and powder coated with highest quality standred including welded frame ntegrated with side walls and vented top cover with fan mounting provision rear side of the enclosure having wall mounting provision front Glass Door, of D-Link make | Pc | 1 | 7334.8 | 6215.9322 | 6215.9322 | M/R
36 | Supply installation testing & commissioning of Unmanaged 24 port Gigabit desktop Switch without fiber Module alongwith AC power supply: including necessary connection of CAT 6 UTP cable etc as required. (Make:- Dlink/cisco/Netgear) | Pc | 1 | 18903.5 | 16019.9153 | 16019.9153 | M/R
37 | Supplying installation testing & commisioning of D-Link DGS 1100 series smart Managed 24 port Gigabite Switch including 12 Poe port without fiber Module alongwith AC power supply: including necessary connection of CAT 6 UTP cable etc as required. (Make:- Dlink/Cisco/Netgear) | Pc | 1 | 52735.1 | 44690.7627 | 44690.7627 | M/R
| EARTHING |  |  |  | 0
38 | Earthing with G.I earth pipe 4.5 mt. long 40mm dia including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. with Charcoal/coke and salt as required. | Set | 2 | 6855 | 6120.5357 | 12241.0714 | 5.2
39 | Earthing with GI earth plate 600mm X600 mm X6mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe 2.7 metre long etc. with salt and charcoal/ coke and salt as required. | Set | 2 | 7472 | 6671.4286 | 13342.8571 | 5.4
40 | Providing and laying earth connections from earth electode with 6 SWG dia G.I. wire in 15 mm. Dia G.I.pipe from earth electrode including connection with G.I. thimble excavation and refilling etc. as required. | Meter | 60 | 287 | 256.25 | 15375 | 5.12
41 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing etc as required. | Meter | 80 | 70 | 62.5 | 5000 | 5.16
| LAYING OF UNDER GROUND CABLE |  |  |  | 0
42 | Laying of one number PVC insulated and PVC sheathed/ XLE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushionig, protective covering and refilling the trench etc. as required. |  |  |  | 0
| (a) Above 95 sq. mm. and upto 185 sq.mm | Meter | 40 | 422 | 376.7857 | 15071.4286 | 7.1.3
43 | Laying and fixing of one number PVC insulated and PVC sheathed aluminium conductor cable of1.1 KV grade of following size on surface etc. as required. |  |  |  | 0
| (a)Above 95 sq. mm. and upto 185 sq.mm (Clamped with25/ 40x3 mm MS flat clamp) | Meter | 15 | 153 | 136.6071 | 2049.1071 | 7.7.3
44 | Excavating for cable trenches of depth upto 1.2M in soft soil including getting out the excavated soil and disposal of surplus excavated soil directed within lead of 50 metres. | Cum | 6 | 654 | 583.9286 | 3503.5714 | 14.4 | civil
45 | Filling available excavated earth (excluding rock) in tenches, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50 metres. | Cum | 3 | 255 | 227.6786 | 683.0357 | 14.3
46 | Providing and laying following size NP2 (Non pressure) RCC pipe complete with RCC collar etc. as required . |  |  |  | 0
| (a) Dia 300 mm. | Meter | 5 | 1140 | 1017.8571 | 5089.2857 | 14.14.4
47 | Laying of one number PVC insulated and PVC sheathed aluminium conductor cable of1.1 KV grade of following size in the existing RCC/ HUME/METAL pipe etc. as required. |  |  |  | 0
| (a) Above 95 sq. mm. and upto 185 sq.mm | M | 5 | 77 | 68.75 | 343.75 | 7.5.3
48 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as reguired. |  |  |  | 0
| (a) 3.5 Core185 sq mm | Set | 2 | 875 | 781.25 | 1562.5 | 9.1.27
MAIN PANEL
49 | Supplying and fixing of wall/floor mounted cubicle panel board fabricated with 16 guage iron sheet suitable for panel mounted switch disconnector, including busbar chamber, insulator, nut-bolt painting etc as required. (But without busbar copper strip) | Sft | 24 | 1382 | 1233.9286 | 29614.2857 | BSR 2018 8.10.2
50 | Supplying and fixing of following rating electrical items in the existing cubical panel board including drilling holes in cubicle panel making connections etc. as required .
Incomings:-
| (i) 200 Amp 35 KA FP 415 volt MCCB. | Each | 1 | 11915 | 10638.3929 | 10638.3929 | 2.4.5
| (ii) 200 Amp, 4 pole changeover switch . | Each | 1 | 9463 | 8449.1071 | 8449.1071 | 2.7.6
(b) Out going
| (i) 100 Amp 16 KA FP 415 volt MCCB. | Each | 1 | 3254 | 2905.3571 | 2905.3571 | 2.4.2
| (ii) 100 Amp, 4 pole changeover switch . | Each | 1 | 4878 | 4355.3571 | 4355.3571 | 2.7.3
| (iii) 32 Amp TPN MCB 415 Volt | Each | 7 | 1108 | 989.2857 | 6925 | 2.12.5
| (iv) 40 Amp TPN MCB 415 Volt | Each | 5 | 1487 | 1327.6786 | 6638.3929 | 2.12.6
| (v) 63 Amp TPN MCB 415 Volt | Each | 2 | 1635 | 1459.8214 | 2919.6429 | 2.12.7
| (vi) 6/32 Amp SPN MCB 240 Volt | Each | 2 | 511 | 456.25 | 912.5 | 2.12.2
| (vii) Copper strip of all sizes. | Kg | 12 | 776 | 692.8571 | 8314.2857 | 1830+Ana
| (viii) Digital ammeter three phase | Each | 2 | 1643 | 1466.9643 | 2933.9286 | 8.10.6
| (ix)Digital Voltmeter three phase | Each | 2 | 1337 | 1193.75 | 2387.5 | 8.10.4
| (x)Pilot lamp for indicator | Each | 6 | 121 | 108.0357 | 648.2143 | 2318+Ana
SUPPLY & INSTALLATION OF FIXTURES
51 | Supply and Installation of regular / standard model A.C. ceiling fan of 1200 mm sweep including wiring the down rod of standard length (upto 30cm) with 1.5 sq.mm FR PVC insulated copper conductor, single core cable etc. as required. | Each | 41 | 1585 | 1585 | 64985 | 20.1.2 | DJB 2022
52 | Supply and Installation of 300mm sweep 230 A.C. exhaust fan in the existing opening including making good the damage connection testing commissioning etc. as required. | Each | 10 | 2074 | 2074 | 20740 | 20.2.1 | DJB 2022
53 | Supplying and fixing single wall mounted 20/22watt LED type batten fitting complete with electronic driver and LED tube etc. directly on ceiling / wall including connections with 1.5 sq.mm FR PVC insulated, copper conductor single core cable and earthing the body etc. as required. | Each | 17 | 330 | 330 | 5610 | 19.1.2+1.58 | DJB2022
54 | Supplying and fixing surface mounted 10/12 watt LED type bulkhead fitting comprising of pressure die cast housing with acrylic diffuser (IP65) and complete with integrated electronic driver etc directly on wall/ ceiling including connections with 1.5 sq.mm FR PVC insulated, copper conductor single core cable and earting the body etc. as required. | Each | 25 | 1293 | 1154.4643 | 28861.6071 | 5.15
55 | Supplying and fixing surface mounted 15/18 watt LED downlighter with integrated electronic driver directly on ceiling including all accessories and connection with 1.5 sq mm FR PVC insulated copper conductor single core cable and earthing the body etc as required. | Each | 15 | 1090 | 1090 | 16350 | 5.11.7 | DJB 2022
56 | Supplying and fixing 2 pin 5 Amp ceiling rose on the existing junction box/ PVC box including connection etc as required. | Each | 27 | 65 | 65 | 1755 | 1.33 | DJB 2022
57 | Supplying and fixing batten / angle holder including connections with 1.5 sq.mm FR PVC insulated, copper conductor single core cable etc. as required. | Each | 28 | 90 | 90 | 2520 | 1.58 | DJB 2022
58 | Supplying and fixing following types lamp in existing electrical fitting/ fixture etc as required.
| (i) 10/12 watt LED lamp | Each | 28 | 114 | 114 | 3192 | 19.7.5 | DJB 2022
COMPUTER NETWORK
59 | Supplying and fixing suitable size GI box with moduler base & cover plate in front on surface or in recess including providing and fixing of 3nos 3 pin 5/6 amps socket outlet and 3 nos 5/6A moduler type switch connection etc. as required. | Set | 45 | 477 | 425.8929 | 19165.1786 | 1.31 | DSR 22
SUPPLY OF UNDER GROUND CABLE
60 | Supply of PVC insulated PVC sheathed aluminium conductor armoured under ground cable of graded 1.1 KV for working voltage upto 1100 volts conforming to ISI 1554 (Part-I) of 1964 with upto date amendment as detailed below.
| (a) 3.5 Core185 sq mm | Meter | 60 | 875 | 781.25 | 46875 | 9.1.27
| TOTAL |  |  |  |  | 1957232.201
|  | DSR TOTAL |  |  |  | 1799418.9643
|  | NON DSR |  |  |  | 157813.2367
|  | TOTAL Excl GST |  |  |  | 1957232.201
|  | GST@18% |  |  |  | 352301.7962
|  | TOTAL FINAL AMOUNT |  |  |  | 2309533.9972
Sl. No. | Item no -
1 | Basic cost of 30 Pair distribution telephone tag box |  |  | 1350
2 | GST @18% |  |  | 243
1593
3 | Transportation charge. @1% |  |  | 15.93
1608.93
4 | Labour charge @10% |  |  | 160.893
1769.823
5 | O.H. Profit @15% |  |  | 265.4735
2035.2965
6
2035.2965
|  |  | Say Rs. | 2035
Sl. No. | Item no -
1 | Basic cost of 10 Pair distribution telephone tag box |  |  | 650
3 | GST. @18% |  |  | 117
767
3 | Transportation charge. @1% |  |  | 7.67
774.67
4 | Labour charge @10% |  |  | 77.467
852.137
5 | O.H. Profit @15% |  |  | 127.8205
979.9575
6
979.9575
|  |  | Say Rs. | 980
Sl. No.
1 | Basic price of 10 Pair copper conductor (0.5 mm dia) Telephone cable (For 50 metre) Polycab make. 51 Mtrs |  |  | 3111
2 | Discount @35% |  |  | 1088.85
2022.15
2 | GST @18% |  |  | 363.987
2386.137
4 | Transportation charge. @1% |  |  | 23.8614
2409.9984
5 | Labour charge @10% |  |  | 240.9998
2650.9982
6 | O.H. Profit @15% |  |  | 397.6497
3048.6479
7
3048.6479
|  |  | Per Meter Cost Rs | 60.973
|  |  | Say Rs. | 61
Sl. No. | Item no -
1 | Basic cost of 24 Port managed Switch D-Link make |  |  | 31799
3 | GST @18% |  |  | 5723.82
37522.82
4 | Transportation charge. @1% |  |  | 375.2282
37898.0482
5 | Labour charge @10% |  |  | 3789.8048
41687.853
6 | O.H. Profit @15% |  |  | 6253.178
47941.031
6
47941.031
|  |  | Say Rs. | 47941
Sl. No. | Item no -
1 | Basic cost of 24 Port Unmanaged Switch D-Link make |  |  | 11399
2 | GST @18% |  |  | 2051.82
13450.82
3 | Transportation charge. @1% |  |  | 134.5082
13585.3282
4 | Labour charge @10% |  |  | 1358.5328
14943.861
5 | O.H. Profit @15% |  |  | 2241.5792
17185.4402
6
17185.4402
|  |  | Say Rs. | 17185
Sl. No. | Item no -
1 | Basic cost of Two RJ 45 Cat 6 Lan I/O With box & gace plate D- Link Make |  |  | 580
2 | GST @18% |  |  | 104.4
684.4
3 | Transportation charge. @1% |  |  | 6.844
691.244
4 | Labour charge @10% |  |  | 69.1244
760.3684
5 | O.H. Profit @15% |  |  | 114.0553
874.4237
6
874.4237
|  |  | Say Rs. | 874
Sl. No. | Item no -
1 | Basic cost of CAT 6 patch cord 1 Mtr. D- Link Make inclusive tax |  |  | 276
2 | Transportation charge. @1% |  |  | 2.76
278.76
3 | O.H. Profit @15% |  |  | 41.814
320.574
4
320.574
|  |  | Say Rs. | 321
Sl. No. | Item no -
1 | Basic cost of CAT 6 patch cord 2 Mtr. D-Link Make inclusive tax |  |  | 435
2 | Transportation charge. @1% |  |  | 4.35
439.35
3 | O.H. Profit @15% |  |  | 65.9025
505.2525
4
505.2525
|  |  | Say Rs. | 505
Sl. No.
1 | Basic cost of 6U Rack D-Link make |  |  | 3747
2 | GST @18% |  |  | 674.46
4421.46
3 | Transportation charge. @1% |  |  | 44.2146
4465.6746
4 | Labour charge @10% |  |  | 446.5675
4912.2421
5 | O.H. Profit @15% |  |  | 736.8363
5649.0784
6
5649.0784
|  |  | Say Rs. | 5649
Sl. No.
1 | Basic cost of 9U Rack D-Link make |  |  | 4423
2 | GST @18% |  |  | 796.14
5219.14
3 | Transportation charge. @1% |  |  | 52.1914
5271.3314
4 | Labour charge @10% |  |  | 527.1331
5798.4645
5 | O.H. Profit @15% |  |  | 869.7697
6668.2342
6
6668.2342
|  |  | Say Rs. | 6668
Sl. No. | Item no -
1 | Basic cost of 24 port pach panel D-Link make |  |  | 3250
2 | Transportation charge. @1% |  |  | 32.5
3282.5
3 | Labour charge @10% |  |  | 328.25
3610.75
4 | O.H. Profit @15% |  |  | 541.6125
4152.3625
5
4152.3625
|  |  | Say Rs. | 4152

## DEMOLISHING
BILL OF QUANTITY FOR DEMOLITION OF EXISTING ADMINISTRATIVE BLOCK AT BIHARSHARIFS/S
SL NO. | DESCRIPTION | UNIT | QUANTITY | RATE (Excluding GST) | AMOUNT
Quotation basis | DEMOLISH AND DEBRIS REMOVAL WORK FOR ADMINISTRATIVE BLOCK BIHARSHARIF 1. Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material as per direction of Engineer - in- charge. 2. Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground/recycling zones for for all lifts, complete as per directions of Engineer-in-charge. Note - item to be applicable in urban areas having directions for restricted hours for movement/ plying of load carrying motor vehicle of 3.5 cum or more. 3. Carriage of Building Materials. 4.Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth and finally filling all the excavated earth to level the surface as directed by Engineer-in-charge. All kinds of soil. 5. Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material as per direction of Engineer-in-charge. In cement mortar 6. Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. 7. Providing and fixing Scaffolding net of required width made of high density Polyethylene UV stabilized knitted on warp knitting machines having density 100gm/sqm and shading coefficient minimum 75% around the construction site/ for vertical extension as per requirement including fastening/tying with building/ scaffolding pipes or with any other fixtures etc. complete as per direction of Engineer-in-Charge. (One time payment shall be made for providing Scaffolding net from start of work till completion of work including shifting if any. The Scaffolding net shall be the property of the contractor on completion of the work) | LUMP SUM | 1 | 148500 | 148500
SINGLE STOREY (381 SQM PLINTH AREA)
148500
ALL GIVEN RATE IS CREDIT RATE AND ALL DISMANTLED ITEM WILL BE CONTRACTOR'S PROPERTY.
ALL THE DEBRIS TO BE ARRANGED AS PER GOVERNMENT APPROVED PLACES. POWERGRID WILL NOT BE RESPONSIBLE FOR THIS.