## Basic
Bid Proposal Sheet-Price Part(BPS-Vol-IC)
: COVER PAGE:
Name of Package | Repairing and Renovation of control room and Switchyard fencing of 220/132 KV POWERGRID Sub-Station, Dimapur
NIT NO. | NESH/CSM/GHY/400-165/NIT-410 Date: 05.01.2024
Document Code No. | NESH/CSM/GHY/400-165/(BPS-Vol-IC)
Address of Purchaser/ Owner | Sr. General Manager (C&M)
Power Grid Corporation of India Limited.
Dongtieh, Lower Nongrah, Lapalang.
Shillong - 793006.
Phone /Fax -0364- 2536406
E-mail: purabichetia@powergrid.in

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules forRepairing and Renovation of control room and Switchyard fencing of 220/132 KV POWERGRID Sub-Station, Dimapur
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
| (vii) | Granting of permission for Bidding does not mean that the bidder will be awarded for the subject tender. The Award to the Contrcat shall be assessed after proper scrutiny and evaluation.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or Association from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the Association other than the Lead Partner from drop down menu.
| ● | Fill up names and address of the Sole Bidder and /or Association.
| ● | Fill up date in dd-mm-yyyy format.
| ● | Click for Schedule-1 given at the right top of the worksheet to go to Schedule-1.
Annexure-I to Schedule-1 (TOTAL BID PRICE) :
| ● | You are required to fill only the percentage of your quoted bid price above or below the estimated cost of the subject tender in the specified cell of Annexure-I to Schedule-1.
| ● | Total amount shall get calculated automatically.
| ● | The total amount shall be excluding GST which shall be paid/reimbursed extra as applicable.
* * *
Happy Bidding !

## Name of Bidder
Bidders Information
Package: | Repairing and Renovation of control room and Switchyard fencing of 220/132 KV POWERGRID Sub-Station, Dimapur
Document Code: | NESH/CSM/GHY/400-165/(BPS-Vol-IC) |  |  | Sole Bidder
| Enter following details of the bidder |  |  | Associates
| Specify type of Bidder [Select from drop down menu] | Sole Bidder | YES-GEN
YES-ST
YES-SC
| Name of Bidder |  | YES-OBC
| Address of Bidder |  | NO
MALE
| Name of other Partner |  | FEMALE
Address of other Partner
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
Name of Authorized person
Designation
MSE STATUS (GEN/ST/SC/OBC)
UDYAM REGISTRATION NUMBER
IF MSE YES (GENDER)
Date
Place

## BPS-VOL-IB
POWER GRID CORPORATION OF INDIA LIMITED
(A GOVT. OF INDIA ENTERPRISE)
NERTS GUWAHATI OFFICE
NORTH EASTERN REGION DONGTIEH, LOWER NONGRAH LAPALANG, SHILLONG
BID PROPOSAL SHEETS FOR PRICE PART (BPS: VOL-IB)
NIT NO.: NESH/CSM/GHY/400-165/NIT-410 Date: 05.01.2024
Document Code No.:NESH/CSM/GHY/400-165/(BPS-Vol-IC)
Repairing and Renovation of control room and Switchyard fencing of 220/132 KV POWERGRID Sub-Station, Dimapur
(PRICE BID)
BID FORM FOR PRICE BID
Bidder's Name and Address:
Bid Proposal Reference: |  |  |  | Dated:
Person to be contacted:
Designation:
Telephone No.: |  |  | Fax:
To
C&M Deptt.
Power Grid Corporation of India Limited
Dongtieh, Lower Nongrah, Lapalang.
Subject: | Repairing and Renovation of control room and Switchyard fencing of 220/132 KV POWERGRID Sub-Station, Dimapur
Dear Ladies and/or Gentlemen,
1 | In continuation to Techno-commercial Bid, we hereby submit the Price Part of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, submit our offer for "Repairing and Renovation of control room and Switchyard fencing of 220/132 KV POWERGRID Sub-Station, Dimapur" through e-Tendering in full conformity in accordance with the terms and conditions of the Bidding Documents.
2 | Price Schedules :
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
Annexure-I to Schedule-1 | Bill of Quantities & Prices.
2.2 | All prices and price components stated in the bid are FIRM and shall not be subjected to any price adjustment, except for revision of minimum wage in line with the bidding documents (if applicable). All prices and other terms and conditions of this proposal are valid for a period of (180) calendar days from the date of opening of the bids. Further, we confirm that we have read the provisions regarding applicable taxes, duties and levies and have submitted the bid accordingly.
2.3 | We do hereby confirm that our Total bid prices quoted in Annexure-I to Schedule-1 of BPS, Vol-IB include, all costs that may be required for successful completion of the work as per the the bidding document for the total scope of work and including cost of personnel their transportation to site and any other costs which may be required for successful completion of work as per the Tender Documents, including cost of overheads, insurance, whatsoever, as stipulated in the bidding documents for the total scope of work. Accordingly, the quoted rates shall also take into consideration Service Charges of the bidder and all other statutory liabilities as detailed above as per provision of labour laws.
2.4 | We confirm that all taxes as applicable on the services provided by us to POWERGRID directly or indirectly are not included in the bid price & GST shall be reimbursed / paid extra as applicable.
2.5 | We have indicated the prices including all Taxes as stated at para 2.3 & 2.4 above in Annexure-I to Schedules 1 of the Bid proposal sheet.
2.6 | We are aware that the Price Schedules do not generally give a full description of the work to be performed under each item and we shall be deemed to have read the General Conditions of Contract and other Bidding Documents to ascertain the full scope of work have been included while filling the percentage component quoted above / below the estimated cost. We agree that the entered percentage component quoted above / below the estimated cost shall be deemed to include for the full scope as aforesaid, including overheads and profits.
2.7 | We understand that in the price schedule, if there is discrepancy between the quoted percentage and the amount, the percentage quoted shall be considered for evaluation and award. Further, we also understand that in absence of indication of the percentage, the quoted percentage shall be considered as above the cost estimate and the same shall be considered for evaluation and award by adding the percentage component with total estimated cost.
3 | We, hereby, declare that only the persons or firms interested in this proposal as principal or principals are named herein and that no other company, persons or firms other than those herein mentioned, have any interest in this proposal or in the Contract, to be entered into, if we are awarded the Contract; and that this proposal is made without any connection with any other company/person, firm or party like-wise submitting a proposal and that this proposal is in all respects for and in good faith without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
Date: | 0
Place: | 0 | Name of Bidder |  | 0
|  | Name of Authorized person |  | 0
Business Address: |  | (Designation) |  | 0
(Common Seal)
Country of Incorporation:
(State or Province to be indicated)
Name of the Principal Officer:
Address of the Principal Officer:

## Annexure-I to Schedule-1
Annexure-I to Schedule - 1 of BPS, Vol-IC
Bill of Quantities & Schedule of Prices
Document Code No. NESH/CSM/GHY/400-165/(BPS-Vol-IC)
Name of Work: Repairing and Renovation of control room and Switchyard fencing of 220/132 KV POWERGRID Sub-Station, Dimapur
NIT NO:NESH/CSM/GHY/400-165/NIT-410 Date: 05.01.2024
Sl. No. | DSR'21 Item No. | DESCRIPTION | SAC | Whether SAC/HSN in col. 4 is confirmed. If not indicate apllicable SAC | Rate of GST applicable in % | Whether rate of GST in Col.6 is confirmed. If not indicate applicable GST | UNIT | Quantity | UNIT RATE (in Rs.) | Quoted Percentage (in figure) | Quoted unit Rate (in Rs.) | AMOUNT (exclusive of GST) (in Rs.)
1 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
1 | 13.88 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. Complete. | 995419 |  | 18% |  | Sqm | 1782.974 | 20.71 |  | 20.71 | 36925.39
| 15.56 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 995419 |  | 18% |  | sqm | 153.9 | 57.08 |  | 57.08 | 8784.61
| 14.79 | Disconnecting damaged overhead/terrace PVC water storage tank of any size from water supply line and removing from the terrace including shifting at ground level as per direction of Engineer-in-charge. | 995419 |  | 18% |  | each | 1 | 453 |  | 453 | 453
| 14.82 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in Charge. | 995419 |  | 18% |  | each | 1 | 140.25 |  | 140.25 | 140.25
| 14.83 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 995429 |  | 18% |  | sqm | 513.68 | 3.61 |  | 3.61 | 1854.38
| 15.19 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 995419 |  | 18% |  | kg | 499.392 | 4.05 |  | 4.05 | 2022.54
| 15.3 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 995429 |  | 18% |  | cum | 1.5 | 3709.79 |  | 3709.79 | 5564.69
| 15.7 | 3: Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.; 10: 0; 12: 0; 13: 0
| 15.7.4 | In cement mortar | 995429 |  | 18% |  | cum | 7.027 | 2151.88 |  | 2151.88 | 15121.26
| 15.12 | 3: Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :; 10: 0; 12: 0; 13: 0
| 15.12.1 | Of area 3 sq. metres and below | 995419 |  | 18% |  | each | 33 | 383.51 |  | 383.51 | 12655.83
| 15.36 | 3: Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead.; 8: kg; 9: 900; 10: 38.46; 12: 38.46; 13: 34614
| 15.41 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 995419 |  | 18% |  | sqm | 13.76 | 58.91 |  | 58.91 | 810.6
| 15.44 | 3: Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge :; 10: 0; 12: 0; 13: 0
| 15.44.1 | 15 mm to 40 mm nominal bore | 995419 |  | 18% |  | metre | 10 | 157.23 |  | 157.23 | 1572.3
| 13.1 | 3: 12 mm cement plaster of mix :; 10: 0; 12: 0; 13: 0
| 13.1.2 | 1:6 (1 cement: 6 fine sand) | 995472 |  | 18% |  | sqm | 322.871 | 357.29 |  | 357.29 | 115358.58
| 14.1.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per directions of Engineer-In-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 995419 |  | 18% |  | Sqm | 20 | 585.71 |  | 585.71 | 11714.2
| 13.8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 995472 |  | 18% |  | sqm | 1782.974 | 156.91 |  | 156.91 | 279766.45
| 13.85 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. | 995473 |  | 18% |  |  | 1782.974 | 81.65 |  | 81.65 | 145579.83
| 13.82 | 3: Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour; 10: 0; 12: 0; 13: 0
| 13.82.2 | Two coats | 995473 |  | 18% |  | sqm | 1392.89 | 147.03 |  | 147.03 | 204796.62
[9 empty] | 0 |  | 0 | 0
| 13.47 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: 13.47.1 New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 995473 |  | 18% |  | sqm | 668.384 | 205.69 |  | 205.69 | 137479.9
| 12.52 | 3: Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.; 10: 0; 12: 0; 13: 0
| 12.52.2 | GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 995453 |  | 18% |  | sqm | 236.008 | 2212.44 |  | 2212.44 | 522153.54
| 13.99.1 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work sqm | 995419 |  | 18% |  | Sqm | 976.38 | 109.65 |  | 109.65 | 107060.07
| 21.1 | 3: Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :; 10: 0; 12: 0; 13: 0
| 21.1.1 | 3: For fixed portion; 10: 0; 12: 0; 13: 0
| 21.1.1.1 | 21.1.1.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 995476 |  | 18% |  | kg | 207.894 | 549.8 |  | 549.8 | 114300.12
| 21.1.2 | 3: For shutters of doors, windows & ventilators includingVproviding and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately); 10: 0; 12: 0; 13: 0
| 21.1.2.1 | 21.1.2.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 995476 |  | 18% |  | kg | 144.962 | 673.77 |  | 673.77 | 97671.05
| 21.3 | 3: Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge .(Cost of aluminium snap beading shall be paid in basic item):; 10: 0; 12: 0; 13: 0
| 21.3.1 | With float glass panes of 4.0 mm thickness (weight not less than 10 kg/ sqm) | 995476 |  | 18% |  | sqm | 63.907 | 1292.06 |  | 1292.06 | 82571.68
| 9.97 | 3: Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :; 10: 0; 12: 0; 13: 0
| 9.97.4 | 150x10 mm | 995476 |  | 18% |  | each | 20 | 95.72 |  | 95.72 | 1914.4
| 16.7 | 3: Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge.; 10: 0; 12: 0; 13: 0
| 16.70.1 | Made of G.I. wire of dia 4 mm | 995477 |  | 18% |  | sqm | 312 | 1088.96 |  | 1088.96 | 339755.52
| 18.9 | 3: Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.; 10: 0; 12: 0; 13: 0
| 18.9.4 | 32 mm nominal dia Pipes | 995424 |  | 18% |  | metre | 20 | 551.2 |  | 551.2 | 11024
| 18.8 | 3: Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.; 10: 0; 12: 0; 13: 0
| 18.8.3 | 25 mm nominal outer dia Pipes | 995424 |  | 18% |  | metre | 20 | 793.18 |  | 793.18 | 15863.6
| 18.8.2 | 20 mm nominal outer dia Pipes | 995424 |  | 18% |  | metre | 10 | 650.9 |  | 650.9 | 6509
| 18.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 995424 |  | 18% |  | litre | 1000 | 12.29 |  | 12.29 | 12290
| 18.18 | 3: Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete; 10: 0; 12: 0; 13: 0
| 18.18.2 | 20 mm nominal bore | 995424 |  | 18% |  | each | 1 | 503.55 |  | 503.55 | 503.55
| 17.7 | 3: Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:; 10: 0; 12: 0; 13: 0
| 17.7.1 | White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 995478 |  | 18% |  | each | 1 | 2882.35 |  | 2882.35 | 2882.35
| 17.8 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 995478 |  | 18% |  | each | 1 | 1900.51 |  | 1900.51 | 1900.51
| 17.28 | 3: Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.; 10: 0; 12: 0; 13: 0
| 17.28.2 | 3: Flexible pipe; 10: 0; 12: 0; 13: 0
| 17.28.2.1 | 32 mm dia | 995478 |  | 18% |  | each | 1 | 132.21 |  | 132.21 | 132.21
| 17.2 | 3: Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :; 10: 0; 12: 0; 13: 0
| 17.2.1 | W.C. pan with ISI marked white solid plastic seat and lid each | 995478 |  | 18% |  | each | 1 | 7019.68 |  | 7019.68 | 7019.68
| 17.71 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 995478 |  | 18% |  | each | 1 | 185.36 |  | 185.36 | 185.36
| 17.33 | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 995478 |  | 18% |  | Each | 1 | 1193.67 |  | 1193.67 | 1193.67
| 17.34 | 3: Providing and fixing toilet paper holder :; 10: 0; 12: 0; 13: 0
| 17.34.1 | C.P. brass | 995478 |  | 18% |  | each | 1 | 862.55 |  | 862.55 | 862.55
| 17.73 | 3: Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour.; 10: 0; 12: 0; 13: 0
| 17.73.2 | 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 995478 |  | 18% |  | each | 1 | 760.63 |  | 760.63 | 760.63
| 17.16A | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 995478 |  | 18% |  | each | 1 | 379.27 |  | 379.27 | 379.27
| 18.58 | 3: Providing and fixing PTMT grating of approved quality and colour.; 10: 0; 12: 0; 13: 0
| 18.58.1 | 3: Circular type; 10: 0; 12: 0; 13: 0
| 18.58.1.1 | 100 mm nominal dia | 995424 |  | 18% |  | each | 2 | 42.06 |  | 42.06 | 84.12
| 18.49 | 3: Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :; 10: 0; 12: 0; 13: 0
| 18.49.1 | 15 mm nominal bore each | 995424 |  | 18% |  | each | 3 | 550.12 |  | 550.12 | 1650.36
| 18.21 | 3: Providing and fixing uplasticised PVC connection pipe with brass unions :; 10: 0; 12: 0; 13: 0
| 18.21.1 | 3: 30 cm length; 10: 0; 12: 0; 13: 0
| 18.21.1.1 | 15 mm nominal bore | 995424 |  | 18% |  | each | 1 | 94.77 |  | 94.77 | 94.77
| 18.53 | 3: Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931; 10: 0; 12: 0; 13: 0
| 18.53.1 | 15mm nominal bore | 995424 |  | 18% |  | each | 4 | 633.93 |  | 633.93 | 2535.72
| 14.87 | Providing and laying in situ five course water proofing treatment with APP (Atactic Polypropylene) modified Polymeric memberane over roof consisting of first coat of bitumen primer @ 0.40 litre per sqm, 2nd & 4th courses of bonding material @ 1.20 kg/sqm, which shall consist of blown type bitumen of grade 85/25 conforming to IS : 702, 3rd layer of roofing membrane APP modified Polymeric membrane 2.0 mm thick of 3.00 Kg/ sqm weight consisting of five layers prefabricated with centre core as 100 micron HMHDPE film sandwiched on both sides with polymeric mix and the polymeric mix is protected on both side with 20 micron HMHDPE film. 5th, the top most layer shall be finished with brick tiles of class designation 10 grouted with cement mortar 1:3 (1 cement : 3 fine sand) mixed with 2% integral water proofing compound by weight of cement over a 12 mm layer of cement mortar 1:3 (1 cement : 3 fine sand) and finished neat (item of laying brick tiles shall be paid for separately). Note: In 5th layer item no-22.14.1 to be used instead of brick tiles. | 995453 |  | 18% |  | sqm | 451.68 | 576.21 |  | 576.21 | 260262.53
| 22.14 | 3: Grading roof for water proofing treatment with; 10: 0; 12: 0; 13: 0
| 22.14.1 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 995453 |  | 18% |  | cum | 13.55 | 9516.13 |  | 9516.13 | 128943.56
| 6.12 | 3: Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :; 10: 0; 12: 0; 13: 0
| 6.12.2 | Cement mortar 1:4 (1 cement : 4 coarse sand) | 995456 |  | 18% |  | sqm | 10 | 1061.53 |  | 1061.53 | 10615.3
| 4.1 | 3: Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :; 10: 0; 12: 0; 13: 0
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 995454 |  | 18% |  | cum | 0.466 | 8017.04 |  | 8017.04 | 3735.94
| 4.1.4 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | 995454 |  | 18% |  | cum | 6.235 | 9156.29 |  | 9156.29 | 57089.47
| 6.1 | 3: Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:; 10: 0; 12: 0; 13: 0
| 6.1.2 | 6.1.2 Cement mortar 1:6 (1 cement : 6 coarse sand) | 995456 |  | 18% |  | cum | 2.76 | 8435.77 |  | 8435.77 | 23282.73
| 13.7 | 3: 12 mm cement plaster finished with a floating coat of neat cement of mix; 10: 0; 12: 0; 13: 0
| 13.7.2 | 3.7.2 1:4 (1 cement: 4 fine sand) | 995472 |  | 18% |  | sqm | 156 | 457.75 |  | 457.75 | 71409
| 4.2 | 3: Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing:; 10: 0; 12: 0; 13: 0
| 4.2.3 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 995454 |  | 18% |  | cum | 0.75 | 11878.04 |  | 11878.04 | 8908.53
| 4.3 | 3: Centering and shuttering including strutting, propping etc. and removal of form work for; 10: 0; 12: 0; 13: 0
| 4.3.2 | Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | 995457 |  | 18% |  | Sqm | 40 | 848.29 |  | 848.29 | 33931.6
| 4.3 | 3: Centering and shuttering including strutting, propping etc. and removal of form work for :; 10: 0; 12: 0; 13: 0
| 4.3.1 | Foundations, footings, bases for columns | 995457 |  | 18% |  | sqm | 0.99 | 390.16 |  | 390.16 | 386.26
| 4.3.3 | Columns, piers, abutments, pillars, posts and struts | 995457 |  | 18% |  | sqm | 11.52 | 1018.96 |  | 1018.96 | 11738.42
| 12.41 | 3: Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion,(i) Single socketed pipes.; 10: 0; 12: 0; 13: 0
| 12.41.1 | 75 mm diameter | 995453 |  | 18% |  | metre | 10 | 269.87 |  | 269.87 | 2698.7
| 12.41.2 | 110 mm diameter | 995453 |  | 18% |  | metre | 10 | 405.12 |  | 405.12 | 4051.2
| 8.31 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,including pointing in white cement mixed with pigment of matching shade complete. | 995474 |  | 18% |  | Sqm | 69.71 | 1347.36 |  | 1347.36 | 93924.47
| 11.49 | 3: Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints.; 10: 0; 12: 0; 13: 0
| 11.49.2 | Size of Tile 600x600 mm | 995474 |  | 18% |  | sqm | 10 | 1947.83 |  | 1947.83 | 19478.3
| 9.12 | Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm thick in doors, windows and clerestory window shutters. (Area of opening for glass panes excluding portion inside rebate shall be measured). sqm 148.50 | 995476 |  | 18% |  | sqm | 2.52 | 188.14 |  | 188.14 | 474.11
| 21.13 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 995476 |  | 18% |  | each | 10 | 569.56 |  | 569.56 | 5695.6
| 21.16 | 3: Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in charge; 10: 0; 12: 0; 13: 0
| 21.16.1 | Anodized (AC 15 ) aluminium | 995476 |  | 18% |  | each | 20 | 112.45 |  | 112.45 | 2249
| 11.2 | 3: Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand).; 10: 0; 12: 0; 13: 0
| 11.20.1 | Light shade pigment using white cement | 995474 |  | 18% |  | sqm | 96 | 1562.23 |  | 1562.23 | 149974.08
| 2.6 | 3: Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.; 10: 0; 12: 0; 13: 0
| 2.6.1 | All kinds of soil | 995433 |  | 18% |  | cum | 22.416 | 260.29 |  | 260.29 | 5834.66
| 10.2 | 3: 10.2 Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete.; 8: kg; 9: 1082.345; 10: 141.84; 12: 141.84; 13: 153519.81
| 5.22 | 3: Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.; 10: 0; 12: 0; 13: 0
| 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 995454 |  | 18% |  | Kg | 17.04 | 113.58 |  | 113.58 | 1935.4
| 15.23 | 3: Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.; 10: 0; 12: 0; 13: 0
| 15.23.1 | For thickness of tiles 10 mm to 25 mm | 995419 |  | 18% |  | sqm | 191.461 | 76.65 |  | 76.65 | 14675.49
| 5.1 | 3: Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :; 10: 0; 12: 0; 13: 0
| 5.1.2 | 5.1.2 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 995454 |  | 18% |  | cum | 3.966 | 10597.14 |  | 10597.14 | 42028.26
| 5.9 | 3: Centering and shuttering including strutting, propping etc. and removal of form for; 10: 0; 12: 0; 13: 0
| 5.9.1 | Foundations, footings, bases of columns, etc. for mass concrete | 995457 |  | 18% |  | sqm | 2.4 | 390.16 |  | 390.16 | 936.38
| 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | 995457 |  | 18% |  | sqm | 16.92 | 1018.96 |  | 1018.96 | 17240.8
| 21.4 | 3: Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge.; 10: 0; 12: 0; 13: 0
| 21.4.1 | With stainless steel cover plate minimum 1.25 mm thickness | 995476 |  | 18% |  | each | 9 | 3102.61 |  | 3102.61 | 27923.49
| 13.61 | 3: Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :; 10: 0; 12: 0; 13: 0
| 13.61.1 | Two or more coats on new work | 995473 |  | 18% |  | sqm | 43.25 | 166.54 |  | 166.54 | 7202.86
| 28 | Hire and running charges of crane 20 tonne capacity Above Hire - charges include cost of services of operating staff, Cost of lubricatingoil, diesel / Petrol/ Kerosene oil , other consumables for runningthe plant and machinery and excluding GST.The hire charges of plant machinery on per day basis are for single shift of eight working hours. | 997313 |  | 18% |  | day | 2 | 8868.75 |  | 8868.75 | 17737.5
| 9.15 | 9.150 Providing and fixing zinc alloyed (white powder coated) touch lock for uPVC sliding window with necessary screws etc. complete. | 995476 |  | 18% |  | Each | 26 | 211.78 |  | 211.78 | 5506.28
PART-B - ELECTRIFICATION | bar: 3 to 4; 6; 8 to 10
SECTION I | bar: 3 to 10
SUB HEAD - I : WIRING
| 1.10.3 | Wiring for Light point / Fan point / exhaust fan point / call bell point with 1.5 Sq.mm FRLS PVC insulated copper conductor single core cable in surface /recessed medium class PVC conduit , with modular switch, modular plate, suitable GI Box and earthing the point with 1.5 Sq.mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 995461 |  | 18% |  | point | 166 | 1309.82 |  | 1309.82 | 217430.12
| 1.12 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 995461 |  | 18% |  | Meter | 500.007 | 298.21 |  | 298.21 | 149107.09
| 1.14 | 3: Wiring for circuit / sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface PVC casing caping conduit as required.; 10: 0; 12: 0; 13: 0
| 1.14.2 | 2 x 2.5 Sq.mm + 1 x 2.5 Sq.mm earth wire (wiring from DBs to Switchboards and switch board to socket outlets). | 995461 |  | 18% |  | Meter | 350.008 | 245.53 |  | 245.53 | 85937.46
| 1.14.10 | 4 x 10 Sq.mm + 2 x 10 Sq.mm earth wire (sub main wiring from MDB to LDB & PDB). | 995461 |  | 18% |  | Meter | 20 | 897.32 |  | 897.32 | 17946.4
| SUB HEAD -II : ERECTION OF FITTING & ACCESSORIES | 12: 0; 13: 0
| 1.26 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 995461 |  | 18% |  | Each | 15 | 35.71 |  | 35.71 | 535.65
| 1.33 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required | 995461 |  | 18% |  | Each | 55 | 77.68 |  | 77.68 | 4272.4
| 1.24 | 3: Supplying and fixiing following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.; 10: 0; 12: 0; 13: 0
| 1.24.1 | 5/6 amps Switch | 995461 |  | 18% |  | Each | 16 | 91.96 |  | 91.96 | 1471.36
| 1.24.4 | 3 pin 5/6 amps socket outlet (socket outlets on existing switch boards). | 995461 |  | 18% |  | Each | 16 | 108.93 |  | 108.93 | 1742.88
| 1.27 | 3: Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc.; 10: 0; 12: 0; 13: 0
| 1.27.3 | 4 Module(125X75 mm) | 995461 |  | 18% |  | Each | 1 | 306.25 |  | 306.25 | 306.25
| 1.27.5 | 8 Module (125mm X 125 mm) | 995461 |  | 18% |  | Each | 3 | 405.36 |  | 405.36 | 1216.08
| 1.27.6 | 12 Module (200 mm x 150 mm) | 995461 |  | 18% |  | Each | 13 | 488.4 |  | 488.4 | 6349.2
| 1.32 | Supplying and fixiing suitable size GI Box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 995461 |  | 18% |  | Each | 28 | 523.22 |  | 523.22 | 14650.16
| 1.35 | Installation, Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fittings, complete with all accessories including connection etc as required | 995461 |  | 18% |  | Each | 41 | 106.25 |  | 106.25 | 4356.25
| 1.41 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 995461 |  | 18% |  | Each | 36 | 183.93 |  | 183.93 | 6621.48
| 1.50 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required (Upto 450 mm sweep) | 995461 |  | 18% |  | Each | 6 | 401.79 |  | 401.79 | 2410.74
| SUB HEAD -III : MCB'S & MDB'S | 12: 0; 13: 0
| 2.5 | 3: Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar,din bar for mounting MCBs (but without MCBs and incomer ) as required; 10: 0; 12: 0; 13: 0
| 2.5.2 | 8 way (4+24), Double door | 998736 |  | 18% |  | Each | 2 | 9075.8929 |  | 9075.89 | 18151.78
| 2.1 | 3: S/F 'C' series, MCB : Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 'C'curve, miniature ckt breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing & commissioning etc. as required.; 10: 0; 12: 0; 13: 0
| 2.10.1 | Single Pole | 998736 |  | 18% |  | Each | 48 | 228.5714 |  | 228.57 | 10971.36
| 2.15 | 3: Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB),having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.; 10: 0; 12: 0; 13: 0
| 2.15.3 | 63A | 998736 |  | 18% |  | Each | 2 | 2564.2857 |  | 2564.29 | 5128.58
| 2.11 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 998736 |  | 18% |  | Each | 8 | 11.6071 |  | 11.61 | 92.88
| 2.13 | 3: Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required; 10: 0; 12: 0; 13: 0
| 2.13.3 | 100 A | 998736 |  | 18% |  | Each | 2 | 1095.5357 |  | 1095.54 | 2191.08
| 5.2 | 3: Earthing with G.I. earth pipe 4.5 metre long, 40 mm diaincluding accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required; 8: Each; 9: 1; 10: 6120.5357; 12: 6120.54; 13: 6120.54
| 5.11 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required | 998739 |  | 18% |  | metre | 25 | 630.3571 |  | 630.36 | 15759
SECTION II | bar: 3 to 4; 6; 8
SUB HEAD IV- FIRE DETECTION AND ALARM SYSTEM
| 17.1.2 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required | 995461 |  | 18% |  | Each | 45 | 1029.4643 |  | 1029.46 | 46325.7
| 17.1.3 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | 995461 |  | 18% |  | Each | 2 | 423.2143 |  | 423.21 | 846.42
| 17.1.5 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required | 995461 |  | 18% |  | Each | 15 | 175 |  | 175 | 2625
| 17.1.6 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S box (16SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc complete as required | 995461 |  | 18% |  | Each | 2 | 497.32 |  | 497.32 | 994.64
| 17.1.9 | 3: Supplying, installation, testing & commissioning sector panel suitable for following zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections, interconnections as required; 8: Each; 12: 0; 13: 0
| 17.1.9.2 | 6 Zone | 995461 |  | 18% |  | Each | 1 | 10873.21 |  | 10873.21 | 10873.21
| NS | Providing and wiring of Fire alarm armoured FRLS cable 2 x 1.5 sqmm | 995461 |  | 18% |  | meter | 399.994 | 255.2 |  | 255.2 | 102078.47
SECTION III | bar: 3 to 4; 6; 8
SUB HEAD -V :SUPPLY OF FIXTURES
| NS | 20W LED Cool White Tubelight (pack of 2) | 995461 |  | 18% |  | Each | 20 | 531.25 |  | 531.25 | 10625
| NS | Outdoor Gate Light | 995461 |  | 18% |  | Each | 12 | 1910.71 |  | 1910.71 | 22928.52
| NS | 100W Outdoor Flood Light IP65 (LED) | 995461 |  | 18% |  | Each | 10 | 3927.67 |  | 3927.67 | 39276.7
| NS | 2*2 LED Panel Light | 995461 |  | 18% |  | Each | 32 | 3034 |  | 3034 | 97088
| NS | LED Hanging Tubelight | 995461 |  | 18% |  | Each | 16 | 1678 |  | 1678 | 26848
| NS | DC Bulkhead Light | 995461 |  | 18% |  | Each | 19 | 849.1 |  | 849.1 | 16132.9
| NS | Exhaust Fan | 995461 |  | 18% |  | Each | 6 | 1511.6 |  | 1511.6 | 9069.6
| NS | 400mm Wall Fan | 995461 |  | 18% |  | Each | 29 | 2391.96 |  | 2391.96 | 69366.84
| NS | Exit Light | 995461 |  | 18% |  | Each | 12 | 1695.53 |  | 1695.53 | 20346.36
| NS | 12W LED Round Light | 995461 |  | 18% |  | Each | 10 | 464 |  | 464 | 4640
SECTION IV | bar: 3 to 4; 6; 8 to 9
| 1000014549 | Supply, trasnportion and installation of Lighting Panel type DCP as per technical specification | 995461 |  | 18% |  | each | 1 | 24395.66 |  | 24395.66 | 24395.66
|  | Total Quoted Rate | [9 empty] | 4607131.65
|  | 0 |  | Name of Bidder |  | 0
|  | 0 |  | Name of Authorized person |  | 0
|  |  |  | (Designation) |  | 0