## Basic Data (hidden)
Enter basic data here
[Fill up data only in the relevent open area]
1 | Name of Package | Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
2 | Specification No. | ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24
3 | Package Code
4 | Item Description | Light Weight T&P
5 | Quantity in km.
6 | Type Tests | Tests to be conducted |  | Nos of tests
|  | (a) | UTS test on stranded conductor | 1
|  | (b) | DC resistance test on stranded conductor | 1
|  | (c) | Corona extinction voltage test on hex bundle (dry) | 1
|  | (d) | Radio interference voltage test on hex bundle (dry) | 1

## Cover
General guidelines for filling up the Price Schedules, Discount Letter & Bid Form for 2nd Envelope
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24
1 | Fill up only green shaded cells in Sch-1
2 | All the cells in Sch-2 & 3 are auto filled, therefore no cell is required to be filled up there.
3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
4 | Based on the data filled in the respective schedules, e-Form is generated automatically. A print out of e-Form may be taken and the data may be filled in the electronic form of the tender provided on the portal.
Click to Proceed

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Bidder
| ● | Fill up date in dd-mm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1A (Price Schedule) :
| ● | Column 6 (HSN/SAC code): If HSN/SAC code provided in Column 6 (for the Item Description in Column 3) is same as Bidder's HSN/SAC code, write "Confirm". If Bidder wants to provide a different HSN/SAC code, please write the code. If left blank, it shall be treated as confirmation of HSN/SAC code provided in Column 6.
| ● | Column 8: Select options "Same as Column 7" or "NIL" or "Different GST rate in Column 9" from drop-down menu as per details given below. If this column is left blank, GST calculation will be done based on Column 7 (provided by Employer).
"Same as Column 7" : If you confirm GST rate provided in Column 7, select this option.
"NIL": If you are exempted from GST or GST is not applicable for that item, select this option.
"Different GST rate in Column 9" : If you are providing GST rate different from that provided in Column 7, select this option.
| ● | Column 9 (GST rate): If you have selection option "Different GST rate in Column 9" in Column 8, type the GST rate applicable for you. However, if this column is left blank even after selecting option "Different GST rate in Column 9" in Column 8, GST calculation will be done based on Column 7 (provided by Employer).
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Unit rates of the items shall be inclusive of all duties, levies, cess etc. excluding GST. GST shall be applicable on transaction between Employer and Contractor. Employer will not pay any GST on transaction between Contractor and sub-vendors.
| ● | Total amount shall get calculated automatically.
Sch -2 : Summary of Taxes and Duties
| ● | Summary of GST quoted on all items in Schedule 1 shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -3 : Grand Summary
| ● | Total amount including GST, taxes, duties etc. shall be calculated and dislayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the total price as per Grand Summary (Schedule-3).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the total price as per Grand Summary (Schedule-5).
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 | Sole Bidder | Orignal Equipment Manufacturer
Authorised Dealer of Manufacturer
Enter following details of the bidder |  | Authorised Distributor of Manufacturer
Authorised Indian Representative of Manufacturer
Specify type of Bidder [Select from drop down menu] | #REF!
Name of Bidder
Address
Whether the bidder is an MSE (Micro & Small Enterprise)
E-mail Id of Bid Signatory
Mobile no. Bid Signatory
Tel. no. of Bid Signatory
Printed Name
Designation
Date
Place
Click for Sch-1

## Sch-1 Dis (hidden)
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 | [6 empty] | Schedule - 1
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract Services
Name : | 0 |  |  |  | Power Grid Corporation of India Ltd.,
Address : | 0 |  |  |  | "Saudamini", Plot No.-2
| 0 |  |  |  | Sector-29, (near IFFCO Chowk)
| 0 |  |  |  | Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted.
All values are in Indian Rupees.
SI. No. | Item Description | Type & Designation | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6 | 8
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price |  |  |  |  | 0 | Direct
| Total Ex-Works Price |  |  |  |  | 0 | Bought Out
| Total Ex-Works Price |  |  |  |  | 0
| Total Type Test charges as per Schedule-6 |  |  |  |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  |  | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | 0 |  |  |  | Signature :
Place : | 0 |  |  |  | Printed Name : | 0
[5 empty] | Designation : | 0
Common Seal :

## Sch-2 Dis (hidden)
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 | [5 empty] | Schedule - 2
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES)
#REF! |  |  |  |  | To:
#REF! |  |  |  |  | Contract Services
Name : | #REF! |  |  |  | Power Grid Corporation of India Ltd.,
Address : | #REF! |  |  |  | "Saudamini", Plot No.-2
| #REF! |  |  |  | Sector-29, (near IFFCO Chowk)
| #REF! |  |  |  | Gurgaon (Haryana) - 122001
All values are in Indian Rupees.
SI. No. | Item Description | Type & Designation | Unit | Qty. | Unit price | Total Ex-works price
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | Total Freight & Insurance |  |  |  |  | #REF!
Date : | #REF! |  |  |  | Signature :
Place : | #REF! |  |  |  | Printed Name : | #REF!
[5 empty] | Designation : | #REF!
Common Seal :

## Sch-1 (Civil & Elect Works)
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 | [8 empty] | Schedule - 1 (Civil & Electrical Works)
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS | [12 empty] | As per Lum-sum
(SCHEDULE OF RATES AND PRICES ) | [12 empty] | AS per Percent
As per lum-sum on Sch-3
Bidder’s Name and Address | [9 empty] | To: |  |  | As per Percent on Sch-3
#REF! | [9 empty] | Sr. GM(C&M) |  |  | Multipackage lum-sum
Name: | [9 empty] | POWER GRID CORPORATION OF INDIA LIMITED, |  |  | Multipackage on Percent
Address: | [9 empty] | ODISHA PROJECTS |  |  | Total Discount
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
CIVIL WORKS | [7 empty] | All Prices are in Indian Rupees.
SI. No. | Service Activity Number | DSR 2023 | Item Description | Unit | Qty. | SAC/HSN Codes | Whether SAC/HSN in column ‘6’ is confirmed. If not indicate applicable the SAC/HSN # | Rate of GST applicable ( in %) | Select from Drop-down menu. Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Unit Rate (excluding GST) but including labour welfare cess & Freight (if any) | GST Amount | Amount (Excluding GST) but including labour welfare cess & freight (if any) |  | Unit Erection Charges | Total Erection Charges
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 5 | 6 = 4 x 5
| PART-A | 2: CIVIL WORK
|  | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.Ordinary rock
1 |  | 2.6.1 | All kinds of soil including building rubbish/debris etc. | Cum | 80.13 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
2 |  | 2.7.1 | Ordinary Rock | Cum | 93.49 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
3 |  | 2.7.3 | Hard rock (Blasting Prohibited) | Cum | 152.48 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
4 |  | 2.27 | Supplying and filling in plinth with local river sand under floors, including watering, ramming, consolidating and dressing complete. | Cum | 46.48 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
5 |  | 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | Cum | 15.75 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
6 |  | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size. | Cum | 30.8 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
7 |  | 2.35.3 | Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor: 2.35.3.1 With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | SQM | 382.95 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
8 |  | 1.1.2 | By Mechanical Transport including loading,unloading and stacking with in 1 km lead.as per direction of Engineer-in-charge. | Cum | 12.6 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
9 |  | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 25 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
10 |  | 2.25(a) | Excavating, supplying and filling of local good earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc.complete. | Cum | 101.0265 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
11 |  | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete,excluding the cost of centering, shuttering, finishing and reinforcement - 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) : as per direction of Engineer-in-charge.All works upto plinth level | Cum | 87.8976 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
12 |  | 5.2.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers,abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | Cum | 15.255 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
13 |  | 5.3 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level,excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | Cum | 77.281 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete .Thermo-Mechanically Treated bars of grade Fe-500D or more. (Note:Chairs,spacer,lapping etc deemed to be included.No extra payment shall be consider)
14 |  | 5.22.6 | All works upto plinth level | Kg | 6215 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
15 |  | 5.22A.6 | All works above plinth level upto floor V level | Kg | 13500 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
16 |  | 10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. all complete as per the Instruction of Engineer-In-charge. | Kg | 465 | 995414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Centering and shuttering including strutting, propping etc. and removal of form for :
17 |  | 5.9.1 | Foundations, footings, bases of columns,plinth beam etc. for mass concrete | Sqm | 179.52 | 995457 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
18 |  | 5.9.3 | Suspended floors, roofs, landings, balconies and access platform | Sqm | 309 | 995457 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
19 |  | 5.9.5 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Sqm | 395 | 995457 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
20 |  | 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sqm | 165 | 995457 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
21 |  | 5.9.7 | Stairs, (excluding landings) except spiral-staircases | Sqm | 22.3 | 995457 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
22 |  | Analysed-2018- 6.32.2=6.32.2-(6.4.2- 6.1.2) | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in foundation and upto plinth level in :Cement mortar 1:6 (1 cement : 6 coarse sand) all complete as per direction of Engineer-in-charge | Cum | 14.5 | 995456 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
23 |  | 6.32.2 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in Cement mortar 1:6 (1cement : 6 coarse sand) :all work complete as per the Instruction of Engineer-In-Charge. | Cum | 102 | 995456 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
24 |  | 6.45.2 | Half brick masonry with non modular fly ash bricks of class designation 10,conforming to IS :12894, in super structure above plinth and upto floor V level.Cement mortar 1 : 4 (1 cement : 4 coarse sand) | Sqm | 117.5 | 995456 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
25 |  | 6.15 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | Sqm | 14 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
26 |  | 13.1.2 | 12mm cement plaster on the rough side of single or half brick wall of mix :1:6 (1 cement: 6 fine sand) | Sqm | 587 | 995472 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
27 |  | 13.2.2 | 15 mm cement plaster on the rough side of single or half brick wall of mix :1:6 (1 cement: 6 fine sand) | Sqm | 666 | 995472 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
28 |  | 13.16,13.16.1 | 6 mm cement plaster of mix 1:3 (1 cement : 3 fine sand) | Sqm | 395 | 995472 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
29 |  | 13.27 | Extra for lining out plaster to imitate stone/brick/concrete blocks or any type of design shed walling all complete as per EIC. | Sqm | 68.7 | 995472 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
30 |  | LOA-156/21-22 | Providing and fixing 150 mm wide, 22 gauge and 18mm square fiber glass chicken wiremesh at junctions of concrete and brick work and other locations at all heights placed symmetrically on the joint, including cutting to required size, fixing in position with cement and nails etc complete in all respects as per specifications/drawings and to the entire satisfaction of the Engineer in Charge. | Sqm | 83 | 995411 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
31 |  | 11.6.1 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement :3 coarse sand), finished with a floating coat of neat cement. etc. complete as per design approved by Engineer-in-Charge.18 mm thick | SQM | 16.3 | 995472 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
32 |  | 11.37 | Providing and laying Ceramic glazed anti-skid floor tiles of size 300x300 mm(thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc.,complete.,(water proofing admixture (Dr. Fixit Pidicrete URP/equivalent SIKA) shall be added in mortar,cement slurry & in grouting materials)-(Paymnet for the Admixture to be paid separately) | Sqm | 1.95 | 995474 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
33 |  | 8.31 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make & colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade; all complete.,(water proofing admixture (Dr. Fixit Pidicrete URP/equivalent SIKA) shall be added in mortar,cement slurry & in grouting materials)-(Paymnet for the Admixture to be paid separately) | Sqm | 15 | 995474 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
34 |  | LOA-156/21-22 | 25 mm thick screed concrete flooring grade 1:2:4 (1 cement : 2 coarse sand (zone-III): 4 graded stone aggregate 10 mm down) size), hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry etc. complete. | Sqm | 382.95 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
35 |  | 11.8 | Extra for making chequers of approved pattern on cement concrete floors, steps,landing, pavements etc. | Sqm | 382.95 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
36 |  | 10.25.2 | Steel work welded in built up sections/ framed work, including cutting, hoisting,fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | kg | 540 | 995414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  | 9.21 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
37 |  | 9.21.2 | 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | SQM | 9.67 | 995476 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  | 9.22 | Extra for Providing and fixing flush doors with decorative veneering instead of non decorative ISI marked flush door shutters conforming to IS: 2202 (Part I) | [7 empty] | 0 | 0.01
38 |  | 9.22.1 | On one side only | SQM | 9.67 | 995476 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  |  | Providing & Fixing Grey RCC Door frame(rectangular) of grade-M40 with Smooth finished surface of approved brand and manufacture as per EIC. (hold fast lugs or fittings included). | [7 empty] | 0 | 0.01
39 |  | LOA-156/21-22 | Frame size upto( 6-9ft x3-4 ft) & 60mm thick. | each | 5 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
40 |  | 9.76 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | EACH | 4 | 995476 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
41 |  | LOA-156/21-22 | Floor painting with floor enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work.all complete as per EIC. | Sqm | 382.95 | 995473 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
42 |  | 13.53.1(M) | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :New work (two or more coats) including a coat of approved steel primer on steel. | Sqm | 32 | 995473 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
43 |  | 21.1.1.2 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | Kg | 48.58 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
44 |  | 21.1.2.2 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required Powder coated aluminium (minimum thickness of powder coating 50 micron) | Kg | 32.2 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
45 |  | LOA-156/21-22 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float/Frosted glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | Sqm | 11.284 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
46 |  | 13.80 | Providing and applying white cement based putty of average thickness 1 mm,of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Sqm | 1648 | 995433 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
47 |  | LOA-156/21-22 | Finishing walls with Plastic Emulsion paint interior paint of Approved brand & manufacturer i.e(Asian,Berger,Nerolac) of required shade,stencils with scrubbing,cleaning & preparing the old surface old work :(one or more coat) with priming coat of interior primer of respective brand;all complete as per instruction of EIC . | Sqm | 881 | 995473 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
48 |  | LOA-156/21-22 | Finishing walls with Acrylic Smooth Exterior paint(Weather coat) of required shade :(Two or more coat applied @ 1.43 ltr/10 sqm)over priming coat of exterior primer applied@0.90 litrs/10sqm complete including cost of Priming coat, all complete as per instruction of EIC . exterior wall paint of Berger Paint - "Weather Coat smooth"/ Nerolac Paint- "Weather Coat XL "/Asian Paints- "Apex Shine" is to be used. as direction of EIC. | Sqm | 767 | 995473 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
49 |  | 26.72 | Providing and laying 60mm thick factory made cement concrete paver block of approved shape and colour of M -30 grade made of C&D waste by block making machine with vibratory compaction laid in required pattern and including over 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | SQM | 93 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
50 |  | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | SQM | 63.6 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
51 |  | 4.12(M) | Extra for providing and mixing water proofing material;(Dr Fixit Pidicrete URP,Sika,FOSROCK ) in cement concrete work in doses by weight of cement as per manufacturer's specification. | per 50kg cement | 520 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. Complete
52 |  | 9.97.4 | 150 X 10 mm | Each | 6 | 995476 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
53 |  | 9.100.1 | 125mm | Each | 10 | 995476 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
54 |  | 9.100.2 | 100 mm | Each | 2 | 995476 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
55 |  | 8.31(M) | Providing and fixing Ist quality ceramic glazed exterior wall tiles of Stone/Brick kraft,wooden plank shed etc conforming to IS: standards (thickness to be specified by the manufacturer), of approved make like Kajaria,Somany, in all colours, shades as required & dados with sepecial adhesive over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 fine sand)coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,(water proofing admixture (Dr. Fixit Pidicrete URP/equivalent SIKA) shall be added in mortar,cement slurry & in grouting materials)-(Paymnet for the Admixture to be paid separately) | Sqm | 10 | 995474 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
56 |  | 12.22 | Making khurras 45x45 cm with average minimum thickness of 5 cmcement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | each | 10 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
57 |  | 12.41.2 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, , (i) Single socketed pipes. including jointing with seal ring conforming to IS : 5382,;sealant for water tight, leaving 10 mm gap for hermal expansion all complete.as per direction of Engineer-in-charge | RM | 40 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing on wall face unplasticised Rigid PVC moulded fittings/ accessories rain water pipes conforming to IS : 13592 Type A, , (i) Single socketed pipes. including jointing with seal ring conforming to IS : 5382,;sealant for water tight, leaving 10 mm gap for hermal expansion all complete.as per direction of Engineer-in-charge
58 |  | 12.42.3.2 | Single tee with door 110x110x110 mm | each | 1 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
59 |  | 12.42.5.2 | Bend 87.5°110 mm bend | each | 1 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Shoe (Plain) 110 mm
60 |  | 12.42.6.2 | 110 mm Shoe | each | 1 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes complete.
61 |  | LOA-156/21-22 | 110 mm | each | 46 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
62 |  | 17.2.1 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern,including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | each | 1 | 995443 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
63 |  | LOA-156/21-22 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound(Dr Fixit Pidicrete URP/Sika) in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) Providing and applying two coats of Elastomeric Cementious membrance coating with Dr. Fixit Pidifin 2K (Two component) /equivalent SIKA COMPOUND and it will be air cured up to 24 hours including all complete. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). all complete. (work shall be executed by waterproofing professional expert) | Sqm | 5.5 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
64 |  | LOA-156/21-22 | Providing and applying two coats of Elastomeric Cementiou membrance coating with Dr. FixitPidifin 2K (Two component) /equivalent SIKA COMPOUND and it will be air cured up to 24hours including allcomplete.(work shall be executed by waterproofing professional expert) | Sqm | 9.45 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  | LOA-156/21-22 | Providing/ laying ,jointing and testing in position of ISI marked UV stabilized UPVC pipe for soil, waste, and vent, Type-B as per IS:13592 suitable for rubber ring joints, including all necessary specials and fittings (confirming to IS:14735) i.e. bends, tees, junctions (with or without doors), reducing bush, reducers, WC connectors, couplers, cowls, clamps, rubber rings etc. fixing at wall/ceiling/floor level supported by clamp & hangers etc. inside duct, external work etc. including chase cutting as required, proper completion of the work, breaking and making good the walls and floors etc. after pipes have been dully laid and tested. ( in floor , Vertical stack. and hang under roof )
65 |  | a | 110mm dia | RM | 1.5 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
66 |  | b | 90mm dia | RM | 2.2 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
67 |  | 19.1.2 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :150 mm diameter | RM | 8 | 995443 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
68 |  | LOA-156/21-22 | P/ fixing UPVC deep seal trap of approved make with perforated stainless steel jali, including jointing the same with horizontal UPVC pipe laid in floors with jointing solvent as per the manufacture's instructions (including cost of jointing solvent) complete in all respect as directed by architect.100 mm inlet to 75mm out let | each | 1 | 995443 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
69 |  | LOA-156/21-22 | P/ fixing precast reinforced cement concrete Jali of min M15 grade with approved patteren,well finished including all fixing faciliated with removal & refixing in future maintenance upto floor V level.Thickness 50mm | Sqm | 1.5 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Exposed on wall
70 |  | 18.7.3 | 1" Pipes | RM | 25 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.
71 |  | 18.8.1 | 1/2" Pipes | RM | 1 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
72 |  | 18.8.3 | 1" Pipes | RM | 3 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
73 |  |  | 25MM -(NB) | EACH | 1 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
74 |  | 18.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | per litre | 500 | 995462 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
75 |  | 19.2.1 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :100 mm diameter S.W. pipe | RM | 1.5 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
76 |  | 19.2.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :150 mm diameter S.W. pipe | RM | 8 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
77 |  | 22.14.1(M) | Grading roof for water proofing treatment with;Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size)all work complete as per the Instruction of Engineer-In-Charge.(water proofing admixture (Dr. Fixit Pidicrete URP/equivalent SIKA) shall be added in mortar,cement slurry & in grouting materials)-(Paymnet for the Admixture to be paid separately) | cum | 24 | 995454 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
78 |  | LOA-156/21-22 | Providing & Fixing exposed part of Jaquar Concealed stop cock with operating lever,collar bush & adjsutable wall flange(Compatible with ALD-069FT) PRODUCT CODE: CON-CHR-069FTK PRODUCT RANGE: Jaquar-Continental Range | Each | 1 | 995443 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
79 |  | 17.7.4 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | Each | 1 | 995443 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing C.P brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms .
80 |  | 18.51.1 | 15 mm nominal bore | Each | 1 | 995443 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Providing and fixing PTMT BottleTrap forWash Basin and Sink .
81 |  | 17.70.1 | Bottle trap 31mm single piecemoulded with hight of 270 mm, effective length of tail pipe 260mm from the center of the waste coupling, 77mm breadth with 25mm minimum water seal weighing not less than 260 gms. | Each | 1 | 995443 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
82 |  | 17.31 | Providing & fixing 600 x 450mm beveled edge mirror of superior glass (of approved quality) complete with 6mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Each | 1 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
83 |  | LOA-156/21-22 | Providing and fixing C.P. brass Two way bib cock with flange of approved quality conforming to IS standards and weighing not less than 730 gms.15 mm nominal bore | Each | 1 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
84 |  |  | Providing and fixing C.P. brass angle stop cock of standard design and of approved make .15 mm nominal bore all complete as per the Instruction of Engineer-In-Charge. | Each | 2 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
85 |  |  | Providing and fixing Chrome health Faucet ABS body with Wall Hook and 1-Meter Stainless Steel Braided Rubber Hose approved quality conforming to IS standards all complete as per the Instruction of Engineer-In-Charge. | Each | 1 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
86 |  | LOA-156/21-22 | Providing & fixing PVC coated weldmesh of min. 1/2" aperture-16 gauge wire to windows, openings etc. With uv sunlight protection.all complete as per instruction of EIC. | Sqm | 1.25 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
87 |  | LOA-156/21-22 | Constructing soak pit 1.0 dia.& 1.20 m depth filled with brickbats including U-pvc kg/cm2-1.2 mtr length, 110 mm diameter complete as per standard design all complete as per the Instruction of Engineer-In-Charge. | Each | 1 | 995453 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
PART B - ELECTRICAL WORKS
| WIRING | 2: A. WIRING
1 |  | 1.3.1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in recessed medium class PVC conduit, with modular switch, modular late, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | Point | 46 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
2 |  | 1.14.2 | Wiring for circuit wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | Metre | 130 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
3 |  | 1.7.3 | Wiring for submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | Metre | 40 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
5 |  | 3: Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
i |  | 1.24.1 | 5/6 A switch | Each | 49 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
ii |  | 1.24.4 | 3 pin 5/6 A socket outlet | Each | 8 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
6 |  | 1.25 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | Each | 12 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
7 |  | 3: Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required; 6: 995461
i |  | 1.27.1 | 3 Module (100mmX75mm) | Each | 3 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
ii |  | 1.27.4 | 6 Module (200mmX75mm) | Each | 4 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
iii |  | 1.27.6 | 12 Module (200mmX150mm) | Each | 4 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
8 |  | 3: Supplying and fixing following way, single pole and neutral,sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections,powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator); 6: 995461
i |  | 2.3.2 | 8 way , Double door | Each | 2 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
9 |  | 3: Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.; 6: 995461
i |  | 2.10.1 | Single pole | Each | 10 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
ii |  | 2.10.4 | Triple pole | Each | 2 | 995461 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Supply (Non DSR Item)
10 |  | 3: Supplying of approved make of the following ceiling fan & all its accessories suitable for operation on 230V single phase, 50 Hz AC supply complete as required. (Havells or equivalent make).Colour as per Engineer I/c approval
|  | LOA-156/21-22 | 1200 mm sweep (AEROKING) | Each | 12 | 8414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
11 |  | 1.44 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | Each | 12 | 8414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
Supplying of 230V exhaust fan complete with louver/shutter and its all accessories complete as required of following size.(Havells or equivalent make).
12 |  | LOA-156/21-22 | 300 mm sweep (VENTILAIR DB NEO) | Each | 6 | 8414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
13 |  | LOA-156/21-22 | 150 mm sweep (VENTILAIRDX) | Each | 1 | 8414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
16 |  | 1.50.1 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. (Upto 450 mm sweep) | Each | 7 | 8414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
17 |  | LOA-156/21-22 | LED PRIDE PLUS CURVE BATTEN 36 W 6500 K- (Product Code: Havells LHEXACP7IN1W036) or equivalet of HPL/CGL/SignifyInnovations India Ltd /INSTA POWER/PHILIPS | Each | 21 | 9405 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
18 |  | LOA-156/21-22 | Supply of ENDURA RUGBY 10 W Ultra modern, surface mounted, oval edge-lit LED luminaire comprising of high brightness LEDs complete with all accessories as required- (Make-HPL/CGL/HAVELS/SignifyInnovations India Ltd /INSTA POWER/PHILIPS) | Each | 3 | 8414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
19 |  | 1.35 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | Each | 24 | 8414 | Confirmed | 18 | Confirmed |  | 0.0018 | 0.01
|  | 3: TOTAL; 11: 0.1926; 12: 0 |  |  | #REF!
# In case the bidder leaves the cell for confirmation of the SAC/HSN code and/or GST rate “blank”, the SAC/HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  | 11: Printed Name :
Place : |  | 11: Designation :
Click for Sch-2

## Sch-2
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 |  |  | Schedule - 2
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address |  | To:
#REF! |  | Sr.GM(C&M)
Name : |  | POWER GRID CORPORATION OF INDIA LIMITED,
Address : |  | ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
Sl. No. | Item Nos. | Total Price (INR) |  |  |  | After Discount
1 | TOTAL GST ON GOODS |  |  | 42.024 | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. | #REF! |  | 340
1 | TOTAL GST ON SERVICES |  |  | 6.18 | Sales Tax | 0
| Total GST for Services between the Contractor and the Employer (identified in Schedule 1) which are not included in the unit rate as per the provision of the Bidding Documents, as applicable. | 0.1926 |  | 1.1236
| GRAND TOTAL | 0.1926
Date :
Place : |  | Printed Name :
Designation :
Click for Sch-3

## Sch-4 Dis (hidden)
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 |  |  |  | Schedule - 4
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
#REF! |  |  | To:
#REF! |  |  | Contract Services
Name : | #REF! |  | Power Grid Corporation of India Ltd.,
Address : | #REF! |  | "Saudamini", Plot No.-2
| #REF! |  | Sector-29, (near IFFCO Chowk)
| #REF! |  | Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR) |  |  | After Discount
1 | TOTAL EXCISE DUTY |  | #REF! |  | Excise Duty | #REF!
Total Excise Duty for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
| Rate of Excise Duty for Direct items indicated in Sch-1 | #REF!
2 | TOTAL SALES TAX |  | #REF! |  | Sales Tax | #REF!
Total Sales Tax for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
| Quantity on which Sales Tax is applicable | #REF!
#REF!
| Rate of Sales Tax | #REF!
3 | TOTAL VAT |  | #REF! |  | Vat | #REF!
Total VAT for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable
| Amount on which VAT becomes applicable | #REF!
| Excise Duty on this Amount | #REF!
| Rate of VAT | #REF!
4 | TOTAL OCTROI |  | #REF!
| Total Octroi/Entry Tax as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | to be paid extra at actual
Click here for details of Octroi
5 | TOTAL ENTRY TAX |  | #REF!
| Total Octroi/Entry Tax as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | to be paid extra at actual
Click here for details of Entry Taxes
6 | TOTAL OTHER TAXES & DUTIES |  | #REF!
| Total Others levies payable in India (please specify) as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1. |  | to be paid extra at actual
Click here for details of Entry Taxes
| GRAND TOTAL [1+2+3+4+5+6] |  | #REF!
Note : | The reimbursement of Excise Duty, Sales Tax/VAT and other levies as per Sl. No. 1 & 2 above subject to provision of ITB Clause 11.4 shall be only against those items for which the Mode of Transaction indicated in Schedule - 1 is 'Direct'. In case of those items in the said Sechedule-1 against which the mode of transaction has been left blank, the same shall be deemed to be 'Bought-out' for the purpose of Evaluation and award of Contract and the price indicated in Schedule 1 against such items shall be deemed to be inclusive of all such taxes, duties and levies.
Date : | #REF! |  | Signature :
Place : | #REF! |  | Printed Name : | #REF!
|  |  | Designation : | #REF!
Common Seal :
Click for Sch-5

## Sch-3
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 |  |  | Schedule - 3
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
#REF! |  |  | Sr.GM(C&M)
Name : |  |  | POWER GRID CORPORATION OF INDIA LIMITED,
Address : |  |  | ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | #REF!
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | #REF!
Local Transportation, In-transit Insurance, loading and unloading
1 | TOTAL SCHEDULE NO. 1
| Total price (excluding GST) |  | 0
2 | TOTAL SCHEDULE NO. 2
| Goods and Services Tax on Schedule-1 |  | 0.1926
5 | TOTAL SCHEDULE NO. 6 |  | Not Applicable
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  | 0.1926 | 0.15215
Date :
Place : |  | Printed Name :
Designation :
Click for Bid Form

## Sch-5 After Discount (hidden)
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 |  |  | Schedule - 5 After Discount
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
(GRAND SUMMARY)
#REF! |  |  | To:
#REF! |  |  | DY.GENERAL MANAGER(C&M)
Name : | #REF! |  | POWER GRID CORPORATION OF INDIA LIMITED,
Address : | #REF! |  | ODISHA PROJECTS
| #REF! |  | PLOT NO.-4, UNIT-41, NILADRI VIHAR
| #REF! |  | CHANDRASHEKHARPUR, BHUBANESWAR-751021
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1
| Ex-works price of Plant and Equipment including Type Test Charges |  | #REF!
2 | TOTAL SCHEDULE NO. 2
| Local Transportation, Insurance and other Incidental Services |  | #REF!
3 | TOTAL SCHEDULE NO. 3
| Installation Charges |  | #REF!
4 | TOTAL SCHEDULE NO. 4
| Taxes and Duties |  | #REF!
#REF!
5 | TOTAL SCHEDULE NO. 6
| Type Test Charges [Total of this Schedule is included in Schedule - 1 above.] |  | Not Applicable
| GRAND TOTAL [1+2+3+4] |  | #REF!
#REF!
Date : | #REF!
Place : | #REF! | Printed Name : | #REF!
|  | Designation : | #REF!
Click for Sch-6

## Sch-6 Dis (hidden)
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 |  |  |  |  | Schedule - 6
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS | [5 empty] | As per Lum-sum |  | #DIV/0!
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [5 empty] | AS per Percent |  | 0%
[6 empty] | As per lum-sum on Sch-7 |  | #DIV/0!
#REF! |  |  |  | To: |  | As per Percent on Sch-7 |  | 0%
#REF! |  |  |  | Contract Services |  | Multipackage lum-sum |  | #DIV/0!
Name : | #REF! |  |  | Power Grid Corporation of India Ltd., |  | Multipackage on Percent |  | 0%
Address : | #REF! |  |  | "Saudamini", Plot No.-2 |  | Total Discount |  | #DIV/0!
| #REF! |  |  | Sector-29, (near IFFCO Chowk)
| #REF! |  |  | Gurgaon (Haryana) - 122001
SL. NO. | Description of Test | Unit | No. of Tests | Unit Type Test Charges | Total Type Test Charges |  | Total Test Charges (Rs.)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 3
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Type Test charges: (A)+(B)+C) |  |  |  | #REF! |  | #REF!
[7 empty] | Discount Sche-7 | #REF!
Test Laboratory where the tests are proposed to be conducted [Indicate name and place of the test laboratory]
Date : | #REF! |  |  | Signature :
Place : | #REF! |  |  | Printed Name : | #REF!
|  |  |  | Designation : | #REF!
Common Seal :
Click for Discount Letter

## Discount (hidden)
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
DY.GENERAL MANAGER(C&M)
POWER GRID CORPORATION OF INDIA LIMITED,
ODISHA PROJECTS
PLOT NO.-4, UNIT-41, NILADRI VIHAR
CHANDRASHEKHARPUR, BHUBANESWAR-751021
Subject : |  | Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 & Sch-6] In Rs. |  |  |  | #REF! | #REF!
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 & Sch-6] In Percent (%) |  |  |  | #REF! | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices (Direct Only) |  | In Rs. |  | #REF! | #REF! | Schedule-1 : (Direct Only) | #REF!
|  | Schedule-1 : Ex works prices (Bought Out Only) |  | In Rs. |  | #REF! | #REF! | Schedule-1 : (Bought Out Only) | #REF!
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | #REF! | #REF! | Schedule-2 : Freight & Insurance | #REF!
|  | Schedule-3 : Erection Charges |  | In Rs. |  |  | 0% | Schedule-3 : Erection Charges
|  | Schedule-6 : Type Test Charges |  | In Rs. |  | #REF! | #REF! | Schedule-6 : Type Test Charges | #REF!
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices (Direct Only) |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-1 : Ex works prices (Bought Out Only) |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  |  | 0%
|  | Schedule-6 : Type Test Charges |  | In Percent (%) |  | #REF! | 0%
| Discount(s) offered at sl. No. 1 to 4 will automatically get displayed and accounted for in the respective items of the Schedules. |  |  |  |  | #REF! | #REF!
| 5 | We hereby offer Multi-package discount as given below:
[6 empty] | #REF! | 0%
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
#REF!
Date : |  | #REF! | Printed Name : | #REF!
Place : |  | #REF! | Designation : | #REF!
Click for Bid Form

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 4

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 4

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 4

## Bid Form 2nd Envelope
Specification No.: ODP/BB/C&M-3613/OT-28/RFx No.5002003326/23-24 |  |  |  |  | Bid Form 2nd Envelope |  | 0 |  |  |  | 1 | st |  | 1 | January
[7 empty] | #REF! |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | 0 | [9 empty] | 6 | th | 0 | 6 | June
[11 empty] | 7 | th | 1 | 7 | July
To: | [10 empty] | 8 | th | January | 8 | August
Sr.GENERAL MANAGER | [10 empty] | 9 | th | 1900 | 9 | September
POWER GRID CORPORATION OF INDIA LIMITED, | [10 empty] | 10 | th |  | 10 | October
ODISHA PROJECTS | [10 empty] | 11 | th |  | 11 | November
PLOT NO.-4, UNIT-41, NILADRI VIHAR | [10 empty] | 12 | th |  | 12 | December
CHANDRASHEKHARPUR, BHUBANESWAR-751021 | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to supply goods as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to supply goods as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | #REF! | #REF! | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Schedule 1A to 1I |  | Supply of Services | [7 empty] | 21 | st
| Schedule 2() |  | Taxes and Duties. | [7 empty] | 22 | th
| Schedule 3() |  | Summary. |  |  | 0 |  |  |  |  | 23 | th
| Schedule 4() |  | Taxes and Duties not included in Schedule 1 to 3 | [7 empty] | 24 | th
| Schedule 5() |  | Grand Summary [Schedule 1 to 4] | [7 empty] | 25 | th
| Schedule 6() |  | Break-up of Type Test Charges for Type Tests to be conducted-Not applicable
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II: ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us, our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Purchaser under the Contract, shall be reimbursed by the Purchaser on production of satisfactory documentary evidence by the Supplier in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Goods including Type Test charges for Type test to be conducted specified in Schedule No. 1, of the Price Schedule in this Second Envelope ; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN , in all the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
4 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : | 0 |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover Page

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | #REF!
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | #REF!
| B) CENTRAL SALES TAX | #REF! |  | #REF!
| C) VAT | #REF! |  | #REF!
| D) ENTRY TAX / OCTROI | #REF! |  | #REF!
| E) OTHERS | #REF! |  | #REF!
| F) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | #REF! |  | #REF!
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| #REF! |  |  |  | #REF! | Excise Duty | #REF! | #REF! | #REF! | #REF!
| #REF! |  |  |  | 0.1926 | CST | #REF! | #REF! | #REF! | #REF!
| #REF! |  |  |  | #REF! | VAT | #REF! | #REF! | #REF! | #REF!
| #REF! |  |  |  | #REF! | Entry Tax/ Octroi |  |  | #REF! | #REF!
| #REF! |  |  |  | #REF! | Others |  |  | #REF! | #REF!
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | #REF!
b) | Excise Duty, as applicable on (a) above at the rate : | 10.3% | Rs. | #REF!
c) | Amount on which Sales Tax is applicable | #REF! |  | #REF!
d) | CST, as applicable on (a) + ED (b) above at the rate : | 0% | Rs. | #REF!
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 0% |  | #REF!
f) | Others [……………………………………………] |  | Rs. | #REF!
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF!
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | #REF!
Construction of PPPFC Storage shed (46.5mx6m) at POWERGRID Pandiabili GIS |  | Statement of Quoted / Corrected Prices |  | Page

## T & D (hidden)
[5 empty] | #REF! | Excise Duty | #REF! | #REF! | #REF! | #REF!
Sl. No. | Clause Ref. No. | Description of Clause | Observation/ Comment of the Bidder | Remarks | 19.26% | CST | #REF! | #REF! | #REF! | #REF!
1 | Clause 10 Taxes and Duties, Section-IV, GCC | 10. Taxes and Duties |  |  | #REF! | VAT | #REF! | #REF! | #REF! | #REF!
|  | 10.1 The Supplier shall be entirely responsible for payment of all taxes, duties, licence fees ………………………. | #REF! |  | #REF! | Entry Tax/ Octroi |  |  | #REF! | #REF!
|  | 10.2 The Supplier shall be solely responsible for the taxes that may be levied on the Supplier's persons ……………………….. | #REF! |  | #REF! | Others |  |  | #REF! | #REF!
|  | 10.3 In respect of direct transaction between the Purchaser and the Supplier, the EXW price is inclusive………………………….. | #REF!
|  | 10.4 Octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items, which shall be dispatched directly from the …………………………………… | #REF!
|  | 10.5 Purchaser would not bear any liability on account of Service Tax. ………………. | #REF!
10.6 Sales Tax/VAT on Works Contract, Turnover Tax or any other similar taxes under the …………………………………..
10.7 For the purpose of the Contract, it is agreed that the Contract Price specified in Article 2(Contract Price and Terms of Payment) of the Contract Agreement is based on the taxes, duties, levies and charges prevailing at the date seven (07) days prior to the last date of bid submission (hereinafter called “Tax” in this GCC Sub-clause 10.7). .……………........................................
In respect of raw materials, intermediary components etc and bought out items, neither the Purchaser nor the Supplier shall be entitled to any claim arising due to increase or decrease in the rate of Tax, ……………………………………………....
2 | Clause 29 Change in Laws and Regulations, Section-IV, GCC | 29.1 If, after the date seven (07) days prior to the date of Bid Opening, any law, regulation, ordinance, order or by-law having the force of law is enacted, promulgated, abrogated or changed in India (which shall be deemed to include any change in interpretation or application by the competent authorities) ……………………………………….

## N to W (hidden)
#REF!
#REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred