| Sl. No. | Clause No. | Existing provision as per BPS/TS | Amended provision |
| --- | --- | --- | --- |
| 1 | Bid Price Schedule Sh-1,2 &3) | Material code; Item Description; Unit; Qty. 1000033828 (Sch: 1&2) 100003965 Sch:3); MISCELLANEUOS INSTALLATION MATERIALS FOR CABLE LAYING, JOINTING AND BONDING INCLUDING LINK BOXES, SHEATH VOLTAGE LIMITERS, EARTH CONTINUITY CABLE, EARTHING MATERIAL, GROUND MAT, CABLES MAKERS,WARNING TAPES AND ALL OTHER MATERIALS ETC REQUIRED AS PER TECHANICAL SPECIFICATIONS AND AS PER STATUTARY REQUIREMENTS; LS; 1. | Deleted |
| 2 | Bid Price Schedule Sh-1,2 &3) | New items | Material code; Item Description; Unit; Qty. 1000061544 (Sch: 1&2) 100032652 Sch:3); EARTH CONTINUITY CABLE AS PER TECHNICAL SPECIFICATIONS; km; 15. 1000061547 (Sch: 1&2) 100032653 (Sch:3); MISCELLANEUOS INSTALLATION MATERIALS FOR CABLE LAYING, JOINTING AND BONDING INCLUDING LINK BOXES, SHEATH VOLTAGE LIMITERS, EARTHING MATERIAL, GROUND MAT, CABLES MAKERS, WARNING TAPES AND ALL OTHER MATERIALS ETC REQUIRED AS PER TECHANICAL SPECIFICATIONS AND AS PER STATUTARY REQUIREMENTS; LS; 1. |
| 3 | Annexures to section Project (Rev00) | Annexure-III; TYPICAL SPLIT BOND SLD DRAWING. | Annexure-III; TYPICAL SPLIT BOND SLD DRAWING (Rev 01) -Enclosed. |