| Sl. No. | Clause/Provision | Queries asked by the bidder | POWERGRID’s clarification |
| --- | --- | --- | --- |
| 1. |  | 6.6KV, single core 300Sqmm PVC copper earthing cable. The requirement of this cable is given for 15 KM in Section project & Drawings – Annexure-III. | Requirement of 6.6 kV, Single core 300 mm PVC copper earthing cable size has not been specified in the Section project & Drawings. Further, the sizing of the same shall be decided during detailed engineering based on the calculation submitted by successful bidder meeting the requirement as per TS. Please refer clause no: 1.16.7 of Section: EHV XLPE Power Cable (Rev01) and also refer Amendment-5. |
| 2. |  | HDPE pipe specification for 200mm dia (Item No. 5 of Price Schedule). As this specification is not available in tender document. | Bidder shall quote meeting the requirement as bidding documents & as per relevant IS. |
| 3 |  | 6.6KV, 300 Sq.mm Coaxial cable suitable for site conditions specified. | Clause no. not referred. Query not clear. |