| Sl. No. | Clause No. | Existing Provisions | Amendment |
| --- | --- | --- | --- |
| 1 | 10. Specific Requirement | 10. Specific Requirement - -- - - -- - New Clause added - New Clause added | 10. Specific Requirement - – - - -- - The tentative coordinates of Transmission line between which laying of 220 kV EHV Cable proposed under the subject package are given below. Coordinates; Latitude; Longitude. 1; 34°15'44.59"N; 75°26'33.35"E. 2; 34°18'43.57"N; 75°32'15.94"E. - Clause 2.1 (a) of Section GTR, Rev-15 is amended as below: "All equipment/materials/items, as per Annexure-K (Rev 01), as applicable under present scope of works, shall be procured and supplied from domestic manufacturers only with Minimum Local Content for individual items as listed in the above annexure. Any imported equipment/material/item/parts/component (comprising of embedded systems) to be supplied under the contract shall be tested in the certified laboratories to check for any kind of embedded malware/trojans/cyber threats and for adherence to Indian Standards as per the directions issued by Ministry of Power/Govt. of India from time to time. In case of such import from specified “prior reference” countries, the requirement of prior permission from the Govt. of India including protocol for testing in certified and designated laboratories by Ministry of Power/Govt. of India shall also be complied with by the contractor. The bidder/contractor shall list out the products and components producing Toxic e-waste under the contract and shall furnish to the Employer the procedure of safe disposal at the time of closing of the contract." |
| 2 | Annexures to section Project (Rev00) | Annexure-IV; Typical drawing for curvature Area. Annexure-V; Typical drawing for TREFOIL TO FLAT FORMATION IN ADJACENT TO JB (BOTH SIDES). | Annexure-IV; Typical drawing for curvature Area -(Rev01). Annexure-V; Typical drawing for TREFOIL TO FLAT FORMATION IN ADJACENT TO JB (BOTH SIDES) – (Rev01). |
| 3 | Bid price schedule ( Sch-1 & Schedule-2) | Material code; Item Description; Unit; Qty. 1000033825; 220 KV GRADE 1 CORE, 800SQ.MM.XLPE INSULATED COPPER CABLE AS PERTECHNICAL SPECIFICATION (LEAD METALLIC SHEATH AND PE OUTER SHEATHEDWITH GRAPHITE COATING SUITABLE FOR LOW TEMPERATURE UPTO -45Â° C ANDSHORT CIRCUIT CURRENT 40KA FOR 1 SEC) INCLUDING ONE SPARE CABLE AS PERTECHNICAL SPECIFICATION; KM; 60. New item. | Material code; Item Description; Unit; Qty. 1000033825; Deleted. 1000059860; 220 KV GRADE 1 CORE, 800SQ.MM.XLPE INSULATED COPPER CABLE ASPER TECHNICAL SPECIFICATION (LEAD METALLIC SHEATH AND PE OUTER SHEATHED SUITABLE FOR LOW TEMPERATURE UPTO -45Â° C AND SHORT CIRCUIT CURRENT 40KA FOR 1 SEC) INCLUDING ONE SPARE CABLE AS PER TECHNICAL SPECIFICATION; KM; 60. |