|  | Qualifying Requirement (QR) for 400kV AIS Pkg- SS 49T for (a) Establishment of 400/220 kV 4x500 MVA Pooling Station near Tumkur, Karnataka; (b) Extension of 400kV Tumkur (Pavagada) S/S; and (c) Tumkur-II -Tumkur(Pavagada) 400 kV (Quad ACSR moose) D/c line; associated with “Transmission Scheme for integration of Tumkur-II REZ in Karnataka” through tariff based competitive bidding (TBCB) route prior to RfP bid submission by POWERGRID to BPC.; Spec. No. CC/T/W-AIS/DOM/A02/24/06501 |
| --- | --- |
|  | QUALIFICATION OF THE BIDDER Qualification of bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid can be submitted by an individual firm or a Joint Venture of two or more firms (Specific requirements for Joint Ventures are given under Para 1.3 below). |
|  | ## The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) bidders work/manufacturing facilities visit; (iii) manufacturing capacity, details of works executed , works in hand, anticipated in future & the balance capacity available for present scope of works; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) banker’s feedback etc. |
| 1.0 | ## Technical Experience |
| 1.1 | Bidder must have erected, tested and commissioned as a prime contractor* under a single contract, at least two (2) nos. AIS^ Circuit Breaker equipped bays of 345 kV or above voltage level in one Substation or switchyard during last seven (7) years and these bays must be in satisfactory operation# as on the Originally scheduled last date of bid submission (soft copy) i.e. 03/06/2024 Note 1. (*) : In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract. - # Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark. - ^ AIS means Air Insulated Substation In case bidder is a holding company, the technical experience referred to in clause 1.0 shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, the technical experience referred to in clause 1.0 shall be of that subsidiary company only (i.e. excluding its holding company). |
| 1.2 | FINANCIAL POSITION: |
|  | For the purpose of this particular bid, bidders shall meet the following minimum criteria: a) Net Worth for last 3 financial years should be positive. b) Minimum Average Annual Turnover* (MAAT) of the bidder for best three years i.e. 36 months out of last five financial years as annualized should be Rs. 1674.78 Million or equivalent for Package SS49T. * Note- “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/ other income”. c) Bidder shall have Liquid Assets (LA) and/or evidence of access to or availability of credit facilities of not less than Rs. 279.13 Million or equivalent for Package SS49T. Note 1:- In case bidder is a holding company, the Financial Position criteria referred to in clause 1.2 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case bidder is a subsidiary of a holding company, the Financial Position criteria referred to in clause 1.2 above shall be that of subsidiary company only (i.e. excluding its holding company). Note 2:- Relaxation for Start-Ups^^/ MSEs Start-Ups^^/ MSEs, meeting the specified requirements at Para 1.2 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 1.2 (b) & 1.2 (c) above in Financial Position. ^^ Start-Ups as defined by DIPP, applicable as on the Originally scheduled last date of bid submission (soft copy) |
| 1.3 | JOINT VENTURE BIDS |
| 1.3.1 | In case a bid is submitted by a Joint Venture (JV) of two or more firms as partners, joint venture must comply the following minimum criteria: - All the partners of the JV shall meet individually the Financial Position criteria given at 1.2 (a) above. - The lead partner shall meet, not less than 40% of the Financial Position criteria given at para 1.2 (b) & (c) above and 100% of the Technical Experience criteria given at 1.1 above. - Each of the other partner (s) individually - shall meet not less than 25% of the Financial Position criteria given at 1.2 (b) & (c) above. - must have erected, tested and commissioned as a prime contractor* under a single contract, at least two (2) nos. AIS^ Circuit Breaker equipped bay of 220kV or above voltage level in one substation or switchyard during last seven(7) years and this bay must be in satisfactory operation# as on the Originally scheduled last date of bid submission mentioned above. - The joint Venture must satisfy collectively the Criteria of clause 1.2(b) & (c) above for which purpose the relevant figure of average annual turnover and liquid assets / credit facilities for each of the partners of the JV shall be added together to arrive at Joint Venture total capacity. Note (*): In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract. # Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark. |
| 1.4 | The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above. |