## Basic (hidden)
Package Name | Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
Direct
Package Code | SS35 | Bought-out
Specification No. | Specification No.:CC-CS/989-NR3/GIS-4019/3/G2

## Cover
Price Schedules | Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL) |  | Substation Package - SS35
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-4, Sch-5 Sch-6 & Sch-7 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-7

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package SS01
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Select either Direct or Bought-out from the drop down menu. Do not leave the cell blank the same shall be deemed to be Bought-out if the cell is left blank.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Training Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-5 (Summary of GST applicable on supply of Goods and Services) :
| ● | Amount of GST shall be calculated automatically.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid form 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 |  |  | Sole Bidder | 1
|  |  | JV (Joint Venture) | Other Partner
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] |  | 2 | 0
Name of Lead Partner
Address of Lead Partner
Name of other Partner - 1
Address of other Partner - 1
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
Printed Name
Designation
Date | 31
Place
Click for Sch-1

## Sch-1
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Lead Partner) : | [10 empty] | To:
[11 empty] | Contract Services | [6 empty] | Direct
Name : | [10 empty] | Power Grid Corporation of India Ltd., | [6 empty] | Bought-out
Address : | [10 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied , including Type Test Charges for Tests to be conducted:
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | HSN Code | Whether HSN in column ‘6’ is confirmed. If not indicate applicable the HSN code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘8’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14=12*13
1 | 7000010048 | 410 | 400 KV GIS EQUIPMENT | 1000032801 | 85359030 |  | 18 |  | 420KV, 4000A,50KA GIS BUSBAR MODULE EXTENSION | SET | 2 |  | INCLUDED | 0 | 0 |  |  |  | 0%
2 | 7000010048 | 420 | 400 KV GIS EQUIPMENT | 1000004631 | 85359030 |  | 18 |  | 420 kV, 3150 A, 50 kA, SF6 GIS Linefeeder bay module(without PIR) as perSection-Project, Technicalspecification | SET | 1 |  | INCLUDED | 0 | 0 |  |  |  | 5%
3 | 7000010048 | 430 | 400 KV GIS EQUIPMENT | 1000004627 | 85359030 |  | 18 |  | 420kV, 3150 A, 50 kA, SF6 GIS ICT feederbay module as per Section-Project,Technical specification | SET | 1 |  | INCLUDED | 0 | 0 |  |  |  | 12%
4 | 7000010048 | 440 | 400 KV GIS EQUIPMENT | 1000004494 | 85359030 |  | 18 |  | 420kV, 3150 A, 50 kA, SF6 GIS Tie baymodule(without PIR) as perSection-Project, Technicalspecification | SET | 1 |  | INCLUDED | 0 | 0 |  |  |  | 18%
5 | 7000010048 | 450 | 400 KV GIS EQUIPMENT | 1000029506 | 85389000 |  | 18 |  | 3150A, 50kA, 1sec Single phase 420kV SF6to Air Bushing | EA | 6 |  | INCLUDED | 0 | 0 |  |  |  | 28%
6 | 7000010048 | 460 | 400 KV GIS EQUIPMENT | 1000004286 | 85389000 |  | 18 |  | 420kV, 3000A, 50kA, Single phase, SF6Gas Insulated Bus Duct (GIB) outsideGIS Hall alongwith associated supportstructure | M | 450 |  | INCLUDED | 0 | 0
7 | 7000010048 | 470 | 400 KV AIS EQUIPMENTS | 1000004535 | 85359090 |  | 18 |  | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | INCLUDED | 0 | 0
8 | 7000010048 | 480 | 400 KV AIS EQUIPMENTS | 1000020419 | 85354010 |  | 18 |  | 336kV Surge Arrester (1-phase) | EA | 6 |  | INCLUDED | 0 | 0
9 | 7000010048 | 490 | 400 KV AIS EQUIPMENTS | 1000009711 | 85389000 |  | 18 |  | Controlled switching device for 420 kV, 3 phase circuit breaker | SET | 2 |  | INCLUDED | 0 | 0
10 | 7000010048 | 500 | 400 KV AIS EQUIPMENTS | 1000004401 | 85462040 |  | 18 |  | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 20 |  | INCLUDED | 0 | 0
11 | 7000010048 | 10 | 400 kV PLCC | 1000004289 | 85176210 |  | 18 |  | 400kV,3150A,0.5mH , 50kA Line Trap | EA | 4 |  | INCLUDED | 0 | 0
12 | 7000010048 | 20 | 400 kV PLCC | 1000004400 | 85462040 |  | 18 |  | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | INCLUDED | 0 | 0
13 | 7000010048 | 30 | CRP | 1000002165 | 85371000 |  | 18 |  | 400kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 3 |  | INCLUDED | 0 | 0
14 | 7000010048 | 40 | CRP | 1000002163 | 85371000 |  | 18 |  | 400kV Circuit Breaker Relay Panel without Auto Reclose (withAutomation) | EA | 1 |  | INCLUDED | 0 | 0
15 | 7000010048 | 50 | CRP | 1000003398 | 85371000 |  | 18 |  | 400kV Line Protection Panel (with Automation) | EA | 2 |  | INCLUDED | 0 | 0
16 | 7000010048 | 60 | CRP | 1000002146 | 85371000 |  | 18 |  | Augmentation of existing 400kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 2 |  | INCLUDED | 0 | 0
17 | 7000010048 | 70 | CRP | 1000025391 | 82032000 |  | 18 |  | Relay Test kit | EA | 1 |  | INCLUDED | 0 | 0
18 | 7000010048 | 80 | SAS | 1000003409 | 85371000 |  | 18 |  | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 2 |  | INCLUDED | 0 | 0
19 | 7000010048 | 90 | SAS | 1000003409 | 85371000 |  | 18 |  | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | INCLUDED | 0 | 0
20 | 7000010048 | 100 | SUBSTATION AUX | 1000025963 | 84151090 |  | 28 |  | Air conditioning sys-400kV GIS Hall LCC | SET | 1 |  | INCLUDED | 0 | 0
21 | 7000010048 | 110 | SUBSTATION AUX | 1000022408 | 84159000 |  | 28 |  | Ventillation system for 400KV GIS Hall | SET | 1 |  | INCLUDED | 0 | 0
22 | 7000010048 | 190 | ERECTION HARDWARE | 1000011336 | 72169990 |  | 18 |  | Erection Hardware for 400kV I type layout for GIS terminationarrangement-Line bay as per technical specification | SET | 2 |  | INCLUDED | 0 | 0
23 | 7000010048 | 200 | STEEL STRUCTURE | 1000020123 | 73082011 |  | 18 |  | Fabrication, galvanising and supply of Standard 400 kV Tower TAincluding nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 2 |  | INCLUDED | 0 | 0
24 | 7000010048 | 210 | STEEL STRUCTURE | 1000020124 | 73082011 |  | 18 |  | Fabrication, galvanising and supply of Standard 400 kV Tower TBincluding nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 2 |  | INCLUDED | 0 | 0
25 | 7000010048 | 220 | STEEL STRUCTURE | 1000020195 | 73045930 |  | 18 |  | Fabrication, galvanising and supply ofStandard Pipe Structure - 400 kV,1-Phase, SA including nuts, bolts,all type of washers, packplates, stepbolts and gusset plates excludingfoundation bolts | EA | 6 |  | INCLUDED | 0 | 0
26 | 7000010048 | 230 | STEEL STRUCTURE | 1000020193 | 73045930 |  | 18 |  | Fabrication, galvanising and supply of Standard Pipe Structure - 400kV CVT including nuts, bolts, all type of washers, packplates, stepbolts and gusset plates excluding foundation bolts | EA | 6 |  | INCLUDED | 0 | 0
27 | 7000010048 | 240 | STEEL STRUCTURE | 1000020196 | 73045930 |  | 18 |  | Fabrication, galvanising and supply ofStd Pipe Structure - 400 kV, 1-Phase,BPI, (Excluding Wave Trap), includingnuts, bolts, all type of washers,packplates, step bolts and gussetplates excluding foundation bolts | EA | 20 |  | INCLUDED | 0 | 0
28 | 7000010048 | 250 | STEEL STRUCTURE | 1000017568 | 73045930 |  | 18 |  | Standard Pipe Structure for 400kV BPI for WT (1- phase) | EA | 12 |  | INCLUDED | 0 | 0
29 | 7000010048 | 260 | STEEL STRUCTURE | 1000020118 | 73082011 |  | 18 |  | Fabrication, galvanising and supply of Standard 400 kV Gantry G1including nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 4 |  | INCLUDED | 0 | 0
30 | 7000010048 | 270 | STEEL STRUCTURE | 1000020135 | 73082011 |  | 18 |  | Fabrication, galvanising and supply of Standard 400 kV Tower TMincluding nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 2 |  | INCLUDED | 0 | 0
31 | 7000010048 | 280 | Earthing | 1000004302 | 72159090 |  | 18 |  | 40 mm MS rod for Main Earthmat | M | 2000 |  | INCLUDED | 0 | 0
32 | 7000010048 | 890 | Fire Protection | 1000012010 | 85311020 |  | 18 |  | Fire Detection and Alarm System for 400kV GIS Hall | SET | 1 |  | INCLUDED | 0 | 0
33 | 7000010048 | 290 | 1.1 KV POWER & CONTROL CABLE (LS) | 1000000443 | 85446020 |  | 18 |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | INCLUDED | 0 | 0
34 | 7000010048 | 300 | 1.1 KV POWER & CONTROL CABLE (LS) | 1000000442 | 85446020 |  | 18 |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | INCLUDED | 0 | 0
35 | 7000010048 | 510 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000017098 | 85389000 |  | 18 |  | Partial Discharge Monitoring System for 220kV GIS Station | SET | 1 |  | INCLUDED | 0 | 0
36 | 7000010048 | 520 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000025436 | 90271000 |  | 18 |  | SF6 Gas Leakage Detector | EA | 1 |  | INCLUDED | 0 | 0
37 | 7000010048 | 530 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000024691 | 85389000 |  | 18 |  | EOT Crane for GIS Building for 400kV GIS station | SET | 1 |  | INCLUDED | 0 | 0
38 | 7000010048 | 540 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000032132 | 85389000 |  | 18 |  | SF6 GAS ANALYZER | EA | 1 |  | INCLUDED | 0 | 0
39 | 7000010048 | 550 | ILLUMINATION | 1000013801 | 94059900 |  | 18 |  | Illumination system for 400KV GIS Hall | SET | 1 |  | INCLUDED | 0 | 0
40 | 7000010048 | 560 | ILLUMINATION | 1000014548 | 94059900 |  | 18 |  | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | INCLUDED | 0 | 0
41 | 7000010048 | 570 | ILLUMINATION | 1000020262 | 85371000 |  | 18 |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 3 |  | INCLUDED | 0 | 0
42 | 7000010048 | 580 | ILLUMINATION | 1000038039 | 94051090 |  | 18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL-1 AS PER TECH. SPECIFICATIONS | EA | 4 |  | INCLUDED | 0 | 0
43 | 7000010048 | 590 | ILLUMINATION | 1000038041 | 94051090 |  | 18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE SL-D1 AS PER TECH. SPECIFICATIONS | EA | 5 |  | INCLUDED | 0 | 0
44 | 7000010048 | 600 | ILLUMINATION | 1000038042 | 94051090 |  | 18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE SL-L1 AS PER TECH. SPECIFICATIONS | EA | 5 |  | INCLUDED | 0 | 0
45 | 7000010048 | 610 | ILLUMINATION | 1000038325 | 94059900 |  | 18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 4 |  | INCLUDED | 0 | 0
46 | 7000010048 | 940 | MANDATORY SPARES | 1000024186 | 85354010 |  | 18 |  | SPARES FOR 336KV SURGE ARRESTER | LS | 1 |  | INCLUDED | 0 | 0
47 | 7000010048 | 950 | MANDATORY SPARES | 1000019925 | 84819090 |  | 18 |  | Spares for Fire Protection System | LS | 1 |  | INCLUDED | 0 | 0
48 | 7000010048 | 960 | MANDATORY SPARES | 1000025949 | 85371000 |  | 18 |  | Spare-C & R Panel | SET | 1 |  | INCLUDED | 0 | 0
49 | 7000010048 | 970 | MANDATORY SPARES | 1000025945 | 85389000 |  | 18 |  | Spare-420kV GIS | SET | 1 |  | INCLUDED | 0 | 0
50 | 7000010048 | 980 | MANDATORY SPARES | 1000019927 | 85389000 |  | 18 |  | Spares-Substation Automation System | LS | 1 |  | INCLUDED | 0 | 0
51 | 7000010048 | 990 | MANDATORY SPARES | 1000025943 | 85359090 |  | 18 |  | Spare-420kV CVT 1 | SET | 1 |  | INCLUDED | 0 | 0
52 | 7000010048 | 1020 | Foundation Bolts | 1000012366 | 73082011 |  | 18 |  | Fabrication, galvanising and supply of 28mm dia foundation boltsincluding nuts, checknuts, washers and packplates. | EA | 200 |  | INCLUDED | 0 | 0
53 | 7000010048 | 1030 | Foundation Bolts | 1000012368 | 73082011 |  | 18 |  | Fabrication, galvanising and supply of 40mm dia foundation boltsincluding nuts, checknuts, washers and packplates. | EA | 24 |  | INCLUDED | 0 | 0
54 | 7000010048 | 1040 | Foundation Bolts | 1000012369 | 73082011 |  | 18 |  | Fabrication, galvanising and supply of 56mm dia foundation boltsincluding nuts, checknuts, washers and packplates | EA | 48 |  | INCLUDED | 0 | 0
55 | 7000010048 | 1050 | PMU and associated equipment | 1000017518 | 85364900 |  | 18 |  | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | INCLUDED | 0 | 0
56 | 7000010048 | 1060 | PMU and associated equipment | 1000022512 | 90311000 |  | 18 |  | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | INCLUDED | 0 | 0
57 | 7000010048 | 1070 | PMU and associated equipment | 1000022510 | 85176290 |  | 18 |  | WAMS Hardware - Substation Grade Layer-3 LAN Switches with minimum 4 x10/100 Mbps Ethernet ports and 2 x 1 Gbps Ethernet ports | EA | 3 |  | INCLUDED | 0 | 0
58 | 7000010048 | 1080 | PMU and associated equipment | 1000022487 | 85447090 |  | 18 |  | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | INCLUDED | 0 | 0
[9 empty] | Total Ex-Works Price |  |  |  | 0 |  | 0 | 1 | 0
[9 empty] | Total Type Test charges as per Schedule-7 |  |  |  | 0
[9 empty] | Total Ex-works Price including Type Test charges |  |  |  | 0
| Note : | # In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
3.08
| Date : | -- | [8 empty] | Printed Name : | 0
| Place : | 0 | [8 empty] | Designation : | 0
Click for Sch-2

## Sch-2
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 | [8 empty] | Schedule - 2
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Lead Partner) : | [7 empty] | To:
Contract Services
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Local Transportation, In-transit Insurance, loading and unloading
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | Description | Unit | Quantity | Unit Freight, In-transit Insurance, loading & unloading Charges | Total Freight, In-transit Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10=8*9
1 | 7000010048 | 410 | 400 KV GIS EQUIPMENT | 1000032801 | 420KV, 4000A,50KA GIS BUSBAR MODULE EXTENSION | SET | 2 |  | INCLUDED
2 | 7000010048 | 420 | 400 KV GIS EQUIPMENT | 1000004631 | 420 kV, 3150 A, 50 kA, SF6 GIS Linefeeder bay module(without PIR) as perSection-Project, Technicalspecification | SET | 1 |  | INCLUDED
3 | 7000010048 | 430 | 400 KV GIS EQUIPMENT | 1000004627 | 420kV, 3150 A, 50 kA, SF6 GIS ICT feederbay module as per Section-Project,Technical specification | SET | 1 |  | INCLUDED
4 | 7000010048 | 440 | 400 KV GIS EQUIPMENT | 1000004494 | 420kV, 3150 A, 50 kA, SF6 GIS Tie baymodule(without PIR) as perSection-Project, Technicalspecification | SET | 1 |  | INCLUDED
5 | 7000010048 | 450 | 400 KV GIS EQUIPMENT | 1000029506 | 3150A, 50kA, 1sec Single phase 420kV SF6to Air Bushing | EA | 6 |  | INCLUDED
6 | 7000010048 | 460 | 400 KV GIS EQUIPMENT | 1000004286 | 420kV, 3000A, 50kA, Single phase, SF6Gas Insulated Bus Duct (GIB) outsideGIS Hall alongwith associated supportstructure | M | 450 |  | INCLUDED
7 | 7000010048 | 470 | 400 KV AIS EQUIPMENTS | 1000004535 | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | INCLUDED
8 | 7000010048 | 480 | 400 KV AIS EQUIPMENTS | 1000020419 | 336kV Surge Arrester (1-phase) | EA | 6 |  | INCLUDED
9 | 7000010048 | 490 | 400 KV AIS EQUIPMENTS | 1000009711 | Controlled switching device for 420 kV, 3 phase circuit breaker | SET | 2 |  | INCLUDED
10 | 7000010048 | 500 | 400 KV AIS EQUIPMENTS | 1000004401 | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 20 |  | INCLUDED
11 | 7000010048 | 10 | 400 kV PLCC | 1000004289 | 400kV,3150A,0.5mH , 50kA Line Trap | EA | 4 |  | INCLUDED
12 | 7000010048 | 20 | 400 kV PLCC | 1000004400 | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | INCLUDED
13 | 7000010048 | 30 | CRP | 1000002165 | 400kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 3 |  | INCLUDED
14 | 7000010048 | 40 | CRP | 1000002163 | 400kV Circuit Breaker Relay Panel without Auto Reclose (withAutomation) | EA | 1 |  | INCLUDED
15 | 7000010048 | 50 | CRP | 1000003398 | 400kV Line Protection Panel (with Automation) | EA | 2 |  | INCLUDED
16 | 7000010048 | 60 | CRP | 1000002146 | Augmentation of existing 400kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 2 |  | INCLUDED
17 | 7000010048 | 70 | CRP | 1000025391 | Relay Test kit | EA | 1 |  | INCLUDED
18 | 7000010048 | 80 | SAS | 1000003409 | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 2 |  | INCLUDED
19 | 7000010048 | 90 | SAS | 1000003409 | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | INCLUDED
20 | 7000010048 | 100 | SUBSTATION AUX | 1000025963 | Air conditioning sys-400kV GIS Hall LCC | SET | 1 |  | INCLUDED
21 | 7000010048 | 110 | SUBSTATION AUX | 1000022408 | Ventillation system for 400KV GIS Hall | SET | 1 |  | INCLUDED
22 | 7000010048 | 190 | ERECTION HARDWARE | 1000011336 | Erection Hardware for 400kV I type layout for GIS terminationarrangement-Line bay as per technical specification | SET | 2 |  | INCLUDED
23 | 7000010048 | 200 | STEEL STRUCTURE | 1000020123 | Fabrication, galvanising and supply of Standard 400 kV Tower TAincluding nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 2 |  | INCLUDED
24 | 7000010048 | 210 | STEEL STRUCTURE | 1000020124 | Fabrication, galvanising and supply of Standard 400 kV Tower TBincluding nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 2 |  | INCLUDED
25 | 7000010048 | 220 | STEEL STRUCTURE | 1000020195 | Fabrication, galvanising and supply ofStandard Pipe Structure - 400 kV,1-Phase, SA including nuts, bolts,all type of washers, packplates, stepbolts and gusset plates excludingfoundation bolts | EA | 6 |  | INCLUDED
26 | 7000010048 | 230 | STEEL STRUCTURE | 1000020193 | Fabrication, galvanising and supply of Standard Pipe Structure - 400kV CVT including nuts, bolts, all type of washers, packplates, stepbolts and gusset plates excluding foundation bolts | EA | 6 |  | INCLUDED
27 | 7000010048 | 240 | STEEL STRUCTURE | 1000020196 | Fabrication, galvanising and supply ofStd Pipe Structure - 400 kV, 1-Phase,BPI, (Excluding Wave Trap), includingnuts, bolts, all type of washers,packplates, step bolts and gussetplates excluding foundation bolts | EA | 20 |  | INCLUDED
28 | 7000010048 | 250 | STEEL STRUCTURE | 1000017568 | Standard Pipe Structure for 400kV BPI for WT (1- phase) | EA | 12 |  | INCLUDED
29 | 7000010048 | 260 | STEEL STRUCTURE | 1000020118 | Fabrication, galvanising and supply of Standard 400 kV Gantry G1including nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 4 |  | INCLUDED
30 | 7000010048 | 270 | STEEL STRUCTURE | 1000020135 | Fabrication, galvanising and supply of Standard 400 kV Tower TMincluding nuts, bolts, all type of washers, packplates, step bolts andgusset plates excluding foundation bolts | EA | 2 |  | INCLUDED
31 | 7000010048 | 280 | Earthing | 1000004302 | 40 mm MS rod for Main Earthmat | M | 2000 |  | INCLUDED
32 | 7000010048 | 890 | Fire Protection | 1000012010 | Fire Detection and Alarm System for 400kV GIS Hall | SET | 1 |  | INCLUDED
33 | 7000010048 | 290 | 1.1 KV POWER & CONTROL CABLE (LS) | 1000000443 | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | INCLUDED
34 | 7000010048 | 300 | 1.1 KV POWER & CONTROL CABLE (LS) | 1000000442 | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | INCLUDED
35 | 7000010048 | 510 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000017098 | Partial Discharge Monitoring System for 220kV GIS Station | SET | 1 |  | INCLUDED
36 | 7000010048 | 520 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000025436 | SF6 Gas Leakage Detector | EA | 1 |  | INCLUDED
37 | 7000010048 | 530 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000024691 | EOT Crane for GIS Building for 400kV GIS station | SET | 1 |  | INCLUDED
38 | 7000010048 | 540 | TESTING & MAINTENANCE EQUIPMENT FOR GIS | 1000032132 | SF6 GAS ANALYZER | EA | 1 |  | INCLUDED
39 | 7000010048 | 550 | ILLUMINATION | 1000013801 | Illumination system for 400KV GIS Hall | SET | 1 |  | INCLUDED
40 | 7000010048 | 560 | ILLUMINATION | 1000014548 | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | INCLUDED
41 | 7000010048 | 570 | ILLUMINATION | 1000020262 | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 3 |  | INCLUDED
42 | 7000010048 | 580 | ILLUMINATION | 1000038039 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL-1 AS PER TECH. SPECIFICATIONS | EA | 4 |  | INCLUDED
43 | 7000010048 | 590 | ILLUMINATION | 1000038041 | LIGHTING FIXTURE LED LUMINAIRES TYPE SL-D1 AS PER TECH. SPECIFICATIONS | EA | 5 |  | INCLUDED
44 | 7000010048 | 600 | ILLUMINATION | 1000038042 | LIGHTING FIXTURE LED LUMINAIRES TYPE SL-L1 AS PER TECH. SPECIFICATIONS | EA | 5 |  | INCLUDED
45 | 7000010048 | 610 | ILLUMINATION | 1000038325 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 4 |  | INCLUDED
46 | 7000010048 | 940 | MANDATORY SPARES | 1000024186 | SPARES FOR 336KV SURGE ARRESTER | LS | 1 |  | INCLUDED
47 | 7000010048 | 950 | MANDATORY SPARES | 1000019925 | Spares for Fire Protection System | LS | 1 |  | INCLUDED
48 | 7000010048 | 960 | MANDATORY SPARES | 1000025949 | Spare-C & R Panel | SET | 1 |  | INCLUDED
49 | 7000010048 | 970 | MANDATORY SPARES | 1000025945 | Spare-420kV GIS | SET | 1 |  | INCLUDED
50 | 7000010048 | 980 | MANDATORY SPARES | 1000019927 | Spares-Substation Automation System | LS | 1 |  | INCLUDED
51 | 7000010048 | 990 | MANDATORY SPARES | 1000025943 | Spare-420kV CVT 1 | SET | 1 |  | INCLUDED
52 | 7000010048 | 1020 | Foundation Bolts | 1000012366 | Fabrication, galvanising and supply of 28mm dia foundation boltsincluding nuts, checknuts, washers and packplates. | EA | 200 |  | INCLUDED
53 | 7000010048 | 1030 | Foundation Bolts | 1000012368 | Fabrication, galvanising and supply of 40mm dia foundation boltsincluding nuts, checknuts, washers and packplates. | EA | 24 |  | INCLUDED
54 | 7000010048 | 1040 | Foundation Bolts | 1000012369 | Fabrication, galvanising and supply of 56mm dia foundation boltsincluding nuts, checknuts, washers and packplates | EA | 48 |  | INCLUDED
55 | 7000010048 | 1050 | PMU and associated equipment | 1000017518 | PMU with GPS Clock (clock can be either internal or external) | EA | 2 |  | INCLUDED
56 | 7000010048 | 1060 | PMU and associated equipment | 1000022512 | WAMS Hardware - Time System (GPS receiver) | EA | 2 |  | INCLUDED
57 | 7000010048 | 1070 | PMU and associated equipment | 1000022510 | WAMS Hardware - Substation Grade Layer-3 LAN Switches with minimum 4 x10/100 Mbps Ethernet ports and 2 x 1 Gbps Ethernet ports | EA | 3 |  | INCLUDED
58 | 7000010048 | 1080 | PMU and associated equipment | 1000022487 | WAMS Miscellaneous - Armored Fibre Optic Cable and associatedtermination (e.g. L2 Switch) for connecting PMU panels located indifferent control room of a station | EA | 1 |  | INCLUDED
[5 empty] | Total of Schedule-2 |  |  |  | 0
| Note : | Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, Insurance and other Incidental Services only in line with clause ITB 11.4(b).
| Date : | -- |  |  |  |  | Printed Name : | 0
| Place : | 0 |  |  |  |  | Designation : | 0

## Sch-3
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 | [14 empty] | Schedule - 3
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Lead Partner) : | [13 empty] | To:
Contract Services
Name : | [13 empty] | Power Grid Corporation of India Ltd.,
Address : | [13 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Installation Charges : | [14 empty] | All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column ‘8’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘10’ is confirmed. If not indicate applicable rate of GST # | Description | Unit | Quantity | Unit Charges | Total Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16=14*15
1 | 7000010048 | 310 | 180 | 40 | INSTALLATION OF 400 KV GIS EQUIPMENT | 100003559 | 998736 |  | 18 |  | Extension of 420kV , 4000 A, 50 kA 3 -phase SF6 GIS bus bar | SET | 2 |  | INCLUDED | 0 | 0 |  |  |  | 0%
2 | 7000010048 | 310 | 180 | 50 | INSTALLATION OF 400 KV GIS EQUIPMENT | 100002096 | 998736 |  | 18 |  | 420 kV, 3150 A, 50 kA, SF6 GIS Line feeder bay module(without PIR) as per Section-Project, Technical specification | SET | 1 |  | INCLUDED | 0 | 0 |  |  |  | 5%
3 | 7000010048 | 310 | 180 | 60 | INSTALLATION OF 400 KV GIS EQUIPMENT | 100000197 | 998736 |  | 18 |  | 420kV, 3150 A, 50 kA, 3-Phase SF6 GIS ICT feeder bay module | SET | 1 |  | INCLUDED | 0 | 0 |  |  |  | 12%
4 | 7000010048 | 310 | 180 | 70 | INSTALLATION OF 400 KV GIS EQUIPMENT | 100002129 | 998736 |  | 18 |  | 420kV, 3150 A, 50 kA, SF6 GIS Tie bay module(without PIR) as per Section-Project, Technical specification | SET | 1 |  | INCLUDED | 0 | 0 |  |  |  | 18%
5 | 7000010048 | 310 | 180 | 80 | INSTALLATION OF 400 KV GIS EQUIPMENT | 100002745 | 998736 |  | 18 |  | 420kV,3150A, 50kA, 1sec Single phase 420kV SF6 to Air | EA | 6 |  | INCLUDED | 0 | 0 |  |  |  | 28%
6 | 7000010048 | 310 | 180 | 90 | INSTALLATION OF 400 KV GIS EQUIPMENT | 100002137 | 998736 |  | 18 |  | 420kV, 3000A, 50kA, Single phase, SF6Gas Insulated Bus Duct (GIB) outsideGIS Hall alongwith associated supportstructure | M | 450 |  | INCLUDED | 0 | 0
7 | 7000010048 | 320 | 210 | 50 | INSTALLATION OF 400 KV AIS EQUIPMENT | 100000275 | 998736 |  | 18 |  | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 6 |  | INCLUDED | 0 | 0
8 | 7000010048 | 320 | 210 | 60 | INSTALLATION OF 400 KV AIS EQUIPMENT | 100000328 | 998736 |  | 18 |  | 336kV Surge Arrester (1-phase) | EA | 6 |  | INCLUDED | 0 | 0
9 | 7000010048 | 320 | 210 | 70 | INSTALLATION OF 400 KV AIS EQUIPMENT | 100000268 | 998736 |  | 18 |  | Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | EA | 2 |  | INCLUDED | 0 | 0
10 | 7000010048 | 320 | 210 | 80 | INSTALLATION OF 400 KV AIS EQUIPMENT | 100000340 | 998736 |  | 18 |  | 420 kV Bus Post Insulator (Except for wave traps) | EA | 20 |  | INCLUDED | 0 | 0
11 | 7000010048 | 330 | 220 | 30 | INSTALLATION OF 400 kV PLCC | 100000874 | 998734 |  | 18 |  | 400kV,3150A,0.5mH , 50kA Line Trap | EA | 4 |  | INCLUDED | 0 | 0
12 | 7000010048 | 330 | 220 | 40 | INSTALLATION OF 400 kV PLCC | 100000883 | 998734 |  | 18 |  | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | INCLUDED | 0 | 0
13 | 7000010048 | 340 | 230 | 80 | INSTALLATION OF CRP | 100000728 | 998736 |  | 18 |  | 400kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 3 |  | INCLUDED | 0 | 0
14 | 7000010048 | 340 | 230 | 90 | INSTALLATION OF CRP | 100000729 | 998736 |  | 18 |  | 400kV Circuit Breaker Relay Panel without Auto Reclose (with Automation) | EA | 1 |  | INCLUDED | 0 | 0
15 | 7000010048 | 340 | 230 | 100 | INSTALLATION OF CRP | 100000730 | 998736 |  | 18 |  | 400kV Line Protection Panel (with Automation) | EA | 2 |  | INCLUDED | 0 | 0
16 | 7000010048 | 340 | 230 | 110 | INSTALLATION OF CRP | 100000796 | 998736 |  | 18 |  | Augmentation of existing 400kV bus bar protection scheme | SET | 2 |  | INCLUDED | 0 | 0
17 | 7000010048 | 350 | 270 | 60 | INSTALLATION OF SAS | 100002069 | 998736 |  | 18 |  | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification | EA | 2 |  | INCLUDED | 0 | 0
18 | 7000010048 | 350 | 270 | 70 | INSTALLATION OF SAS | 100002075 | 998736 |  | 18 |  | Augmentation of Substation automation System for 400kV Tie bay as per Technical Specification | EA | 1 |  | INCLUDED | 0 | 0
19 | 7000010048 | 360 | 280 | 90 | INSTALLATION OF SUBSTATION AUX | 100001874 | 995463 |  | 18 |  | Ventillation system for 400KV GIS Hall | SET | 1 |  | INCLUDED | 0 | 0
20 | 7000010048 | 360 | 280 | 100 | INSTALLATION OF SUBSTATION AUX | 100002754 | 995463 |  | 18 |  | Airconditioning system-LCR-400kV GIS HALL | LS | 1 |  | INCLUDED | 0 | 0
21 | 7000010048 | 370 | 290 | 60 | INSTALLATION ERECTION HARDWARE | 100002187 | 998731 |  | 18 |  | Erection Hardware for 400kV I type layout for GIS termination arrangement-Line bay as per technical specification | SET | 1 |  | INCLUDED | 0 | 0
22 | 7000010048 | 380 | 300 | 70 | INSTALLATION OF STEEL STRUCTURE | 100001151 | 995455 |  | 18 |  | Erection of Std 400 kV Tower TA including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 2 |  | INCLUDED | 0 | 0
23 | 7000010048 | 380 | 300 | 80 | INSTALLATION OF STEEL STRUCTURE | 100001152 | 995455 |  | 18 |  | Erection of Std 400 kV Tower TB including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 2 |  | INCLUDED | 0 | 0
24 | 7000010048 | 380 | 300 | 90 | INSTALLATION OF STEEL STRUCTURE | 100001216 | 995455 |  | 18 |  | Erection of Pipe Structure - 400 kV 1-Phase SA including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 6 |  | INCLUDED | 0 | 0
25 | 7000010048 | 380 | 300 | 100 | INSTALLATION OF STEEL STRUCTURE | 100001213 | 995455 |  | 18 |  | Erection of Pipe Structure - 400 kV 1-Phase CVT including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 6 |  | INCLUDED | 0 | 0
26 | 7000010048 | 380 | 300 | 110 | INSTALLATION OF STEEL STRUCTURE | 100001217 | 995455 |  | 18 |  | Erection of Pipe Structure - 400 kV, 1-Phase, BPI, (Excluding Wave Trap), including nuts, bolts, all type of washers,packplates, step bolts and gusset plates excluding foundation bolts | EA | 20 |  | INCLUDED | 0 | 0
27 | 7000010048 | 380 | 300 | 120 | INSTALLATION OF STEEL STRUCTURE | 100001215 | 995455 |  | 18 |  | Erection of Pipe Structure - 400 kV 1-Phase WT including nuts, bolts, all type of washers, packplates, step bolts and gusset platesexcluding foundation bolts | EA | 12 |  | INCLUDED | 0 | 0
28 | 7000010048 | 380 | 300 | 130 | INSTALLATION OF STEEL STRUCTURE | 100001171 | 995455 |  | 18 |  | Erection of Std 400 kV Gantry G1 including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 4 |  | INCLUDED | 0 | 0
29 | 7000010048 | 380 | 300 | 140 | INSTALLATION OF STEEL STRUCTURE | 100001163 | 995455 |  | 18 |  | Erection of Std 400 kV Tower TM including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excludingfoundation bolts | EA | 2 |  | INCLUDED | 0 | 0
30 | 7000010048 | 390 | 310 | 20 | INSTALLATION OF EARTHING | 100001148 | 998739 |  | 18 |  | 40 mm MS rod for Main Earthmat | M | 2000 |  | INCLUDED | 0 | 0
31 | 7000010048 | 900 | 335 | 60 | INSTALLATION OF FIRE PROTECTION SYS | 100002059 | 995461 |  | 18 |  | Fire Detection and Alarm System for 400kV GIS Hall | SET | 1 |  | INCLUDED | 0 | 0
32 | 7000010048 | 400 | 340 | 10 | INSTALLATION OF POWER & CONTROL CABLE LS | 100002181 | 998736 |  | 18 |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | INCLUDED | 0 | 0
33 | 7000010048 | 400 | 340 | 20 | INSTALLATION OF POWER & CONTROL CABLE LS | 100002182 | 998736 |  | 18 |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | INCLUDED | 0 | 0
34 | 7000010048 | 910 | 480 | 20 | INSTALLATION OF TESTING & MAINT. EQPT. | 100001791 | 998736 |  | 18 |  | Partial Discharge Monitoring System for 220kV GIS Station | SET | 1 |  | INCLUDED | 0 | 0
35 | 7000010048 | 910 | 480 | 30 | INSTALLATION OF TESTING & MAINT. EQPT. | 100000259 | 998736 |  | 18 |  | EOT Crane for GIS Building for 400kV GIS station | SET | 1 |  | INCLUDED | 0 | 0
36 | 7000010048 | 920 | 490 | 20 | INSTALLATION OF ILLUMINATION | 100001113 | 998739 |  | 18 |  | Illumination system for 400KV GIS Hall | LS | 1 |  | INCLUDED | 0 | 0
37 | 7000010048 | 920 | 490 | 30 | INSTALLATION OF ILLUMINATION | 100001022 | 998731 |  | 18 |  | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | INCLUDED | 0 | 0
38 | 7000010048 | 920 | 490 | 40 | INSTALLATION OF ILLUMINATION | 100001024 | 998731 |  | 18 |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 3 |  | INCLUDED | 0 | 0
39 | 7000010048 | 920 | 490 | 50 | INSTALLATION OF ILLUMINATION | 100004850 | 998731 |  | 18 |  | Lighting Fixture LED Luminaires type SL-L1 as per tech. specifications | EA | 5 |  | INCLUDED | 0 | 0
40 | 7000010048 | 920 | 490 | 60 | INSTALLATION OF ILLUMINATION | 100004851 | 998731 |  | 18 |  | Lighting Fixture LED Luminaires type SL-D1 as per tech. specifications | EA | 5 |  | INCLUDED | 0 | 0
41 | 7000010048 | 920 | 490 | 70 | INSTALLATION OF ILLUMINATION | 100004852 | 998731 |  | 18 |  | Lighting Fixture LED Luminaires type FL-1 as per tech. specifications | EA | 4 |  | INCLUDED | 0 | 0
42 | 7000010048 | 920 | 490 | 80 | INSTALLATION OF ILLUMINATION | 100004931 | 998731 |  | 18 |  | LED Flood Light Luminaries Type FL-2 (250W) as per technical specification | EA | 4 |  | INCLUDED | 0 | 0
43 | 7000010048 | 930 | 660 | 250 | Civil Works | 100004518 | 995433 |  | 18 |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 5325 |  | INCLUDED | 0 | 0
44 | 7000010048 | 930 | 660 | 260 | Civil Works | 100001325 | 995454 |  | 18 |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 187 |  | INCLUDED | 0 | 0
45 | 7000010048 | 930 | 660 | 270 | Civil Works | 100001326 | 995454 |  | 18 |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 23 |  | INCLUDED | 0 | 0
46 | 7000010048 | 930 | 660 | 280 | Civil Works | 100001327 | 995454 |  | 18 |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 1428 |  | INCLUDED | 0 | 0
47 | 7000010048 | 930 | 660 | 290 | Civil Works | 100001328 | 995454 |  | 18 |  | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) | M3 | 600 |  | INCLUDED | 0 | 0
48 | 7000010048 | 930 | 660 | 300 | Civil Works | 100001329 | 995454 |  | 18 |  | Steel Reinforcement | MT | 100 |  | INCLUDED | 0 | 0
49 | 7000010048 | 930 | 660 | 310 | Civil Works | 100001331 | 995455 |  | 18 |  | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 4 |  | INCLUDED | 0 | 0
50 | 7000010048 | 930 | 660 | 320 | Civil Works | 100001714 | 995428 |  | 18 |  | Stone spreading in switchyard excluding PCC | M2 | 7000 |  | INCLUDED | 0 | 0
51 | 7000010048 | 930 | 660 | 330 | Civil Works | 100001713 | 995424 |  | 18 |  | Antiweed treatment | M2 | 7000 |  | INCLUDED | 0 | 0
52 | 7000010048 | 930 | 660 | 480 | Civil Works | 100004507 | 995421 |  | 18 |  | 3.75m wide Cement Concrete road with PCC shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS.However, reinforcement steel and all type concrete shall be paid separately under relevant items | M2 | 75 |  | INCLUDED | 0 | 0
53 | 7000010048 | 930 | 660 | 490 | Civil Works | 100004509 | 995421 |  | 18 |  | 5.5m wide Cement Concrete road with PCC shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS.However, reinforcement steel and and all type concrete shall be paid separately under relevant items | M2 | 138 |  | INCLUDED | 0 | 0
54 | 7000010048 | 930 | 660 | 510 | Civil Works | 100001735 | 995462 |  | 18 |  | RCC culverts and cable trench crossings including supplying and laying hume pipe 250mm dia of grade (NP-3) excluding concrete as perspecification. | M | 30 |  | INCLUDED | 0 | 0
55 | 7000010048 | 930 | 660 | 520 | Civil Works | 100001736 | 995462 |  | 18 |  | RCC culverts and cable trench crossings including supplying and laying hume pipe 300mm dia of grade (NP-3) excluding concrete as perspecification. | M | 15 |  | INCLUDED | 0 | 0
56 | 7000010048 | 930 | 660 | 530 | Civil Works | 100001737 | 995462 |  | 18 |  | RCC culverts and cable trench crossings including supplying and laying hume pipe 450mm dia of grade (NP-3) excluding concrete as perspecification. | M | 15 |  | INCLUDED | 0 | 0
57 | 7000010048 | 930 | 660 | 560 | Civil Works | 100001412 | 995462 |  | 18 |  | Drain including culverts but excluding concrete & reinforcement steel-Section A-A | M | 60 |  | INCLUDED | 0 | 0
58 | 7000010048 | 930 | 660 | 570 | Civil Works | 100001413 | 995462 |  | 18 |  | Drain including culverts but excluding concrete & reinforcement steel-Section B-B | M | 60 |  | INCLUDED | 0 | 0
59 | 7000010048 | 930 | 660 | 580 | Civil Works | 100001712 | 995428 |  | 18 |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 1000 |  | INCLUDED | 0 | 0
60 | 7000010048 | 930 | 660 | 590 | Civil Works | 100001747 | 995414 |  | 18 |  | PEB - Ext of 400 kV GIS - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 600 |  | INCLUDED | 0 | 0
61 | 7000010048 | 930 | 660 | 600 | Civil Works | 100004431 | 995416 |  | 18 |  | 400 kV PEB Panel Room for GIS Hall - Civil Works All civil works complete as per TS, including - brickwork, finishing (externaland internal), windows etc. However, excavation, concrete (all types) and reinforcement steel shall be measured and paid separatelyas per respective item of BPS. | M2 | 80 |  | INCLUDED | 0 | 0
62 | 7000010048 | 930 | 660 | 610 | Civil Works | 100004427 | 995416 |  | 18 |  | 400 kV PEB AHU Room for GIS Hall - Civil Works All civil works complete as per TS, including - brickwork, finishing (external andinternal), windows etc. However, excavation, concrete (all types) and reinforcement steel shall be measured and paid separately asper respective item of BPS. | M2 | 50 |  | INCLUDED | 0 | 0
63 | 7000010048 | 1010 | 690 | 10 | Foundation Bolts | 100001674 | 995455 |  | 18 |  | Erection of 28mm dia foundation bolts including nuts, checknuts, washers and packplates. | EA | 200 |  | INCLUDED | 0 | 0
64 | 7000010048 | 1010 | 690 | 20 | Foundation Bolts | 100001676 | 995455 |  | 18 |  | Erection of 40mm dia foundation bolts including nuts, checknuts, washers and packplates. | EA | 24 |  | INCLUDED | 0 | 0
65 | 7000010048 | 1010 | 690 | 30 | Foundation Bolts | 100001677 | 995455 |  | 18 |  | Erection of 56mm dia foundation bolts including nuts, checknuts, washers and packplates | EA | 48 |  | INCLUDED | 0 | 0
66 | 7000010048 | 1090 | 720 | 10 | PMU and associated equipment services | 170000502 | 998713 |  | 18 |  | Service:- Phasor Measurement Unit (PMU) | EA | 2 |  | INCLUDED | 0 | 0
67 | 7000010048 | 1090 | 720 | 20 | PMU and associated equipment services | 170000530 | 998734 |  | 18 |  | WAMS TIME SYSTEM(GPS RECEIVER) | EA | 2 |  | INCLUDED | 0 | 0
68 | 7000010048 | 1090 | 720 | 30 | PMU and associated equipment services | 170000503 | 998713 |  | 18 |  | Installation of Substation Grade Layer-3 LAN Switches as per Technical Specification | EA | 3 |  | INCLUDED | 0 | 0
69 | 7000010048 | 1090 | 720 | 40 | PMU and associated equipment services | 170000504 | 998713 |  | 18 |  | Services:- Armored Fibre Optic Cable and associated termination equipment | LOT | 1 |  | INCLUDED | 0 | 0
70 | 7000010048 | 1090 | 720 | 50 | PMU and associated equipment services | 170000501 | 998734 |  | 18 |  | Integration of PMU with the PDC (Phasor Data Concentrator) of RLDCs and respective SLDCs as required. | LOT | 1 |  | INCLUDED | 0 | 0
[11 empty] | Total of Schedule-3 |  |  |  | 0 |  | 0 | 1 | 0 | 0
| # | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
| Date : | -- | [10 empty] | Printed Name : | 0
| Place : | 0 | [10 empty] | Designation : | 0

## Sch-4
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 | [11 empty] | Schedule - 4
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Lead Partner) : | [10 empty] | To:
Contract Services
Name : | [10 empty] | Power Grid Corporation of India Ltd.,
Address : | [10 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Training Charges :
SI. No. | PR No | Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Rate of GST applicable ( in %) | Description | Unit | Quantity | Unit Charges | Total Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14=12*13
NOT APPLICABLE
[5 empty] | Total for Training Charges [Total Schedule 4] | [7 empty] | 0
| Date : | -- | [8 empty] | Printed Name : | 0
| Place : | 0 | [8 empty] | Designation : | 0

## Sch-5
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 |  |  |  | Schedule - 5
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(SUMMARY OF TAXES & DUTIES )
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST on Goods |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST on Services |  | 0
Total GST on Installation Services (indentified in Schedule-3) and Training to be imparted in India (identified in Schedule-4) which are not included in the Installation and Training charges as per the provision of the Bidding Documents, as applicable
| GRAND TOTAL [1+2] |  | 0
Date : | -- | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Sch-6

## Sch-5 after discount (hidden)
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 |  |  |  | Schedule - 5
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(SUMMARY OF TAXES & DUTIES )
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST on Goods |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST on Services |  | 0
Total GST on Installation Services (indentified in Schedule-3) and Training to be imparted in India (identified in Schedule-4) which are not included in the Installation and Training charges as per the provision of the Bidding Documents, as applicable
| GRAND TOTAL [1+2] |  | 0
Date : | -- | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Sch-6

## Sch-6
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 |  |  | Schedule - 6
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(GRAND SUMMARY)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading and unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 - (NOT APPLICABLE) |  | 0
Training Charges
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 - (NOT APPLICABLE) |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : | -- | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Sch-7

## Sch-6 After Discount
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 |  |  | Schedule - 6 After Discount
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
(GRAND SUMMARY)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading and unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 - (NOT APPLICABLE) |  | 0
Training Charges
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 - (NOT APPLICABLE) |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : | -- | Printed Name : | 0
Place : | 0 | Designation : | 0

## Sch-7
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 | [12 empty] | Schedule 7
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL) | [18 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [18 empty] | AS per Percent |  | #REF!
[19 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Lead Partner) : | [9 empty] | To: | [8 empty] | As per Percent on Sch-7 |  | #REF!
[10 empty] | Contract Services | [8 empty] | Total Discount |  | #REF!
Name : | [9 empty] | Power Grid Corporation of India Ltd.,
Address : | [9 empty] | "Saudamini", Plot No.-2
[10 empty] | Sector-29, | [8 empty] | Multipackage Discount |  | 0%
Gurgaon (Haryana) - 122001
Type Test Charges for Type Tests to be conducted:
Sl. No. | PR No | Line Item No | Activity Description | Code | HSN Code | Whether HSN in column ‘ 2 ’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description of Test | Unit | Quantity | Unit Charges | Total for Type Test charges |  |  |  |  | 0% |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14=12x13 |  |  |  |  | 5%
12%
I | Extn.of Kanpur S/s incl series Reactor | [16 empty] | 18%
1 | 7000009657 | 310 |  | 9000000434 | 998346 |  | 18 |  | TYPE TEST ON AIR CORE REACTOR | LOT | 1 |  | INCLUDED | 0 | 0 |  |  | 28%
II | Extn.of Bhiwani S/s incl Series reactor
2 | 7000009657 | 800 |  | 9000000434 | 998346 |  | 18 |  | TYPE TEST ON AIR CORE REACTOR | LOT | 1 |  | INCLUDED | 0 | 0
NOT APPLICABLE
[8 empty] | TOTAL TYPE TEST CHARGES |  |  |  |  | 0 |  | 0 | 1 | 0
| Date : | -- | [5 empty] | Printed Name : | 0
| Place : | 0 | [5 empty] | Designation : | 0
| Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2
Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL) | [5 empty] | 0 | 0
(SCHEDULE OF RATES AND PRICES ) | [5 empty] | 0 | 0
Bidder’s Name and Address (Lead Partner) :
[6 empty] | 0 | 0
Name : | [6 empty] | 0
Address : | [6 empty] | 0
0
0
Sl. No. | [5 empty] | Whether HSN in column ‘ 2 ’ is confirmed. If not indicate applicable the HSN code * | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
#REF! | [5 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 |  |  |  |  | Letter of Discount | [6 empty] | Schedule 1 | 0
[12 empty] | Schedule 2 | 0
LETTER OF DISCOUNT | [11 empty] | Schedule 3 | 0
To: | [5 empty] | Schedule 7 | 0 | 1 |  |  |  | Schedule 4
Contract Services | [5 empty] | Schedule 1 | 0 | 1 |  |  |  | Schedule 7
Power Grid Corporation of India Ltd., | [5 empty] | Schedule 2 | 0 | 1 |  |  |  | Total | 0
"Saudamini", Plot No.-2 | [5 empty] | Schedule 3 | 0 | 1
Sector-29, (near IFFCO Chowk) | [5 empty] | Total Bid Price | 0 | 1
Gurgaon (Haryana) - 122001
Subject : |  | Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL)
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [5 empty] | Sch 1 | Sch 2 | Sch 3 | Sch 7 | Final Discount Factor |  | Sch-1 | Sch-2 | Sch-3 | Sch-4 | Sch-7
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3, Sch-4 & Sch-7] In Rs. |  |  |  | 0 | 0 | 0 | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3, Sch-4 & Sch-7] In Percent (%) |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 |  |  |  | Schedule-1 : (Direct Only) | 0% | 0 | X | X | X | X
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  |  | 0 |  |  | Schedule-2 : Freight & Insurance | 0% | X | 0 | X | X | X
|  | Schedule-3 : Erection Charges |  | In Rs. |  |  |  | 0 |  | Schedule-3 : Erection Charges | 0% | X | X | 0 | X | X
|  | Schedule-4 : Training Charges | (NOT APPLICABLE) | In Rs. |  |  |  |  | 0 |  |  | X | X | X | 0 | X
|  | Schedule-7 : Type Test Charges | (NOT APPLICABLE) | In Rs. | [5 empty] | Schedule-6 : Type Test Charges | 0% | X | X | X | X | 0
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | [5 empty] | 0 | X | X | X | X
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  |  | 0 |  |  |  |  | X | 0 | X | X | X
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  |  |  | 0 |  |  |  | X | X | 0 | X | X
|  | Schedule-4 : Training Charges | (NOT APPLICABLE) | In Percent (%) |  |  |  |  | 0 |  |  | X | X | X | 0 | X
|  | Schedule-7 : Type Test Charges | (NOT APPLICABLE) | In Percent (%) | [7 empty] | X | X | X | X | 0
|  | Discount(s) offered at sl. No. 1 to 4 will get displayed and accounted for automatically in the respective items of the Schedules. |  |  |  | 0 | 0 | 0 | 0
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid. | [5 empty] | 0 | 0 | 0 | 0
Thanking you, we remain, | [5 empty] | 1 | 1 | 1 | 1 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | 0 | 0 | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Yours faithfully,
For and on behalf of test
Date : |  | -- | Printed Name : | 0
Place : |  | 0 | Designation : | 0
Click for Bid Form
Click for Bid Form

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
Specification No.:CC-CS/989-NR3/GIS-4019/3/G2 |  |  |  |  | Bid Form 2nd Envelope |  |  | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[8 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [11 empty] | 3 | rd |  | 3 | March
[12 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [11 empty] | 5 | th |  | 5 | May
Date : | -- | [10 empty] | 6 | th | #VALUE! | 6 | June
[12 empty] | 7 | th | #VALUE! | 7 | July
To: | [11 empty] | 8 | th | #VALUE! | 8 | August
[12 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [11 empty] | 10 | th |  | 10 | October
"Saudamini", Plot No.-2 | [11 empty] | 11 | th |  | 11 | November
Sector-29, | [11 empty] | 12 | th |  | 12 | December
Gurgaon (Haryana) - 122001 | [11 empty] | 13 | th
[12 empty] | 14 | th
Name of Contract : |  | Substation Extension Package SS-35 for Extension of 400kV GIS bay at 765/400kV Kanpur POWERGRID Substation under consultancy works for U.P. Power Transmission Corporation Limited (UPPTCL) | [9 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [11 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rs. Zero Only ) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [6 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rs. Zero Only ) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [10 empty] | 18 | th
2 | Price Schedules | [10 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [10 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [8 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading. | [8 empty] | 22 | th
| Schedule 3 |  | Installation Charges. |  |  |  | Sole Bidder |  |  |  |  | 23 | th
| Schedule 4 |  | Training charges for training to be imparted. | [8 empty] | 24 | th
| Schedule 5 |  | Taxes and Duties | [8 empty] | 25 | th
| Schedule 6 |  | Grand Summary [Schedule 1to 6] | [8 empty] | 26 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted | [8 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [10 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [10 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [10 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [10 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted in India specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted in India specified in Schedule No. 4 of the Price Schedule in this Second Envelope, by the Indian Laws.
3.4 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN , in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | 2
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of test
Signature :
Date : | -- |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Contracts-Template (hidden)
Exworks
| Total Ex-Works Price Direct |  |  |  |  | 0
| Total Ex-Works Price Bought Out |  |  |  |  | 0
| Total Ex-Works Price |  |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  |  | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
^ | If the item(s) quoted/considered as "Bought-out" in the bid are manufactured at Bidder's works and confirmed to be supplied under “Direct transaction” by the bidder, then the taxes and duties on such items shall be paid/reimbursed by POWERGRID in line with the provisions of Bidding Documents. For this purpose, at the time of award, the Ex-works price (exclusive of taxes & duties) shall be arrived at from the quoted Ex-works price (inclusive of taxes ad duties) by excluding taxes and duties applicable on such items, as on date of Bid opening, in case of supplies from manufacturer proposed in the bid. During contract execution, the taxes and duties on such items shall be paid/reimbursed at actuals, limited to the rates prevailing on date of Bid opening.
Date : | --
Place : |  |  | Printed Name : |  | --
Designation :
FandI
| Total F&I Price |  |  |  |  | (=SUM(I16:I27))
Date : | (='Sch-1'!B43)
Place : | (='Sch-1'!B44) |  | Printed Name : | (='Sch-1'!E44)
|  |  | Designation : | (='Sch-1'!E45)
service
| Total Installaiton Charges | [5 empty] | #REF!
Date : | (='Sch-1'!B43)
Place : | (='Sch-1'!B44) |  | Printed Name : | (='Sch-1'!E44)
|  |  | Designation : | (='Sch-1'!E45)
Training
Date : | (=IF('Sch-1'!B43=0,"", 'Sch-1'!B43)) |  | (="Printed Name : " & IF('Sch-1'!E44=0,"",'Sch-1'!E44))
Place : | (=IF('Sch-1'!B44=0,"", 'Sch-1'!B44)) |  | (="Designation : " & IF('Sch-1'!E45=0,"",'Sch-1'!E45))
Type test
| TOTAL TYPE TEST CHARGES |  |  |  |  | (=SUM(I17:I18))
Date : | (='Sch-1'!B43) | (="Printed Name : " & 'Sch-1'!E44)
Place : | (='Sch-1'!B44) | (="Designation : " & 'Sch-1'!E45)
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Direct
Bought-out

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred