| Sl. No. | Clause ref. | Existing Provision of the Bidding Document | Query asked by the bidders | POWERGRID’s Clarification |
| --- | --- | --- | --- | --- |
| 1 | Volume II, Section I, Clause 2.4 | The installation & stringing of the offered HTLS conductor for the above transmission lines shall be carried out by the transmission line Contractor under supervision of the HTLS conductor Supplier. ……………………………………………….. The supervision shall also include arranging all necessary special tools & tackles required for stringing of the offered HTLS conductor free of cost. Charges for supervision shall be deemed to be included in the total quoted price. This shall also include supply of one set of all the special tools & tackles required for stringing of the offered HTLS conductor. | With reference to above, please note that as per Bid documents, it is required to furnish “List of Special Maintenance Tools & Tackles” [(Annexure-4A) & (Annexure-4B)] and the total quoted price shall also include supply of one set of all special tools & tackles required for stringing of offered HTLS conductor free of cost. In this regard it is submitted that as per bid documents stringing work would be carried out by the transmission line contractor. Therefore, arranging required tools & tackles should be in the scope of transmission line contractor. Moreover, nowhere in bid document the details of required tools & tackles (BOM) have been provided to facilitate the working of bid prices. Therefore, please remove the supply of ‘special tools & tackles’ from the scope of bidder or provide a detailed BOM for the same. | Please refer clause 2.4, Section-I of Technical Specification, wherein it is clearly specified that the supervision of stringing of the offered HTLS conductor & arranging all necessary special tools & tackles required for stringing of the offered HTLS conductor is under the scope of the bidder. |