Scope of Work:-

Painting of residential and non - residential building, which includes administrative, Control room, RTL, Guest House, store buildings, Community Centre, Pump House, Security Post, Fire Fighting & DG Set Room, Children Park, boundary walls and others at Kartarpur Sub-station, Jalandhar

The Scope of Work shall be as mentioned below: -

- Internal and external finishing work in residential building viz. B Type-44 Nos., C Type- 10 Nos. & D Type-01 Nos

- Internal and external finishing of guest house, Community Centre & Dispensary building.

- Internal and external finishing work in the control room, RTL building, Store complex, FFPH room and firefighting water tank.

- Water proofing cement paint at boundary wall.

- Cement plaster in the patches.

- Internal and external finishing work in overhead water tank, pump house, children park, etc.

- Painting with silicon and acrylic emulsion based water thinnable sealer of approved brand on wet/ patchy portion of the plastered surface.

It is further mentioned that the area covered by white/color wash has been changed into water proofing cement paint at boundary wall by removing the white/color wash as per CPWD Specification & IS Code.

The works shall be carried out as per BOQ and all the material, T&P required to execute the work shall be arranged by the agency at his own risk and cost.