Qualification Requirement for 400kV Transformer Package 4TR-16 for Procurement of 06 Nos. 400/220/33kV 3-Phase 500MVA Transformers under “Procurement of Transformers and Reactors under vendor development from SIS Reserve Fund”. Spec. No.: CC/NT/W-TR/DOM/A00/25/16738 Funding: Domestic Mode of Procurement: DCB Package: Divisible

QUALIFICATION OF THE BIDDER Qualification of bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor(s) shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid must be submitted by an individual firm who is not an approved supplier of 345kV or above class transformer as per Compendium of vendors of POWERGRID. The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) bidders work/manufacturing facilities visit ; (iii) manufacturing capacity, details of works executed , works in hand , anticipated in future & the balance capacity available for the present scope of work ; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place ; (vi) past experience and performance ; (vii) customer feedback ; (viii) banker’s feedback etc.

1.0 Technical Experience

1.1 The bidder must have established manufacturing and testing facilities for 345kV or above class transformers in India as on the originally scheduled last date of bid submission (soft copy) i.e. as on 30/01/2026.

1.2 The bidder must have: - Designed, manufactured, type tested at least One (1) number of 3-phase transformer or three (3) nos. 1-phase transformers of 345kV or above class as on the originally scheduled last date of bid submission (soft copy) mentioned above. OR - Designed, manufactured, type tested, supplied, installed and commissioned at least One (1) number of 3-phase transformer or three (3) nos. 1-phase transformers of 220kV or above voltage class and the same transformer(s) must have been in satisfactory operation* for atleast one (1) years on the originally scheduled last date of bid submission (soft copy) mentioned above.

Notes: - *Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark. - In case bidder is a holding company, the technical experience referred to in clause 1.0 above as the case shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, the technical experience referred to in clause 1.0 above as the case shall be of that subsidiary company only (i.e. excluding its holding company).

2.0 Financial Position

For the purpose of this particular bid, bidders shall meet the following minimum criteria: - Net Worth for last 3 financial years should be positive - Minimum Average Annual Turnover* (MAAT) for best three years i.e. 36 months out of last five financial years of the bidder should be not less than INR 30.42 Crore for 400kV Transformer Package- 4TR-16. * Note- “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/ other income”. - Liquid Assets (LA) and/or evidence of access to or availability of credit facilities should be not less than INR 5.07 Crore for 400kV Transformer Package-4TR-16. Note 1: In case bidder is a holding company, the Financial Position criteria referred to in clause 2.0 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case bidder is a subsidiary of a holding company, the Financial Position criteria referred to in clause 2.0 above shall be that of subsidiary company only (i.e. excluding its holding company). Note 2: Relaxation for Start-Ups^/ MSEs Start-Ups^/MSEs, meeting the specified requirements at Para 2.0 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 2.0 (b) & 2.0 (c) above in Financial Position. ^ Start-Ups as defined by DPIIT, applicable as on the Originally scheduled last date of bid submission (soft copy).

3.0 The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above