STATCOM Package - ST-01T for (a) STATCOM Station at Khavda Pooling Station 1 (KPS1) and (b) STATCOM Station at Khavda Pooling Station 3 (KPS3) associated with “Provision of Dynamic Reactive Compensation at Khavda Pooling Station 1 (KPS1) and Khavda Pooling Station 3 (KPS3)”; Spec. No. CC/T/W-STAT/DOM/A06/24/14931

(Guarantee Declaration)

| Bidder’s Name and Address: | To: Power Grid Corporation of India Ltd. “Saudamini”, Plot No.2, Sector-29, Gurgaon, Haryana - 122 001 |
| --- | --- |

Dear Sir,

We declare that the ratings, performance figures and availability of the system furnished by us for subject package covered under the specification are guaranteed by us. We further declare that in the event of any deficiencies in meeting the guarantees in respect of the characteristics mentioned below, as established after conducting the factory tests, you may at your discretion reject or accept the equipment after assessing the liquidated damages as specified in the relevant clauses of the Bidding Documents.

Part-A: Guaranteed losses as per clause 6.6.1of Section STATCOM Station Technical Specification

For STATCOM:

| S.No. | Total reactive power output at capacitive/inductive limit (STATCOM+ MSCs/MSRs) | Maximum Allowable Guaranteed Losses (in % of MVAR output at PCC) against specified operating condition | Guaranteed Losses**(“in % of MVAR output at PCC” and “in kW”) quoted by the bidder against specified operating condition |
| --- | --- | --- | --- |
| 1 | STATCOM 100% capacitive output and all MSCs in i.e. +425 MVAR | 1% | ……..% / ……..kW |
| 2 | STATCOM 100% Inductive output and all MSRs in i.e. -550 MVAR | 1% | ……..% / ……..kW |

Part-B Losses for main equipment as per clause 6.6.5 of Section STATCOM Station

For STATCOM:

| S.No. | Equipment | Guaranteed losses** at maximum equipment rating. |
| --- | --- | --- |
|  | 400kV Coupling Transformer (including all type of losses) | ………..kW |
|  | Reactors ( MSR Branches) | ………..kW |
|  | STATCOM Valve including Air Core Reactors Losses. | ………..kW |
|  | Capacitorincluding tuning Reactors and Resistors (MSC Branch) | ………..kW |
|  | Auxiliary Systems including LT Transformer Losses. | ………..kW |
|  | Filters (if applicable) | ………..kW |
|  | Any Other losses (Excluding Harmonic Losses) | ………..kW |

** Guaranteed losses at, 20°C average ambient temperature, Fundamental Frequency, 1 p.u. voltage.

Date:....................

(Signature)...................................................…

Place:...................

(Printed Name)........................................……

(Designation)....................................…………

(Common Seal).…….........................…..……..