SECTION-V

Technical Specification and Special Conditions of Contract

FOR

Providing access to the existing lift of MP hall from ground

floor reception area at POWERGRID Township 43, Gurugram

SPECIFICATION NO.: CC/NT/W-MISC/DOM/A14/25/01304

|  | पावर ग्रिड कार्पोरेशन आफ इन्डिया लिमिटेड (भारत सरकार का उद्यम) Power Grid Corporation of India Limited (A Government of India Enterprises) |
| --- | --- |

(These documents are meant for the exclusive purpose of bidding against this Specification and shall not be transferred, reproduced or otherwise used for purposes other than that for which it is specifically issued.)

- SCOPE OF WORK:

The scope involves providing access to the existing lift of MP hall from ground floor reception area at POWERGRID Township 43, Gurugram. The work includes the following items to be executed:

(i). Dismantling of Toilet at Ground Floor:

a. The toilet at the end of the cafeteria passage on the ground floor will be dismantled. This involves:

i. Removing existing tiles, granite stones, RCC work, PCC, brickwork, doors, false ceiling, wash basins, WC, etc.

ii. Disposal of all materials removed during this process.

(ii). Creation of New Access Passage:

b. A new passage will be created connecting the reception area (near Gate 2) to the lift.

c. The new passage will:

i. Match the existing flooring with tile flooring.

ii. Include a false ceiling, wall panelling, plastering, and painting.

iii. Install a glazed partition and glazed doors for a modern and functional finish

- Technical Specification:

The TS shall be as per the description mentioned in BOQ.

- SPECIFIC REQUIREMENTS:

BOQ/Technical specification/CPWD specification/Manufacturer specifications are to be followed for the above work as per requirement.

- Health & Safety :

The contractor shall take requisite step to prevent accidents and injury to health of its workmen , arising out of ,associated with or occurring in the course of work , by minimizing the cause of hazard inherent in the working environment . All the Personal Protective Equipment’s required as per the nature of activity such as Safety Helmets , Safety belt , appropriate Gloves etc , shall be issued to all their workmen.

- Water and electricity shall be provided by the POWERGRID at free of cost .