22.	FORM OF DEED OF JOINT UNDERTAKING TO BE EXECUTED BY THE BIDDER/CONTRACTOR ALONGWITH INDIAN GIS MANUFACTURER WHO HAS BEEN ASSOCIATED FOR SOURCING OF GIS EQUIPMENT {applicable to Bidder Qualifying through Route-4 of the Qualification Requirement}

(ON NON-JUDICIAL STAMP PAPER OF APPROPRIATE VALUE)

This DEED OF UNDERTAKING executed this ............ day of................. Two Thousand ............ by M/s................................................................, a Company incorporated under ......................... having its Registered Office at ...................................................... hereinafter called the “Bidder/Contractor” which expression shall include its successors, administrators, executors and permitted assigns and M/s. ……………………………………, registered under the Indian Companies Act of 1956 or 2013, as the case may be, and having its Registered Office at ................................................. hereinafter called the “GIS Manufacturer” which expression shall include its successors, administrators, executors and permitted assigns, in favour of …….. (insert names of the Employer) …………….., a Company incorporated under the Indian Companies Act of 1956 having its registered office at …………….(insert registered address of the Employer)…………… (hereinafter called the “Employer” which expression shall include its successors, executors and permitted assigns)

WHEREAS the “Employer” invited Bid as per its Specification No. ……………. for the execution of …. (insert name of the package alongwith project name) ………………

AND WHEREAS Clause No. ………….., Section …………, of ………………, Vol.–… forming part of the Bidding Documents inter-alia stipulates that the Bidder/Contractor can also participate provided the Bidder meets the requirement and associates with a Indian manufacturer for sourcing of GIS equipment, who meets the stipulated requirement of Annexure-A (BDS) and submits a Deed of Joint Undertaking jointly executed by the Bidder/Contractor and its GIS Manufacturer in which the Bidder and its GIS Manufacturer are jointly and severally bound and responsible for the successful performance of the GIS Portion of the Contract specified in the Bidding Documents in the event the Bid submitted by the Bidder is accepted by the Employer resulting in a Contract.

AND WHEREAS the Bidder has submitted its Bid to the Employer based on above stipulation and has agreed to furnish this Deed of Undertaking to be enforceable in the event of the award of the Contract by the Employer.

AND WHEREAS the Bidder and GIS Manufacturer are executing an irrevocable Deed of Joint Undertaking that they shall be held jointly and severally liable and bound unto the Employer for successful performance of the GIS portion of the Contract fully meeting the stipulated technical requirements, guaranteed parameters and characteristics as per bidding documents, in the event the Bid submitted by the Bidder is accepted by the Employer resulting in a Contract.

NOW THEREFORE, THIS UNDERTAKING WITHNESSETH AS UNDER:

1.0 	In consideration of the award of Contract by the Employer to the Bidder / Contractor (hereinafter referred to as the “Contract”) we, the Bidder/Contractor and the GIS Manufacturer do hereby agree and undertake that we shall be jointly and severally responsible to the Employer for design, erection, testing and commissioning of complete GIS portion of the Contract and perform all obligations including the technical guarantee for the complete package..

2.0	In case of any breach of the Contract committed by the Contractor, we, the GIS Manufacturer do hereby undertake, declare and confirm that we shall be fully responsible for design, manufacturing, erection, testing and commissioning of complete GIS switchyard under the Contract and undertake to carry out all obligation and responsibilities under this Deed of Joint Undertaking in order to discharge the Contractor’s obligations and responsibilities stipulated in the Contract with respect to GIS portion of the Contract. Further, if the Employer sustains any loss or damage on account of any breach with respect to GIS portion of the Contract, we, the GIS Manufacturer and the Contractor jointly and severally undertake to promptly indemnify, and pay such losses/damages caused to the Employer on its written demand without any demur, reservation, contest or protest in any manner whatsoever.

3.0	Without in any way affecting the generality and total responsibility in terms of this Deed of Undertaking, the Bidder/Contractor hereby agrees to ensure the following:

- The GIS Manufacturer will be fully responsible for design, engineering, manufacture, erection, testing, commissioning and putting into satisfactory operation of complete GIS switchyard to the satisfaction of the Employer.

Further, the GIS Manufacturer shall depute their technical experts from time to time to the Contractor’s works/Employer’s project site as required by Employer and agreed to by the Contractor/ Associate GIS Manufacturer to facilitate the successful performance of switchyard with respect to GIS portion as stipulated in the Contract.

Further, the GIS Manufacturer shall ensure proper design, engineering, manufacture, erection, testing, commissioning and successful performance of GIS switchyard covered under the said Contract in accordance with the stipulations of the Contract specifications and if necessary the GIS Manufacturer shall advise the Contractor suitably modifications of design and implement necessary corrective measure to discharge the obligations under the Contract.

- In the event the GIS Manufacturer and the Contractor fail to demonstrate successful performance of switchyard, the GIS Manufacturer and the Contractor shall promptly carry out all the corrective measures at their own expenses and shall promptly provide corrected designs to the Employer.

- The Contractor and GIS Manufacturer will be fully responsible for the quality of all equipment/main assemblies/components manufactured at their works or at their vendor’s works or fabricated/constructed at site, and their repairs or replacement if necessary for incorporation on the switchyard with respect to GIS portion of the Contract and timely delivery thereof the meet the completion schedule under the Contract.

- In case of any issue related to failure and repair of GIS equipment, the Bidder / Contractor and the GIS Manufacturer shall ensure the following:

- The GIS Manufacturer’s Service Engineer(s) shall be deputed to concerned site within 24 Hours plus actual journey time to attend the problem after receiving the information of the same from Employer.

- The GIS Manufacturer shall ensure readily availability in their Indian works at least one no. of each type of GIS Module used in the installation under the Contract.

4.0  	This Deed of Undertaking shall be construed and interpreted in accordance with the laws of India and the Courts in Delhi shall have exclusive jurisdiction in all matters arising under the Undertaking.

5.0 	As a security, the GIS Manufacturer shall apart from the Contractor’s performance guarantee, furnish a Contract Performance Guarantee from its Bank in favour of the Employer in a form acceptable to the Employer. The value of such guarantee shall be equivalent to 2% (two percent) of the Contract value awarded by the Employer to the Bidder/Contractor and it shall be part of guarantee towards the faithful performance/compliance of this Deed of Undertaking in terms of the Contract. The guarantee shall be unconditional, irrevocable and valid for the entire period of the Contract, namely till the end of the Defect Liability Period under the Contract. The Bank Guarantee amount shall be payable to the Employer on demand without any reservation or demur. This shall be in addition to the Contract Performance Guarantee to be furnished by the Contractor.

We further agree that this undertaking shall be without any prejudice to the various liabilities of the Bidder / Contractor, including the Contract Performance Security as well as other obligations of the Bidder / Contractor in terms of the Contract.

6.0 	We, the GIS Manufacturer and Bidder/Contractor agree that this Undertaking shall be irrevocable and shall form an integral part of the Contract and further agree that this Undertaking shall continue to be enforceable till the Employer discharges it. It shall become operative from the effective date of Contract.

IN WITNESS WHEREOF the Contractor and the GIS Manufacturer have through their Authorised Representatives executed these presents and affixed Common seals of their respective Companies on the day, month and year first above mentioned.

| WITNESS Signature ……………………. Name ……………………….. Office Address ………………. | [For Bidder/Contractor] (Signature of the authorized representative) Name …………………….. Common Seal of Company …...……………. |
| --- | --- |
| WITNESS Signature ……………………. Name ……………………….. Office Address ………………. | [For GIS Manufacturer] (Signature of the authorized representative) Name …………………….. Common Seal of Company …...……………. |

Note:

1.	For the purpose of executing the Deed of Undertaking, the non-judicial stamp papers of appropriate value shall be purchased in the name of executant.

2.	The Undertaking shall be signed on all the pages by the authorised representative(s) of the Bidder and the GIS Manufacturer and should invariably be witnessed.