Amendment No–02 to the bidding documents for Substation Package SS98 for (i) Construction of New 220/33 kV GIS (New) Substation at Nilgrar including 2 nos. of 25MVA, 220/33kV, 3-ph ICT & 33kV Switchgears, (ii) LILO of one ckt of Alusteng – Leh 220KV S/c line on D/c towers at Nilgrar and (iii) Laying of 33 KV lines (consists of Overhead line (OH) and 33 kV Underground cable (UG)) under Western Zojila Consultancy Work to M/s. NHIDCL; Spec. No.: CC/NT/GIS/DOM/A04/22/00408

| Volume-II: Technical Specifications |  |  |  |
| --- | --- | --- | --- |
| S N | Clause No. | Existing Clause/item | Amendment |
| 1 | Section 1 (Introduction and General Technical Requirement) |  | Tentative network diagram is being enclosed as annexure-1. However, the detail survey of line shall be done by contractor during construction work. |
| 2 | Section-III, Chapter 2 (Cable laying) Clause 15 | After the cables and pipes ----------------------------------------------- After the subsidence has ceased the trench may be permanently reinstated and the surface restored to the best possible condition. In case of the road surface is cement concrete, asphalt or tarred macadam, resurfacing shall be done by the civic authorities against payment of the restoration charges to be made by BSEB directly to concerned agency. | After the cables and pipes ----------------------------------------------- After the subsidence has ceased the trench may be permanently reinstated and the surface restored to the best possible condition. |

Annexure-1