## DRS
PowerGrid Teleservices Limited Volume II - Appendcies for Package-B1:Transport CPE
Appendix D
Data Requirement Sheets
The following sets of Data Requirement Sheets are required to be filled up by the bidders to aid in the evaluation process. The response shall be brief and to the point and shall be supported by the printed product description and other literature. However, more parameters may be required to provided in DRS during detailed engineering.
D-1 | Data Requirement Sheets for MPLS-TP
D-2 | Data Requirement Sheets for Amplifiers
D-3 | Data Requirement Sheets for TMN
D-4 | Data Requirement Sheets for DCPS & Cables
D-5 | Data Requirement Sheets for Mux-Demux
NOTE- DRS for each type of offered equipment shall be filled separately by the bidder & attached with the bid

## MPLS-TP
DATA REQUIREMENTS SHEETS for MPLS-TP
Manufacturer:
Model #:
| Equipment Type | Type 1 | Type 2 | Type 3 | Type 4
(A) | Hardware Technical Specifications
1 | Dimension (mm)
2 | Weight (kg)
3 | Max. Power Supply (W)
4 | Voltage Range (V)
(B) | Board Technical Specifications
| Please mention all modules(Like Xconnect , Controller, FAN ,Power card etc.) | Dimension (mm) | Typ. Power (W) | Max. Power (W) | Max. Power (W)
1 | XXXX
2 | XXXX
3 | XXXX
4 | XXXX
| Please mention all modules(Like Xconnect , Controller, FAN ,Power card etc.) | Weight (kg) | MTBF | MTTR | MTTR
1 | XXXX
2 | XXXX
3 | XXXX
4 | XXXX
(C ) | System Performance
(a) | Technical Specifications | Type 1 | Type 2 | Type 3 | Type 3
MPLS Tunnel1:1 Switch Time
LAG Switch Time
Max. Number of Routing
Number of MPLSTunnel
Max. Number of MSP Group
Max. Number LAG Group
Max. Number LSP Protection Group
Max. Number Wrapping
Number PW
Number E-line
Number of E-LAN Service
Number of E-Tree Service
Static MAC Address
Accuracy of CAR/Shaping
Number of CAR
Number of Multicast
Number of PTP Interface
Number of Sync ETH Interface
(b) | Ethernet Functions
VLAN (IEEE 802.1Q)
Q-in-Q (IEEE 802.1ad)
9600 bytes jumbo frame
VLAN manipulation: stack/switch/strip
IGMP snooping (V1/V2/V3)
Flow control (IEEE 802.3x)
(c) | OAM
MPLS-TP OAM (G.8113.1/G.8113.2)
ITU-T Y.1731 End-to-end Performance Monitoring and AIS
802.3 Link OAM
802.1 CFM OAM
(d) | Network Protection
LSP 1:1 linear protection
LSP SNC protection
LSP ring protection
Single segment (SS) pseudowire 1:1 protection
Multi-segment (MS) pseudowire 1:1 protection
802.1AX Link Aggregation (UNI/NNI) with LACP
MSP 1+1/1:1
RSTP (IEEE 802.1Q)
Link Pass-Through (LPT)
(e) | Quality of Service and Traffic Management
L2 Classification: VLAN,PRI, MAC address, TPID
L3 Classification: IP address,DSCP, port number, TOS
Connection Admission Control (CAC)
Policing (CIR, CBS, EIR, and EBS; ColorBlind Mode and Color-Aware Mode)
Shaping
Congestion Avoidance: WRED
(D) | Interfaces(All Supported interfaces)
1 | xxxx
2 | xxxx
3 | xxxx
4 | xxxx
(E) | Environmental Condition | Temperature & Relative Humidity | Temperature & Relative Humidity | Temperature & Relative Humidity | Temperature & Relative Humidity
1 | Transport and storage
2 | Operation for long term
3 | Operation for short term
(F) | Reliability Index & Security
1 | System Availability
2 | MTTR
3 | MTBF
4 | Secure Shell (SSHv2) support for remote login and file transfer
5 | SFTP (Secure File Transfer Protocol)
6 | Allows the administrator to define actions permitted for each user
7 | Auto-logout function to logout the idle session
(G) | TransPonder/Muxponder/Line Module 100G
1 | Specify equipped Bit Rates:
2 | Spectral Characteristics(Maximum -20 dB spectral width)
3 | Laser Class
4 | Data rate
5 | FEC %
6 | B2B
7 | Input frequency tolerance
8 | Framing Baud Rate
9 | Modulation format
10 | Pulse shaping
11 | Eye Pattern Mask
12 | Extinction ratio
13 | Channel spacing
14 | Central Frequency Deviation
15 | FEC coding gain
16 | Wavelength range:
17 | Wavelength locking time
18 | Absolute wavelength stability(over life & temperature)
19 | Laser line width (unmodulated)
20 | Side mode suppression ratio
21 | Tx power
22 | output power stability
23 | Chromatic Dispersion tolerance
24 | PMD tolerance
25 | Rx input power range
26 | Receiver reflectance at RS
27 | Pre-FEC BER
28 | BER / error floor (post-FEC) < 1e-15
(H) | 10G DWDM XFP/SFP+
1 | Bit Rate
2 | Frequency Range
3 | Frequency Spacing
4 | Frequency Stability
5 | Transmission Distance
6 | Connector Type
7 | Transmitter
8 | Laser Type
9 | Mean Output Power(Max)
10 | Mean Output Power(Min)
11 | Minimum Extinction ratio
12 | Eye Mask
13 | SBS Suppression
14 | Optical Path
15 | Dispersion(Max)
16 | Optocal retun Loss(Min)
17 | Discrete reflectance (Max)
18 | DGD(Max)
19 | Receiver
20 | Mean input power Load
21 | Reflectance of receiver
22 | Sensitivity path panelty
(I) | Grey Interface
1 | Application Code | 10G Interface Offered | GE Interface offered
2 | Fiber type
3 | Modulation
4 | Supported Distance Range [km]
5 | Laser Types
6 | Central Wavelength [nm]
7 | Max. Spectral Width [nm]
8 | Average Launch Power [dBm]
9 | Extinction Ratio [dB]
10 | Receiver Types
11 | Mini. Overload [dBm]
12 | Receiver Sensitivity @BOL [dBm]
13 | Receiver Sensitivity @EOL [dBm]
14 | Optical Path Penalty [dB]
15 | Max. Reflect. of receiver [dB]
16 | Digital Diagnostics Function
17 | ITU-T G.691 Mask Margin
(J) | E1 Interface
1 | Bit Rate
2 | Code
3 | Connector Type
4 | Symmetry
5 | Load Impendance
6 | Peak Voltage (Signal Transfer)
7 | Peak Voltage (No Signal)
8 | Return Loss
9 | Input jitter acceptance
10 | Maximum output jitter in the absence of i/p jitter
11 | Jitter transfer characteristic:
(K) | Mode of operation: | Yes/No
1 | Unidirectional
2 | Bidirectional (single fibre operation)
(L) | Amplifiers
1 | Output power Range
2 | Receive Maximum/Minimum power
3 | Laser class
4 | Wavelength range
5 | Gain
6 | Gain ripple
7 | EDFA tilt for minimum gain ripple
8 | Noise figure
9 | Gain flatness
10 | Multichannel Gain Variation
11 | Multichannel Gain-change difference
12 | Raman Amplifier safey precations and measure
13 | VOA range
14 | Amplifier management
15 | OPTICAL SUPERVISORY CHANNEL MODULE
15.1 | OSC transmitter wavelength (nm)
15.2 | OSC transmitter output (dBm)
15.3 | OSC receiver sensitivity (dBm)
15.4 | Insertion loss of return path (dB)
15.5 | Network Management
(M) | POWER SUPPLY UNIT
1 | Nominal supply voltage:
2 | Power supply variation
3 | Guaranteed performance:
4 | Operation without damage:
5 | Polarity:
6 | Whether 220 Vac mains operation capability inbuilt
7 | List derived DC voltages:
8 | Module cut of power values
9 | Total power consumption (Fully equipped incl. service channels)
10 | Unprotected terminal:
11 | 1+1 Protected terminal:
12 | 1+1 APS protection provided?
13 | MTBF of power supply unit:
14 | Ultimate power delivery capacity
15 | Are the following protections provided?
a | Overvoltage?
b | Undervoltage?
c | Overload?
d | Reverse polarity?
e | Other (specify)?
16 | Whether proposed equipment has distributed Power Supply?
17 | Provide AC & DC power supply requirement for each of the proposed equipment.
18 | Provide Procedure to convert OLA and Repeaters to Add Drop Multiplexer
19 | Power Distribution in Subrack by power module
20 | Expected life of Equipment
(N) | Specify Maximum span length with and without OA, Repeater for
a) 100G on G.652 and G.653 fibre
b) 10G on G.652 and G.653 Fiber
(O) | Certifications
1 | MEF CE 2.0 Compliant: E-Line, E-LAN,E-Tree, E-Access
2 | ETSI 300 019
3 | ETSI EN 300 386 V1.6.1/EN 55022(2010)
4 | EN 60950-1
5 | Others
(P) | Equipment-level Protection
1 | PROTECTION SWITCHING
List the type of Protection Schemes supported by the Equipment
Discuss the proposed protection scheme
2 | Switching modes available(For Modules) | Yes/No
Auto?
Manual?
Remote/network management?
Switching priority:
switchover & switchback criteria:
Switch option mode & status indicators:
Switching Time
| Nominal: | ms
| Maximum: | ms
(Q) | Alarms
List all alarms supported by Equipment:
Q) | MECHANICAL AND ENVIRONMENTAL PARAMETERS
Number of Sub-Racks (including DC/DC converters, O/W muldem etc.) required for Unprotected Terminal:
1:1 Protected Terminal:
Sub-Rack mounting options:
Sub-Rack clearance requirements
Top * Bottom * Sides:
Front Access:
Rear Access:
Sub-Rack color and finish
Cabinet options available
19" ETSI?
Slim rack?
Others (specify)?
Whether Truncated Cabinet Available?
Fill for all Cabinet Types Proposed
Protection Class (IP Class):
Rack Color and Finish:
Altitude Installed:
Air flow in subrack (diagram required)
Describe Ventilation requirements:
Describe dustproofing provisions:
Electromagnetic compatibility (List standards & severity levels) (Submit Test Reports)
Noise Standards supported (Submit Test Reports )
Environmental standards supported (Submit Test Reports)

## Amplifiers
DATA REQUIREMENT SHEETS FOR OPTICAL AMPLIFIERS
Manufacturer: ______________________________
Part #: ______________________________
GENERAL PARAMETERS
(Fill for All Type of Amplifiers requred for 10G, 100G, 200G and above line rates in DWDM & DCI Box)
Seq | Parameter: | Units: | Particulars:
1 | Type of Amplifier:
2 | Source Power Supply requirements
Volts:
Current:
3 | Gain medium:
4 | Small Signal Gain:
5 | Connection loss to transmission fibre: | dB
6 | Insertion Loss: | dB
7 | System Noise Figure:
8 | Type of pump laser:
9 | Pumping Wavelength:
10 | Bit-Rate distance product:
11 | Type of optical coupler:
12 | Type of optical isolator:
13 | Operating optical bandwidth:
14 | Polarisation Gain Dependence:
15 | Can the same optical amplifier Operate at: | Yes/No
STM-1?
STM-4?
STM-16?
STM-64?
1 Gbps?
10 Gbps?
40 Gbps?
100 Gbps?
200 Gbps?
16 | Operating Bit Rates
Lower Limit:
Upper Limit:
17 | "F" Type interface? | Yes/No
POWER AMPLIFIER, PRE AMPLIFIER, LINE AMPLIFIER (ALL PROPOSED TYPES)
18 | Optical Input:
Signal wavelength:
Signal input power (max):
Signal input power (min):
End of Life :
Spectral width (-20 dB from peak):
Connector type:
Pulse shape:
Optical Reflectance:
19 | Optical Output:
Signal output power (max):
Signal output power (min):
End of Life:
Connector type:
20 | List and describe Monitor, Control and Alarm Points:
21 | Describe Network Management Interface provisions:
22 | Complete Accessibility from TMN | Yes/No
Accessibility as a Modules/ Card of the main Equipment in NMS?
Accessibility as a Sub-Equipment in the NMS?
Input Power Measurement via NMS?
Output Power Measurement via NMS?
Unreachability Alarm in NMS?

## TMN
DATA REQUIREMENTS SHEETS for TMN
Manufacturer: _____________________________
Model Name & #:_____________________________
Seq | Parameter: | Unit | Details:
1 | Whether all types of offered equipment are manageable from single TMN on a seamless end-to-end basis.
OTN
MPLS-TP
Amplifiers
2 | Hardware Configuration at Main Control Centre, including details of Processors, LAN, Routers, Printers etc.
3 | Hardware Configuration at Back-up control centre including details of Processors, LAN, Routers, Printers etc
4 | Describe the flow of data from Network Element to the Main and Back-up control centre, providing details of all the network components in between.
Describe features of TMN including:
5 | Configuration Management
6 | Fault Management
7 | Performance Management
8 | Security Management
9 | Inventory Management
10 | Software Management
11 | Describe communication network required for TMN
12 | Whether Back-up control centre can function independently?
13 | Whether changes implemented by Main Control center automatically updated at Back-up Control centre and vice versa?
14 | Describe configuration of the Voice Network
Describe Remote Access Solution
1 | Solution Supports:
i | Record of key stroke during remote access period
ii | Record (Video) of screen display for remote access period
iii | Record of user access and activity logs.
2 | Storage of such logs/audit trail
i | Online for 01 Year
ii | Offline for 02 years

## DCPS
DATA REQUIREMENTS SHEETS for DCPS
S.No. | Item Description | UOM | QTY | Remarks
1 | Manufacturer
2 | Model
3 | Capacity 100Amp DCPS
i | Equipped
ii | Ultimate
iii | No. if rectifier Module
4 | Details of Input Breaker | Set
5 | Enclosure for Indor Installatio
i | Dimesnsions | mm
ii | Ingress Protection
iii | Material details
iv | Sheet Thickness | mm
v | Mounting Arrangement
6 | Output Voltage range
7 | Input Voltage range
8 | Operating mode
i | Float Mode | Volt
ii | Charge Mode | Volt
9 | Main Controller
i | Instrumentation and control
ii | Display
iii | Accuaracy
10 | DCDB
i | Make
ii | Dimension | mm
iii | No. if feeders | Nos
iv | MCB Make
v | Short circuit breaking current rating | amp
vi | Efficiency at full Load
11 | RectifierAssembley
i | Dimensions(LxWxD) of Controller
ii | Weight
12 | Input
i | Input voltage Range Single Phase
ii | Input Frequency
iii | Harmonic Distrrtion THD
iv | Type of rectifier
v | Power Factor
vi | Input Protection | Type
vii | Rectifier mounting
b | Output
i | Nominal Output range | Volt
ii | Operating Voltage Range | Volt
iii | Power Limit | Watt
iv | Current Limit | Amp
v | Over Voltage Range | Volt
vi | Protection
vii | Peak to Peak Ripple | Volt
viii | Load Sharing between SMR
12 | Protection
i | High/Low voltage cut off | Volt
ii | Short Circuit
iii | Over Load
iv | EMI/RFI and Line surge protection
13 | LED Indications
i | Input Cable | Mtr
ii | output cable | Mtr
iii | Make of input and output Cable

## Mux-Demux
DATA REQUIREMENTS SHEETS for MUX/DEMUX
S.No. | Parameters | Units | Value
1 | Number of Channels | ----
2 | Channel Spacing | GHz
3 | Pass band | GHz
4 | Upgrade port/Express Port | ----
5 | Maximum optical Insertion Loss | dB
6 | Maximum IL from Express RX/TX port to Com Tx/Rx
7 | Isolation: Adjacent channel | dB
8 | Isolation: Non-Adjacent channel | dB
9 | Power Handling | mW
10 | Type of Connectors