## Clarification-I (Technical)
Clarification No-I (Technical) dated 14.08.2024 to Bidding Documents for Package-B1: Transport CPE (MPLS-TP Equipment) under Procurement of Customer Premises Equipment (CPE) for augmentation of Telecom Access Network Project. Specification No.: CC/NT/W-TELE/DOM/A00/24/06492
Sl. No. | Volume No. | Section/ Doc name | Clause No. | Page No. | Existing Clause Description | Bidder Query | Answer
1 | Vol II | 06_Vol-II Sec_06 updated 19 June 2024 | Section 6.4 | 6 | Section 6.4 Training | Kindly cofnirm the Number of sessions and pax for the classroom training | Tentatively 4-6 sessions of training and 10-12 persons per session of training during contract period.
2 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | Section 7.2 | 1 | The scope of work under maintenance services includes management & assisted operations, support services, preventive maintenance and breakdown/ curative maintenance including spare management, repair/ replacement of all the equipment/ modules/ cards and other hardware & software etc | Kindly confirm if Defective part replacement and troubleshooting will be done by PGCIL or contractor? | Refer Volume-II Section-7, Clause 7.5 Repair and Return
3 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | Section 7.4.1 | 3 | (d) There is scope for Manpower Support in BoQ for deployment during DLP & AMC to assist PowerTel in their day-to-day Operations. Contractor shall deploy qualified and well-trained Engineers (Indian Citizens) with minimum three (3) years’ experience in the relevant field for 24x7 shift operations or Day Time Operations at Employer’s control centers located at Katwaria Sarai (New Delhi), Bangalore, Mumbai, Kolkata, Maharani Bagh (New Delhi), Guwahati/ Shillong or any other location identified by Employer in the following manner as per the BoQ | Kindly confirm if PGCIL want 24*7 NOC engineer at each of the mentioned location? | 24x7 NOC Engineers will be deployed at New Delhi (DC) and Bangalore (DR), preferably.
4 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | Section 7.4.1 | 3,4 | 7.4.1 Management & Assisted Operations Support Services | Kindly confirm if PGCIL want a separate engineer for each task mentioned under section 7.4.1, point d (page 3), 1,2 (page 4) | Provisions of the TS are amply clear.
5 | Vol I | 05_Section - IV General Conditions of Contract (GCC) -S&I Rev 3-DCB | Section 3.3 | 13 | The supply of Mandatory Spare Parts, if any, shall be included in the Contract. Beside the aforesaid Mandatory Spares parts, the Contractor shall ensure the availability of spare parts required for the operation and maintenance of the Facilities to the Employer for a minimum period of 15 years from Completion of the Facilities. | Kindly confirm if PGCIL want Managed spares for 15 years or during AMC period only? | Provisions of the Bidding documents are amply clear.
6 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | Section 1.4.2 | 6 | Factory and site acceptance testing of all hardware, software and firmware provided as per approved procedures | Will customer attend factory acceptance or witness remotely? | Provisions of the TS are amply clear.
7 | Vol II | 02_Vol-II Sec_02 | 2.3.1.3 Technical specification>(a) Standard requirement | (2-9) | 1. All equipment must comply with the Generic requirements mentioned in TEC/GR/TX/CEN-004/03/MAR-17 for MPLS-TP based carrier Ethernet switch for Aggregation & Access Network Applications. A statement of compliance shall be submitted along with the Bid. | We understand that, the requirements mentioned in tender document w.r.t MPLS-TP solution Supersedes the TEC/GR/TX/CEN-004/03/MAR-17. Kindly Confirm. | Specific technical requirements mentioned in Tender document shall supersede the GR.
8 | Vol II | 02_Vol-II Sec_02 | 2.3.1.3 Technical specification>(a) Standard requirement | (2-10) | 8. It shall support minimum Multicast group and members per multicast group as per below: - a. Type-1 – MCAST Group per system – 1500, L2 multicast group members 256 b. Type-1 – MCAST Group per system – 600, L2 multicast group members 256 c. Type-1 – MCAST Group per system – 100, L2 multicast group members 256 d. Type-1 – MCAST Group per system – 100, L2 multicast group members 256 e. Type-1 – MCAST Group per system – 50, L2 multicast group members 256 | We understand that, this tender contains the requirement of transport network and multicast related requirement are optional, Kindly confirm. | Provisions of the TS are amply clear.
9 | Vol II | 02_Vol-II Sec_02 | 2.3.1.3 Technical specification>(f) MAC Address Learning / Limiting | (2-12) | 3. The MPLS-TP Equipment shall support to limit the number of source MAC addresses learnt from bridge port/VPLS instance in order to prevent MAC address flooding DoS attack. This limit is configurable per bridged port. | We understand DoS prevention is normally implemented inside the system and is recommended not to be exposed to user for security reasons, Kindly allow to proceed with above provision. Please confirm. | Provisions of the TS are amply clear.
10 | Vol II | 02_Vol-II Sec_02 | 2.3.1.3 Technical specification>(f) MAC Address Learning / Limiting | (2-14) | 16. The MPLS-TP Equipment shall have the capability to prioritize BPDUs in the data plane (by providing dedicated queues) and in the control plane (by providing dedicated CPU queues for BPDUs). | We understand that, mentioned requirement can be read as "dedicated queues" as alternate/instead of "dedicated CPU queues". Kindly confirm | Yes
11 | Vol II | 02_Vol-II Sec_02 | 2.3.1.4 Pluggable Optics | (2-24) | 6. 1G pluggable supporting up to 40 Km, 80 km, 120 km and 180 km under BoQ, are envisaged to use with MPLS-TP equipment also. | We understand that, 180 KM 1G SFP requirement is obsolete and not available commercially nowdays, we request to kindly delete the requirement. | Provisions of the TS are amply clear.
12 | Vol II | 03_Vol-II Sec_03 | 3.3.3 Performance Management | (3-10) | b) Provide tools for measuring the uptime of link/ location/ circuit trail end to end. | We understand that, this requirement falls under the OSS System and is not applicable to EMS, kindly confirm. | Provisions of the TS are amply clear.
13 | Vol II | 03_Vol-II Sec_03 | 3.3.4 Security Management | (3-13) | 6. The LCTs shall normally operate through the centralized TMN. Only in the case of failure of link between the LCT location and the TMN, the LCT should be able to supervise/monitor the local assigned to it | We understand that, LCT access also protected with Username/password authentication can fulfil this requirement, Kindly Confirm. | Provisions of the TS are amply clear.
14 | Vol II | TEC/GR/TX/CEN-004/03/MAR-17 | 4.3 Fault Management 4.3.3.D | 48 | Trap-based Discovery- whenever new devices are added with capability to exclude specific devices based on IP addresses/ IP address range. | We understand that alternate solution by having a list of IP address range in the NMS is allowed to fulfil this requirement. Kindly confirm. | Provisions of the TS are amply clear.
15 | Vol II | Volume II - Technical Specification for Package-B1: Transport CPE | 2.3.1.3 Technical specification>(t) | (2-22) | 10. The MPLS-TP Equipment shall support Definition of ACH TLV Structure as per draft-ietf-mpls-tp-ach-tlv-02 or ITU G.8113.1/G.8113.2 | We understand that clause refers to generic applicability of ACH TLV Structure as per draft-ietf-mpls-tp-ach-tlv-02 or ITU G.8113.1/G.8113.2. Kindly confirm | Provisions of the TS are amply clear.
16 | Vol II | EMS GR TEC/SD/IT/EMT-001/01/MAR-16 | 3.8.2 | 9 | A PC acting as eMS | As per latest cluster based EMS architectures, we suggest to drop this requirement, Kindly confirm | Provisions of the TS are amply clear.
17 | Vol II | EMS GR TEC/SD/IT/EMT-001/01/MAR-16 | 3.8.2.1 | 9 | For few number of devices to be managed, a PC can very well act as the eMS. | As per latest cluster based EMS architectures, we suggest to drop this requirement, Kindly confirm | Provisions of the TS are amply clear.
18 | Vol II | EMS GR TEC/SD/IT/EMT-001/01/MAR-16 | 3.7.2 | 9 | The eMS shall support email alerts and support integration capabilities to third party systems and forward alerts via Syslog or SNMP. | As per latest standards, It is suggested to add alerts forwarding through Rest/API also. Kindly confirm | Provisions of the TS are amply clear.
19 | Vol II | EMS GR TEC/SD/IT/EMT-001/01/MAR-16 | 3.2.4 | 6 | GR TEC-SD-IT-EMT-001-01-MAR-16 -3.2.4 The eMS shall provide capability to follow an approval workflow before some or all changes can be implemented | Approval workflow capability usually comes under OSS system. It is suggested to add alternate solution to achieve the same function by assigning User privileges for Monitoring and config modules separately for different users in EMS. Kindly confirm | Provisions of the TS are amply clear.
20 | Vol II | Volume II - Technical Specification for Package-B1: Transport CPE | E(b) | 160 | MPLS-TP Equipment (2x10G)_DC Base Equipment (Crossconnect Fabric, Common cards, min 2x10G (optical), 2x1G (min 1 Optical + min 1 Electrical) ports, patch cords, power cabling, tributary cables, other hardware & accessories including sub-racks etc. fully equipped excluding all Pluggable) Hardware (AC/DC) & Software | We understand that, asked device is CPE kind of router which generally come in AC power only, we request to change DC requirement to AC as well, Please confirm. | Provisions of the TS are amply clear.
21 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | Section 7.2 | 1 | The bidder shall quote for the charges for One (1) year of Defect Liability Period (warranty period)and five (5) years for AMC including manpower, spares and all other miscellaneous expenses | We understand DLP is same as Warranty period. Please confirm | Provisions of the TS are amply clear.
22 | Vol II | 02_Vol-II Sec_02 | Section 2.2.4 | 6 | In case bidders need any other details/ characteristics of the fibre(s) to finalize their solution, they may be facilitated to test/ measure & collect the data from field without any financial implication to PowerTel before submission of their bid | Is OPGW fiber testing in scope of this project. Kindly confirm | No
23 | Vol I | 03 Section - III BDS SSTE | Item No. 4 (Clause 2.1 of ITB) | Page 2 | This Invitation for Bids, issued by the Employer is open to all firms including company(ies), Government owned Enterprises registered and incorporated in India as per Companies Act, 1956, barring Government Department as well as foreign bidders/MNCs not registered and incorporated in India and those bidders with whom business is banned by the Employer. | We understand that this clause is applicable for the bidder. No such local incorporation requirement is extended to the OEMs and foreign OEMs/ equipment are allowed to be part of this bid. Please confirm. | Provisions of the Bidding documents are amply clear.
24 | Vol I | 03 Section - III BDS SSTE | Item No. 4(Clause 2.1 of ITB) | Page 5 | The ‘Class-I & Class-II local supplier’ shall give a self-certification in his bid in the given format, indicating the percentage of Local Content and certifying that the item offered meets the Local Content requirement for ‘Class –I & Class-II local supplier’ and shall give details of the location(s) at which value addition is made. | We understand that Bidder can provide single declaration for the local content for all items required in this bid. Kindly confirm | Provisions of the Bidding documents are amply clear.
25 | Vol I | 05_Section - IV General Conditions of Contract (GCC) -S&I Rev 3-DCB | Section 21 | Page 57 | If the Contractor fails to comply with the Time for Completion in accordance with Clause GCC 21 for the whole of the facilities, (or a part for which a separate time for completion is agreed) then the Contractor shall pay to the Employer a sum equivalent to half percent (0.5%) of the Contract Price plus GST payable thereon for the whole of the facilities | How are Liquidated Damages governed i.e. - Will the time for completion be applicable for each lot or contract as a whole - How will it be ensured that implementation instructions for all the lots will be issued within 24 months from the date of award of RFP (as per definition of time for completion specified in SCC) - What does Contract Price include- Equipment only or Equipment & Services both. Kindly confirm | Please refer Sl. No 40 GCC21.1 of '06_Section-V-Special Conditions of Contract (SCC)-Package B1' Vol-I and 'TERMS AND PROCEDURES OF PAYMENT' at Appendix-I under 08_Section - VI Sample Forms and Procedures, Vol-I
26 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.4.2/7 | 6 | Appointment of Project Manager, Design Engineer & other resources for successful & timely completion of project. | We understand that the resources are required only till the project phase. Please confirm | Yes
27 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.4.2/21 | 7 | All necessary information, documents, manpower support, licenses for enabling interfaces etc required for integration of TMN system with OSS, GIS System, Network Orchestrator etc, planned to be procured in future. | We understand that the bidder shall provide the open API for integration of TMN system with OSS, GIS, Network Orchestrator etc., and the integration shall be taken care by the respective stakeholder in the future | Yes
28 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.4.2/34 | 8 | Replacement of all Work Stations as well as Severs during AMC | We request you to amend the clause as following: "Repair & Replacement of all Work Stations as well as Severs during AMC" | Refer Volume-II Section-7, Clause 7.4.1 (k) Management & Assisted Operations Support Services
29 | Vol II | 2 02_Vol-II Sec_02 | 2.2.2.1 | 3 | The proposed system must guarantee 99.999% availability means that total downtime of the system must be less than 5 minutes per year. | We understand that the calculation of 5 minutes per year shall be considered for a single node wherein the Service Affecting downtime is due to the hardware issue of the device. Please confirm | Provisions of the TS are amply clear.
30 | Vol II | 2 02_Vol-II Sec_02 | 2.2.3.3 | 5 | The Contractor(s) shall ensure that there shall be no single point of failure of Network due to equipment failure i.e. the failure of one Network Element shall not prevent the use of any other Equipment that has not failed. Bidders must state details about redundancy (1+1 Power Supplier, FANs) mechanism, wherever asked/ specified, of the proposed system at system level, subsystem level, and board level. | We understand that the proposed equipment as per the BoQ shall have redundant power supply & single fan modules with multiple fan units. Please confirm | Provisions of the TS are amply clear.
31 | Vol II | 2 02_Vol-II Sec_02 | 2.4 | 27 | The Contractor shall provide (i.e. supply and install) connectorized FODP-to-equipment and equipment-to-equipment jumpers (patch-cords) for each equipment with two installed spares. The contractor shall be required to provide armoured patch-cords at some of the locations prone to rat cuts as identified during survey/ or mentioned while finalization PowerTel of BoQ | Request you to confirm the quantity along with the length of each armoured patch cord to be procured in the BoQ | Approximate quantity of 200 nos of patch cord of 20m each.
32 | Vol II | 03_Vol-II Sec_03 | 3.4 | 16 | Data Communication Channel Requirement and Integration | We understand that the DCN shall be planned along with the data traffic. Please confirm | Yes
33 | Vol II | 04_Vol-II Sec_04 | 4.1.1 | 1 | Temperature and Humidity | We understand that PowerGrid shall provide sites equipped with controlled environment i.e., AC etc., for equipment installation & commissioning. Please confirm | Yes
34 | Vol II | 04_Vol-II Sec_04 | 4.2.1 | 2 | Facilities will be required to support both AC and DC power load requirements of telecommunications equipment | We understand that the AC & DC power requirement of the equipment shall be provided sites itself. Bidder is not expected to arrange AC to DC or DC to AC convertor. Please confirm | Yes
35 | Vol II | 05_Vol-II Sec_05 updated 19 June 2024 | 5.9 | 25 | The network shall be accepted by PowerTel after implementation of mitigation plan & Taking Over Certificate (TOC) to be issued to contractor | We understand that TOC shall be issued lot wise. Please confirm | Refer Volume-II Section-6, Clause 6.2.4 Operational Acceptance of Network/ Project
36 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | 7.4.1. point-1 | 5 | ‘Manpower support at PowerTel NOC/ Office’ in BoQ has been asked in the unit of ‘Month’, which means deployment of adequate no’s of Engineer(s) to run the 24x7 Shift operation, for one (01) month such that at least one (01) of Engineer shall always be available round the clock during 24x7 Shift Operation. As four (04) no of Engineers are necessary to run 24x7 Shift Operation to ensure availability of at least one (01) Engineer round the clock, so one (01) Month of ‘24x7 Shift Operation’ is equal to deployment of four (04) Engineers for one (01) month. | We request PowerGrid to provide the exact man months for manpower support at PowerTel NOC / Office in BoQ | Anticipated Quantity of 'Manpower' in terms of Months is specified at Appendix-C (BoQ), Vol-II.
37 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | 7.4.1/2 | 5 | ‘Manpower support at PowerTel NOC/ Office’ during ‘Day Time (9:00 to 18:00 Hrs)’ per Month (as per BoQ) means deployment of one (01) no of qualified Engineer at PowerTel’s NOC/office during day time from 9:00 am to 6:00 pm on working days i.e. Monday through Saturday (excluding Sundays and maximum 12 days declared holidays) for one month. The Engineers deployed for such services must be available on call on 24x7 basis to attend to faults/ contingencies on holidays and after office hours in contingency | We understand that this is not a separate resource requirement as mentioned in 7.4.1. Please confirm | Provisions of the TS are amply clear.
38 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | 7.4.3.II | 14 | 04 Hrs for all Metro Cities (Delhi NCR, Mumbai, Pune, Bangalore, Hyderabad, Chennai, Kolkata)  06 Hrs for all other State Capital Cities including Guwahati (Except NER)  08 Hrs for rest of Cities across India. | Basis our experience, more nos of resources shall be required to achieve the SLA. We request you to review the man month quantity with respect to the requirement. | Provisions of the TS are amply clear.
39 | Vol II | 07_Vol-II Sec_07 updated 19 June 2024 | 7.4.4.b | 17 | Penalty shall be calculated separately for each of the incident of fault in access equipment. Any delay beyond the stipulated parameters as mentioned in clause 7.4.3.(a).[II] shall attract a penalty of Rs. 5000/- @ per hour for upto 4 hours and Rs. 10000/- @ per hour from the 5th hour, subject to maximum penalty of Rs. 500,000/- per incident per month. | Basis our experience, more nos of resources shall be required to achieve the SLA. We request you to review the man month quantity with respect to the requirement. | Provisions of the TS are amply clear.
40 | Vol I | 02 Section - II ITB SSTE S&I DCB-PRANIT | 6.2 | 7 | The Bidder is advised to visit and examine the site where the facilities are to be installed and its surroundings and obtain for itself on its own responsibility and cost all information that may be necessary for preparing the bid and entering into a contract for supply and installation of the facilities. The costs of visiting the site shall be at the Bidder’s own expense. | We request you to share the list of sites and contact personnels with whom we should coordinate for site visit | To be shared during finalization of BoQ.
41 | Vol II | 07_Appendix-I to SCC | 7.4.1 | 4 | 1. ‘Manpower support at PowerTel NOC/ Office’ in BoQ has been asked in the unit of ‘Month’, which means deployment of adequate no’s of Engineer(s) to run the 24x7 Shift operation, for one (01) month such that at least one (01) of Engineer shall always be available round the clock during 24x7 Shift Operation. As four (04) no of Engineers are necessary to run 24x7 Shift Operation to ensure availability of at least one (01) Engineer round the clock, so one (01) Month of ‘24x7 Shift Operation’ is equal to deployment of four (04) Engineers for one (01) month. The network control centre (DC) located at Katwaria Sarai (New Delhi) and/ or back-up centre (DR) at RTCC, Bangalore may have 24x7 Shift operations, however contractor has to take prior approval from PowerTel for the location(s) at which manpower to be deployed. It’s the responsibility of Contractor to provide a Desktop Terminal(s) to shift engineer(s) to extend their support. The Technical Specification of the Desktop Terminal shall be similar to the Desktop Terminals supplied/ to be supplier under TMN. | We understand that (04) no of engineers are required only at DC (New Delhi) and DR (RTTC Bangalore) locations. Please confirm | Provisions of the TS are amply clear.
42 | Vol II | 06_Section-V-Special Conditions of Contract (SCC) | GCC Clause Ref. S. No 4 . GCC 3.3 | 4 | The supply of Mandatory Spares Parts, if any, shall be included in the Contract. Beside the aforesaid Mandatory Spares parts, the Contractor shall ensure the availability of spare parts required for the operation and maintenance of the Facilities by the Employer for a minimum period of fifteen (15) years from Operational Acceptance of the Facilities by the Employer. However, in the event of that a equipment/component is declared to be withdrawn from production, Contractor shall ensure the availability of spare parts for the supplied items for a minimum period of 7 years from the date of withdrawal from production or 15 years from Operational Acceptance of the Facilities by the Employer, whichever is earlier. For balance of the period, if any, up to 15 years from Operational Acceptance by Employer, Contractor shall ensure that functionally equivalent hardware is available which is compatible with all software delivered with the system. If Employer chooses to purchase from the Contractor said functionally equivalent hardware, any software modifications necessary to maintain complete functional compatibility with all software delivered by Contractor shall be made at no cost to Employer. In the event, the modified software is not found compatible with functionally equivalent hardware, the Contractor shall make suitable corrections to this modified software and install this corrected software at no cost to Employer. | The O&M period of the said project is 5 years post Go Live. Considering this, we request you to ensure the availability of spare parts required for Operations and maintenance of the facilities from 15 years from operational acceptance to 10 years | Please refer clause 2.2.3.4, section-2, Vol-II
43 | Vol II | 02_Vol-II Sec_02 | 2.2 General Network Characteristics | 2 | PowerTel’s fiber optic network consists of a Backbone network providing connectivity across the major & minor cities and Access network to extend the connectivity from the Employer’s PoP (Mostly Sub-Station) to city Centre / customer premises. The Access & Aggregation network in cities is a mix of DWDM/MPLS-TP/SDH & is required to be augmented by installing new MPLS-TP equipment over separate pairs of fiber. New MPLS-TP equipment platforms must be able to support packet and TDM transport. Packet services, such as MEF CE 2.0 services, L3 VPNs, and L2 VPN, can be transported using MPLS-TP giving the service provider the freedom to choose the most appropriate technology to PowerTel. New MPLS-TP equipment must support native TDM & circuit emulation and facilitate PowerTel to build a packet network parallel to the existing legacy TDM networks. The requirements provided in BoQ are tentative and they may vary during actual implementation. | L3 VPN is not part of this requirement, only MPLS-TP is asked in the requirement. Kindly remove it from the clause. | A suitable amendment has been issued. Please refer Sl. No 1 of Amendment-1.
44 | Vol II | 02_Vol-II Sec_02 | 2.3.1.2 | 8 | 2. The supplier shall confirm that their solution supports insert, replace and remove of modules while the equipment is powered up without affecting traffic and damaging any module. | We understand that this clause is for common card i.e., power & Fan module. Kindly clarify. We understand that this scenario is applicable to the common cards i.e., fan, power module etc., This shall be applicable to traffic modules, only when the traffic links are configured on multiple modules or additional protection links are available | Provisions of the TS are amply clear.
45 | Vol II | 02_Vol-II Sec_02 | 2.3.1.2 | 8 | 4. Equipment can be divided in Five categories (Type-1, 2,3,4 &5) based on their configuration. The details are given below: | We understand that the requirement of each type of the equipment is categorized only on the below parameters: 1. Maximum Size (in RU) 2. Ports (Min) 3. Coloured interfaces 4. Bi-Directional SFP/ XFP 5. Redundancy (Power, Fan & other common modules) 6. Chassis 7. Power (Input Voltage) Please confirm | Provisions of the TS are amply clear.
46 | Vol II | 02_Vol-II Sec_02 | 2.3.1.2 | 8 | 4. Equipment can be divided in Five categories (Type-1, 2,3,4 &5) based on their configuration. The details are given below: | We understand that "other common modules" in the parameter "Redundancy (Power, Fan & other common modules)" includes only power & fan. Please specify the parameter that shall be considered as a part of "other common modules" | Provisions of the TS are amply clear.
47 | Vol II | 02_Vol-II Sec_02 | 2.3.1.4 | 24 | 4. Bi-Directional XFP/ SFP+ shall also be used as 10G or STM-64 in MPLS-TP (10G) Equipment or existing SDH (STM-64) equipment of Tejas make, as per requirement. | We understand that the existing SDH (STM-64) equipment of Tejas make follows MSA standards in order to use SFP+ pluggable optics | Yes
48 | Vol II | 14_Appendix-C_BoQ updated 19 June 2024 | Package-B1: BoQ | - | G. Pluggable Optics for Equipment at 'A', 'B', 'C' & 'D' above | Section 2 clause no. 2.3.1.4 includes 10G SFP+. Request you to add it in the BoQ | 10G pluggable can be XFP or SFP+ as per the proposed Equipment.
49 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.4.2 Contractor's Responsibilities and Obligations | 6 | (29) Network Security Audit cum Vulnerability Assessment Test, and implementation of mitigation plan. | We understand that the Network security cum vulnerability assessment test shall be done only once post the implementation of all 6 lots. Please confirm | Refer to Sl. No 9 of Notes at Appendix-A (implementation schedule) Volume-II
50 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.4.2 Contractor's Responsibilities and Obligations | 6 | (29) Network Security Audit cum Vulnerability Assessment Test, and implementation of mitigation plan. | Please confirm whether the network security audit shall be done through the agencies empanelled by PowerGrid. If yes, please share the list | Refer to Volume-II Section-8 clause 8.6 System Security & Audit.
51 | Vol II | 02_Vol-II Sec_02 | 2.3.1.5.3 Link Budget Calculations | 25 | 1. Amplifier solution for Packet links (10G) up to minimum 30dB (120 Km)/ 35dB (140 Km)/40 dB (160 Km)/ 45dB (180 Km) link budget has been calculated with attenuation factor 0.25dB per km and considering factor such as optical path penalty, temperature etc. However, Bidder must consider addition 1 dB EOL margin and 1 dB connector margin for all required amplifier solutions. | We understand that 1 dB EoL margin and 1 dB connector margin are included in the Amplifier solution for Packet links (10G) up to minimum 30dB (120 Km)/ 35dB (140 Km)/40 dB (160 Km)/ 45dB (180 Km). Please confirm. If the 1 dB EoL margin and 1 dB connector margin are excluded, request you to include the same in the amplifier solution itself. | Provisions of the TS remains unchanged.
52 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.2 Equipment Requirement | 8 | 2. The supplier shall confirm that their solution supports insert, replace and remove of modules while the equipment is powered up without affecting traffic and damaging any module. | We understand that this clause is for common card i.e., power & Fan module. Kindly clarify. | Provisions of the TS are amply clear.
53 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.2 Equipment Requirement | 8 | 4. Equipment can be divided in Five categories (Type-1, 2,3,4 &5) based on their configuration. The details are given below: | The switching capacity is not mentioned for Type-1,2,3,4 &5. Kindly clarify. | Switching capacity of the equipment must support requested interface (Total interface capacities) against each type.
54 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (e) Forwarding Support | 12 | 1. The MPLS-TP Equipment shall support to override The MPLS-TP Equipment port MAC address. | Override the MAC address is no use in current scenario of PowerTel network. This feature will increase the CAPEX. Request to delete the clause. | Provisions of the TS are amply clear.
55 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (f) MAC Address Learning / Limiting: | 12 | 13. The MPLS-TP Equipment shall support list of allowable MAC destination address. | The clause is note clear. Request to elaborate the clause in details to understand it better. | Provisions of the TS are amply clear.
56 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | (f) MAC Address Learning / Limiting: | 14 | 18. The Access and Aggregation Switch shall support the following size of FDB table entries: Type-1: shall support dynamic MAC entries 150K with static MAC – 2K. Type-2: shall support dynamic MAC entries 150 K with static MAC – 2K Type-3: shall support dynamic MAC entries 32K. Type-4: shall support dynamic MAC entries 32K. | 32K MAC entries for Type-3 & Type-4 is way more as per specification/ Kindly reduce it to 24K MAC entries | A suitable amendment has been issued. Please refer Sl. No 2 of Amendment-1.
57 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | (f) MAC Address Learning / Limiting: | 14 | 18. The Access and Aggregation Switch shall support the following size of FDB table entries: Type-1: shall support dynamic MAC entries 150K with static MAC – 2K. Type-2: shall support dynamic MAC entries 150 K with static MAC – 2K Type-3: shall support dynamic MAC entries 32K. Type-4: shall support dynamic MAC entries 32K. | Type-5 MAC entries is not mentioned. Request to kindly provide the MAC entries for Type-5. | A suitable amendment has been issued. Please refer Sl. No 2 of Amendment-1.
58 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (n) Rate Limiting | 18 | 2. Configuration of user bandwidth shall be supported, in steps of • Mbps for 1-1000Mbps • 100 Mbps granularity for 1-100 Gbps | The granularity steps to configuration of user bandwidth should be in steps as defined in MEF standard Request to kindly change the clause to "Configuration of user bandwidth shall be supported, in steps as per MEF standard." | Provisions of the TS are amply clear.
59 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (n) Rate Limiting | 18 | 3. It shall support defining Committed Information Rate (CIR) and an Excess Information Rate (EIR) for each flow in steps of 1Mbps. | CR and EIR flow steps should be in steps as defined in MEF standard. Request to kindly change the clause to "It shall support defining Committed Information Rate (CIR) and an Excess Information Rate (EIR) for each flow in steps as per MEF standards.." | Provisions of the TS are amply clear.
60 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (n) Rate Limiting | 18 | 4. The MPLS-TP Equipment shall support flow-based rate limiting method based on per source address, destination address or both. | The clause is note clear. Request to elaborate the clause in details to understand it better. | Provisions of the TS are amply clear.
61 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (o) Queuing: | 18 | • Alternate priority routing traffic necessary to keep from starving other priority queues. | The clause is note clear. Request to elaborate the clause in details to understand it better. | Provisions of the TS are amply clear.
62 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (p) Scheduling: | 19 | 2. The MPLS-TP Equipment’s shall support the following congestion avoidance mechanisms. • Weighted Round Robin (WRR) • DWRR (Deficit Weighted Round Robin) • WRED • Strict Priority (SP) | Scheduling can be fulfil via any one from WRR, DWRR, WRED & SP. Therefore request to kindly change the clause :"The MPLS-TP Equipment’s shall support any one following congestion avoidance mechanisms. • Weighted Round Robin (WRR) • DWRR (Deficit Weighted Round Robin) • WRED • Strict Priority (SP) | A suitable amendment has been issued. Please refer Sl. No 6 of Amendment-1.
63 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (q) Protection Mechanism: | 20 | 1. The MPLS-TP Equipment shall support linear protection (1:1 & 1+1) as specified in ITU-T Rec. G.8131.1 or G.8131.2. | Linear protection (1:1 & 1+1) can also be done as per RFC RFC 6378, therefore request to kindly change the clause to "The MPLS-TP Equipment shall support linear protection (1:1 & 1+1) as specified in ITU-T Rec. G.8131.1 or G.8131.2 or RFC6378. | A suitable amendment has been issued. Please refer Sl. No 3 of Amendment-1.
64 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.3 Technical specification (q) Protection Mechanism: | 20 | 2. For all the modes of protection, The MPLS-TP Equipment shall support protection switching within 50ms of expiration of any manually selected hold-off time (with both SF/SD scenario) and shall support all operator commands (Forced Switching [FS], manual Switching [MS], lockout of protection). | We understand that protection switching within 50ms of expiration of any manually selected hold-off time (with both SF/SD scenario) means either SF or SD scenario instead both. Please clarify | Yes
65 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.4 Pluggable Optics | 24 | 4. Bi-Directional XFP/ SFP+ shall also be used as 10G or STM-64 in MPLS-TP (10G) Equipment or existing SDH (STM-64) equipment of Tejas make, as per requirement. | To use SFP+ Pluggable optics in third party equipment, the port should not be block and MSA standard is followed. Kindly clarify whether port is not block and MSA standard is followed by existing Tejas equipment. | Yes
66 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.5.3 Link Budget Calculations | 25 | 1. Amplifier solution for Packet links (10G) up to minimum 30dB (120 Km)/ 35dB (140 Km)/40 dB (160 Km)/ 45dB (180 Km) link budget has been calculated with attenuation factor 0.25dB per km and considering factor such as optical path penalty, temperature etc. However, Bidder must consider addition 1 dB EOL margin and 1 dB connector margin for all required amplifier solutions. | The AMP solution with various loss (30dB,35dB,40dB etc) already include very high attenuation, therefore request to kindly exempt additional 2dB margin(1dB EOL +1dB connector) on above mentioned loss. | Provisions of the TS are amply clear.
67 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.5.3 Link Budget Calculations | 25 | 1. Amplifier solution for Packet links (10G) up to minimum 30dB (120 Km)/ 35dB (140 Km)/40 dB (160 Km)/ 45dB (180 Km) link budget has been calculated with attenuation factor 0.25dB per km and considering factor such as optical path penalty, temperature etc. However, Bidder must consider addition 1 dB EOL margin and 1 dB connector margin for all required amplifier solutions. | 10G solution with AMPS up to 45dB is not advisable. Kindly change it to 40dB. | Provisions of the TS are amply clear.
68 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.5.4 Link Performance | 26 | The Link performance for ES, SES and BBER for the fibre optic links shall correspond to National Network as defined in ITU-T G.826, G.828, M.2101, RFC 2544 and Y.1564 | We understand that the Link performance for ES, SES and BBER for the fibre optic links as defined in any one of the standard ITU-T G.826 or G.828 or M.2101 or RFC 2544 or Y.1564. Kindly clarify. | Provisions of the TS are amply clear.
69 | Vol II | 14_Appendix-C_BoQ updated 19 June 2024 | Package-B1: BoQ |  | G. Pluggable Optics for Equipment at 'A', 'B', 'C' & 'D' above | As per clause 2.3.1.4 pluggable optics 10G SFP+ is also allowed therefore kindly include SFP+ also in the BoQ | Provisions of the TS are amply clear.
70 | Vol II | Vol II: Section 3 TELECOMMUNICATIONS MANAGEMENT NETWORK | 3.2. TMN Architecture | 1 | 3. The main Control Centre (DC) for all the network elements being procured under this package will be located at New Delhi and the backup Control Centre (DR) will be located at Bangalore, however PowerTel reserves the right to change the location of DC and/ or DR as per requirement. The operation of main and backup Control Centre will be co-ordinated in such a way that the database in both the Control Centres are in synchronism. The synchronisation of database shall be done automatically and periodicity of synchronisation shall not be more than three (3) hours under any circumstances. The management functions of the network elements under this subject procurement encompasses from any to any and the operation and maintenance of all the network elements shall be seamless. In case of failure of main Control centre, the control function shall be fully taken care of by backup Control Centre by manual take-over and/ or automatic mechanism, as per requirement. Restoration of main Control Centre shall be done after synchronism of database is achieved and after proper validation, which should be done automatically. Similar methodology shall be adopted for restoration of back up Control centre from a failover situation. | Request to Kindly grant 6 hour for the synchronization of database instead of 3 hour. | Provisions of the TS are amply clear.
71 | Vol II | Vol II: Section 3 TELECOMMUNICATIONS MANAGEMENT NETWORK | 3.3.6 Software Management | 15 | h. It shall support FTP/TFTP for downloading of Software, configuration, patches etc. to the Network Element. | Request to include SSH protocol also for downloading of softwares, configuration, patches etc. | A suitable amendment has been issued. Please refer Sl. No 4 of Amendment-1.
72 | Vol II | Vol II: Section 3 TELECOMMUNICATIONS MANAGEMENT NETWORK | 3.5. Craft Terminal | 17 | The laptop computer shall be connected to a V.24/V.28 interface, Ethernet interface, USB etc available at network element. Laptop computers, each complete with necessary system & application software to support the functions listed below, shall be supplied to the Employer. | We understand that any one medium (V/24/V.28 or Ethernet interface or USB) should be available for the NE connectivity with the laptop computer. Kindly clarify. | Yes
73 | Vol I | 05_Section - IV General Conditions of Contract (GCC) -S&I Rev 3-DCB | 1.1-S | 7 | Installation Services” means all those services ancillary to the supply of the Plant and Equipment for the Facilities, to be provided by the Contractor under the Contract; e.g., transportation and provision of marine or other similar insurance, inspection, expediting, site preparation works (including the provision and use of Contractor's Equipment and the supply of all construction materials required), installation, testing, precommissioning, commissioning, operations, maintenance, the provision of operations and maintenance manuals, training, etc. | Confirmation on training location (On-Site /PGCIL-HC/Online/ OEM-HC ) & Need further details on which group to be trained accordingly agenda to prepare and share | Plz refer clause 6.4 Sec-6 Vol-II for details.
74 | Vol II | 01_Vol-II Sec_01 | 1.1.1 Scope of Work - K | 1-2 | k) Security Testing of all Equipment/ elements as per Common Criteria Certification. | Either customer want Self Security certificate from OEM or he is expecting security test to be done his network environment . | Provisions of the TS are amply clear.
75 | Vol II | 01_Vol-II Sec_01 | 1.1.1 Scope of Work - l | 1-2 | l) Vulnerability Assessment of Network from a certified third party on completion of project. | Detail scope along with confirmation on owner of Vulnerability assessment of network | Refer to Section-8 Volume-II
76 | Vol II | 1.4.2 Contractor's Responsibilities and Obligations | 1.4.2 | 1-6 | (10) Submit earlier carried out type test reports or conduct type tests & functional tests as per requirement. | Require more details on type and Functional test cases to be performed | Refer Volume-II Section-5, Clause 5.4 Type Test and Functional test
77 | Vol II | 1.4.2 Contractor's Responsibilities and Obligations | 1.4.2 | 1-7 | (29) Network Security Audit cum Vulnerability Assessment Test, and implementation of mitigation plan. | Require confirmation on Ownership | Please refer clause 8 Section-8 Volume-II
78 | Vol II | 1.4.2 Contractor's Responsibilities and Obligations | 1.4.2 | 1-8 | (30) Handing Over of complete Network after Acceptance testing and completion of Vulnerability Assessment testing & its mitigation plan. | Require confirmation on Ownership | Please refer clause 8 Section-8 Volume-II
79 | Vol II | A. Guidelines of Work | A-II | 8-6 | II. Network Hardening: Network Hardening is the process of evaluating a network’s security hardware, software, and processes and then implementing the corrective solution to strengthen them. Following things are minimum required to be audited and best practices to be recommended: i. Checking of Equipment configuration ii. Checking of Firewall, Router, Switch etc configuration iii. Checking of Server configuration | Detail scope and owner of Network Hardening | Please refer clause 8 Section-8 Volume-II
80 | Vol II | Vol II: Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.3.1.2 Equipment Requirement | 2024-02-09 |  | Kindly clarify how many 100G colored port is required under Type-I & Type-II category. | 100G interfaces on Type-I & Type-II must support both Colored and Grey pluggable.
81 | Vol II | 02_Vol-II Sec_02 | 2.3.14 | 24 | 2.3.1.4 Pluggable Optics 4. Bi-Directional XFP/ SFP+ shall also be used as 10G or STM-64 in MPLS-TP (10G) Equipment or existing SDH (STM-64) equipment of Tejas make, as per requirement. | Our understanding is STM-64 is not required and bidder can consider 10G for in place. Please confirm | Bi-Directional XFP/SFP+ must support both 10G and STM-64 rate.
82 | Vol II | 02_Vol-II Sec_02 | 2.3.14 | 24 | 2.3.1.4 Pluggable Optics 1. All 100GGrey pluggable optics in the BoQ for MPLS-TP (Type-I & II) shall be QSFP28. In case the 100G ports on the equipment are of legacy physical size (CFP/ CFP2 etc), QSFP28 pluggable with appropriate adaptor shall be supplied. The 100G Tuneable Pluggable may be supplied as per the physical interfaces (CFP/ CFP2/ CFP4/ QSFP28/ Coherent DCO etc) on the Equipment. | Our understanding is in case the 100G ports on the equipment are of legacy physical size (CFP/CFP2 etc) or QSFP28 pluggable with appropriate adaptor shell be supplied. Please confirm | Yes
83 | Vol II | 03_Vol-II Sec_03 | 3.2. | 1 | 3.2. TMN Architecture 1. The bidder will propose single TMN system in the Employer’s network such that all the management functions are available seamlessly across all the network elements (MPLS-TP, Optical Amplifiers etc.) supplied by the bidder under this package. | Our understaing is DCN Infra like servers, router, switches etc will not be under the TMN system management scope. TMN is for MPLS-TP and optical amplifiers. Please confirm | Yes
84 | Vol II | 03_Vol-II Sec_03 | 3.2. | 2 | 3.2. TMN Architecture 3. The main Control Centre (DC) for all the network elements being procured under this package will be located at New Delhi and the backup Control Centre (DR) will be located at Bangalore | Our understanding is bidder responsibility will be from installing the Rack and its internal components installation, cabling, etc.. Out side the rack all required items like power, cooling, earthing, space, etc will be customer responsibility. Please confirm | Yes
85 | Vol II | 02_Vol-II Sec_02_Volume II - Technical Specification for ‘Package-B1: Transport CPE’ | 2.2.3.4 | 6 | 2.2.3.4 Equipment Lifespan All equipment to be supplied under the subject package shall have a minimum expected life of Ten (10) years from the date of final acceptance. The Contractor shall ensure the availability of spare parts and cards/ items for a minimum period of ten (10) years from operational acceptance by the Employer or five (5) years after the declaration of withdrawal of equipment from production whichever is earlier. However, the termination of production shall not occur prior to Operational Acceptance of the system by the Employer. | As per Industry practises and OEM support to System Integrators on the equipments provided expected life of Ten (10) years from the date of final acceptance is difficult to serve should be maximum allowed 7 to 8 years to be catered for both Supplies and Mandatory spared Parts as suggested. PGCIL also stands to loose growing Bandwidth requirement of end customers by being served by old technology at that point of time along with equipment form factor in terms of space, cost and energy vis-a-vis technologies available at that point of time. | Provisions of the TS are amply clear.
86 | General | General Query |  |  | MPLS TP, Model existing controller (CC2) can only handle 2x100G interfaces. Next generation controller (CC6) handing up to 6x100G interfaces is on the product roadmap with targeted release date no earlier than Q3 2025. Therefore none of our MPLS-TP products would comply with Type 1 product specified in the table in the equipment requirement section 2.3.1.2. (OEM is working on same & can release by next year) |  | PowerTel shall order equipment (any type) as per business/ Network requirement and contractor has to supply equipment inline with the timeslines specified in the bidding documents.
87 | General | General Query |  |  | As for types 2 to 5, our product series can comply with all listed interface requirements but G7800 (7RU) has issues with specified maximum size of equipment (2RU). | So 2RU is acceptable / feasible to PGCIL? | Provisions of the TS shall remain unchanged.
88 | General | General Query |  |  | Loop MPLS TP products do not support ports with tunable SFP’s. Our products are designed using caged ports with selectable SFP/SFP+/QSFP+ types. | Is it workable to meet the requirement of PGCIL? | Support of tunable pluggable is necessary as per network requirement.
89 | General | General Query |  |  | There are several deviations related to software (MAC address settings) which can be developed within a specific time period by next year. |  | Contractor shall supply Equipment meeting technical specification as specified in bidding documents.
90 | Vol II | Appendix-C (BoQ) | BoQ |  | AC Power cable and DC Power cable | Please confirm whether this will fulfil all site requirements or if additional requirements will be necessary. If additional requirements are needed, please clarify if they fall within PGCIL's scope or the bidder's scope | Please refer Vol-II section-1 clause 1.3 for clarity.
91 | Vol II | Appendix-D (DRS) D-4 | DRS |  | DRS | It appears that DRS for AC power cable and DC power cable are not included. Please also confirm if these cables are Multistrand cables | Refer Volume-II Section-2, Clause 2.6 DC Power System & Power Cables
92 | Vol I | 08 Sec-VI Sample forms & procedure | D.2 | pg# 31 | Balance Five Percent (05%) of the Total Ex-Works Price Component (including Spares) shall be paid on completion of successful commissioning and issuance of Taking Over Certificate (TOC) for all the Equipment under respective Lot(s), including successful completion of Vulnerability assessment & penetration testing (VAPT) & Implementation of Mitigation Plan post VAPT and all mandatory compliances specified in Technical Specification (Vol-II). | Is VAPT the scope of Bidder or Tenderer? | Please refer Vol-II, Section-8 clause 8.6
93 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.3 | Page 2 | All MPLS-TP Equipment and amplifier solution required under the project shall be offered by the bidder from the same manufacturer and accessible through the single NMS supplied along with Equipment | We understand that MPLS-TP equipment and amplifier solution under the project offered by bidder can be from different OEMs but should be managed in single NMS. Kindly confirm | A suitable amendment has been issued. Please refer Sl. No 8 of Amendment-1.
94 | Vol II | 01_VolII Sec_01 update d 19 June 2024 | 2.3.1.2 | 9 | Type-1 (6x100G) : Ports (Min) : 6x100G+ min 16x10G | We understand that min 16X10G port support is only required for Type-A equipment as per TS document and supersedes any other mentioned port count anywhere in the tender document. Kindly confirm | A suitable amendment has been issued. Please refer Sl. No 5 of Amendment-1.
95 | Vol II | 08_VolII Sec_08 | 8.2 n | 3 | Copy of all test result & certificates for applicable security related certifications (From Common criteria Lab or any other authorized certified agencies) as per DoT Guideline (DoT letter ref: 10-54/2010- CS-III (NLD) dated 31.05.2011) to be submitted by the contractor | We request to allow Indian Telecommunication Security Assurance Requirements (ITSAR) certificate as well for the offered equipment to meet this requirement. Kindly confirm. | Provisions of the TS are amply clear.
96 | Vol I | 01_VolII Sec_01 updated 19 June 2024 | 1.4.2 (10) | 6 | (10) Submit earlier carried out type test reports or conduct type tests & functional tests as per requirement | We request to remove the requirement of submission of type test reports if OEM is already submitting the MTCTE certificate for the offered equipment. Kindly confirm | Test shall be conducted as per Volume-II, Section-5 clause 5.4 & 5.5
97 | Vol I | Sec-IV GENERAL CONDITIONS OF CONTRACT (GCC) | 34.1 | pg# 81, 82 | The Time(s) for Completion specified in the SCC shall be extended if the Contractor is delayed or impeded in the performance of any of its obligations under the Contract by reason of any of the following: | To account for the delay due to assessment/approvals at employer end, Kindly include additional clause as "34.1 (f): Employer shall assess & feedback for FAT/SAT/TOC etc. within 3 days of notification from the contractor " | Provisions of the bidding documents are amply clear.
98 | Vol II | 02 Sec-2 Technical Specifications | 2.2.2.1 | pg# 3 | All NEs (MPLS-TP & Amplifiers) provided by the supplier must be managed on the same NMS | Is it mandatory to supply MPLS-TP equipment & Amplifiers from same OEM? Or can MPLS-TP & Amplifiers from different OEM's be managed on the single NMS system? Kindly confirm. | A suitable amendment has been issued. Please refer Sl. No 8 of Amendment-1.
99 | Vol II | 01 Sec-01 Technical Specifications | 1.3.2 #1 | pg# 9 | The contractor shall supply ‘Trusted Products’ from ‘Trusted Sources’ in line with the ‘National Security Directive on Telecommunication Sector (NSDTS)’ under subject package. | As per our understanding, this clause applies for only the MPLS-TP equipment & router/switch in the TMN accessories. So, can we exclude the amplifiers, SFP, mux/demx & servers & software from this clause? Please clarify. | MPLS-TP equipment and TMN Hardware (Servers, Router, Switch etc) & TMN Software shall be 'Trusted Product' from 'Trusted sources'.
100 | Vol II | 01 Sec-01 Technical Specifications | 1.3.2 #2 | pg# 9 | ‘Mandatory Testing and Certification of Telecom Equipment (MTCTE)’ under the provision of Indian Telegraph (Amendment) Rules 2007 shall apply on all equipment to be supplied under subject Package. Contractor has to supply only certified equipment as per MTCTE. Please refer the web link https://www.mtcte.tec.gov.in for more details. It’s a mandatory compliance. | To facilitate OEM's who are already in the process of MTCTE certification for their product, We request you to please accept a self-declaration from the OEM that they have applied for MTCTE certificate & would abide to produce it before the contract is awarded. | Yes. Certificate to be submitted before commissioning of equipment.
101 | Vol II | TELECOMMUNICATIONS MANAGEMENT NETWORK 3.3.4 Security Management Page-13 | 3.3.4 | 13 | 10. The DCN network shall transmit all management data encrypted. Encryption shall be done by 128-bit encryption key. | Kindly Confirm which type of equipment is required for encryption and their Nos. If there is an inbuilt encryption on the MPLS-TP device, then there shouldn’t be the need to have external Encryptor device. | A suitable amendment has been issued. Please refer Sl. No 7 of Amendment-1.
102 | Vol II | TELECOMMUNICATIONS MANAGEMENT NETWORK 3.3.4 Security Management Page-13 | 3.3.4 | 13 | 11. System shall also fully comply with DoT requirement on security & remote access. | Kindly let us know the Nos of security devices like firewall, RAS servers required. | Refer to Volume-II Section-8 for Security requirement and clause 8.4 for Remote support
103 | Vol II | Section 04 Clause 4.2.3.4-page 4 off 13 | 4.2.3.4 |  | Case-1, Case-2 & Case-3 | We understand that the PGCIL have considered the DC power cable to power up the equipment of any length as per site requirement in the price schedule for all three cases. Contractor is not required to consider any extra cable. Kindly confirm | Bidder has to consider the Power cable & MCB's to connect Equipment to RACK PDP Only.
104 | Vol II | 1.3.2 General Requirements | 1.3.2 | 5 | 14. d) Utilization of existing rack space | As per our understanding, except 130 racks, rack space, cooling and power is in PGCIL scope for all locations including DC & DR, So bidder need to provide 130 Racks only, in case of additional Rack required, PGCIL will provide additional cost for the scope. Please confirm. | Yes
105 | Vol II | 1.3.1 Scope of Work | 1.3.1 | 2 | i) Remote Access Server solution meeting DoT requirement | Please confirm if bidder need to propose a complete Remote access server solution including the Compute, storage, LAN Network device, OS, DB, software etc. Please clarify. | Yes, Refer to Volume-II Section-8 for Security requirement and clause 8.4 for Remote support
106 | Vol II | 1.3.1 Scope of Work | 1.3.1 | 2 | p) Replacement of all Desktop Computers and TMN (server, other hardware, Software etc.) during AMC period. | Request you to kindly remove this clause, as it is bidder's responsibility to support proposed infra for the project duration. What is the need for replacement. If still replacement required (which will impact entire setup), please provide duration to complete the replacement. Also please provide information this replacement is only at the DC-DR or RTAMCs also. | Refer Volume-II Section-7, Clause 7.4.1 (k) Management & Assisted Operations Support Services
107 | Vol II | 1.4.2 Contractor's Responsibilities and Obligations | 1.4.2 | 6 | (12) Shipment of all equipment and documentation to the Employer designated locations and/or staging areas. | As per our understanding, employer will provide regional warehouse for material delivery. Please confirm the location. | Provisions of the TS are amply clear.
108 | Vol II | 1.4.2 Contractor's Responsibilities and Obligations | 1.4.2 | 6 | (13) Staging, maintenance and security of the staging area including the full responsibility for protection from fire and theft | As per our understanding, dedicated lockable staging area will be provided by PGCIL to secure material. Please confirm. | Provisions of the TS are amply clear.
109 | Vol II | Section-8 8.6.3 Guidelines for Network Security Audit | 8.6.3 | 6 | A. Guidelines of Work: Network Security Audit should cover the Network to be deployed under subject package, which includes Telecom Equipment (MPLS-TP, NMS etc), Security devices (Firewalls etc) Servers etc. Technical Audit will be conducted as below: | Please confirm if firewall, Gateway, NOC Router, L3 switches need to be supply install & maintain for this project. If yes, please provide specifications. | Provisions of the TS are amply clear.
110 | Vol II | Section-1 1.5 Systems To Be Supported | 1.5 | 8 | The fibre optic cables consist of DWSM (G.652) & DSSM (G.653) fibres for backbone sections and DWSM (G.652) fibres for Access network. | As per our understanding all Pluggable Optics listed in BoQ should be compatible but It is not mandatory to be from same OEM. Please confirm. | Yes
111 | Vol II | Section-2 2.4 Patch Cords: | 2.4 | 28 | The Contractor shall provide (i.e. supply and install) connectorized FODP-to-equipment and equipment-to-equipment jumpers (patch-cords) for each equipment with two installed spares. The contractor shall be required to provide armoured patch-cords at some of the locations prone to rat cuts as identified during survey/ or mentioned while finalization PowerTel of BoQ. Fiber jumpers shall be of sufficient lengths as to provide at least 0.5m of service loop when connected for their intended purpose. The contractor shall provide patch cords of appropriate length for interconnection amongst equipment ports and with FODP for proper routing inside the cabinet and to maintain aesthetics. Contractor shall assess the requirement of various lengths of patch cords during survey and keep sufficient quantity of various length of patch cords to cater any changes during Installation. The Patch cords shall comply with the Comply with the TEC No. TEC/GR/TX/OFJ-01/05/NOV-09 and latest release and amendments. | As per our understanding, FODP will be provided by PGCIL, also confirm the port connector type on FODP. | Yes. To be decided later as per site requirement.
112 | Vol II | Section-2 2.4 Patch Cords: | 2.4 | 28 | The Contractor shall provide (i.e. supply and install) connectorized FODP-to-equipment and equipment-to-equipment jumpers (patch-cords) for each equipment with two installed spares. The contractor shall be required to provide armoured patch-cords at some of the locations prone to rat cuts as identified during survey/ or mentioned while finalization PowerTel of BoQ. Fiber jumpers shall be of sufficient lengths as to provide at least 0.5m of service loop when connected for their intended purpose. The contractor shall provide patch cords of appropriate length for interconnection amongst equipment ports and with FODP for proper routing inside the cabinet and to maintain aesthetics. Contractor shall assess the requirement of various lengths of patch cords during survey and keep sufficient quantity of various length of patch cords to cater any changes during Installation. The Patch cords shall comply with the Comply with the TEC No. TEC/GR/TX/OFJ-01/05/NOV-09 and latest release and amendments. | Please provide approximate number of Patch cord and type of Patch cord required. | Bidder shall consider the quantity of patch cord as per the quantity of Equipment and pluggables specified in BoQ at Appendix-C.
113 | Vol II | Section-2 2.4 Patch Cords: | 2.4 | 28 | The Contractor shall provide (i.e. supply and install) connectorized FODP-to-equipment and equipment-to-equipment jumpers (patch-cords) for each equipment with two installed spares. The contractor shall be required to provide armoured patch-cords at some of the locations prone to rat cuts as identified during survey/ or mentioned while finalization PowerTel of BoQ. Fiber jumpers shall be of sufficient lengths as to provide at least 0.5m of service loop when connected for their intended purpose. The contractor shall provide patch cords of appropriate length for interconnection amongst equipment ports and with FODP for proper routing inside the cabinet and to maintain aesthetics. Contractor shall assess the requirement of various lengths of patch cords during survey and keep sufficient quantity of various length of patch cords to cater any changes during Installation. The Patch cords shall comply with the Comply with the TEC No. TEC/GR/TX/OFJ-01/05/NOV-09 and latest release and amendments. | Please provide approximate number of armoured patch cord | Approximate quantity of 200 nos of patch cord of 20m each.
114 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.3 | Page 2 | All MPLS-TP Equipment and amplifier solution required under the project shall be offered by the bidder from the same manufacturer and accessible through the single NMS supplied along with Equipment | We request to allow the use of third party amplifiers to provide a cost effective solution to PGCIL. These amplifiers shall be managed in single NMS with MPLS-TP equipment. Kindy confirm | A suitable amendment has been issued. Please refer Sl. No 8 of Amendment-1.
115 | Vol II | 01_Vol-II Sec_01 updated 19 June 2024 | 1.3.1 (j) | Page 2 | Mandatory Testing and Certification of Telecommunication Equipment (MTCTE) of MPLS-TP Equipment and amplifier solution | We understand that amplifiers only operates at the physical layer and required to boost the optical signal to extend reach for few 10G links. They are not involved in any MPLS-TP signal processing or altering its content or protocol. As amplifiers are not participating in the control plane/traffic protocols of MPLS-TP solution, we request to kindly relax the requirement of MTCTE certificate for amplifier solution. Kindly confirm | A suitable amendment has been issued. Please refer Sl. No 9 of Amendment-1.
116 | Vol II | Volume II Section 02 Clause 2.6-page 4 off 13 DC Power System & Power Cables: | 2.6 | 28 | DC Power System of 48Vdc 100A shall be supplied to power the MPLS-TP Equipment. The DCPS should be suitable for use in Customer Premises, compact in size and can be installed in the Racks to be supplied under the subject package. The size of proposed DCPS shall not be more than 2RU. | PGCIL has asked for 2RU DCPS system where we have checked with OEM’s and as per them 100Amps charger rating is comes with 4RU, hence we request you to kindly change the size of same. | A suitable amendment has been issued. Please refer Sl. No 10 of Amendment-1.
117 | Vol II | Section 2 NETWORK CONFIGURATION and EQUIPMENT CHARACTERISTICS | 2.6 DC Power System and Power cable. | 28 | DC Power System of 48Vdc 100A shall be supplied to power the MPLS-TP Equipment. The DCPS should be suitable for use in Customer Premises, compact in size and can be installed in the Racks to be supplied under the subject package. The size of proposed DCPS shall not be more than 2RU | To accommodate three 50A rectifiers in an N+1 configuration, along with the controller, six MCBs, and AC and DC interconnecting cables, a 2RU size would be insufficient. We request that the clause be amended to: "The size of the proposed DCPS shall not exceed 4RU." | A suitable amendment has been issued. Please refer Sl. No 10 of Amendment-1.