| Clause/Section | Existing Provision | Amended Provision |
| --- | --- | --- |
| Clause 1.3.1 SECTION-I A (VOLUME-II) of Bidding Documents | Bidders may visit the line route to acquaint themselves with terrain conditions and associated details of the proposed transmission lines. For this purpose they are requested to contact the following address ………………… ……………… | Bidders may visit the line route to acquaint themselves with terrain conditions and associated details of the proposed transmission lines. For this purpose, they are requested to contact the following address ………………… ……………… ………………………………………… For the bidders’ reference, the tower schedule and KMZ files for the respective transmission lines are enclosed in Section XI. The route and tower schedule provided are indicative in nature and not final; they may vary based on Right of Way (ROW) conditions and other site-specific constraints. |
| Section XI of the Technical Specification (VOLUME-II) of Bidding Documents |  | Annexure-6A_Tower Schedule NLG-GRMKH.pdf Annexure-6B_NLG-GRKMH TL.kml Annexure-7A_Riloh-Sagalee TL.pdf Annexure-7B_Rilo-Sagalee KML.kml |
| Clause of 1.11 of SECTION-IB (VOLUME-II) of Technical Specification | 1.11 Access to the Line and Right of Way Access to the Line and Right of way and way leave clearance shall be arranged by the Employer in accordance with work schedules. Employer will secure way leave and Right of way in the Forest area. | 1.11 Access to the Line and Right of Way Access to the Line and Right of way and way leave clearance shall be arranged by the Employer in accordance with work schedules. Employer will secure way leave and Right of way in the Forest area. However, the Employer’s responsibility for ‘access thereto’ shall be limited to providing legal access and RoW for the Site location and corridor as defined above. Any requirement of physical access to reach the Site, including construction or development of approach roads/paths, or access routes from the nearest motorable road to the tower locations and line corridor including financial implication, if any, shall be under the contractor’s scope. |