| S.No, | Clause/Section | Existing Provision | Amended Provision |
| --- | --- | --- | --- |
| 1. | Schedule-III of the BPS | TW12B S/C on D/C Nahar'n - Geru'kh Sl. No; Service code; Description; Unit; Qty. 31; 100059204; Installing and stringing of OPGW/EW including fixing of OPGW/EW accessories for 132 kV Transmission line through Drone; Km; 75. 32; 100059203; Installation of insulator strings complete with arcing horns and necessary hardware, installing and stringing of ACSR Panther conductor including fixing of conductor accessories on one circuit of 132kV D/C towers excluding installation and stringing of OPGW/EW and its accessories through Drone as per Technical Specification; Km; 75. | TW12B S/C on D/C Nahar'n - Geru'kh Sl. No; Service code; Description; Unit; Qty. 31; 100059204; Installing and stringing of OPGW/EW including fixing of OPGW/EW accessories for 132 kV Transmission line through Drone; Km; 67.875. 32; 100059203; Installation of insulator strings complete with arcing horns and necessary hardware, installing and stringing of ACSR Panther conductor including fixing of conductor accessories on one circuit of 132kV D/C towers excluding installation and stringing of OPGW/EW and its accessories through Drone as per Technical Specification; Km; 67.875. Added New. 100059202; Installation of insulator strings complete with arcing horns and necessary hardware, installing and stringing of ACSR Panther conductor including fixing of conductor accessories on one circuit of 132kV D/C towers excluding installation and stringing of OPGW/EW and its accessories; Km; 7.125. 100044620; Installing and stringing of OPGW including fixing of OPGW accessories for 132 kV Double circuit towers; Km; 7.125. |
| 2. | Second Envelope Bid Forms and Price Schedule | Existing excel file “Price_Schedule”. | In view of the aforesaid amendments the existing excel file “Price_Schedule” stand replaced with “Price_Schedule_rev01”. |
| 3. | Note 1: | Bidders are requested to consider the revised excel file “Price_Schedule_rev01” for bid preparation/submission. It may be noted that while submitting the bid, bidders are requested to keep the excel file name as “Price_Schedule_rev01”. (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid) |  |