## Name of Bidder
Construction of Rock wool insulated Pre-Engineered Buildings (PEBs) for initial mobilization at Pang HVDC Terminal
Package No.: N2JM/C&M/CS/36(24)
Enter the details of the bidder below:
Specify type of Bidder |  | Sole Bidder
Name of the Bidder |  |  | TRUE
Address of Registered Office |  |  | TRUE
TRUE
TRUE
email id |  |  | TRUE
Mobile no. | +91 |  | TRUE
Printed Name |  |  | TRUE
Designation |  |  | TRUE
Date |  |  | TRUE
Place |  |  | TRUE | False
ENTER DETAILS
Note on C20: Insert date in dd-MM-yyyy format

## Attach 10 (hidden)
#REF! |  |  | ATTACHMENT-10
#REF!
Integrity Pact
#REF! |  |  | #REF!
Name : | #REF! |  | #REF!
Address : | #REF! |  | #REF!
| #REF! |  | #REF!
| #REF! |  | #REF!
Dear Sir,
Integrity Pact is annexed herewith this Volume.
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Next Attachment

## Attach 10 IP (hidden)
Instruction for printing & submitting Integrity Pact
1. | The requisite format of Integrity Pact is getting generated automatically and displayed here below.
2. | Take print out of first page on a non-judicial stamp paper of Rs. 100/- and other seven pages on plain A4 size paper. Such two sets shall be prepared by the bidder.
3. | All the pages of both the copies of the Integrity Pact shall be signed by the authorised representative of the bidder and duly stamped.
4. | Both the original copies shall be submitted by the bidder in the form of Hard Copy as part of the first envelope before due date & time of submission of the bid.
5. | For further details bidders may please refer ITB Clause 9.3 (n).
0
0
0
0
INTEGRITY PACT
Between | [5 empty] | 0 |  | #REF!
Power Grid Corporation of India Limited | [5 empty] | 0 |  | #REF!
having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110016 hereinafter referred to as | [5 empty] | #REF! |  | #REF!
"POWERGRID", | [5 empty] | #REF! |  | #REF!
and
0 | [5 empty] | #REF! | having its Registered Office at |  | ,
#REF!
#REF!
#REF!
hereinafter referred to as
"The Bidder/Contractor"
Preamble
#REF!
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 1 of 8
#REF!
In order to achieve these goals, POWERGRID and the above named Bidder/Contractor enter into this agreement called 'Integrity Pact' which will form a part of the bid.
It is hereby agreed by and between the parties as under:
Section I - Commitments of POWERGRID
(1) | POWERGRID commits itself to take all measures necessary to prevent corruption and to observe the following principles :
| a) | No employee of POWERGRID, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for him/herself or third person, any material or other benefit which he/she is not legally entitled to.
| b) | POWERGRID will, during the tender process treat all Bidder(s) with equity and fairness. POWERGRID will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/ additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.
| c) | POWERGRID will exclude from evaluation of Bids its such employee(s) who has any personnel interest in the Companies/Agencies participating in the Bidding/Tendering process.
(2) | If Chairman and Managing Director obtains information on the conduct of any employee of POWERGRID which is a criminal offence under the relevant Anti-Corruption Laws of India, or if there be a substantive suspicion in this regard, he will inform its Chief Vigilance Officer and in addition can initiate disciplinary actions under its Rules.
Section II - Commitments of the Bidder/Contractor
(1) | The Bidder/Contractor commits himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 2 of 8
during his participation in the tender process and during the contract execution :
| a) | The Bidder/Contractor will not, directly or through any other person or firm, offer, promise or give to POWERGRID, or to any of POWERGRID's employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange an advantage during the tender process or the execution of the contract.
| b) | The Bidder/Contractor will not enter into any illegal agreement or understanding, whether formal or informal with other Bidders/Contractors. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or actions to restrict competitiveness or to introduce cartelization in the bidding process.
| c) | The Bidder/Contractor will not commit any criminal offence under the relevant Anti-corruption Laws of India; further, the Bidder/Contractor will not use for illegitimate purposes or for purposes of restrictive competition or personal gain, or pass on to others, any information provided by POWERGRID as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.
| d) | The Bidder/Contractor of foreign origin shall disclose the name and address of the Agents/representatives in India, if any, involved directly or indirectly in the Bidding. Similarly, the Bidder/Contractor of Indian Nationality shall furnish the name and address of the foreign principals, if any, involved directly or indirectly in the Bidding.
| e) | The Bidder/Contractor will, when presenting his bid, disclose any and all payments he has made, or committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract and/or with the execution of the contract.
| f) | The Bidder/Contractor will not misrepresent facts or furnish false/forged documents/informations in order to influence the bidding process or the execution of the contract to the detriment of POWERGRID.
(2) | The Bidder/Contractor will not instigate third persons to commit offences outlined above or be an accessory to such offences.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 3 of 8
Section III- Disqualification from tender process and exclusion from future contracts
(1) | If the Bidder, before contract award, has committed a serious transgression through a violation of Section II or in any other form such as to put his reliability or credibility as Bidder into question, POWERGRID may disqualify the Bidder from the tender process or terminate the contract, if already signed, for such reason.
(2) | If the Bidder/Contractor has committed a serious transgression through a violation of Section II such as to put his reliability or credibility into question, POWERGRID may after following due procedures also exclude the Bidder/Contractor from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of the transgression. The severity will be determined by the circumstances of the case, in particular the number of transgressions, the position of the transgressors within the company hierarchy of the Bidder/Contractor and the amount of the damage. The exclusion will be imposed for a minimum of 12 months and maximum of 3 years.
(3) | If the Bidder/Contractor can prove that he has restored/recouped the damage caused by him and has installed a suitable corruption prevention system, POWERGRID may revoke the exclusion prematurely.
Section IV - Liability for violation of Integrity Pact
(1) | If POWERGRID has disqualified the Bidder from the tender process prior to the award under Section III, POWERGRID may forfeit the Bid Guarantee under the Bid.
(2) | If POWERGRID has terminated the contract under Section III, POWERGRID may forfeit the Contract Performance Guarantee of this contract besides resorting to other remedies under the contract.
Section V- Previous Transgression
(1) | The Bidder shall declare in his Bid that no previous transgressions occurred in the last 3 years with any other Public Sector Undertaking or Government Department that could justify his exclusion from the tender process.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 4 of 8
(2) | If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or the contract, if already awarded, can be terminated for such reason.
Section VI - Equal treatment to all Bidders / Contractors
(1) | POWERGRID will enter into agreements with identical conditions as this one with all Bidders.
(2) | POWERGRID will disqualify from the tender process any bidder who does not sign this Pact or violate its provisions.
Section VII - Punitive Action against violating Bidders / Contractors
If POWERGRID obtains knowledge of conduct of a Bidder or a Contractor or his subcontractor or of an employee or a representative or an associate of a Bidder or Contractor or his Subcontractor which constitutes corruption, or if POWERGRID has substantive suspicion in this regard, POWERGRID will inform the Chief Vigilance Officer (CVO).
(*)Section VIII - Independent External Monitor/Monitors
(1) | POWERGRID has appointed a panel of Independent External Monitors (IEMs) for this Pact with the approval of Central Vigilance Commission (CVC), Government of India, out of which one of the IEMs has been indicated in the NIT/IFB.
(2) | The IEM is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. He has right of access to all project documentation. The IEM may examine any complaint received by him and submit a report to Chairman-cum-Managing Director, POWERGRID, at the earliest. He may also submit a report directly to the CVO and the CVC, in case of suspicion of serious irregularities attracting the provisions of the PC Act. However, for ensuring the desired transparency and objectivity in dealing with the complaints arising out of any tendering process, the matter shall be referred to the full panel of IEMs, who would examine the records, conduct the investigations and submit report to Chairman-cum-Managing Director, POWERGRID, giving joint findings.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 5 of 8
(3) | The IEM is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Chairman-cum-Managing Director, POWERGRID.
(4) | The Bidder(s)/Contractor(s) accepts that the IEM has the right to access without restriction to all documentation of POWERGRID related to this contract including that provided by the Contractor/Bidder. The Bidder/Contractor will also grant the IEM, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his documentation. The same is applicable to Subcontractors. The IEM is under contractual obligation to treat the information and documents of the Bidder(s)/Contractor(s)/Subcontractor(s) with confidentiality.
(5) | POWERGRID will provide to the IEM information as sought by him which could have an impact on the contractual relations between POWERGRID and the Bidder/Contractor related to this contract.
(6) | As soon as the IEM notices, or believes to notice, a violation of this agreement, he will so inform the Chairman-cum-Managing Director, POWERGRID and request the Chairman-cum-Managing Director, POWERGRID to discontinue or take corrective action, or to take other relevant action. The IEM can in this regard submit non-binding recommendations. Beyond this, the IEM has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action. However, the IEM shall give an opportunity to POWERGRID and the Bidder/Contractor, as deemed fit, to present its case before making its recommendations to POWERGRID.
(7) | The IEM will submit a written report to the Chairman-cum-Managing Director, POWERGRID within 8 to 10 weeks from the date of reference or intimation to him by POWERGRID and, should the occasion arise, submit proposals for correcting problematic situations.
(8) | If the IEM has reported to the Chairman-cum-Managing Director, POWERGRID, a substantiated suspicion of an offence under relevant Anti-Corruption Laws of India, and the Chairman-cum-Managing Director, POWERGRID has not, within the reasonable time taken visible action to proceed against such offence or reported it to the CVO, the Monitor may also transmit this information directly to the CVC, Government of India.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 6 of 8
(9) | The word ‘IEM’ would include both singular and plural.
(*) | This Section shall be applicable for only those packages wherein the IEMs have been identified in Section – I : Invitation for Bids and/or Clause ITB 9.3 in Section – III: Bid Data Sheets of Conditions of Contract, Volume-I of the Bidding Documents.
Section IX - Pact Duration
This Pact begins when both parties have legally signed it. It expires for the Contractor after the closure of the contract and for all other Bidder's six month after the contract has been awarded.
Section X - Other Provisions
(1) | This agreement is subject to Indian Law. Place of performance and jurisdiction is the establishment of POWERGRID. The Arbitration clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under Integrity Pact.
(2) | Changes and supplements as well as termination notices need to be made in writing.
(3) | If the Contractor is a partnership firm or a consortium or Joint Venture, this agreement must be signed by all partners, consortium members and Joint Venture partners.
(4) | Nothing in this agreement shall affect the rights of the parties available under the General Conditions of Contract (GCC) and Special Conditions of Contract (SCC).
(5) | Views expressed or suggestions/submissions made by the parties and the recommendations of the CVO/IEM# in respect of the violation of this agreement, shall not be relied on or introduced as evidence in the arbitral or judicial proceedings (arising out of the arbitral proceedings) by the parties in connection with the disputes/differences arising out of the subject contract.
# | CVO shall be applicable for packages wherein IEM are not identified in Section IFB/BDS of Condition of Contract, Volume-I. IEM shall be applicable for packages wherein IEM are identified in Section IFB/BDS of Condition of Contract, Volume-I.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 7 of 8
(6) | Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.
| Signature |  |  | Signature
| (For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
| (Office Seal) |  |  | (Office Seal)
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 1 : |  |  | Witness 1 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 2 : |  |  | Witness 2 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
Integrity Pact |  |  |  |  | Page 8 of 8
Click for Next Attachment

## N-W (Cr.) (hidden)
USD
155885 |  |  | 4960 |  |  | 10352 |  |  | 691647 |  |  |  | EURO
RMB
INR
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only |  |  | EURO Four Thousand Nine Hundred Sixty Only |  |  | RMB Ten Thousand Three Hundred Fifty Two Only |  |  | INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only |  |  |  | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
85 | Eighty Five |  | 60 | Sixty |  | 52 | Fifty Two |  | 47 | Forty Seven
8 | Eight | Hundred | 9 | Nine | Hundred | 3 | Three | Hundred | 6 | Six | Hundred
55 | Fifty Five | Thousand | 4 | Four | Thousand | 10 | Ten | Thousand | 91 | Ninety One | Thousand | 0 | 0 | 0 | 0 | 0 |  | plus
1 | One | Lac | 0 |  |  | 0 |  |  | 6 | Six | Lac | 0 | 0 | 0 | 0 | 1
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 0
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 1
[12 empty] | 0 | 0 | 1 | 0 | 0
1 | One |  | 1 | One |  | 1 | One |  | 1 | One |  | 0 | 0 | 1 | 0 | 1
2 | Two |  | 2 | Two |  | 2 | Two |  | 2 | Two |  | 0 | 0 | 1 | 1 | 0
3 | Three |  | 3 | Three |  | 3 | Three |  | 3 | Three |  | 0 | 0 | 1 | 1 | 1
4 | Four |  | 4 | Four |  | 4 | Four |  | 4 | Four |  | 0 | 1 | 0 | 0 | 0
5 | Five |  | 5 | Five |  | 5 | Five |  | 5 | Five |  | 0 | 1 | 0 | 0 | 1
6 | Six |  | 6 | Six |  | 6 | Six |  | 6 | Six |  | 0 | 1 | 0 | 1 | 0
7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 0 | 1 | 0 | 1 | 1
8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 0 | 1 | 1 | 0 | 0
9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 0 | 1 | 1 | 0 | 1
10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 0 | 1 | 1 | 1 | 0
11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 1 | 1 | 1 | 1 | 1 | USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
12 | Twelve |  | 12 | Twelve |  | 12 | Twelve |  | 12 | Twelve
13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen
14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen
15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen
16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 0 | 0 | 0 | 0 | 0 |  | +
17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 0 | 0 | 0 | 0 | 1 |  | /- +
18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 0 | 0 | 0 | 1 | 0 |  | /-
19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 0 | 0 | 0 | 1 | 1
20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 0 | 0 | 1 | 0 | 0
21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 0 | 0 | 1 | 0 | 1
22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 0 | 0 | 1 | 1 | 0
23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 0 | 0 | 1 | 1 | 1
24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 0 | 1 | 0 | 0 | 0
25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 0 | 1 | 0 | 0 | 1
26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 0 | 1 | 0 | 1 | 0
27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 0 | 1 | 0 | 1 | 1
28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 0 | 1 | 1 | 0 | 0
29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 0 | 1 | 1 | 0 | 1
30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 0 | 1 | 1 | 1 | 0
31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 1 | 1 | 1 | 1 | 1 | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two
33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three
34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four
35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr
36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six
37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven
38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight
39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine
40 | Forty |  | 40 | Forty |  | 40 | Forty |  | 40 | Forty
41 | Forty One |  | 41 | Forty One |  | 41 | Forty One |  | 41 | Forty One
42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two
43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three
44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four
45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five
46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six
47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven
48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight
49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine
50 | Fifty |  | 50 | Fifty |  | 50 | Fifty |  | 50 | Fifty
51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One
52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two
53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three
54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four
55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five
56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six
57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven
58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight
59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine
60 | Sixty |  | 60 | Sixty |  | 60 | Sixty |  | 60 | Sixty
61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One
62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two
63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three
64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four
65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five
66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six
67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven
68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight
69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine
70 | Seventy |  | 70 | Seventy |  | 70 | Seventy |  | 70 | Seventy
71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One
72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two
73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three
74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four
75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five
76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six
77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven
78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight
79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine
80 | Eighty |  | 80 | Eighty |  | 80 | Eighty |  | 80 | Eighty
81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One
82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two
83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three
84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four
85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five
86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six
87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven
88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight
89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine
90 | Ninety |  | 90 | Ninety |  | 90 | Ninety |  | 90 | Ninety
91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One
92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two
93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three
94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four
95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five
96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six
97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven
98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight
99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine
100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred
BG VALUE:
#REF!
#REF!
#REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred

## Bid Price Schedule
Construction of Rock wool insulated Pre-Engineered Buildings (PEBs) for initial mobilization at Pang HVDC Terminal
Schedule-II
Bidder’s Name
Address :
Sl. No. | Service Number | SAC Code | Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges excluding GST | GST Amount | Total Erection Charges including GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
A | CIVIL WORKS
1 | 120000349 | 995433 |  | 18% |  | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m --All kinds of soil. | Cum | 271.77 |  | 0 | 0 | 0
2 |  |  |  | - |  | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : |  |  |  | 0
a |  |  |  | - |  | All kind of soil |  |  |  | 0
aa | 120000354 | 995433 |  | 18% |  | Pipes, cables etc. exceeding 80mm dia but not exceeding 300 mm dia. | Metre | 63 |  | 0 | 0 | 0
3 | 120000391 | 995433 |  | 18% |  | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 149.46 |  | 0 | 0 | 0
4 | 120000394 | 995433 |  | 18% |  | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | Cum | 149.46 |  | 0 | 0 | 0
5 |  |  |  | - |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  |  | 0
a | 120000437 | 995454 |  | 18% |  | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 124.24 |  | 0 | 0 | 0
6 | 120000488 | 995454 |  | 18% |  | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | Cum | 25.86 |  | 0 | 0 | 0
7 |  |  |  | - |  | Centering and shuttering including strutting, propping etc. and removal of form for : |  |  |  | 0
a | 120000499 | 995457 |  | 18% |  | Foundations, plinth beams, et.c | Sqm | 206.88 |  | 0 | 0 | 0
8 |  |  |  | - |  | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. |  |  |  | 0
a | 120002953 | 995454 |  | 18% |  | Thermo-Mechanically Treated bars of grade Fe-500D or more. | MT | 6.33 |  | 0 | 0 | 0
9 | 100011652 | 995456 |  | 18% |  | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer & two coat of synthetic enamel paint all complete . | MT | 78.6 |  | 0 | 0 | 0
10 |  |  |  | - |  | Providing and Fixing factory made UPVC - white colour door with frame (make Europlast, Innovative,Aluplast). |  |  |  | 0
|  |  |  | - |  | Frame : Frame made of Lead Free extruded UPVC sections, or minimum size 60mm x 65mm with minimum wall thickness 2.00 mm (+ 0.2mm), corners of the door frame shall be mitred cut and jointed with machine welding, including providing & fixing 3 nos. 3 D hinges to the frame and shutter, fixing the frame with jamb with required number and sizes of dash fasteners of approved quality and inserting 2 number tie bar of 6 mm dia and fastening with nuts and washers at bottom and top of UPVC including making provision for all fittings and fixing at site and sealing and sealing of gaps as per the designs & specifications mentioned as per direction of engineers-in-charge, all complete to achieve smooth functioning of door and shutter. |  |  |  | 0
|  |  |  | - |  | Shutter : Factory made UPVC door shutter with styles and rails including lock rail made of minimum 60mm x 95 mm size UPVC follow section and minimum wall thickness 2 mm (+ 0.2mm) with inbuilt bead on one side. Styles and rails shall be mitered cut and joint at thecorners by means of welding. All the sides i.e. style and rails shall be reinforced with GI channel profile of minimum size 32 x 14mm and minimum wall thicness 2mm (+ 0.2mm). Providing and fixing requried glass or PVC composite PUF Panel and uPVC snap fit beads co-extruded with EPDM gaskets, all of required size and section compatible with panel, all complete as per manufacturer's specification . |  |  |  | 0
|  |  |  | - |  | HARDWARE : Using Espagnolette multipoint locking mechanism, suitable handle of minimum 100 mm size on both faces of door shutter and mortise lock of make and manufacture. |  |  |  | 0
|  |  |  | - |  | INSTALLATION : The door shall be truly in plumb and water level and installed using steel fasteners with step-drill holes (13/8mm) in outer frames duly covered with fastener caps. The outer frame of door shall be sealed with silicone based Sealants from outside and acrylic paint-ble sealant from inside. Installation shall be done by skilled workers supervised by Engineer-in- Charge. |  |  |  | 0
|  |  |  | - |  | OTHER ARRANGEMENTS:The outer frame and shutter frame shall have provision for drainage, lock and key, all complete in the pattern as per directions of Engineer-in-charge. |  |  |  | 0
|  |  |  | - |  | Rate and Measurements: Cost of the item includes supplying, installation and fixing of UPVC door, frame with all fittings & fixtures, locking arrangements, handles all complete as above inclusive of elements of labours, tools, lifting machines etc. cost of sealants, fasteners, screws, sleeves, spacers, protective tape, masking tape, bolts, gasket, fixtures, scaffolding complete in all respect and as per direction of Engineer-in-Charge. For calculating area of the door for payment, outer to outer dimentions of width and height of door frame shall be measured upto centimetre and area shall be calculated upto two places of decimels in square metre. |  |  |  | 0
a | 170004802 | 995478 |  | 18% |  | Door (Room-Entry) with 24 mm thick PVC composite Foam panels (Each Door of Size;- 2.1mtr -H X 1mtr-W) | Sqm | 37.8 |  | 0 | 0 | 0
b | 170004802 | 995478 |  | 18% |  | Door (Toilet) with 24 mm thick PVC composite Foam panels (Each Door of Size;- 2.1mtr -H X .75 mtr -W) | Sqm | 28.35 |  | 0 | 0 | 0
c | 170004802 | 995478 |  | 18% |  | Door (Block Entry) with 24 mm thick PVC composite Foam panels DOUBLE DOOR SHUTTER (Each Door of Size;- 2.1mtr -H X 1.5 mtr -W) | Sqm | 25.2 |  | 0 | 0 | 0
11 |  |  |  | - |  | Providing and Fixing of Double Glass - Hermetically Sealed - In Windows, Ventilators, and Partitions Etc with 6mm Clear Toughned Glass +12mm Air Gap +6 clear toughned glass Insulated Glass (make Saint Gobain, Modiguard, Asahi). |  |  |  | 0
|  |  |  | - |  | Frame : Frame made of Lead Free extruded UPVC (Un- plasticized Poly Vinyl Chloride) chambered profile customized in minimum size 62x50mm wide system with minimum wall thickness 1.0mm (+ 0.2mm), corners of the window frame shall be mitred cut and jointed with machine welding, including providing & fixing hinges to the frame and shutter, fixing the fame with jamb with requried number and sizes of dash fasteners of approved quality all complete to achieve smooth functioning of window and shutter including making provision for all fittings and fixing at site and sealing of gaps complete. |  |  |  | 0
|  |  |  | - |  | (i) Shutter : Factory made UPVC window shutter with Window (Fixed/ Openable) PROFILES: The outer profile frame shall be mitered cut and joint at the corners by means of welding. Providing and fixing requried glass and UPVC snap fit beads co- extruded with EPDM gaskets, all of requried size and section all complete. |  |  |  | 0
|  |  |  | - |  | HARDWARE : The profile section shall be using locking mechanism and Butt hinges and other suitable handle & fixtures. |  |  |  | 0
|  |  |  | - |  | INSTALLATION : The window shall be truly in plumb and level and installed in the existing Wall Puf sandwich panel opening using approved quality steel fasteners with step-drill holes (13/8mm) in outer frames duly cover with fastener caps. The outer frame of window and sill must be sealed with silicone based Sealants from outside and sealant from inside. |  |  |  | 0
|  |  |  | - |  | OTHER ARRANGEMENTS : The outer frame and shutter frame must have provision for drainage including all necessary hardware fittings like handle with lock and key, all complete. |  |  |  | 0
|  |  |  | - |  | Rate and Measurements: Cost of the item includes supplying, installation and fixing of UPVC windows, frame, shutter with glass and all fittings & fixtures, locking arrangements, handles all complete as above inclusive of elements of labours, tools, lifting machines etc. cost of sealants, fasteners, screws, sleeves, spacers, protective tape, masking tape, bolts, gasket, fixtures, scaffolding etc. complete in all respect and as per direction of Engineer-in-Charge. For calculating area of the window for payment, outer to outer dimentions of width and height of window frame shall be measured upto centimetre and area shall be calculated upto two places of decimels in square metre.. |  |  |  | 0
a | 170004803 | 995478 |  | 18% |  | Double Leaf DGU Back Windows (0.9 M - H x 1.2 M - W) | Sqm | 48.6 |  | 0 | 0 | 0
b | 170004803 | 995478 |  | 18% |  | Ventilator (0.3 M - H x 0.6 M - W) | Sqm | 5.94 |  | 0 | 0 | 0
12 |  |  |  | - |  | Providing & fixing of factory made continuous line manufactured & prefabricated 2-hour Fire rated sandwich Lloydroc Rockwool Panel or equivalent for Roof (comprising of top metal colour coated profile steel sheet shall have profile depth of 41- 44 mm at a pitch distance of 300-333mm & inner slightly ribbed colour coated steel sheet) & for Wall/Partition (comprising of top & inner Galvalume plain slightly ribbed colour coated steel sheet), made out of 0.5mm TCT high tensile galvanized steel (150 gsm. zinc - aluminum coating total of both sides as per AS : 1397) or 180 gsm. Zinc coating & min. 350 Mpa yield strength for top sheet and finished with 20 microns colour coating of SMP polyester quality paint coat over a 5 micron primer on exposed side and a back coat of 5 microns on inner side over a 5 microns primer. In between the metal sheet, there will be sandwitched high density Lamella non-combustible grade Resin Bonded Rockloyd Rockwool or equivalent Insulation of density 100 kg/m3 and 80mm thick (2 hour Fire Rated) conforming to IS: 8183 having a thermal conductivity value of 0.040 W/mK at 10 deg.C mean temp. The prefabricated Rockwool Panels shall be supplied upto max. transportable Length and finished with profile sheet overlap jointing arrangement. The prefabricated panels shall be fixed through the profiles directly to the purlins/runners using self- drilling fasteners with neoprene washers mechanically with the help of machines. The metal sheet shall conform to IS: 513, AS: 1397 & 2728. The work to be carried out as per approved drawings and as per the engineer incharge and manufacturer’s guidelines. |  |  |  | 0
|  |  |  | - |  | The prefabricated panels shall be fixed directly to the girth using self drilling fasteners. The metal sheet shall conform to IS:513. AS-1397 & 2728. the Rockwool insulation shall conform to IS:12436. The rate of the item is inclusive of all materials, erection accessories, incidental charges, cost of dash fasteners etc. and other incidental charges as per sample. For payment finished puf sand wich panel shall be measured upto half centimetres for calculating area upto two places of decimal. No deduction shall be made for opening upto 0.20 sqm. |  |  |  | 0
a | 170004804 | 995478 |  | 18% |  | For Continuos line Roof panels with 50(50/40)mm thick Lloydroc Rockwool Roofing panels or equivalent having finished with 0.5mm thick-tct top metal colour coated profile steel sheet shall have profile depth of 41-44 mm at a pitch distance of 300- 333mm & inner side with colour coated steel sheet of 0.50mm thick TCT Galvalume sheet sandwitched in-between with high density Lamella non-combustible grade Resin Bonded Rockloyd Rockwool Insulation of density 100(+/-15) kg/m3 and 50mm (50/40)thick (2 hour Fire Rated) complete as one unit including miscellaneous expenses of fixing accessories such as fasteners etc. complete. Steel sheet make Jindal/TATA | Sqm | 927.23 |  | 0 | 0 | 0
b | 170004804 | 995478 |  | 18% |  | For Continuous line Floor panels 120mm thick manufactured as single unit consisting of 100mm thick rockwool panel with high density Lamella non-combustible grade Resin Bonded Rockloyd Rockwool Insulation or equivalent of density 100(+/-15) kg/m3 (2 hour Fire Rated) finished with 0.50 mm thick TCT Galvalume Plain sheet on both sides fixed with 18mm thick Water proof wooden ply board including miscellaneous expenses of fixing accessories such as fasteners etc, complete. Steel sheet make Jindal/TATA | Sqm | 546 |  | 0 | 0 | 0
c | 170004804 | 995478 |  | 18% |  | For Continuous line External Perimeter walls panels each layer of 80 mm thick Lloyd Rockwool panel or equivalent (upto False- Ceiling Level) – will comprise of two sides facing of colour coated 0.5mm thick-tct galvalume steel sheet and in between the metal sheet, there will be sandwitched high density non-combustible lamella grade Rockloyd Rockwool Insulation or equivalent of density 100(+/-15)kg/m3 and 80 mm thick with small ribs on both sides with tongue & groove locking arrangement complete including miscellaneous expenses of fixing accessories such as fasteners etc, complete. Steel sheet make Jindal/TATA | Sqm | 2060.784 |  | 0 | 0 | 0
d | 170004804 | 995478 |  | 18% |  | For Countinuous line Partition Internal - wall panels each layer of 80 mm thick – Lloyd Rockwool panel or equivalent (upto False- Ceiling Level) will comprise of two sides facing of colour coated 0.5mm thick-tct galvalume steel sheet and in between the metal sheet, there will be sandwitched high density non-combustible lamella grade Rockloyd Rockwool Insulation of density 100(+/-15)kg/m3 (2 hour Fire Rated) and 80mm thick with small ribs on both sides with tongue & groove locking arrangement complete including miscellaneous expenses of fixing accessories such as fasteners etc, complete. Steel sheet make Jindal/TATA | Sqm | 957 |  | 0 | 0 | 0
13 | 170004815 | 995478 |  | 18% |  | Supply & fixing of 12mm thick internal Cement Boards duly off- white color paint fininshed & joint filled with sealents/P.O.P/tape on existing internal partition puf panels walls complete.(Note ;-Partition wall puf panels materials will be paid under respective items.) - GYPROCK/VISHAKA/EVEREST | Sqm | 1499.58 |  | 0 | 0 | 0
14 | 170004816 | 995478 |  | 18% |  | Providing and Fixing Plywood (9 mm thick BWP) with one side lamination of approved brand, shade & texture duly pasted on wall panels with necessary screws etc all complete (of make Greenlam, Century or equivalent). | Sqm | 1047.42 |  | 0 | 0 | 0
15 | 170004818 | 995478 |  | 18% |  | Supply & Fixing flashings/ridges/U-Floor support channels etc. of make Jindal/TATA made in required shape/sizes of 0.5 mm thick TCT Galvalume Plain sheet complete including miscellaneous expenses of fixing accessories such as fasteners etc, complete. | Kg | 3300 |  | 0 | 0 | 0
16 | 170004817 | 995478 |  | 18% |  | Providing & fixing of factory made continuous line manufactured & prefabricated 2-hour Fire rated sandwich Rockwool Panel or equivalent for False -Ceiling- 80mm thk. comprising of top & inner Galvalume plain slightly ribbed colour coated steel sheet, made out of 0.5mm TCT high tensile galvanized steel (150 gsm. zinc - aluminum coating total of both sides as per AS : 1397) or 180 gsm. Zinc coating & min. 350 Mpa yield strength for top sheet and finished with 20 microns colour coating of SMP polyester quality paint coat over a 5 micron primer on exposed side and a back coat of 5 microns on inner side over a 5 microns primer. In between the metal sheet, there will be sandwitched high density Lamella non-combustible grade Resin Bonded Rockwool Insulation of density 100 kg/m3 and 80mm thick (2 hour Fire Rated) conforming to IS: 8183 having a thermal conductivity value of 0.040 W/mK at 10 deg.C mean temp. The prefabricated Rockwool Panels shall be supplied upto max. transportable Length and finished with profile sheet overlap jointing arrangement. The prefabricated panels shall be fixed through the profiles directly to the inner side purlins using self- drilling fasteners with neoprene washers mechanically with the help of machines. The metal sheet shall conform to IS: 513, AS: 1397 & 2728. The work to be carried out as per approved drawings and as per the engineer incharge and manufacturer’s guidelines. Steel sheet make Jindal/TATA. | Sqm | 971.37 |  | 0 | 0 | 0
17 | 170001505 | 995411 |  | 18% |  | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make (Kajaria/Somany/RAK), in all colours, shades of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados with suitable tile adhesive all complete. | Sqm. | 430.452 |  | 0 | 0 | 0
18 | 120001249 | 995474 |  | 18% |  | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make (Kajaria/Somany/RAK), in all colours & shades as approved by Engineer-in-Charge with suitable tile adhesive all complete. | Sqm. | 63.4 |  | 0 | 0 | 0
19 | 170004805 | 995478 |  | 18% |  | Providing and fixing lock connect Permadur High Finish Natural Matt Hard Wood in floor, skirting of Haro/ Action Tesa / Pargo make or equivalent with total thickness of 11 mm including providing 125 micron polythene sheet, 2 mm thick PU Foam Door Profiles T Profiles etc all complete. | Sqm. | 523.11 |  | 0 | 0 | 0
20 | 170001534 | 995411 |  | 18% |  | Providing and fixing European type WC Jaquar make item code ARS-WHT-39751P180UFSMZ of size 375 x 650 x 800 mm, P Trap-180mm with UF Soft close slim seat cover, Hinges, Dual Flush Cistern Fitting, Fixing accessories and acessories set all complete. | Each | 9 |  | 0 | 0 | 0
21 | 170001534 | 995411 |  | 18% |  | Providing and fixing European type WC Jaquar make item code CNS-WHT-751P180SPPZ of size 410 x 660 x 810 mm, P Trap-180mm with PP soft close seat cover, Hinges, accessories and fixing accessories all complete. | Each | 8 |  | 0 | 0 | 0
22 | 170001517 | 995411 |  | 18% |  | Providing and fixing Urinal with fixing accessories Jaquar make item code URS-WHT-132530 of size 375 x 320 x 620 mm all complete. | Each | 4 |  | 0 | 0 | 0
23 | 170001517 | 995411 |  | 18% |  | Providing and fixing Sensotronic concealed type flushing valve for urinal complete set with installation box with control cock Jaquar make item code SNR-STL-51087. | Each | 4 |  | 0 | 0 | 0
24 | 170001042 | 995416 |  | 18% |  | Providing and fixing Urinal Partitions Curved/ Rectangular shaped with frosted glass 8mm Chrome finish Jaquar make item code JSE-CHR-810UC450X all complete. | Each | 4 |  | 0 | 0 | 0
25 | 170001212 | 995478 |  | 18% |  | Providing and Fixing Full Pedestal Wash Basin Jaquar make with fixing accessories item code ARS-WHT-39801 of size 570x470x190 mm with Full Pedestal ARS-WHT-39301 all complete. | Each | 6 |  | 0 | 0 | 0
26 | 170001512 | 995411 |  | 18% |  | Providing and Fixing Full Pedestal Wash Basin Jaquar make with fixing accessories item code CNS-WHT-801 & 301 of size 560x415x200 mm. | Each | 7 |  | 0 | 0 | 0
27 | 170000791 | 995411 |  | 18% |  | Providing and fixing Soap Dish Holder Jaquar make item code AKP-35731P all complete. | Each | 6 |  | 0 | 0 | 0
28 | 170000791 | 995411 |  | 18% |  | Providing and fixing Soap Dish Holder Jaquar make item code ACN-1131N all complete. | Each | 7 |  | 0 | 0 | 0
29 | 170002129 | 995478 |  | 18% |  | Providing and fixing Single Lever Towel Rail 600 mm Long Stainless Steel Jaquar make item code AKP-35711PS all complete. | Each | 6 |  | 0 | 0 | 0
30 | 170002129 | 995478 |  | 18% |  | Providing and fixing Towel Ring Square with Round Flange Jaquar make item code ACN-1121N all complete. | Each | 6 |  | 0 | 0 | 0
31 | 170002129 | 995478 |  | 18% |  | Providing and fixing Towel Ring Round with Round Flange Jaquar make item code ACN-1121BN all complete. | Each | 7 |  | 0 | 0 | 0
32 | 170001450 | 995462 |  | 18% |  | Providing and fixing 2 Way Bib Cock with Wall Flange Jaquar make item code FUS- 29041 all complete. | Each | 6 |  | 0 | 0 | 0
33 | 170001450 | 995462 |  | 18% |  | Providing and fixing 2 Way Bib Cock with Wall Flange Jaquar make item code COP-041PM all complete. | Each | 11 |  | 0 | 0 | 0
34 | 170001203 | 995424 |  | 18% |  | Providing and fixing Angular Stop Cock with Wall Flange Jaquar make item code OPP-15053PM all complete. | Each | 4 |  | 0 | 0 | 0
35 | 170001203 | 995424 |  | 18% |  | Providing and fixing Angular Stop Cock with Wall Flange Jaquar make item code FUS- 29053 all complete. | Each | 37 |  | 0 | 0 | 0
36 | 170001203 | 995424 |  | 18% |  | Providing and fixing Angular Stop Cock with Wall Flange Jaquar make item code COP-057PM all complete. | Each | 30.3333 |  | 0 | 0 | 0
37 | 170001043 | 995416 |  | 18% |  | Providing and fixing Single Lever Tall Boy with 150 mm Extension Body Fixed Spout Without Popup Waste System & 600 mm Long Braided Hoses Jaquar make item code FUS-29005NB all complete. | Each | 7 |  | 0 | 0 | 0
38 | 170001529 | 995411 |  | 18% |  | Providing and fixing Central Hole Basin Mixer without Popup Waste System with 450 mm Long Braided Hoses Jaquar make item code COP-167BPM all complete. | Each | 5 |  | 0 | 0 | 0
39 | 170002523 | 995478 |  | 18% |  | Providing and fixing Single Lever Wall Mixer with Provision for Overhead Shower with 115 mm Long Bend Pipe on Upper side, connecting legs & wall flanges Jaquar make item code – FUS-29273UPR all complete. | Each | 6 |  | 0 | 0 | 0
40 | 170002523 | 995478 |  | 18% |  | Providing and fixing Double Coat Hook Jaquar make item code –AKP-35761P all complete. | Each | 10 |  | 0 | 0 | 0
41 | 170002523 | 995478 |  | 18% |  | Providing and fixing Overhead Shower 150x150mm Squarel Shape Single Flow (ABS Body Chrome Plated with Gray Face Plate) with Rubit Cleaning System Jaquar make item code –OHS-35495 all complete. | Each | 6 |  | 0 | 0 | 0
42 | 170002523 | 995478 |  | 18% |  | Providing and fixing Shower Arm 400X25X25mm Square Shape for Wall Mounted Showers with Flange Jaquar make item Code –SHA-455L400 all complete. | Each | 6 |  | 0 | 0 | 0
43 | 170001532 | 995411 |  | 18% |  | Providing and fixing Health Faucet with 8mm Dia, 1.2 Meter Long Flexible Tube & Wall Hook with N.R.V (Back Flow Preventer) Jaquar make item Code –ALD-577 all complete. | Each | 6 |  | 0 | 0 | 0
44 | 170001532 | 995411 |  | 18% |  | Providing and fixing (Health Faucet) with 1 Meter Long Easy Flex Tube in Chrome Finish & Wall Hook Jaquar make item Code –ALD-565 all complete. | Each | 11 |  | 0 | 0 | 0
45 | 170004807 | 995478 |  | 18% |  | Providing and fixing 600x450 mm beveled edge wooden framed mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Each | 13 |  | 0 | 0 | 0
46 | 170004808 | 995478 |  | 18% |  | Providing and fixing floor mounted PVC Bathroom Vanity of size 24inch in black & white or available color with pvc bathroom Cabinetwith Mirror with Vanity +Basin size -610mm X 470mm & Mirror size 500mm X 700mm complete completely recessed at the back for the reception of pipes and fittings. | Each | 2 |  | 0 | 0 | 0
47 |  |  |  | - |  | Flexible pipe |  |  |  | 0
a | 170001512 | 995411 |  | 18% |  | 32mm dia | Each | 13 |  | 0 | 0 | 0
48 |  |  |  | - |  | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I brackets, CP brass waste of sandard patern and stainless steel plug 40mm including panting of fittings and brackets, cutting and making good the walls wherever required : |  |  |  | 0
a | 170003061 | 995478 |  | 18% |  | Kitchen sink without draing board 470x420mm bowl depth 178 mm | each | 4 |  | 0 | 0 | 0
49 |  |  |  | - |  | Providing and fixing UPVC SWR Pipe for Soil and waste discharge system conforming to IS : 13592 Type B, including jointing with seal ring and solvent, (i) Single socketed pipes. |  |  |  | 0
a | 170001049 | 995416 |  | 18% |  | 110 mm dia | Metre | 63 |  | 0 | 0 | 0
50 |  |  |  | - |  | Providing and fixing UPVC SWR Pipe fittings for Soil and waste discharge system conforming to IS : 14735, including jointing with seal ring and solvent. |  |  |  | 0
a |  |  |  | - |  | Coupler |  |  |  | 0
aa | 170001815 | 995478 |  | 18% |  | 110 mm dia | Each | 15.75 |  | 0 | 0 | 0
b |  |  |  | - |  | Plain Bend |  |  |  | 0
bb | 170001815 | 995478 |  | 18% |  | 110 mm dia | Each | 34 |  | 0 | 0 | 0
c |  |  |  | - |  | Door Bend |  |  |  | 0
cc | 170001815 | 995478 |  | 18% |  | 110 mm dia | Each | 17 |  | 0 | 0 | 0
d |  |  |  | - |  | Door Tee |  |  |  | 0
dd | 170001815 | 995478 |  | 18% |  | 110x110x100 mm dia | Each | 17 |  | 0 | 0 | 0
e |  |  |  | - |  | Vent Cowl |  |  |  | 0
ee | 170001815 | 995478 |  | 18% |  | 100 mm dia | Each | 17 |  | 0 | 0 | 0
f |  |  |  | - |  | Floor Trap |  |  |  | 0
ff | 170001815 | 995478 |  | 18% |  | 110x110 mm dia | Each | 26 |  | 0 | 0 | 0
51 |  |  |  | - |  | Providing and fixing Cholrinated Polyvinyl Cholride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fitting i/c fixing the pipe with clamps at 1.00 m spacing. This incldues jointing of pipes & fittings with one tep CPVC solvent cemnet and testing of joints complete as per direction of Engineer-in-charge.--- |  |  |  | 0
|  |  |  | - |  | Internal work - Exposed on wall |  |  |  | 0
b | 120002110 | 995424 |  | 18% |  | 25 mm nominal dia Pipes | Metre | 45 |  | 0 | 0 | 0
52 |  |  |  | - |  | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc.--- |  |  |  | 0
b | 120002132 | 995424 |  | 18% |  | 25 mm dia nominal bore | Metre | 130 |  | 0 | 0 | 0
c | 120002133 | 995424 |  | 18% |  | 32 mm dia nominal bore | Metre | 30 |  | 0 | 0 | 0
53 |  |  |  | - |  | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : |  |  |  | 0
b | 120002145 | 995424 |  | 18% |  | 25 mm dia nominal bore | Each | 13 |  | 0 | 0 | 0
54 |  |  |  | - |  | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : |  |  |  | 0
b | 120002272 | 995424 |  | 18% |  | 25 mm dia nominal bore | Each | 13 |  | 0 | 0 | 0
55 |  |  |  | - |  | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : |  |  |  | 0
a | 120002152 | 995424 |  | 18% |  | 20 mm nominal bore | Each | 14 |  | 0 | 0 | 0
56 | 170004809 | 995478 |  | 18% |  | Providing and placing (above toilet on steel frame supported) polyethlyene Loft water storage tank ISI : 127071 marked (Sintex/Supreme or equivalent) with cover and suitbale locking arrngemnt and making necessary holes for inlet, outlet and overflow pipes but without fitting and the base support for tank. (each of 300Ltr Capacity).-- | per ltr. | 4200 |  | 0 | 0 | 0
57 |  |  |  | - |  | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : |  |  |  | 0
a | 120002665 | 995424 |  | 18% |  | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 3 |  | 0 | 0 | 0
58 |  |  |  | - |  | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: |  |  |  | 0
a | 120002667 | 995424 |  | 18% |  | 100x100 mm size P type --With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | Each | 6 |  | 0 | 0 | 0
59 | 170004810 | 995478 |  | 18% |  | Providing & fixing Biodigester tank with double layer FRP sheet body (inner layer 2mm thk & outer layer 3mm thick ) (of make Sintex or equivalent) sandwitched in between with 50mm thick puf insulation materials & tank having 4-chambers with inlet size 4 inch , outlet size-3inch & gas outlet size 3 inch, The tanks are fitted with element heater with thermostate. the biodigester tank will have 5000 Ltr capacity to be installed 15 feet below ground level at place of installation complete. | Each | 1 |  | 0 | 0 | 0
60 | 170004811 | 995478 |  | 18% |  | STP - 5KLD Providing and Fixing KLD Capacity Underground STP (FRP) NBF10 - (5 KLD), Sintex or equivalent make complete with all accessories (The item of excavation, sandfilling, concreting, reinforcement and shuttering shall be measured in respective items). | Each | 1 |  | 0 | 0 | 0
61 | 120001121 | 995476 |  | 18% |  | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters.--80x1.25 mm M.S. laths with 1.25 mm thick top cover including ball bearings and providing mechanical device chain and crank operation for operating rolling shutters all complete including painting. | Sqm | 36 |  | 0 | 0 | 0
62 |  |  |  | - |  | Providing & Fixing Heat Tracing over pipe / tanks |  |  |  | 0
a |  |  |  | - |  | Providing Self regulating heating cable / Tracer (10FLX - 2 BC) over the pipeline and tanks after cleaning the surface properly including supporting and fixing of required number of operating Panels, as per approved load calculations. |  |  |  | 0
b |  |  |  | - |  | Providing 50 mm thk Polyurethane Foam Insulation over piping and tanks after cleaning and held in position with wire / bands. |  |  |  | 0
c |  |  |  | - |  | Providing 26 G Aluminium sheet cladding over Ployurethane Foam with ST screws for AG Piping and Tanks. |  |  |  | 0
i |  |  |  | - |  | CPVC PIPE |  |  |  | 0
| 170004812 | 995478 |  | 18% |  | 25 mm nominal dia Pipes | Metre | 45 |  | 0 | 0 | 0
ii |  |  |  | - |  | GI PIPE |  |  |  | 0
| 170004812 | 995478 |  | 18% |  | 25 mm dia nominal bore | Metre | 130 |  | 0 | 0 | 0
| 170004812 | 995478 |  | 18% |  | 32 mm dia nominal bore | Metre | 30 |  | 0 | 0 | 0
iii | 170004813 | 995478 |  | 18% |  | Loft Tanks | per ltr. | 4200 |  | 0 | 0 | 0
63 |  |  |  | - |  | Supply and application superform insulation over UPVC SWR pipes. The outer protective insulation jacket material shall be HDPE. The Insulation shall be Superfoam rigid cellular polyurethane foam, injected between the core pipe and the outer casing/ jacket, having a density of 40 kg/m3 nominal and thermal conductivity coefficient of 0.021 W/m°K maximum at a mean temperature of 10°C and Insulation thickness shall be 75 mm. The insulation shall meet IS:12436 specifications with typical operating temperature between -30°C to 100°C. The pipe shall be suitable to convey the water having water temperature range of 5°C to 60°C without any distortion. The pipe shall be suitable for buried i.e. underground application. The pipes shall be complete with flanges at 500 mtr. distance at suitable locations. The pipe shall be complete in all respect including but not limited to bends, elbows, fittings, valves required, jointing etc. The drawing shall be referred for the complete routing of the pipe.The outer casing/ jacket shall be made of high-density Polyethylene (HDPE) sheet having a density of 900 to 960 kg/m3 and extruded welded at overlap joints. HDPE wall thickness shall be 2.5mm thick. |  |  |  | 0
|  |  |  | - |  | UPVC SWR PIPES |  |  |  | 0
i | 170004814 | 995478 |  | 18% |  | 110 mm dia | Metre | 63 |  | 0 | 0 | 0
B | ELECTRICAL WORKS | [8 empty] | 0 | 0 | 0
1 |  |  |  | - |  | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate with suitable size GI. box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. |  |  |  | 0
A |  |  |  | - |  | Group B |  |  |  | 0
a | 130000026 | 995461 |  | 18% |  | Havells Coral series or equivalent | Each | 112 |  | 0 | 0 | 0
b | 130000026 | 995461 |  | 18% |  | Havells Fabio series or equivalent | Each | 81 |  | 0 | 0 | 0
2 |  |  |  | - |  | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required of KEI/Polycab/Unistar/Apar/Havells/Anchor make |  |  |  | 0
a | 130000032 | 995461 |  | 18% |  | 2 x 2.5 Sq.mm + 1X2.5 sq.mm earth wire | mtr | 555 |  | 0 | 0 | 0
b | 130000033 | 995461 |  | 18% |  | 2 x 4 Sq.mm + 1X4 sq.mm earth wire | mtr | 900 |  | 0 | 0 | 0
c | 130000036 | 995461 |  | 18% |  | 2x16 sqmm + 1x 6sqmm earth wire | mtr | 310 |  | 0 | 0 | 0
3 | 130000086 | 995424 |  | 18% |  | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath along with PVC conduit as required. (Havells/Finolex make) | mtr | 260 |  | 0 | 0 | 0
4 | 130000084 | 995424 |  | 18% |  | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable along with PVC conduit as required.(2pair) | mtr | 260 |  | 0 | 0 | 0
5 |  |  |  | - |  | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. |  |  |  | 0
a | 130000121 | 995461 |  | 18% |  | 5/6 A switch Havells Coral series or equivalent | Each | 20 |  | 0 | 0 | 0
b | 130000124 | 995461 |  | 18% |  | 3 pin 5/6 A socket outlet Havells Coral series or equivalent | Each | 20 |  | 0 | 0 | 0
c | 130000121 | 995461 |  | 18% |  | 5/6 A switch Havells Fabio series or equivalent | Each | 6 |  | 0 | 0 | 0
d | 130000124 | 995461 |  | 18% |  | 3 pin 5/6 A socket outlet Havells Fabio series or equivalent | Each | 6 |  | 0 | 0 | 0
e | 130000126 | 995461 |  | 18% |  | Telephone socket outlet (Havells or equivalent) | Each | 10 |  | 0 | 0 | 0
f | 130000127 | 995461 |  | 18% |  | TV antenna socket outlet (Havells or equivalent) | Each | 10 |  | 0 | 0 | 0
6 |  |  |  | - |  | Supplying and Fixing suitable GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 modular switch, connection etc. as required. |  |  |  | 0
a | 130000145 | 995461 |  | 18% |  | Havells Coral series or equivalent | Each | 40 |  | 0 | 0 | 0
b | 130000145 | 995461 |  | 18% |  | Havells Fabio series or equivalent | Each | 23 |  | 0 | 0 | 0
7 |  |  |  | - |  | Supplying and Fixing suitable GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 & 5/6 amps modular socket outlet and 15/16 modular switch, connection, painting etc. as required. |  |  |  | 0
a | 130000146 | 995461 |  | 18% |  | Havells Coral series or equivalent | Each | 25 |  | 0 | 0 | 0
b | 130000146 | 995461 |  | 18% |  | Havells Fabio series or equivalent | Each | 32 |  | 0 | 0 | 0
8 |  |  |  | - |  | Supplying and Fixing following size/ modules, GI box alongwith modular base & cover plate for moular switches in recess etc. as required. |  |  |  | 0
a | 130000131 | 995461 |  | 18% |  | 1 or 2 Module (75mmX75mm) | Each | 20 |  | 0 | 0 | 0
9 |  |  |  | - |  | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required |  |  |  | 0
a | 130000233 | 998736 |  | 18% |  | Single Pole(SP) | Each | 28 |  | 0 | 0 | 0
b | 130000235 | 998736 |  | 18% |  | Double pole (DP) | Each | 39 |  | 0 | 0 | 0
10 |  |  |  | - |  | Supplying and fixing following rating, double pole, 240 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Legrand/ Hager/ Anchor/ S&S/ Havells make) |  |  |  | 0
a | 130000240 | 998736 |  | 18% |  | 63 A | Each | 8 |  | 0 | 0 | 0
11 |  |  |  | - |  | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 30 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Legrand/ Hager/ Anchor/ S&S/ Havells make) |  |  |  | 0
a | 130000246 | 998736 |  | 18% |  | 63 A | Each | 8 |  | 0 | 0 | 0
12 |  |  |  | - |  | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) |  |  |  | 0
a | 130000191 | 998736 |  | 18% |  | 16 way, Double door | Each | 9 |  | 0 | 0 | 0
13 |  |  |  | - |  | Supplying and fixing of following ways surface/recess mounting , vertical type , 415 V , TPN MCB distribution board of sheet steel , dust protected , duly powder painted inclusive of 200 A tinned copper bus bar , common neutral link, earth bar din bar for mounting MCB'S (but without MCB and incomer as required). |  |  |  | 0
a | 130000202 | 998736 |  | 18% |  | 4 way (4 + 12), Double door | Each | 2 |  | 0 | 0 | 0
14 | 130000415 | 998739 |  | 18% |  | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (Chemical Earthing) as required | Each | 7 |  | 0 | 0 | 0
15 | 130000433 | 998739 |  | 18% |  | Providing and fixing earth bus of 50 mm X 6 mm copper strip on surface for connections etc. as required. | mtr | 250 |  | 0 | 0 | 0
16 | 130000429 | 998739 |  | 18% |  | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required | mtr | 300 |  | 0 | 0 | 0
|  |  |  | - |  | NON DSR items |  |  |  | 0
17 |  |  |  | - |  | Providing and fixing lighting fixtures along with acessories of following types complete in all respect |  |  |  | 0
a | 100001096 | 998731 |  | 18% |  | Philiphs make ceiling light (2ft*2ft) 42 w ( Cat no full glow G6 RC380B LED42S -6500 or equivalent | Each | 12 |  | 0 | 0 | 0
b | 100001096 | 998731 |  | 18% |  | Philiphs make ceiling light (1ft*1ft)12w (Cat no Functional Downlight 8718696167526) or equivalent | Each | 26 |  | 0 | 0 | 0
c | 100001096 | 998731 |  | 18% |  | Philiphs make round ceiling light , 12 w , warm light (functional Downlight 8718696167496) or equivalent | Each | 60 |  | 0 | 0 | 0
d | 100001096 | 998731 |  | 18% |  | Philiphs make round ceiling light 9 w , (CAT : Functional Downlight 871869616748) or equivalent | Each | 46 |  | 0 | 0 | 0
e | 100001030 | 998731 |  | 18% |  | Philips make outdoor flood light (model no. BGP703 LED120-4S, 74 W, 10800LM) or equivalent | Each | 18 |  | 0 | 0 | 0
f | 100001077 | 998731 |  | 18% |  | Providing and fixing Exhaust fans (make Havell Ventiliar DX 200 mm sweep white or equivalent) complete in all respect. | Each | 31 |  | 0 | 0 | 0
g | 100001077 | 998731 |  | 18% |  | Providing and fixing Exhaust fans (make Havell Ventiliar DXC 130 mm sweep white or equivalent) complete in all respect. | Each | 2 |  | 0 | 0 | 0
h | 100003494 | 998731 |  | 18% |  | Providing and fixing 25Ltr Water Heaters ( Make AO SMITH model SDS-PLUS series or equivalent) complete in all respect. | Each | 10 |  | 0 | 0 | 0
18 | 100003494 | 998731 |  | 18% |  | Providing and fixing 25Ltr Water Heaters ( Make AO SMITH model HSE-VAS-X or equivalent ) complete in all respect. | Each | 5 |  | 0 | 0 | 0
19 |  |  |  | - |  | Supply , Laying & jointing Armoured PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering, refilling the trench, Cable Route Marking, along with lugs/ glands of Kei/Polycab/Unistar/Apar as per approval of Engineer I/C |  |  |  | 0
a | 100001122 | 998736 |  | 18% |  | 1CX630 SQMM XLPE POWER CABLE | Mtr. | 700 |  | 0 | 0 | 0
b | 100001124 | 998736 |  | 18% |  | 3.5CX300 SQMM XLPE POWER CABLE | Mtr. | 70 |  | 0 | 0 | 0
c | 100001125 | 998736 |  | 18% |  | 3.5CX185 SQMM XLPE POWER CABLE | Mtr. | 170 |  | 0 | 0 | 0
d | 100001132 | 998736 |  | 18% |  | 3.5C X 70 SQMM XLPE POWER CABLE | Mtr. | 100 |  | 0 | 0 | 0
e | 100001132 | 998736 |  | 18% |  | 3.5C X 35 SQMM XLPE POWER CABLE | Mtr. | 160 |  | 0 | 0 | 0
20 | 150001170 | 995421 |  | 18% |  | Supply installalation testing and commissioning of main switch board as per TS and SLD. | LS | 1 |  | 0 | 0 | 0
C | CENTRAL HEATING SYSTEM | [8 empty] | 0 | 0 | 0
1 | 100050376 | 995463 |  | 18% |  | Designing of Central Heating system for 2 Nos. office cum residential buildings & 1 Nos. Medical centre (3Nos. Prefab Rockwool insulated Building) as per proposed Layout. This includes Resistivity Survey, Energy modelling, Loop design, MEP design, HVAC design, Detailed specification & BOQ. | LS | 1 |  | 0 | 0 | 0
2 | 100050377 | 995463 |  | 18% |  | Supply and Installation of Central Heating system for 2 Nos. office cum residential buildings & 1 Nos. Medical centre (3 Nos. Prefab Rockwool insulated Building) as per proposed Layout. Oil fired Boiler of Capacity 250000 kcals/h - 2 Nos.(1-working & 1-standby) Electrical boiler of capacity 250 kw - 1 No. This shall also include supply & installation of Day oil storage tank with heating facility of capacity 990 ltrs, Glycol based anti fridge Liquid , Anti Fridge Liquid Tank and Make up tank, diesel filling pump, Glycol Filling pump, Mixing tank of suitable capacity, circulation pumps between boilers, mixing tanks (1 working & 1 standby), hot liquid circulation pumps for each Building, boiler ducting and chimney with all accessories and Automatic Electrical control panel for central heating system complete in all respect as per design. | LS | 1 |  | 0 | 0 | 0
3 | 100050380 | 998739 |  | 18% |  | Providing and fixing PPR pipes of required sizes along with fittings & accessories from boiler plant to buildings, Heat tracers and insulation of pipe lines, geo thermal loop complete in all respect as per design. | LS | 1 |  | 0 | 0 | 0
4 | 100050378 | 995463 |  | 18% |  | Supply and installation of suitable steel radiators and towel warmers of Nouva IMAS or equivalent make complete in all respect as per design. | LS | 1 |  | 0 | 0 | 0
5 | 130000920 | 998739 |  | 18% |  | Supply and installation of cables of suitable sizes & capacity and cable trays complete in all respect as per design. | LS | 1 |  | 0 | 0 | 0
6 | 100050379 | 995463 |  | 18% |  | Testing and commissioning of Central Heating system for 2 Nos. office cum residential buildings & 1 Nos. Medical centre with test running and training to POWERGRID staff for 15 days. | LS | 1 |  | 0 | 0 | 0
Total of Civil, Electrical and Central heating System | [8 empty] | 0 | 0 | 0 | 0

## Summary
Construction of Rock wool insulated Pre-Engineered Buildings (PEBs) for initial mobilization at Pang HVDC Terminal
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  | To:
Name : | 0 | Contract Services
Address : |  | Power Grid Corporation of India Ltd.,
Northern Region Transmission System - II
Grid Bhawan, OB-26, Rail Head Complex, Jammu - 180 012 (J&K)
Sl. No. | Description |  | Total Price (INR)
1.1 | TOTAL FOR BID PRICE SCHEDULE
| Supply & Installation Charges- Schedule Civil Items for Construction of Rock wool insulated Pre-Engineered Buildings (PEBs) for initial mobilization at Pang HVDC Terminal |  | 0
I | Total of Service/Installation Charge (ITEMS TAB: Item 01 INSTALLATION FOR DCB (INR) : SRM ATB for BID PRICE SUMMARY Statement ) |  | 0
II | GST
| GST on Bid Price Schedule |  | 0
| Total GST for BID PRICE SUMMARY Statement ) |  | 0
III | GRAND TOTAL |  | 0
Date : |  | Printed Name :
Place : |  | Designation :

## Bid Form
Package No.: N2JM/C&M/CS/36(24) |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
Date :
To:
Contract Services
Power Grid Corporation of India Ltd.,
Northern Region Transmission System - II
Grid Bhawan, OB-26, Rail Head Complex, Jammu - 180 012 (J&K)
Name of Contract : |  | Construction of Rock wool insulated Pre-Engineered Buildings (PEBs) for initial mobilization at Pang HVDC Terminal
Dear Ladies and/or Gentlemen,
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we encloseBid Price Schedule, duly filled - in as per your proforma:
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in Clause 4.6, ITB, Vol.-IA of the Bidding Documents, the prices of all the Services to be supplied under this contract shall be FIRM and doesnot subject to any price adjustment as per relevant clauses in bidding document.
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on Installation Services specified in Schedule No. I & II of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *