Amendment No.-II dated 03.02.2021 to the Bidding Documents for Transmission Line Package TW21 including tower, pile foundation, conductor, insulators, OPGW (INSTALLATION AND COMMISSIONING ONLY), hardware fitting and accessories for conductor for i)132kV S/C on D/C Tower Roing – Dambuk , ii) 132kV S/C on D/C Tower Tezu – Halaipani and iii) 132kV S/C on D/C Tower Roing – Anini associated with Comprehensive Scheme for Strengthening of Transmission & Distribution System in NER & Sikkim : Intra-State : Arunachal Revise.; Specification No.: CC-CS/165-NER/TW-4196/3/G1

| Sl. No. | Clause/ Drg. No. | Existing provision | Amended as |
| --- | --- | --- | --- |
| 1 | Price Schedule, Sch-1&2 (Schedule of rates and price.) BPS | Sl no.; Material Code; Description; Unit; Quantity. Twr Pkg TW21 132kV S/C Teju - Halaipani. Earthing for river crossing tower. 12; 1000011150; Supply of Earthing of River crossing; MT; 7. | To be deleted. |
| 2 | Price Schedule, Sch-1&2 (Schedule of rates and price.) BPS | Sl no.; Material Code; Description; Unit; Quantity. Twr Pkg TW21 132kV S/C Roing - Dambuk. Earthing. 105; 1000010003; Supply of Counterpoise type (120 m length); EA; 83. 106; 1000010005; Counterpoise type (280 m length); EA; 30. 112; 1000048808; SUPPLY OF CHEMICAL EARTHING: COUNTERPOISE TYPE (120M LENGTH); EA; 1. 113; 1000048809; SUPPLY OF CHEMICAL EARTHING: COUNTERPOISE TYPE (280M LENGTH); EA; 1. | Sl no.; Material Code; Description; Unit; Quantity. Twr Pkg TW21 132kV S/C Roing - Dambuk. Earthing. 104; 1000010003; Supply of Counterpoise type (120 m length); EA; 62. 105; 1000010005; Counterpoise type (280 m length); EA; 22. 111; 1000048808; SUPPLY OF CHEMICAL EARTHING: COUNTERPOISE TYPE (120M LENGTH); EA; 21. 112; 1000048809; SUPPLY OF CHEMICAL EARTHING: COUNTERPOISE TYPE (280M LENGTH); EA; 8. |
| 3 | Price Schedule, Sch-3 (Schedule of rates and price.) BPS | Sl no.; Service Code; Description; Unit; Quantity. Twr Pkg TW21 132kV S/C Roing - Anini. Earthing. 56; 100001272; Installation of earthing of towers: Counterpoise type (280 m length)*; EA; 45. 60; 100008105; Installation of Chemical earthing of towers: Counterpoise Type (120m length).; EA; 89. Twr Pkg TW21 132kV S/C Roing - Dambuk. Earthing. 97; 100001269; Installation of earthing of towers: Pipe Type; EA; 7. | Sl no.; Service Code; Description; Unit; Quantity. Twr Pkg TW21 132kV S/C Roing - Anini. Earthing. 56; 100001272; Installation of earthing of towers: Counterpoise type (280 m length)*; EA; 55. 60; 100008105; Installation of Chemical earthing of towers: Counterpoise Type (120m length).; EA; 91. Twr Pkg TW21 132kV S/C Roing - Dambuk. Earthing. 97; 100001269; Installation of earthing of towers: Pipe Type; EA; 10. |
| 4. | In view of above changes, the 2nd Envelope-Bid Form & Price Schedule Attachment namely “02nd Envelope-Price Schedule-TW21” stands replaced with revised document namely “02nd Envelope-Price Schedule-TW21_R1”. |  |  |