## Basic (hidden)
Package | Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
Package Code | Renovation Works of C, D & E Type towers
Specification No. | CC/NT/W-MISC/DOM/A17/23/09668

## Cover
Price Schedules | Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon |  | Township Works Package-A
CC/NT/W-MISC/DOM/A17/23/09668
| 1 | Fill up only green shaded cells in Sch-1 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-2 and Sch-3 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-2

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package Renovation Works of C, D & E Type towers
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Price Components (Price Break-up) ) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch -2(Taxes and Duties) :
| ● | Taxes and duties shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -3(Grand Summary) :
| ● | Summary of the Schedule-1 without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Bid form 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
CC/NT/W-MISC/DOM/A17/23/09668 |  |  |  | Sole Bidder | 1
2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  |  | 0
2 or More
0
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner - 1
Address of other Partner - 1
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
Printed Name
Designation
Date |  | 31
Place
Click for Sch-1

## Sch-1
CC/NT/W-MISC/DOM/A17/23/09668 | [10 empty] | Schedule - 1 | [5 empty] | Direct Total | #REF! | Sole Bidder | `
[17 empty] | BO Total | #REF! | 0
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To:
MM dept
Name : | [9 empty] | Power Grid Corporation of India Ltd., | [8 empty] | , &
Address : | [9 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Price Components (Price Break-up) | [17 empty] | Direct
Bought-Out
0
All Prices are in Indian Rupees.
SI. No. | Activity Description | Service code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 10 ’ is confirmed. If not indicate applicable rate of GST # | Description | Unit | Qty | Unit Rate | Total Price
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12=10 x 11
1 | CIVIL WORKS | 1000070641 | 84149090 |  | 18 |  | Providing wall mounted decorative chimney of size 595 x 495 x 400 mm with maximun suction of 1100 cu.mtr per hour , SS Baffle filter , mettalic blower push buttons and energy efficient led lamps all necessary fittings etc complete all as per instrcution of Engineer-in-Charge. (Basic rate of wall mounted decorative chimney excl. 18% GST is Rs. 15168.64) | No | 112 |  | Included | 0 | 0 | 0 | 0 | 0
2 | CIVIL WORKS | 170004617 | 998516 |  | 18 |  | Labour for Installation of Wall mounted Decorative Chimney all complete as per direction of Engineer-in-charge. | No | 112 |  | Included | 0 | 0 | 0 | 0 | 0
3 | CIVIL WORKS | 1000070638 | 3208902 |  | 18 |  | Providing Painting of synthetic enamel paint of conforming to IS 2932 latest of required colour to give an even shade : One or more coats on old work including carriage all complete as per direction of Engineer-in-charge {Basic price is 4661.02 excl. 18% GST (each of 20 ltrs drum)} . | No | 176 |  | Included | 0 | 0 | 0 | 0 | 0
4 | CIVIL WORKS | 170004609 | 998516 |  | 18 |  | Labour for fixing Painting with synthetic enamel paint of conforming to IS 2932 latest of required colour to give an even shade : One or more coats on old work all complete as per direction of Engineer-in-charge. | sqft | 226862.06 |  | Included | 0 | 0 | 0 | 0 | 0
5 | CIVIL WORKS | 1000070623 | 83024120 |  | 18 |  | Providing bright finished brass tower bolts (Barrel bolt ,Type 1A , Non-Ferrous metals) -is: 204 (Part2 lattest) with necessary screws etc. complete : / 200x10 mm (Basic price is 157.63 excl. 18% GST) | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
6 | CIVIL WORKS | 170004611 | 998516 |  | 18 |  | Labour for fixing bright finished brass tower bolts all complete as per direction of Engineer-in-charge. | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
7 | CIVIL WORKS | 1000070632 | 72201222 |  | 18 |  | Providing handles of bright satin finished nickel chromium plated as per Grade I of IS 1068:1993 or copper oxidised as per IS 1378:1987 with screws etc. complete: / 125 mm (Basic price is 108.47 excl. 18% GST) | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
8 | CIVIL WORKS | 170004607 | 998516 |  | 18 |  | Labour for fixing handles all complete as per direction of Engineer-in-charge. | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
9 | CIVIL WORKS | 1000070639 | 83026000 |  | 18 |  | Providing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. (Basic price is 486.97 excl. 18% GST) | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
10 | CIVIL WORKS | 170004603 | 998516 |  | 18 |  | Labour for fixing hydraulic door closer all complete as per direction of Engineer-in-charge. | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
11 | CIVIL WORKS | 1000070622 | 83024120 |  | 18 |  | Providing bright finished brass tower bolts (Barrel bolt ,Type 4A) anodized dyed tower bolts (Non-Ferrous metals) -is: 204 (Part 2 lattest) with necessary screws etc. complete : / 100x10 mm (Basic price is 84.75 excl. 18% GST) | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
12 | CIVIL WORKS | 170004612 | 998516 |  | 18 |  | Labour for fixing brass tower bolts all complete as per direction of Engineer-in-charge. | Each | 976 |  | Included | 0 | 0 | 0 | 0 | 0
13 | CIVIL WORKS | 1000070643 | 83024120 |  | 18 |  | Providing white vitreous china pedestal type water closet size 67 x 35 x 75 cm (S-22) (European type W.C. pan) with seat and lid, 4 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), with all fittings and fixtures complete, including cutting and making good the walls ,floors & including stacking of old EWC within 500 metres lead all as per instrcution of Engineer-in-Charge.: W.C. pan with ISI marked white solid plastic seat and lid (Basic Price Rs. 11694.92 excl. 18% GST) | NO | 96 |  | Included | 0 | 0 | 0 | 0 | 0
14 | CIVIL WORKS | 170004600 | 998516 |  | 18 |  | Labour for Removing & fixing white vitreous china pedestal type (European type W.C. pan) water closet all complete as per direction of Engineer-in-charge. | NO | 96 |  | Included | 0 | 0 | 0 | 0 | 0
15 | CIVIL WORKS | 1000070644 | 83024120 |  | 18 |  | Providing white vitreous china pedestal type water closet size 67 x 35 x 75 cm (S-22) (European type W.C. pan) with seat and lid, 6 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), with all fittings and fixtures complete, including cutting and making good the walls ,floors & including stacking of old EWC within 500 metres lead all as per instrcution of Engineer-in-Charge.: W.C. pan with ISI marked white solid plastic seat and lid (Basic Price Rs. 12228.81 excl. 18% GST) | NO | 224 |  | Included | 0 | 0 | 0 | 0 | 0
16 | CIVIL WORKS | 170004602 | 998516 |  | 18 |  | Labour for Removing & fixing white vitreous china pedestal type water close all complete as per direction of Engineer-in-charge. | NO | 224 |  | Included | 0 | 0 | 0 | 0 | 0
17 | CIVIL WORKS | 1000070633 | 39173990 |  | 18 |  | Providing premium Nylon Thread Braided PVC Pipe mm Connection Pipe With Nut suitable for hot and cold mixers for basin, gysers, flush tank etc. 18 inches long all including stacking of old connection pipe within 500 metres lead as per instrcution of Engineer-in-Charge. (Basic price of PVC connection pipe Rs. 63.56 excl. 18% GST) | NO | 1664 |  | Included | 0 | 0 | 0 | 0 | 0
18 | CIVIL WORKS | 170004605 | 998516 |  | 18 |  | Labour for fixing PVC Pipe Connection Pipe all complete as per direction of Engineer-in-charge. | NO | 1664 |  | Included | 0 | 0 | 0 | 0 | 0
19 | CIVIL WORKS | 1000070630 | 84818020 |  | 18 |  | Providing C.P.brass shower 15mm including connecting rod , plate all necessary fittings etc & stacking of old shower within 500 metres lead.complete all as per instrcution of Engineer-in-Charge. (Basic price of C.P.brass shower Rs. 550.85 excl. 18% GST) | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
20 | CIVIL WORKS | 170004613 | 998516 |  | 18 |  | Labour for Removing & fixing C.P.brass shower all complete as per direction of Engineer-in-charge. | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
21 | CIVIL WORKS | 1000070620 | 84818020 |  | 18 |  | Providing C.P. brass Health faucet with double lock 1 mtr Brass plated flexible hose & wall hook all necessary fittings , screw etc complete all as per instrcution of Engineer-in-Charge. (Basic price of health faucet Rs. 405.93 excl. 18% GST) | NO | 320 |  | Included | 0 | 0 | 0 | 0 | 0
22 | CIVIL WORKS | 170004593 | 998516 |  | 18 |  | Labour for Removing & fixing Health faucet all complete as per direction of Engineer-in-charge. | NO | 320 |  | Included | 0 | 0 | 0 | 0 | 0
23 | CIVIL WORKS | 1000070621 | 84818020 |  | 18 |  | Providing C.P.brass Towel rod 600 mm long all with all necessary fittings , screw and stud etc complete & stacking of old Towel Rod within 500 metres lead.all as per instrcution of Engineer-in-Charge. (Basic price of C.P.brass Towel rod Rs. 597.46 excl. 18% GST) | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
24 | CIVIL WORKS | 170004610 | 998516 |  | 18 |  | Labour for removing & fixing C.P.brass Towel rod all complete as per direction of Engineer-in-charge. | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
25 | CIVIL WORKS | 1000070640 | 69071010 |  | 18 |  | Providing Vitrified tiles in different sizes (8 to 10mm thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, (Payment for grouting of joints to be made separately). Size of Tile 1200x600 mm (wall of kitchen , washroom) (Basic price is Rs. 65/-excl. 18% GST) | Sqft | 67050.024 |  | Included | 0 | 0 | 0 | 0 | 0
26 | CIVIL WORKS | 170004616 | 998516 |  | 18 |  | Labour for fixing Vitrified Tiles and adhesive laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of jointsall complete as per direction of Engineer-in-charge. | Sqft | 67050.024 |  | Included | 0 | 0 | 0 | 0 | 0
27 | CIVIL WORKS | 1000070640 | 69071010 |  | 18 |  | Providing Vitrified tiles in different sizes (8 to 10mm thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps. (Payment for grouting of joints to be made separately). Size of Tile 1200x600 mm (Anti-skid Floor of kitchen , washroom) (Basic price is Rs. 65/-excl. 18% GST) | Sqft | 26418.35 |  | Included | 0 | 0 | 0 | 0 | 0
28 | CIVIL WORKS | 170004616 | 998516 |  | 18 |  | Labour for fixing Vitrified Tiles and adhesive laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of jointsall complete as per direction of Engineer-in-charge. | Sqft | 26418.35 |  | Included | 0 | 0 | 0 | 0 | 0
29 | CIVIL WORKS | 1000070640 | 69071010 |  | 18 |  | Providing Vitrified tiles in different sizes (8 to 10mm thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, (Payment for grouting of joints to be made separately). Size of Tile 1200x600 mm (Floor of Bedroom & Living Room ,lift bobby , balcony) (Basic price is Rs. 65/-excl. 18% GST) | Sqft | 131881.73 |  | Included | 0 | 0 | 0 | 0 | 0
30 | CIVIL WORKS | 170004616 | 998516 |  | 18 |  | Labour for fixing Vitrified Tiles and adhesive laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of jointsall complete as per direction of Engineer-in-charge. | Sqft | 131881.73 |  | Included | 0 | 0 | 0 | 0 | 0
31 | CIVIL WORKS | 1000070642 | 69101000 |  | 18 |  | Providing new wash basin of pedastal type with size of 55 x 40 x 82 cm with bottle trap , waste coupling including making good the walls with all necessary fittings etc complete cutting wherever required including stacking of old wash basin within 500 metres lead.all as per instrcution of Engineer-in-Charge. (Basic price of basin Rs. 1559.32 excl. 18% GST) (Basic price of pedastal Rs. 2440.68 excl. 18% GST) (Basic price bottle trap Rs.1101.69 excl. 18% GST) (Basic price waste coupling Rs. 317.80 excl. 18% GST) | NO | 304 |  | Included | 0 | 0 | 0 | 0 | 0
32 | CIVIL WORKS | 170004606 | 998516 |  | 18 |  | Labour for removing and fixing wash basin with Pedestal,bottle trap, waste coupling etc. all as per direction of Engineer-in-charge. | NO | 304 |  | Included | 0 | 0 | 0 | 0 | 0
33 | CIVIL WORKS | 1000070627 | 84818020 |  | 18 |  | Providing C.P.brass Angular stop cock 15mm including all necessary fittings including stacking of old angular stop cock within 500 metres lead.etc complete all as per instrcution of Engineer-in-Charge. (Basic price of Angular Stop Cock Rs. 635.59 excl. 18% GST) | NO | 1920 |  | Included | 0 | 0 | 0 | 0 | 0
34 | CIVIL WORKS | 170004597 | 998516 |  | 18 |  | Labour for removing and fixing Angular stop cock all complete as per direction of Engineer-in-charge. | NO | 1920 |  | Included | 0 | 0 | 0 | 0 | 0
35 | CIVIL WORKS | 1000070628 | 84818020 |  | 18 |  | Providing C.P.brass Single lever basin mixer Tall 15mm w/o Popup water including all necessary fittings and including stacking of fixtures within 500 metres lead etc. complete all as per instrcution of Engineer-in-Charge. (Basic price of C.P.brass Single lever basin mixer Rs. 4228.81 excl. 18% GST) | NO | 304 |  | Included | 0 | 0 | 0 | 0 | 0
36 | CIVIL WORKS | 170004595 | 998516 |  | 18 |  | Labour for removing and fixing Single lever basin mixer all complete as per direction of Engineer-in-charge. | NO | 304 |  | Included | 0 | 0 | 0 | 0 | 0
37 | CIVIL WORKS | 1000070631 | 84149090 |  | 18 |  | Providing C.P.brass wall mixer with provision of overhead shower with 115mm long bend pipes including diverter all necessary fittings & stacking of old fixtures within 500 metres lead etc. complete all as per instrcution of Engineer-in-Charge. (Basic price of C.P.brass wall mixer Rs. 3262.71 excl. 18% GST) (Basic price of divertor Rs.2288.14 excl. 18% GST) | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
38 | CIVIL WORKS | 170004599 | 998516 |  | 18 |  | Labour for removing and fixing wall mixer all complete as per direction of Engineer-in-charge. | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
39 | CIVIL WORKS | 1000070636 | 73239420 |  | 18 |  | Providing SS floor jali etc. complete including stacking of old jali within 500 metres lead all as per instrcution of Engineer-in-Charge.(Basic price of SS Jali is 233.05 excl. 18% GST) | NO | 880 |  | Included | 0 | 0 | 0 | 0 | 0
40 | CIVIL WORKS | 170004594 | 998516 |  | 18 |  | Labour for removing and fixing SS floor jali all complete as per direction of Engineer-in-charge. | NO | 880 |  | Included | 0 | 0 | 0 | 0 | 0
41 | CIVIL WORKS | 1000070626 | 84818020 |  | 18 |  | Providing C.P.Brass Sink Mixer with swivel casted spout (Wall mounted) 15mm including all necessary fittings & stacking of old fixtures within 500 metres lead.etc complete all as per instrcution of Engineer-in-Charge. . (Basic price of C.P.Brass Sink Mixer Rs. 2584.75 excl. 18% GST) | NO | 112 |  | Included | 0 | 0 | 0 | 0 | 0
42 | CIVIL WORKS | 170004601 | 998516 |  | 18 |  | Labour for removing and fixing Sink Mixer with swivel all complete as per direction of Engineer-in-charge. | NO | 112 |  | Included | 0 | 0 | 0 | 0 | 0
43 | CIVIL WORKS | 1000070634 | 84818020 |  | 18 |  | Providing C.P.brass Bibcock 2 in 1 of 15mm nominal bore with wall flange including all necessary etc. & stacking of old bibcock within 500 metres lead.complete all as per instrcution of Engineer-in-Charge. (Basic price of basin Rs. 995.76/ excl. 18% GST) | NO | 320 |  | Included | 0 | 0 | 0 | 0 | 0
44 | CIVIL WORKS | 170004614 | 998516 |  | 18 |  | Labour for removing and fixing Bibcock 2 in 1 all complete as per direction of Engineer-in-charge. | NO | 320 |  | Included | 0 | 0 | 0 | 0 | 0
45 | CIVIL WORKS | 1000070624 | 84818020 |  | 18 |  | Providing C.P. brass Glass Shelf all necessary fittings etc complete & stacking of old Glass shelf within 500 metres lead.all as per instrcution of Engineer-in-Charge. (Basic price of C.P. brass Glass Shelf Rs.1228.81 excl. 18% GST) | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
46 | CIVIL WORKS | 170004604 | 998516 |  | 18 |  | Labour for Removing & fixing Glass Shelf all complete as per direction of Engineer-in-charge. | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
47 | CIVIL WORKS | 1000070637 | 39249090 |  | 18 |  | Providing Soap dish all necessary fittings etc complete & stacking of old soap disc within 500 metres lead all as per instrcution of Engineer-in-Charge. (Basic price of Soap dish Rs. 699.15 excl. 18% GST) | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
48 | CIVIL WORKS | 170004608 | 998516 |  | 18 |  | Labour for Removing & fixing Soap dish all complete as per direction of Engineer-in-charge. | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
49 | CIVIL WORKS | 1000070625 | 84818020 |  | 18 |  | Providing C.P. brass Tumbler holder all necessary fittings etc complete all as per instrcution of Engineer-in-Charge. (Basic price of C.P. brass Tumbler holder Rs. 720.34 excl. 18% GST) | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
50 | CIVIL WORKS | 170004615 | 998516 |  | 18 |  | Labour for fixing Tumbler holder all complete as per direction of Engineer-in-charge. | NO | 256 |  | Included | 0 | 0 | 0 | 0 | 0
51 | CIVIL WORKS | 1000070629 | 84818020 |  | 18 |  | Providing C.P.brass concealed stop cock Heavy duty 20mm including all necessary fittings etc complete and stacking of old concealed stop cock within 500 metres lead all as per instrcution of Engineer-in-Charge. (Basic price of C.P.brass concealed stop cock Rs 1144.06 excl. 18% GST) | NO | 320 |  | Included | 0 | 0 | 0 | 0 | 0
52 | CIVIL WORKS | 170004596 | 998516 |  | 18 |  | Labour for Removing & fixing concealed stop cock all complete as per direction of Engineer-in-charge. | NO | 320 |  | Included | 0 | 0 | 0 | 0 | 0
53 | CIVIL WORKS | 1000070635 | 73241000 |  | 18 |  | Providing Stainless Steel Double Bowl Handmade Kitchen Sink with Drain Rack, Square Coupling, Hose Pipe And Other Accessories - Matt Finish (37 x 18 inches) all as per direction of Engineer in charge. (Basic price 6694.07 excl. 18% GST) | Each | 112 |  | Included | 0 | 0 | 0 | 0 | 0
54 | CIVIL WORKS | 170004598 | 998516 |  | 18 |  | Labour for Removing & fixing Double Bowl Handmade Kitchen Sink all complete as per direction of Engineer-in-charge. | Each | 112 |  | Included | 0 | 0 | 0 | 0 | 0
55 | CIVIL WORKS | 170004589 | 995428 |  | 18 |  | Providing and fixing 1inch dia steel curtain rod including clamp, cap etc all complete., all complete as per direction of Engineer-in-charge. | Rnft | 9920 |  | Included | 0 | 0 | 0 | 0 | 0
56 | CIVIL WORKS | 170004588 | 995428 |  | 18 |  | Providing and fixing Stainless Steel 250 mm mortice latch and lock & a pair of lever handles of approved quality with necessary screws etc. complete. | Each | 224 |  | Included | 0 | 0 | 0 | 0 | 0
57 | CIVIL WORKS | 170004582 | 995428 |  | 18 |  | Removing old and Providing and fixing beveled edge mirror of superior glass (of approved quality) complete with 5 mm thick hard board ground fixed to wooden cleats with C.P. brass screws , studs and washers complete etc. and stacking of old fixtures within 500 metres lead all as per the direction of Engineer-in-charge. | Sqft. | 1024 |  | Included | 0 | 0 | 0 | 0 | 0
58 | CIVIL WORKS | 170004592 | 995431 |  | 18 |  | Dismantling G.I. pipes (internal work) including taking out the pipes, manually/ by mechanical means including stacking of pipes within 500 metres lead as per direction of Engineer-in-charge : | Meter | 5304 |  | Included | 0 | 0 | 0 | 0 | 0
59 | CIVIL WORKS | 170004580 | 995428 |  | 18 |  | Dismantling old kitchen wood works including stacking of material within 500 metres lead and providing & fixing Fully Laminated Wooden Cabinets Moduler in kitchen with accessories as per technical specifications complete in all respect and stacking of old fixtures within 500 metres lead.and direction of Engineer-in-charge. | sqm | 876.84 |  | Included | 0 | 0 | 0 | 0 | 0
60 | CIVIL WORKS | 170004585 | 995428 |  | 18 |  | Dismantlling old cupboard including stacking of material within 500 metres lead and Providing & fixing Fully laminated wooden wardrobes in bedrooms as per technical specifications complete in all respect including all fittings ,hinges and lock , handel etc complete as per directions of Engineer-In-Charge. | Sqft. | 21131.85 |  | Included | 0 | 0 | 0 | 0 | 0
61 | [6 empty] | Providing & Fixing impact resistant UPVC Sliding Doors, Windows and door cum windows/UPVC Fixed Doors/Windows & UPVC Openable Doors & Windows having weather & UV resistant properties, confirming to IS/BS Specifications and having final finish including toughened glass of 6mm thickness, bug wire SS mesh of the best quality, fixtures such as handles, locks, stoppers etc. complete on through rate basis as per the architectural drawings & specifications. The window/doors shall be made of UPVC extruded sections reinforced with galvanized M.S sections 2 mm + 0.2 mm thickness for main frame and with galvanized M.S. sections 1.5mm + 0.2 mm thickness for other members with UPVC section wall thickness 2.0 mm + 0.2 mm. | [6 empty] | 0 | 0 | 0
a | CIVIL WORKS | 170004584 | 995428 |  | 18 |  | 1. For UPVC Sliding Doors, Windows and door cum windows-The corners of the frames to be mitred and welded of plastic, galvanized brackets and to be fixed using stainless steel screws / fasteners, standard accessories such as hinges, standard handles with locking system, swinging hardware. Frame Color is White. Handle colour White. With Slider 3 Track 2 Panel with one side fixed & one with movable pan and an additional with a moving SS Bug Mesh with UPVC frames of standard dimensions as per manufacture's specification and 6 mm thick toughened fixed glass and SS Bug Mesh complete in all respect including all necessary fittings in matching color and to be approved by Engineer-in-charge, etc. | Sqft. | 30534.02 |  | Included | 0 | 0 | 0 | 0 | 0
b | CIVIL WORKS | 170004590 | 995428 |  | 18 |  | 2. For UPVC Fixed Doors/Windows-The corners of the frames to be mitred and welded of plastic, galvanized brackets and to be fixed using stainless steel screws / fasteners, standard accessories such as hinges, standard handles with locking system, swinging hardware. Frame Colour is White. Handle Colour white. Fixed Window with UPVC frames of standard dimensions as per manufacture's specification and 6 mm toughened fixed glass complete in all respect including all necessary fittings in matching colour etc. | Sqft. | 4882.55 |  | Included | 0 | 0 | 0 | 0 | 0
63 | CIVIL WORKS | 170004583 | 995428 |  | 18 |  | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 20 km for all lifts, complete as per directions of Engineer-in-charge. | trip | 624 |  | Included | 0 | 0 | 0 | 0 | 0
64 | CIVIL WORKS | 170004591 | 995428 |  | 18 |  | Kota floor polishing using floor polishing machine including surface preparation and cleaning old floor surface for polishing with rough medium and soft stones, curing etc all complete as per instruction of Engineer-In-Charge etc. complete. | Sqm | 1727.56 |  | Included | 0 | 0 | 0 | 0 | 0
65 | CIVIL WORKS | 170004587 | 995428 |  | 18 |  | Covering of ducts with exterior grade ACP (Aluminum Composite Panel) sheets of approved make and shade Aludecor sheets AI-33 series, with 3 mm minimum thickness with required frame work of 1'x2' aluminum tube of 18 gauges, filling of gaps with DOW CORNING Silicone 789. The provision of maintenance window is to be provided. The ACP sheets with framework shall be installed with all required accessories & fittings as per the direction of Engineer-In-Charge. (Necessary fittings eg. Hinges, chetkani, glass shall be paid separately) Complete in all respect. | SFT | 11573.45 |  | Included | 0 | 0 | 0 | 0 | 0
66 | CIVIL WORKS | 170004581 | 995428 |  | 18 |  | Extra for providing helix chetkani, piano kabza and neccessary hardware for the provision of maintenance window. The maximum maintenance window size shall be of 18'x30' all complete as per instruction of Engineer-In-Charge etc. complete. | Nos | 224 |  | Included | 0 | 0 | 0 | 0 | 0
67 | CIVIL WORKS | 170004586 | 995428 |  | 18 |  | Providing and fixing Panelling on Walls, Columns, Ducts, Around Shafts etc comprising of 50.8x25.4x2.03 Aluminium rectangular hollow sections framing at a maximum spacing of 600 mm centre-centre bothways with 12mm thick Exterior Grade Particle Board. All the members shall be screwed with stainless steel screws rawl plugs etc complete required for fixing frame. All Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically. All the materials like cleat angles, mouldings, beading,.etc complete. The rate shall also include the teak wood beeding and moulding to be melamine polished etc complete. All works shall be carried out as per . drawings and the directions of Engineer-in-charge. Finished with 4.0 mm thk approved Veneer with Melamine polish of approved grade as per the drawing including designed grooves etc complete. | Sqm | 3168 |  | Included | 0 | 0 | 0 | 0 | 0
68 | CIVIL WORKS | 120001660 | 995419 |  | 18 |  | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | Each | 1008 |  | Included | 0 | 0 | 0 | 0 | 0
69 | CIVIL WORKS | 120001650 | 995429 |  | 18 |  | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | cum | 188.32 |  | Included | 0 | 0 | 0 | 0 | 0
70 | CIVIL WORKS | 120001677 | 995419 |  | 18 |  | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | SQM | 8645.98 |  | Included | 0 | 0 | 0 | 0 | 0
71 | CIVIL WORKS | 120001642 | 995429 |  | 18 |  | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in- charge- Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | CUM | 517.43 |  | Included | 0 | 0 | 0 | 0 | 0
72 | CIVIL WORKS | 120001707 | 995419 |  | 18 |  | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | metre | 3904 |  | Included | 0 | 0 | 0 | 0 | 0
73 | CIVIL WORKS | 120001267 | 995474 |  | 18 |  | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | SQM | 11048.36 |  | Included | 0 | 0 | 0 | 0 | 0
74 | CIVIL WORKS | 120002108 | 995424 |  | 18 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clampsat 1.00 m spacing. This includes jointing of pipes & fittings with onestep CPVC solvent cement and the cost of cutting chases and makinggood the same including testing of joints complete as per directionof Engineer in Charge. Concealed work, including cutting chases and making good the walls-15mm (Concealed work) | meter | 672 |  | Included | 0 | 0 | 0 | 0 | 0
75 | CIVIL WORKS | 120002109 | 995424 |  | 18 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clampsat 1.00 m spacing. This includes jointing of pipes & fittings with onestep CPVC solvent cement and the cost of cutting chases and makinggood the same including testing of joints complete as per directionof Engineer in Charge. Concealed work, including cutting chases and making good the walls-20mm (Concealed work) | meter | 5304 |  | Included | 0 | 0 | 0 | 0 | 0
76 | CIVIL WORKS | 120002104 | 995424 |  | 18 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall: 25 mm nominal dia Pipes (Exposed on wall) | Meter | 3896.64 |  | Included | 0 | 0 | 0 | 0 | 0
77 | CIVIL WORKS | 120002103 | 995424 |  | 18 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall: 20 mm nominal dia Pipes (Exposed on wall) | Meter | 3896.64 |  | Included | 0 | 0 | 0 | 0 | 0
78 | CIVIL WORKS | 120000765 | 995476 |  | 18 |  | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately): Second class teak wood 35 mm thick shutters | SQM | 104.16 |  | Included | 0 | 0 | 0 | 0 | 0
79 | CIVIL WORKS | 120000778 | 995476 |  | 18 |  | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : / Ply wood 7 ply, 9 mm thick Decorative plywood one side decorative veneer and commercial veneer on other face (Type 1) conforming to IS 1328 BWR Type | SQM | 235.2 |  | Included | 0 | 0 | 0 | 0 | 0
80 | CIVIL WORKS | 120000820 | 995476 |  | 18 |  | Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary screws : / 35 mm thick shutters with ISI Second class teak wood | SQM | 235.2 |  | Included | 0 | 0 | 0 | 0 | 0
81 | CIVIL WORKS | 120000756 | 995476 |  | 18 |  | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs orwith dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately) / second class teak wood | cum | 6.3 |  | Included | 0 | 0 | 0 | 0 | 0
82 | CIVIL WORKS | 120003397 | 995421 |  | 18 |  | Polishing in high gloss/matt finish melamine clear polish on wood work in required color/wooden shade texture with following process in the sequence as detailed below: 1. The surface to be polished is rubbed with sand paper 80/120 no. and then with sand paper of 160/180 nos. 2. Applying two coats of sealer with spray gun and allowing sufficient drying time for 1st coat and 2nd coat is allowed to dry for 8 to 12 hrs 3. On drying of sealer coat, wet rubbing with emery cloth of finer grading with ample water to remove excess sealer layer and make the surface further smooth after this wet rubbing, then surface is applied with special grade melamine fillers to fill all the small and big holes/grooves etc. Filler coat to be allowed to dry for 4 to 6 hrs on which again a light wet rubbing is done this surface is further allowed to dry for 12 hrs 4. On this, 1st coat of melamine polish is applied with spray gun using melamine clear polish and melamine thinner in required proportion. This 1st coat is allowed to dry for 24 hrs then this dry surface is again fine wet rubbed smooth, which is further allowed to dry for 12 hrs. The final melamine polish is applied with compressor pressure spray gun using melamine clear polish and melamine thinner mixed in required proportion complete as per direction of Engineer-in-Charge. (Final coat to be done in 1 or 2 layers without gap of time.) | Sqm | 940.8 |  | Included | 0 | 0 | 0 | 0 | 0
83 | CIVIL WORKS | 120000607 | 995456 |  | 18 |  | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | CUM | 188.32 |  | Included | 0 | 0 | 0 | 0 | 0
84 | CIVIL WORKS | 120001400 | 995472 |  | 18 |  | 12 mm cement plaster of mix : cement plaster of mix : 1:6 Cement Plaster (In Fine sand) | SQM | 626.4 |  | Included | 0 | 0 | 0 | 0 | 0
85 | CIVIL WORKS | 120000533 | 995454 |  | 18 |  | Providing precast cement concrete Jali 1:2:4 (1 cement : 2 coarse sand(zone-III) : 4 graded stone aggregate 6mm nominal size ), reinforced with 1.6 mm dia mild steel wire, including centering and shuttering, roughening cleaning, fixing and finishing in cement mortar 1:3 (1 cement: 3 fine sand) etc. complete, excluding plastering of the jambs, sills and soffits. 40mm thick | SQM | 868.8 |  | Included | 0 | 0 | 0 | 0 | 0
86 | CIVIL WORKS | 120000738 | 995474 |  | 18 |  | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/white/Ruby red | SQM | 895.44 |  | Included | 0 | 0 | 0 | 0 | 0
87 | CIVIL WORKS | 120000741 | 995474 |  | 18 |  | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge Granite work | meter | 1973.6 |  | Included | 0 | 0 | 0 | 0 | 0
88 | CIVIL WORKS | 120001522 | 995473 |  | 18 |  | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | Sqm | 73938 |  | Included | 0 | 0 | 0 | 0 | 0
89 | CIVIL WORKS | 120003240 | 995419 |  | 18 |  | Wall painting _OLD work_with plastic emulsion paint of approved brand and manufacture to give an even shade : One or more coats on old work | Sq.m. | 38227.4 |  | Included | 0 | 0 | 0 | 0 | 0
90 | CIVIL WORKS | 120003233 | 995419 |  | 18 |  | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Sq.m. | 73938 |  | Included | 0 | 0 | 0 | 0 | 0
91 | CIVIL WORKS | 120003290 | 995419 |  | 18 |  | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | Sq.m. | 35661 |  | Included | 0 | 0 | 0 | 0 | 0
92 | CIVIL WORKS | 120001523 | 995419 |  | 18 |  | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand | Sq.m. | 1300 |  | Included | 0 | 0 | 0 | 0 | 0
93 | CIVIL WORKS | 120001489 | 995473 |  | 18 |  | Wall painting _New Work_with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | SQM | 626.4 |  | Included | 0 | 0 | 0 | 0 | 0
94 | CIVIL WORKS | 120001637 | 995419 |  | 18 |  | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | SQM | 20495 |  | Included | 0 | 0 | 0 | 0 | 0
95 | CIVIL WORKS | 120000955 | 995476 |  | 18 |  | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | Each | 944 |  | Included | 0 | 0 | 0 | 0 | 0
96 | CIVIL WORKS | 120000988 | 995476 |  | 18 |  | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : / 250x16 mm | Each | 944 |  | Included | 0 | 0 | 0 | 0 | 0
97 | CIVIL WORKS | 120001135 | 995476 |  | 18 |  | Providing and fixing pressed steel door frames conforming to IS: 4351,manufactured from commercial mild steel sheet of 1.60 mm thickness,including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile B Fixing with adjustable lugs with split end tail to each jamb | metre | 470.4 |  | Included | 0 | 0 | 0 | 0 | 0
98 | CIVIL WORKS | 5000000080 | 995428 |  | 18 |  | Buy back of Dismantled MS Frame of Door, Window, Ventilator and Sanitary Fittings of Toilet & Kitchen etc. including transportation and producing of weigh Slip all as per instruction of Engineer-In-Charge etc. complete. (The scrap material shall be buy backed by the Contractor which shall include weighing the material in weighbridge, producing the weight slip and transporting it outside the township. The quantity mentioned is indicative only, however, payment shall be received or recovered from the Contractor on the basis of actual scrap weight multiplied by rate offered per unit plus applicable GST) | KG | -11840 |  | Included | 0 |  | 0 | 0
99 | ELECTRICAL WORKS | 1000070557 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of FRLS PVC insulated copper conductor single core cable 1.5 Sq MM Wire ( R, Y, B, G) | Bundle | 224 |  | Included | 0 | 0 | 0 | 0 | 0
100 | ELECTRICAL WORKS | 1000070557 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of FRLS PVC insulated copper conductor single core cable 2.5 Sq MM Wire ( R, Y, B, G) | Bundle | 100 |  | Included | 0 | 0 | 0 | 0 | 0
101 | ELECTRICAL WORKS | 1000070557 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of FRLS PVC insulated copper conductor single core cable 4 Sq MM Wire ( R, Y, B, G) | Bundle | 40 |  | Included | 0 | 0 | 0 | 0 | 0
102 | ELECTRICAL WORKS | 1000070557 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of FRLS PVC insulated copper conductor single core cable 6 Sq MM Wire ( R, Y, B, G) | Bundle | 20 |  | Included | 0 | 0 | 0 | 0 | 0
103 | ELECTRICAL WORKS | 1000070557 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of FRLS PVC insulated copper conductor single core cable 10 Sq MM Wire ( R, Y, B, G) | Bundle | 4 |  | Included | 0 | 0 | 0 | 0 | 0
104 | ELECTRICAL WORKS | 1000070572 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 5/6 A Modular switch | NO | 5000 |  | Included | 0 | 0 | 0 | 0 | 0
105 | ELECTRICAL WORKS | 1000070560 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 2 way 5/6 A Modular switch | NO | 600 |  | Included | 0 | 0 | 0 | 0 | 0
106 | ELECTRICAL WORKS | 1000070572 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 15/16 A Modular switch | NO | 1600 |  | Included | 0 | 0 | 0 | 0 | 0
107 | ELECTRICAL WORKS | 1000070565 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 3 pin 5/6 A Modular socket | NO | 2500 |  | Included | 0 | 0 | 0 | 0 | 0
108 | ELECTRICAL WORKS | 1000070575 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 6 pin 15/16 A Modular socket | NO | 1600 |  | Included | 0 | 0 | 0 | 0 | 0
109 | ELECTRICAL WORKS | 1000070608 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of Telephone Modular socket | NO | 500 |  | Included | 0 | 0 | 0 | 0 | 0
110 | ELECTRICAL WORKS | 1000070608 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of TV antenna Modular socket | NO | 500 |  | Included | 0 | 0 | 0 | 0 | 0
111 | ELECTRICAL WORKS | 1000070572 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of Bell push Modular Switch | NO | 114 |  | Included | 0 | 0 | 0 | 0 | 0
112 | ELECTRICAL WORKS | 1000070572 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of Modular Blanker | NO | 250 |  | Included | 0 | 0 | 0 | 0 | 0
113 | ELECTRICAL WORKS | 1000070556 | 85437034 |  | 18 |  | Supply, Testing, Installation and Commissioning of GI box 1 or 2 Module (75mmX75mm) along with modular base & cover plate for modular switches | NO | 500 |  | Included | 0 | 0 | 0 | 0 | 0
114 | ELECTRICAL WORKS | 1000070564 | 85437034 |  | 18 |  | Supply, Testing, Installation and Commissioning of GI box 3 Module (100mmX75mm) along with modular base & cover plate for modular switches | NO | 650 |  | Included | 0 | 0 | 0 | 0 | 0
115 | ELECTRICAL WORKS | 1000070568 | 85437034 |  | 18 |  | Supply, Testing, Installation and Commissioning of GI box 4 Module (125mmX75mm) along with modular base & cover plate for modular switches | NO | 1280 |  | Included | 0 | 0 | 0 | 0 | 0
116 | ELECTRICAL WORKS | 1000070574 | 85437034 |  | 18 |  | Supply, Testing, Installation and Commissioning of GI box 6 Module (200mmX75mm) along with modular base & cover plate for modular switches | NO | 650 |  | Included | 0 | 0 | 0 | 0 | 0
117 | ELECTRICAL WORKS | 1000070577 | 85437034 |  | 18 |  | Supply, Testing, Installation and Commissioning of GI box 8 Module (125mmX125mm) along with modular base & cover plate for modular switches | NO | 650 |  | Included | 0 | 0 | 0 | 0 | 0
118 | ELECTRICAL WORKS | 1000070558 | 85437034 |  | 18 |  | Supply, Testing, Installation and Commissioning of GI box 12 Module (200mmX150mm) along with modular base & cover plate for modular switches | NO | 600 |  | Included | 0 | 0 | 0 | 0 | 0
119 | ELECTRICAL WORKS | 1000070606 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of Single pole 5/6A MCB , 240 V, 10 kA, "C" curve | NO | 146 |  | Included | 0 | 0 | 0 | 0 | 0
120 | ELECTRICAL WORKS | 1000070606 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of Single Pole 10A MCB , 240 V, 10 kA, "C" curve | NO | 178 |  | Included | 0 | 0 | 0 | 0 | 0
121 | ELECTRICAL WORKS | 1000070606 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of Single Pole 16A /25A MCB , 240 V, 10 kA, "C" curve | NO | 178 |  | Included | 0 | 0 | 0 | 0 | 0
122 | ELECTRICAL WORKS | 1000070606 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of Single Pole 32A MCB , 240 V, 10 kA, "C" curve | NO | 378 |  | Included | 0 | 0 | 0 | 0 | 0
123 | ELECTRICAL WORKS | 1000070579 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of DB pole 5/6A MCB , 240 V, 10 kA, "C" curve | NO | 114 |  | Included | 0 | 0 | 0 | 0 | 0
124 | ELECTRICAL WORKS | 1000070569 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 4 pole 40A MCB , 415 V, 10 kA, "C" curve | NO | 10 |  | Included | 0 | 0 | 0 | 0 | 0
125 | ELECTRICAL WORKS | 1000070569 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 4 pole 63A MCB , 415 V, 10 kA, "C" curve | NO | 10 |  | Included | 0 | 0 | 0 | 0 | 0
126 | ELECTRICAL WORKS | 1000070581 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of DB pole 25A RCCB , 240 V, 10 kA, 30mA Sensitivity | NO | 6 |  | Included | 0 | 0 | 0 | 0 | 0
127 | ELECTRICAL WORKS | 1000070581 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of DB pole 40A RCCB , 240 V, 10 kA, 30mA Sensitivity | NO | 120 |  | Included | 0 | 0 | 0 | 0 | 0
128 | ELECTRICAL WORKS | 1000070583 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 4 pole 40A RCCB , 415 V, 10 kA, 30mA Sensitivity | NO | 6 |  | Included | 0 | 0 | 0 | 0 | 0
129 | ELECTRICAL WORKS | 1000070583 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 4 pole 63A RCCB , 415 V, 10 kA, 30mA Sensitivity | NO | 120 |  | Included | 0 | 0 | 0 | 0 | 0
130 | ELECTRICAL WORKS | 1000070589 | 85479020 |  | 18 |  | Supply, Testing, Installation and Commissioning of 20mm Medium class PVC conduit | Bundle | 10 |  | Included | 0 | 0 | 0 | 0 | 0
131 | ELECTRICAL WORKS | 1000070589 | 85479020 |  | 18 |  | Supply, Testing, Installation and Commissioning of 20 mm PVC bend | Packet | 20 |  | Included | 0 | 0 | 0 | 0 | 0
132 | ELECTRICAL WORKS | 1000070589 | 85479020 |  | 18 |  | Supply, Testing, Installation and Commissioning of 20 MM 4 way PVC junction box | Packet | 20 |  | Included | 0 | 0 | 0 | 0 | 0
133 | ELECTRICAL WORKS | 1000070590 | 85479020 |  | 18 |  | Supply, Testing, Installation and Commissioning of 25 mm Medium class PVC conduit | Bundle | 15 |  | Included | 0 | 0 | 0 | 0 | 0
134 | ELECTRICAL WORKS | 1000070590 | 85479020 |  | 18 |  | Supply, Testing, Installation and Commissioning of 25 mm PVC bend | Packet | 30 |  | Included | 0 | 0 | 0 | 0 | 0
135 | ELECTRICAL WORKS | 1000070590 | 85479020 |  | 18 |  | Supply, Testing, Installation and Commissioning of 25 MM 4 way PVC junction box | Packet | 30 |  | Included | 0 | 0 | 0 | 0 | 0
136 | ELECTRICAL WORKS | 1000070605 | 85371000 |  | 18 |  | Supply, Testing, Installation and Commissioning of single pole and neutral, sheet steel, 8 way , Double door MCB distribution board, 240 V, on surface/ recess, complete with tinned cop, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB /RCCB/ Isolator) | No | 80 |  | Included | 0 | 0 | 0 | 0 | 0
137 | ELECTRICAL WORKS | 1000070605 | 85371000 |  | 18 |  | Supply, Testing, Installation and Commissioning of single pole and neutral, sheet steel, 12 way , Double door MCB distribution board, 240 V, on surface/ recess, complete with tinned cop, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB /RCCB/ Isolator) | No | 32 |  | Included | 0 | 0 | 0 | 0 | 0
138 | ELECTRICAL WORKS | 1000070607 | 85371000 |  | 18 |  | Supplying of surface/ recess mounting, vertical type, 415 V, TPN 4 way (4 + 12), Double door MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . | No | 80 |  | Included | 0 | 0 | 0 | 0 | 0
139 | ELECTRICAL WORKS | 1000070607 | 85371000 |  | 18 |  | Supplying of surface/ recess mounting, vertical type, 415 V, TPN 8 way (4 + 24), Double door MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . | No | 32 |  | Included | 0 | 0 | 0 | 0 | 0
140 | ELECTRICAL WORKS | 1000070571 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 4 Core, 4 Sq MM unarmoured FRLS PVC insulated and PVC sheathed Copper Cable of 1.1 KV grade | Meter | 1200 |  | Included | 0 | 0 | 0 | 0 | 0
141 | ELECTRICAL WORKS | 1000070566 | 85369090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 32 A Tiny SP MCB suitable for modular plate | No | 830 |  | Included | 0 | 0 | 0 | 0 | 0
142 | ELECTRICAL WORKS | 100017889 | 94051090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 15 W, CW, surface / recessed mounted LED downlighter (Bathroom, Balconies, Entrance, Common passage, Lift Loby & Stair Case) with ring. | No | 1050 |  | Included | 0 | 0 | 0 | 0 | 0
143 | ELECTRICAL WORKS | 100017889 | 94051090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 12/15/18 W, CW / WW, Surface mounted Fancy LED light with accessories ( Living room or bed room) | No | 144 |  | Included | 0 | 0 | 0 | 0 | 0
144 | ELECTRICAL WORKS | 100017889 | 94051090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 15 W, CW / WW, wall mounted decorative LED light with accessories (Bed Room & Drawining & Dinning Hall) with ring. | No | 900 |  | Included | 0 | 0 | 0 | 0 | 0
145 | ELECTRICAL WORKS | 100017894 | 94051090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 18/20 W, CW / WW, LED Tube light with fixture (Bed Room & Living room) | No | 970 |  | Included | 0 | 0 | 0 | 0 | 0
146 | ELECTRICAL WORKS | 100017894 | 94051090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 9/10 W, CW / WW, LED Tube light with fixture (Bathroom ) with ring. | Each | 300 |  | Included | 0 | 0 | 0 | 0 | 0
147 | ELECTRICAL WORKS | 100017889 | 94051090 |  | 18 |  | Supply, Testing, Installation and Commissioning of 18 W, CW Surface / recessed mounted LED downlighter (Kitchen) with ring | Each | 112 |  | Included | 0 | 0 | 0 | 0 | 0
148 | ELECTRICAL WORKS | 1000070561 | 84145120 |  | 18 |  | Supply, Testing, Installation and Commissioning of 24 inch Ceiling Fan (Store Room) | Each | 112 |  | Included | 0 | 0 | 0 | 0 | 0
149 | ELECTRICAL WORKS | 1000070576 | 84145120 |  | 18 |  | Supply, Testing, Installation and Commissioning of 10 inch Exhaust Fan (Bathroom) | Each | 32 |  | Included | 0 | 0 | 0 | 0 | 0
150 | ELECTRICAL WORKS | 1000070576 | 84145120 |  | 18 |  | Supply, Testing, Installation and Commissioning of 8 inch Exhaust Fan (Kitchen) | Each | 112 |  | Included | 0 | 0 | 0 | 0 | 0
151 | ELECTRICAL WORKS | 1000070576 | 84145120 |  | 18 |  | Supply, Testing, Installation and Commissioning of 6 inch Exhaust Fan (Bath room ) | Each | 346 |  | Included | 0 | 0 | 0 | 0 | 0
152 | ELECTRICAL WORKS | 1000070562 | 85167990 |  | 18 |  | Supply, Testing, Installation and Commissioning of 25 Litre Vertical Water Heater (Geyser) ABS Body¦BEE 5 Star Superior Energy Efficiency, Enhanced Durability with blue diamond Tank Coating and Suitable High rise Buildings (Bathroom) | Each | 144 |  | Included | 0 | 0 | 0 | 0 | 0
153 | ELECTRICAL WORKS | 1000070573 | 85167990 |  | 18 |  | Supply, Testing, Installation and Commissioning of 6 Litre 3KW Instant Water Heater (Geyser) with ABS outer Body, Compact Size, Suitable for High rise Buildings (Kitchen). | Each | 112 |  | Included | 0 | 0 | 0 | 0 | 0
154 | ELECTRICAL WORKS | 1000070585 | 73211120 |  | 18 |  | Supply, Testing, Installation and Commissioning of G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessorie with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt | NO | 15 |  | Included | 0 | 0 | 0 | 0 | 0
155 | ELECTRICAL WORKS | 1000070563 | 73211120 |  | 18 |  | Supply, Testing, Installation and Commissioning of 25 mm X 5 mm G.I. strip | Meter | 400 |  | Included | 0 | 0 | 0 | 0 | 0
[7 empty] | Total Price |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Printed Name :
| 0 | 0 | 0 | [5 empty] | Designation :
Click for Sch-2

## Sch-1(Disc) (hidden)
CC/NT/W-MISC/DOM/A17/23/09668 |  |  |  |  | Schedule - 1 |  | Direct Total | #REF! | Sole Bidder | `
[7 empty] | BO Total | #REF! | 0
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd., |  |  |  |  | , &
Address : |  |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Price Break-up for individual items | [7 empty] | Direct
|  |  |  | All Prices are in Indian Rupees. |  |  |  | Bought-Out
SI. No. | Item Description | Unit | Qty. (for all locations) | Unit Rate | Total Price | 0
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5
1 | #REF! | Nos. | #REF!
1.1 | #REF!
a) | Providing wall mounted decorative chimney of size 595 x 495 x 400 mm with maximun suction of 1100 cu.mtr per hour , SS Baffle filter , mettalic blower push buttons and energy efficient led lamps all necessary fittings etc complete all as per instrcution of Engineer-in-Charge. (Basic rate of wall mounted decorative chimney excl. 18% GST is Rs. 15168.64) | Meter | 112 | 0 | Included | 0
0
1.2 | Labour for Installation of Wall mounted Decorative Chimney all complete as per direction of Engineer-in-charge. | Meter | 112 | 0 | Included | 0
0
1.3 | Providing white vitreous china pedestal type water closet size 67 x 35 x 75 cm (S-22) (European type W.C. pan) with seat and lid, 4 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), with all fittings and fixtures complete, including cutting and making good the walls ,floors & including stacking of old EWC within 500 metres lead all as per instrcution of Engineer-in-Charge.: W.C. pan with ISI marked white solid plastic seat and lid (Basic Price Rs. 11694.92 excl. 18% GST) | Cu.M | 96 | 0 | Included | 0
0
1.4 | Labour for Removing & fixing white vitreous china pedestal type (European type W.C. pan) water closet all complete as per direction of Engineer-in-charge. | Cu.M | 96 | 0 | Included | 0
0
1.5 | Providing white vitreous china pedestal type water closet size 67 x 35 x 75 cm (S-22) (European type W.C. pan) with seat and lid, 6 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), with all fittings and fixtures complete, including cutting and making good the walls ,floors & including stacking of old EWC within 500 metres lead all as per instrcution of Engineer-in-Charge.: W.C. pan with ISI marked white solid plastic seat and lid (Basic Price Rs. 12228.81 excl. 18% GST) | Sq.M. | 224 | 0 | Included | 0
0
1.6 | Labour for Removing & fixing white vitreous china pedestal type water close all complete as per direction of Engineer-in-charge. | MT | 224 | 0 | Included | 0
0
1.7 | Providing premium Nylon Thread Braided PVC Pipe mm Connection Pipe With Nut suitable for hot and cold mixers for basin, gysers, flush tank etc. 18 inches long all including stacking of old connection pipe within 500 metres lead as per instrcution of Engineer-in-Charge. (Basic price of PVC connection pipe Rs. 63.56 excl. 18% GST) | Cu.M. | 1664 | 0 | Included | 0
0
1.8 | Labour for fixing PVC Pipe Connection Pipe all complete as per direction of Engineer-in-charge. | Cu.M. | 1664 | 0 | Included | 0
0
1.9 | Providing C.P.brass shower 15mm including connecting rod , plate all necessary fittings etc & stacking of old shower within 500 metres lead.complete all as per instrcution of Engineer-in-Charge. (Basic price of C.P.brass shower Rs. 550.85 excl. 18% GST) | Nos. | 256 | 0 | Included | 0
0
1.1 | Labour for Removing & fixing C.P.brass shower all complete as per direction of Engineer-in-charge. | MT | 256 | 0 | Included | 0
0
1.11 | #REF! | No. | #REF! | #REF! | #REF! | #REF!
0
0
2 | #REF! | Nos. | #REF! | #REF! |  | #REF!
2.1 | #REF! |  |  |  |  | 0
a) | #REF! | Meter | #REF! | #REF! | #REF! | #REF!
0
2.2 | #REF! | Meter | #REF! | #REF! | #REF! | #REF!
0
2.3 | #REF! | Cu.M | #REF! | #REF! | #REF! | #REF!
0
2.4 | #REF! | Cu.M | #REF! | #REF! | #REF! | #REF!
0
2.5 | #REF! | Sq.M. | #REF! | #REF! | #REF! | #REF!
0
2.6 | #REF! | MT | #REF! | #REF! | #REF! | #REF!
0
2.7 | #REF! | Cu.M. | #REF! | #REF! | #REF! | #REF!
0
2.8 | #REF! | Cu.M. | #REF! | #REF! | #REF! | #REF!
0
2.9 | #REF! | Nos. | #REF! | #REF! | #REF! | #REF!
0
2.1 | #REF! | MT | #REF! | #REF! | #REF! | #REF!
0
2.11 | #REF! | No. | #REF! | #REF! | #REF! | #REF!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Price |  |  |  | #REF!
Date : | #REF!
Place : |  |  | Printed Name :
Designation :
Click for Sch-2

## Sch-2
CC/NT/W-MISC/DOM/A17/23/09668 |  |  |  | Schedule - 2
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
(SUMMARY OF TAXES & DUTIES)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
MM dept
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON SERVICES |  |  |  | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST on Services (indentified in Schedule-1) which are not included in the prices as per the provision of the Bidding Documents, as applicable |  | 0
| GRAND TOTAL |  | 0
Printed Name :
Designation :

## Sch-5 Dis (hidden)
CC/NT/W-MISC/DOM/A17/23/09668 |  |  |  | Schedule - 5
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
MM dept
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  |  | After MPDiscount
1 | TOTAL EXCISE DUTY |  | #REF! |  | Excise Duty |  | #REF! | Excise Duty |  | #REF!
Total Excise Duty for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
| Rate of Excise Duty for Direct items indicated in Sch-1 | #REF!
2 | TOTAL SALES TAX |  | #REF! |  | Sales Tax |  | 0 | Sales Tax |  | 0
| Total Sales Tax for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  |  |  | #REF! |  | 0 | #REF! |  | 0
| Amount on which Sales Tax is applicable [only ex-w price] | #REF! |  |  | Amount | #REF! |  | Amount | #REF!
| #REF! | #REF! |  |  | ED | #REF! |  | ED | #REF!
| Rate of Sales Tax | #REF!
3 | TOTAL VAT |  | #REF! |  | Vat |  | 0 | Vat |  | 0
| Total VAT for direct transaction between the Contractor and the Employer (identified in Schedule 1 as 'Direct') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable |  |  |  | #REF! |  | 0 | #REF! |  | 0
| Amount on which VAT is applicable [only ex-w price] | #REF! |  |  | Amount | #REF! |  | Amount | #REF!
| #REF! | #REF! |  |  | ED | #REF! |  | ED | #REF!
| Rate of VAT | #REF!
4 | TOTAL OCTROI |  | #REF!
Total Octroi as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1.
| Amount on which Octroi is applicable | Click here for details of Octroi
5 | TOTAL ENTRY TAX |  | #REF!
Total Entry Tax as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1.
| Amount on which Entry Tax is applicable | Click here for details of Entry Taxes
6 | TOTAL OTHER TAXES & DUTIES |  | #REF!
Total Others levies payable in India (please specify) as applicable for destination site/state on all items of supply, as per the provisions of the Bidding Documents, on all items of Schedule 1.
| Amount on which Other Taxes & Duties are applicable | Click here for details of Other Taxes & Duties
| GRAND TOTAL [1+2+3] |  | #REF! |  | Grand Total after Discount |  | #REF! | Grand Total after MPD |  | #REF!
| Above Grand Total does not include Octroi, Entry Tax , Other Taxes & Duties quoted by bidder at Sl. No. 4,5 & 6 above |  | Plus Octroi, Entry Tax , Other Taxes & Duties quoted by bidder at Sl. No. 4,5 & 6 above
Note : | The reimbursement of Excise Duty, Sales Tax/VAT and other levies as per Sl. No. 1, 2 & 3 above subject to provision of ITB Clause 11.4 shall be only against those items for which the Mode of Transaction indicated in Schedule - 1 is 'Direct'. In case of those items in the said Sechedule-1 against which the mode of transaction has been left blank, the same shall be deemed to be 'Bought-out' for the purpose of Evaluation and award of Contract and the price indicated in Schedule 1 against such items shall be deemed to be inclusive of all such taxes, duties and levies.
Date : | #REF! | Printed Name :
Place : | #REF! | Designation :
Click for Sch-6

## Sch-3
CC/NT/W-MISC/DOM/A17/23/09668 |  |  | Schedule -3
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
(GRAND SUMMARY )
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
MM dept
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
2 | TOTAL SCHEDULE NO. 2 (Taxes and Duties) |  | 0
| Total Price [1+2] |  | 0
2 | TOTAL SCHEDULE NO. 2 |  | #REF!
Local Transportation, Insurance and other Incidental Services
3 | TOTAL SCHEDULE NO. 3 |  | #REF!
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | Not Applicable
Training Charges
5 | TOTAL SCHEDULE NO. 5 |  | #REF!
| Taxes and Duties |  | Plus Octroi, Entry Tax , Other Taxes & Duties quoted by bidder at Sl. No. 4,5 & 6 of Sch-5
6 | TOTAL SCHEDULE NO. 7 |  | #REF!
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Plus Octroi, Entry Tax , Other Taxes & Duties quoted by bidder at Sl. No. 4,5 & 6 of Sch-5
Printed Name :
Designation :

## Sch-3 After Discount
CC/NT/W-MISC/DOM/A17/23/09668 |  |  | Schedule - 3 After Discount
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
(GRAND SUMMARY : AFTER DISCOUNT)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
MM dept
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
2 | TOTAL SCHEDULE NO. 2 | (Taxes and Duties) | 0
| Total Price [1+2] |  | 0
2 | TOTAL SCHEDULE NO. 2 |  | #REF!
Local Transportation, Insurance and other Incidental Services
3 | TOTAL SCHEDULE NO. 3 |  | #REF!
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | Not Applicable
Training Charges
5 | TOTAL SCHEDULE NO. 5 |  | #REF!
| Taxes and Duties |  | Plus Octroi, Entry Tax , Other Taxes & Duties quoted by bidder at Sl. No. 4,5 & 6 of Sch-5
6 | TOTAL SCHEDULE NO. 7 |  | #REF!
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | #REF!
Plus Octroi, Entry Tax , Other Taxes & Duties quoted by bidder at Sl. No. 4,5 & 6 of Sch-5
Printed Name :
Designation :

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
CC/NT/W-MISC/DOM/A17/23/09668 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services
Power Grid Corporation of India Ltd.,
"Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
Subject : |  | Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us. In Rs. |  |  |  | 0 | 0% | 0%
| 2 | Discount on percent basis on total price quoted by us . In Percent (%) |  |  |  | 0 | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices (Direct Only) |  | In Rs. |  | 0 | 0% | Schedule-1 : (Direct Only) | #REF!
|  | Schedule-1 : Ex works prices (Bought Out Only) |  | In Rs. |  | #REF! | #REF! | Schedule-1 : (Bought Out Only) | #REF!
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | #REF! | #REF! | Schedule-2 : Freight & Insurance | #REF!
|  | Schedule-3 : Erection Charges |  | In Rs. |  | #REF! | #REF! | Schedule-3 : Erection Charges | #REF!
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | #REF! | #REF! | Schedule-6 : Type Test Charges | #REF!
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices (Direct Only) |  | In Percent (%) |  | 0 | 0%
|  | Schedule-1 : Ex works prices (Bought Out Only) |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | #REF! | 0%
| 5 | Multipackage discount applicable on this package (TW04) only if other packages covered under the same bidding document is also awarded to us. Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [This discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3 & Sch-7] IN Rs. |  |  |  | #REF! | #REF!
| 3 | Multipackage discount applicable on this package (TW04) only if other packages covered under the same bidding document is also awarded to us. Discount on percent basis on total price quoted by us without Taxes & Duties. [This discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3 & Sch-7] In Percent (%) |  |  |  | #REF! | 0%
Discount(s) offered at sl. No. 1 to 2 will automatically get displayed and accounted for in the respective items of the Schedules.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Printed Name :
Designation :
Click for Bid Form

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (5)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
CC/NT/W-MISC/DOM/A17/23/09668 |  |  |  |  | Bid Form 2nd Envelope | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[6 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [9 empty] | 3 | rd |  | 3 | March
[10 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [9 empty] | 5 | th |  | 5 | May
Date : | [9 empty] | 6 | th | 0 | 6 | June
[10 empty] | 7 | th | 1 | 7 | July
To: | [9 empty] | 8 | th | January | 8 | August
MM dept | [9 empty] | 9 | th | 1900 | 9 | September
Power Grid Corporation of India Ltd., | [9 empty] | 10 | th |  | 10 | October
"Saudamini", Plot No.-2 | [9 empty] | 11 | th |  | 11 | November
Sector-29, | [9 empty] | 12 | th |  | 12 | December
Gurgaon (Haryana) - 122001 | [9 empty] | 13 | th
[10 empty] | 14 | th
Name of Contract : |  | Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon | [7 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [9 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute Pile foundation, Civil and other allied works associated with the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rs. Zero Only ) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute Pile foundation, Civil and other allied works associated with the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rs. Zero Only ) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [8 empty] | 18 | th
2 | Price Schedules | [8 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [8 empty] | 20 | th
| Schedule 1 |  | Price Components (Price Break-up) | [6 empty] | 21 | st
| Schedule 2 |  | Taxes and duties not included in Schdule 1
| Schedule 3 |  | Grand Summary | [6 empty] | 26 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [8 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.4.2, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix 2 (Price Adjustment) to the Contract agreement. | [8 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [8 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [8 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us, our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on Services specified in Schedule No. 1 of the Price Schedule in this Second Envelope, by the Indian Laws.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Printed Name :
Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
* * *
Back to Cover Page

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | #REF! |  | #REF!
3 | TOTAL SCHEDULE NO.3: Installation Charges | #REF! |  | #REF!
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | #REF! |  | #REF!
6 | DISCOUNT | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX /VAT | #REF! |  | #REF!
| C) ENTRY TAX / OCTROI | #REF! |  | #REF!
| D) OTHERS | #REF! |  | 0
| E) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | #REF! |  | #REF!
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
a) | Excise Duty |  | Rs. | #REF!
b) | CST /VAT |  | Rs. | #REF!
c) | Entry Tax / Octroi |  | Rs. | #REF!
d) | Others |  | Rs. | #REF!
II) | Bidder has offered following discount(s)
III) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 1% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated : |  |  |  | Details of dicounts
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0 | Gross LS | #REF! | #REF! | #REF! | Gross % | #REF! | #REF! | #REF!
b) | Excise Duty @ 10.3% of (a) above |  | Rs. | 0 |  |  |  | #REF! |  |  |  | #REF!
c) | CST / VAT @ 2% of Ex-Works of Direct Supplies (a) + ED (b) above |  | Rs. | #REF! | Sch-1 Direct LS | #REF! | #REF! | #REF! | Sch-1 Direct % | #REF! | #REF! | #REF!
d) | Others |  | Rs. |  | Sch-1 BO LS | #REF! | #REF! | #REF! | Sch-1 BO % | #REF! | #REF! | #REF!
e) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF! | Sch-2 LS | #REF! | #REF! | #REF! | Sch-2 % | #REF! | #REF! | #REF!
f) | Entry Tax @ 1% of (e) above |  | Rs. | #REF! | Sch-3 LS | #REF! | #REF! | #REF! | Sch-3 % | #REF! | #REF! | #REF!
[5 empty] | Sch-7 LS | #REF! | #REF! | #REF! | Sch-7 % | #REF! | #REF! | #REF!
Renovation Works of C, D & E Type towers of POWERGRID Township at Sector 43 Gurgaon |  | Statement of Quoted / Corrected Prices |  | Page | Different Manner | #REF!
[5 empty] | Text for Discount | #REF!
#REF!
#REF!

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred