## Sheet1 (hidden)
RFX. No. 5002004298
Name of the Package | Balance work for construction of Security Barrack at 400 KV GIS Substation Chandwa under JIPP A1 Project

## Basic
RFX. No. 5002004298
Balance work for construction of Security Barrack at 400 KV GIS Substation Chandwa under JIPP A1 Project
General Guidelines for filling up the Price Schedule and other attachments.
1 | Fill only Green shaded cells in Details and Schedule-I.
2 | All the cells in Summary will be auto filled, therefore no cell is required to be filled in that sheet.
3 | Instructions ,if any will be displayed automatically after selecting the cell.
Click here to proceed.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)

## Details
RFX. No. 5002004298
Balance work for construction of Security Barrack at 400 KV GIS Substation Chandwa under JIPP A1 Project
Enter the following details of the bidder
Name of the bidder
Address
Contact No.
E-mail
Alternative E-mail
Printed Name
Designation
Place
Date

## CIVIL
BOQ OF BALANCE WORK FOR 20 BEDED SECURITY GUARD RESIDENCE FOR GIS CHANDWA
S.N. | DSR23 | DSR Rate | DESCRIPTION | UNIT | QTY | Rate | AMOUNT
SECTION-I (EARTH WORK AND SAND FILLING IN FOUNDATION AND PLINTH)
1 | 2.8 |  | Earth work in excavation by mechanical means ( Hydraulic excavator)/ manual means in foundation trenches or drains (not exceding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | 260.3 | All kinds of soil | Cum | 0 | 220.5932 | 0
2 | 2.26.1 | 104.5 | Extra for every additional lift of 1.5 m or part thereof in . All kinds of soil. | Cum | 22 | 88.5593 | 1948.3051
3 | 2.25 | 196 | Filling available excavated earth(excluding rock) in trenches , plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 0 | 166.1017 | 0
4 | 2.27 | 2123.75 | Supplying and filling in plinth with local sand under floors including, watering, ramming consolidating and dressing complete. | Cum | 87.1422 | 1799.7881 | 156837.4257
5 | 4.1 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering-all work upto plinth level. |  |  | 0
| 4.1.5 | 7294.7 | 1:3:6 ( 1 Cement:3 coarse sand: 6 graded stone aggregate 20 mm nominal size) | Cum | 0 | 6181.9492 | 0
6 | 4.1 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering-all work upto plinth level. |  |  | 0
| 4.1.3 | 7878.5 | 1:2:4 ( 1 Cement:2 coarse sand: 4 graded stone aggregate 20 mm nominal size) | Sqm | 15 | 6676.6949 | 100150.4237
7 | 5.1 |  | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centring, shuttering, finishing and reinforcement-all work upto plinth level. |  |  | 0
| 5.1.2 | 9045.75 | 1:1:5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size) | Cum | 10.622 | 7665.8898 | 81427.2351
8 | 6.1 |  | Brick work with F.P.S bricks of class designation 75 in foundation and plinth in: |  |  | 0
| 6.1.2 | 7132.25 | Cement mortar 1:6 ( 1 cement: 6 coarse sand) | Cum | 11 | 6044.2797 | 66487.0763
9 | DSR ANALYSIS | 551.32 | Providing brick of class designation 75 in one brick flat soling joints filled with local sand including cost of watering taxes royalty all complete as per specification and direction of Engineer-in-charge. | Sqm | 222.6144 | 467.2203 | 104009.9754
|  |  | SECTION-II (RCC / PCC WORK) |  |  | 0
10 | 5.2 |  | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts, etc. upto floor five level excluding cost of centring, shuttering, finishing, and reinforcement. |  |  | 0
| 5.2.2 | 10852.95 | 1:1:5:3 ( 1 cement: 1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size) | Cum | 0 | 9197.4153 | 0
11 | 5.3 | 11505.5 | Reinforced cement concrete work in roof beams, suspended floors, roofs having slope upto 15 degree, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor five level excluding the cost of centring, shuttering, finishing and reinforcement with 1:11/2:3 ( 1 cement: 11/2 coarse sand: 3 graded stone aggregate 20 mm nominal size). | Cum | 3.93 | 9750.4237 | 38319.1653
12 a) | 4.1 | 410.85 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 ( 1 cement: 2 coarse sand: 4 graded stone aggregate 12.5 mm nominal size) | Sqm | 3.74 | 348.178 | 1302.1856
(b) | 4.13 | 146.15 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | Sqm | 3.74 | 123.8559 | 463.2212
13 | 5.22 |  | Reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete. |  |  | 0
| 5.22.6 | 107.85 | Thermo-mechanically treated bars | Kg | 1800.34 | 91.3983 | 164548.0246
14 | 5.9 |  | Centring and shuttering including strutting, propping etc. and removal of form for: |  |  | 0
a | 5.9.1 | 392.15 | Foundation, footings, bases of columns etc. for mass concrete | Sqm | 0 | 332.3305 | 0
b | 5.9.3 | 927.25 | Suspended floors, roofs, landings, balconies and access platform. | Sqm | 4.2 | 785.8051 | 3300.3814
c | 5.9.4 | 927.25 | Shelves (Cast in situ) | Sqm | 35 | 785.8051 | 27503.178
d | 5.9.5 | 736.4 | Lintels, beams, plinth beams, girders, bressumers and cantilevers. | Sqm | 4.542 | 624.0678 | 2834.5159
e | 5.9.6 | 961.3 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sqm | 7.45 | 814.661 | 6069.2246
f | 5.9.7 | 764.95 | stairs,( excluding landing except spiral-staircases) | Sqm | 6.07 | 648.2627 | 3934.9547
g | 5.9.15 | 392.15 | Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like. | Sqm | 35 | 332.3305 | 11631.5678
h | 5.9.19 | 951.1 | Weather shade, Chajjas, corbels etc., including edges | Sqm | 2.359 | 806.0169 | 1901.394
|  |  | SECTION-III ( MASONRY WORK) |  |  | 0
15 | 6.4.2 | 9105.95 | Brick work with F.P.S. bricks of class designation 75, in superstructure above plinth level upto floor V level in all shapes and sizes in cement mortar 1:6 (1 cement: 6 coarse sand). | Cum | 27.648 | 7716.9068 | 213357.0386
16 | 6.13 |  | Half brick masonry with common burnt clay ( non modular) bricks of class disignation 7.5 in superstructure above plinth level up to floor V level |  |  | 0
| 6.13.2 | 1123.8 | Cement mortar 1:4 ( 1 cement: 4 coarse sand) | Sqm | 14.88 | 952.3729 | 14171.3085
|  |  | SECTION-IV (FLOORING WORK) |  |  | 0
17 | 11.26 |  | Kota stone slab flooring over 20 mm (average ) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1:4 ( 1 cement :4 coarse sand ): |  |  | 0
| 11.26.1 | 1948.25 | 25 mm thick | Sqm | 2.5 | 1651.0593 | 4127.6483
18 | 11.4 | 1075.1 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 ( 1 cement :2 coarse sand : 4 graded stone 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix. 1:2 9 1 cement hardener mix:2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturers specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | Sqm | 152 | 911.1017 | 138487.4576
19 | 11.37 | 1096.55 | Providing and laying ceramic glazed floor tiles 300x300 mm( thickness to be specified by the manufacturer )of 1st quality conforming to IS:15622 of approved make in colours such as white, ivory, grey, fume red brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement:4 Coarse sand )including pointing the joints in white cement mixed and matching pigment etc. complete. | Sqm | 20 | 929.2797 | 18585.5932
20 | 8.31 | 1267.95 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS:15622 ( thickness to be specified by the manufacture) of approved make in all colours, shades except begundy, bottle green,blackof any size as approved by Engineer-in-chage in skirting, risers of steps and dados over 12mm thick bed of Cement Mortar 1:3 (1 Cement:3 Coarse sand ) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | Sqm | 48 | 1074.5339 | 51577.6271
21 | 11.6 |  | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 ( 1 cement : 3 coarse sand ) finished with a floating coat of neat cement |  |  | 0
| 11.6.1 | 662.05 | 18 mm thick | Sqm | 30 | 561.0593 | 16831.7797
|  |  | SECTION-V (PLASTERING WORK) |  |  | 0
22 | 13.16 |  | 6mm cement plaster to ceiling of mix: |  |  | 0
| 13.16.1 | 300.45 | 1:3 ( 1 cement: 3 fine sand) | Sqm | 245 | 254.6186 | 62381.5678
23 | 13.4 |  | 12mm cement plaster of mix: |  |  | 0
| 13.4.2 | 343.65 | 1:6 (1 cement:6 coarse sand) | Sqm | 597 | 291.2288 | 173863.6017
24 | 13.6 |  | 20mm cement plaste of mix: |  |  | 0
| 13.6.2 | 466.05 | 1:6 (1 cement: 6 coarse sand) | Sqm | 442 | 394.9576 | 174571.2712
25 | 13.76 | 100.6 | Forming groove of uniform size from 12 x 12mm and upto 25 x 15mm in plastered surface as per approved pattern using wooden battens, nailed to the under layer including removal of wooden battens, repairs to the ecges of plaster panel and finishing the groove complete as per specifications and direction of the Engineer-in-charge. | Metre | 90 | 85.2542 | 7672.8814
|  |  | SECTION-VI (CARPENTARY, STEEL AND HARDWARE WORK) |  |  | 0
26 | 9.21 |  | Providing and fixing ISI marked flush door shutters non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: |  |  | 0
| 9.21.1 | 2392.65 | 35 mm thick with necessary screws. | Sqm | 20 | 2027.6695 | 40553.3898
27 |  |  | Providing and fixing ISI marked steel glazed doors, windows and ventilators of standard rolled steel sections, joints mitred and welded with 15x3mm lugs, 10 cm long, embedded in cement concrete blocks 15x10x10cm of 1:3:6 ( 1 cement:3coarse sand:6 graded stone aggregate 20mm nominal size) or with wooden plugs and screws or rawl plugs and screws or with fixing clips or with bolts and nuts as required, including providing and fixing of glass panes with glazing clips and special metal sash putty of approved make complete including applying a priming coat of approved steel primer, excluding the cost of metal beading and other fitting except necessary hinges or pivots as required as per drawing at all level. |  |  | 0
| Market Rate Annex-1 | 5270.58 | Windows fixed / side hung / top hung | KG | 33 | 4466.5932 | 147397.5763
28 | Market Rate Annex-1 | 1900.8 | Extra for providing & fitting in windows 12mm dia M.S square bar grills @ 125mm c/c welded on the window frames including applying a priming coat of approved. Steel primer all complete as per approved drawing at all level. | Sqm | 33 | 1610.8475 | 53157.9661
29 | 10.14 |  | Providing and fixing pressed steel door frames confirming to IS: 4351 manufactured from commercial mild steel sheet of 1.25 mm thickness including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm, or base ties of 1.25 mm pressed mild steel welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail to each jamb including steel butt hinges 25 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge. |  |  | 0
| 10.14.1.1 | 583.3 | Profile B, Fixing with adjustable lugs with split end tail to each jamb | metre | 55 | 494.322 | 27187.7119
30 | 9.96 |  | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade wth nuts and screws etc complete: |  |  | 0
| 9.96.1 | 303.25 | 300x16 mm | Each | 5 | 256.9915 | 1284.9576
31 | 9.97 |  | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete. |  |  | 0
| 9.97.2 | 115.15 | 250 x 10 mm | Each | 10 | 97.5847 | 975.8475
| 9.97.4 | 82.55 | 150 x 10 mm | Each | 10 | 69.9576 | 699.5763
32 | 9.1 |  | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete. |  |  | 0
| 9.100.1 | 66.25 | 125 mm | Each | 20 | 56.1441 | 1122.8814
33 | 9.101 |  | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour and shade with necessary screws etc. complete. |  |  | 0
| 9.101.2 | 62.25 | Twin rubber stopper | Each | 5 | 52.7542 | 263.7712
34 | 9.66 |  | Providing and fixing ISI marked oxidised M.S handles conforming to IS:4992 with necessary screws etc. complete. |  |  | 0
| 9.66.1 | 39.95 | 125mm | Each | 50 | 33.8559 | 1692.7966
35 | 9.68 |  | Providing and fixing oxidised M.S casement stays (straight peg type) with necessary screws etc. complete. |  |  | 0
| 9.68.1 | 67.4 | 300 mm weighing not less than 200 gms | Each | 50 | 57.1186 | 2855.9322
|  |  | SECTION-VII (FINISHING WORK) |  |  | 0
36 | 13.47 |  | Finishing walls with premium Acrylic smooth exterior paint with silicone additives of required shade: |  |  | 0
| 13.47.1 | 171.1 | New work (Two or more coats applied @ 1.43kg/10sqm) over and including base coat of waterproffing cement paint Snowcem Plus or equivalent applied @ 2.20 kg/10 sqm | Sqm | 442 | 145 | 64090
37 | 13.41 |  | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade |  |  | 0
| 13.41.1 | 185.65 | New work (two or more coats) over and including priming coat with cement primer. | Sqm | 842 | 157.3305 | 132472.2881
38 | 13.62 |  | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: |  |  | 0
| 13.62.1 | 226.25 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved band and manufacure | Sqm | 161 | 191.7373 | 30869.7034
|  |  | SECTION-VIII (MISCELLANEOUS ITEMS) |  |  | 0
39 | 22.7 |  | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces / sunken slabs etc consisting of following operations. |  |  | 0
|  |  | a)Applying and grouting a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with proprietary water proofing compound conforming to IS:2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height includingcleaning the surface before treatment. |  |  | 0
|  |  | b)Laying brick bats with mortar using broken bricks / brick bats 25mm to 115mm size with 50% of cement mortar 1:5 (1cement: 5 coarse sand) admixed with water proofing compound conforming to IS: 2645 and approved by Engineer-in-charge over 20mm thick layer of cement mortar of mix 1:5 (1 cement: 5 coarse sand) admixed with water proofing compound conforming to IS: 2645 and approved by Engineer-in-charge to requiredslope and treating similary the adjoining walls upto 300mm height including rounding of junctions to walls and slabs. |  |  | 0
|  |  | c)After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compoun conforming to IS: 2645.and approved by Engineer-in-charge. |  |  | 0
|  |  | d)Finishing the surface with 20mm thick jointless cement mortar of mix 1:4 (1 cement:4 coarse sand) admixed with water proofing compound conforming to IS: 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making of 300 x 300 mm square 3 mm deep. |  |  | 0
|  |  | e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Enigneer-in-charge. |  |  | 0
| 22.7.1 | 1684.6 | With average thickness of 120mm and minimum thickness at khurra as 65 mm for roof slab and for sunken slab average thickness of 80mm and minimum thickness of khurra as 65 mm | Sqm | 193 | 1427.6271 | 275532.0339
40 | 10.18 | 220.65 | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S. sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard rawing. | Each | 10 | 186.9915 | 1869.9153
41 | 4.17 | 749.3 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | Sqm | 60 | 635 | 38100
42 | 10.25 |  | Steel work welded in built up sections/framed work including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. |  |  | 0
| 10.25.2 | 172.6 | In gratings, frames, guard bar, ladders, railings, brackets, gates & similar works. | Kgs | 250 | 146.2712 | 36567.7966
43 | 10.26 |  | Providing and fixing hand rail by welding etc. to steel ladder railing, balcony railing & staircase railing including applying a priming coat of approved steel primer |  |  | 0
| 10.26.1 | 196.8 | M.S tube (medium) 40 mm nominal bore | Kgs | 220 | 166.7797 | 36691.5254
|  |  | TOTAL |  |  |  | 2541681.6987

## PHE
BOQ OF BALANCE WORK FOR 20 BEDED SECURITY GUARD RESIDENCE FOR GIS CHANDWA
PART-II(PHE WORKS)
S.N. | DSR23 | DSR Rate | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SANITARY INSTALLATION
1 | 17.1 |  | Providing and fixing water closet squatting pan (Indian type W.C pan) with 125 x 110 dia uPVC, 10 litre low level white P.V.C flushing cistern with manually controlled device (handle lever) conforming to IS:7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.
| 17.1.1 | 6767.4 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | Each | 3 | 5735.0847 | 17205.2542
2 | 17.7 |  | Providing and fixing wash basin with C.I./ M.S brackets, 15mm C.P brass piller taps, 32mm C.P brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require. |  |  | 0 | 0
|  |  | White Vitreous China |  |  | 0 | 0
| 17.7.4 | 1879.2 | Flat back wash basin size 550x400mm with single 15mm C.P brass pillar tap | Each | 2 | 1592.5424 | 3185.0847
3 | 17.9 |  | Providing and fixing kitchen sink with C.I. brackets, C.P. brass chain with rubber plug, 40mm C.P. brass waste complete, including painting the fittings and brackets, cutting and making good the walls wherever required. |  |  | 0 | 0
| 17.9.1 | 3892.75 | White glazed fire clay kitchen sink of size 600 x450 x 250 mm | Each | 1 | 3298.9407 | 3298.9407
4 | 17.5 |  | Providing and fixing white vitreous flat back half stall urinal of size 580 x380x 350 mm with PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe , spreaders with unions and clamps ( all in C.P. brass ) with waste fittings as per IS: 2556, PVC trap with uotlet grating and other couplings in C.P. brass including painting of fittings and cutting and making good the walls and floors where ever required: |  |  | 0 | 0
| 17.5.1 | 12071.75 | Single half stall urinal with 5 litres P.V.C. automatic flushing cistern. | Each | 2 | 10230.2966 | 20460.5932
5 |  |  | Providing and fixing soil, waste and vent pipes: |  |  | 0 | 0
| Market Rate Annex-1 | 437.58 | 110 dia uPVC | Metre | 8 | 370.8305 | 2966.6441
6 |  |  | Providing and fixing single equal plain junction of rquired degree with access door, insertion rubber washer 3mm thick, boltsand nuts complete. |  |  | 0 | 0
| Market Rate Annex-1 | 343.8 | 110 dia uPVC | Each | 4 | 291.3559 | 1165.4237
7 |  |  | Providing and fixing terminal guard: |  |  | 0 | 0
| Market Rate Annex-1 | 128 | 110mm uPVC | Each | 4 | 108.4746 | 433.8983
8 |  |  | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors. |  |  | 0 | 0
| Market Rate Annex-1 | 513 | 110 mm inlet and 110 mm outlet - uPVC | Each | 7 | 434.7458 | 3043.2203
9 |  |  | Providing and fixing plain bend of required degree. |  |  | 0 | 0
| Market Rate Annex-1 | 205.2 | 110mm uPVC | Each | 16 | 173.8983 | 2782.3729
|  |  | WATER SUPPLY |  |  | 0 | 0
10 | 18.49 |  | Providing and fixing C.P brass bib cock of approved quality conforming to IS:8931 |  |  | 0 | 0
| 18.49.1 | 506.8 | 15mm nominal bore | Each | 5 | 429.4915 | 2147.4576
11 | 18.53 |  | Providing and fixing C.P brass angle valve for basin mixer and gyer points of approved quality conforming to IS: 8931 |  |  | 0 | 0
| 18.53.1 | 574.3 | 15mm nominal bore | Each | 2 | 486.6949 | 973.3898
12 | 18.22 |  | Providig and fixing C.P brass sower rose with 15 or 20mm inlet |  |  | 0 | 0
| 18.22.1 | 193.95 | 100mm diameter | Each | 2 | 164.3644 | 328.7288
13 | 18.52 |  | Providing and fixing C.P brass stop cock (concealed) of standard design and of approved make conforming to IS: 8931 |  |  | 0 | 0
| 18.52.1 | 670.45 | 15 mm nominal bore | Each | 3 | 568.178 | 1704.5339
14 | 18.21 |  | Providing and fixing uplasticised P.V.C connection pipe with brass unions. |  |  | 0 | 0
| 18.21.1 |  | 30 cm length |  |  | 0 | 0
| 18.21.1.1 | 85 | 15 mm nominal bore | Each | 3 | 72.0339 | 216.1017
15 | 17.28 |  | Providing and fixing P.V.C. waste pipe for sink or wash basin including PVC waste fittings complete. |  |  | 0 | 0
| 17.28.2 |  | Flexible pipe |  |  | 0 | 0
| 17.28.2.1 | 119.55 | 32 mm dia | Each | 3 | 101.3136 | 303.9407
16 | 17.31 | 1607.95 | Providing and fixing 600x450mm bevelled edge mirror of superior glass (of approved quality) complete with 6mm thick hard board ground fixed to wooden cleats with C.P brass screws and washers complete. | Each | 2 | 1362.6695 | 2725.339
17 | 17.33 | 1083.5 | Providing and fixing 600x120x5mm glass shelf with edges round of supported on anodised aluminium angle frame with C.P brass brackets and guard rail complete fixed with 40mm long screws, rawl plugs etc., complete | Each | 2 | 918.2203 | 1836.4407
18 | 17.73 |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fitting arangement of approved quality colour and make |  |  | 0 | 0
| 17.73.2 | 708.95 | 600mm long towel rail with total length of 645mm, width 78mm and effective height of 88mm, weiging not less than 190 gms. | Each | 2 | 600.8051 | 1201.6102
19 | 18.1 |  | Providing and fixing G.I pipes complete with G.I fittings and clamps, including and making good the wall etc. (internal work) |  |  | 0 | 0
|  |  | Exposed on wall |  |  | 0 | 0
| 18.10.2 | 437.3 | 20mm dia nominal bore | Metre | 10 | 370.5932 | 3705.9322
| 18.10.3 | 551.7 | 25mm dia nominal bore | Metre | 150 | 467.5424 | 70131.3559
20 | 18.11 |  | Concealed pipe including painting with anti corrosive bitumastic paint, cutting chases and making good the wall |  |  | 0 | 0
| 18.11.1 | 580.45 | 15mm dia nominal bore | Metre | 10 | 491.9068 | 4919.0678
21 | 18.38 |  | Painting G.I pipes and fittings with synthetic enamel white paint over a ready mixed priming coat both of approved quality for new work. |  |  | 0 | 0
| 18.38.2 | 23.25 | 20 mm diameter pipe | Metre | 10 | 19.7034 | 197.0339
| 18.38.3 | 30.25 | 25 mm diameter pipe | Metre | 150 | 25.6356 | 3845.339
22 | 18.17 |  | Providing and fixing gun metal gate valve with C.I wheel of approved quality (screwed end) |  |  | 0 | 0
| 18.17.1 | 622.4 | 25mm nominal bore | Each | 2 | 527.4576 | 1054.9153
23 | 18.51 |  | Providing and fixing C.P brass long body Bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. |  |  | 0 | 0
| 18.51.1 | 798.95 | 15mm nominal bore | Each | 3 | 677.0763 | 2031.2288
24 | 18.48 | 11 | Providing and placing on terrace ( at all floor levels) polyethelene water storage tank, IS:12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | per litre | 1000 | 9.322 | 9322.0339
SEWERAGE | [5 empty] | 0 | 0
25 | 19.6 |  | Providing and laying non-pressure NP2 class light duty) R.C.C pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 ( 1 cement: 2 fine sand) including testing of joints etc. complete. |  |  | 0 | 0
a | 19.6.1 | 507.05 | 100 mm dia R.C.C pipe | Metre | 30 | 429.7034 | 12891.1017
b | 19.6.2 | 556.45 | 150 mm dia R.C.C pipe | Metre | 15 | 471.5678 | 7073.5169
26 | 2.1 |  | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m. |  |  | 0 | 0
| 2.10.1 |  | All kinds of soil. |  |  | 0 | 0
| 2.10.1.2 | 352.15 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | Metre | 45 | 298.4322 | 13429.4492
27 | 19.7 |  | Constructing brick masonry manhole in cement mortar 1:4 (1 cement: 4 coarse sand) R.C.C top slab with 1:2:4 mix (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size), foundation concrete 1:4:8 mix ( 1 cement: 4 coarse sand: 8 graded stone aggregate 40 mm nominal size),inside plastering 12 mm thick with cement mortar 1:3(1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4(1 cement:2 coarse sand:4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design. |  |  | 0 | 0
(a) | 19.7.1 |  | Inside size 90x80 cm and 45 cm deep including C.I cover with frame (light duty) 455 x 610mm internal diamensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame of 15 kg) |  |  | 0 | 0
| 19.7.1.1 | 12770.55 | With common burnt clay F.P.S (non modular) bricks of class designation 7.5 | Each | 6 | 10822.5 | 64935
(b) | 19.7.2 |  | Inside size 120 x 90 and 90cm deep including C.I cover with frame (medium duty) 500mm internal diameter, total weight of cover and frame to be not less than 116 kg(weight of cover 58 kg and weight of frame 58 kg.) |  |  | 0 | 0
| 19.7.2.1 | 26405.5 | With common burnt clay F.P.S (non modular) bricks of class designation 7.5 | Each | 3 | 22377.5424 | 67132.6271
28 | 19.4 |  | Providing and fixing square-mouth S.W gully trap class SP-1 complete with C.I grating brick masonry chamber with water tight C.I cover with frame of 300 x 300mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.7 kg as per standard design. |  |  | 0 | 0
| 19.4.3 |  | 180 x 150mm size P type |  |  | 0 | 0
| 19.4.3.1 | 2802.15 | With common burnt clay F.P.S (non modular) bricks of class designation 7.5 | Each | 3 | 2374.7034 | 7124.1102
29 | 19.32 |  | Making soak pit 2.5m diameter 3.0metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W drain pipe 100 mm diameter, 1.8m long complete as per standard design. |  |  | 0 | 0
| 19.32.1 | 26861.9 | With common burnt clay F.P.S (non modular) bricks of class designation 7.5 | Each | 2 | 22764.322 | 45528.6441
30 | 19.8 |  | Extra for depth for manholes |  |  | 0 | 0
(a) | 19.8.1 |  | Size 90x80 cm |  |  | 0 | 0
| 19.8.1.1 | 8825.4 | With common burnt clay F.P.S (non modular) bricks of class designation 7.5 | Metre | 1.2 | 7479.1525 | 8974.9831
(b) | 19.8.2 |  | Size 120x90 cm |  |  | 0 | 0
| 19.8.2.1 | 10585.5 | With common burnt clay F.P.S (non modular) bricks of class designation 7.5 | Metre | 0.6 | 8970.7627 | 5382.4576
|  |  | MISCELLANEOUS ITEMS |  |  | 0 | 0
31 | 12.41 |  | Providing and fixing on wall face unplasticised- Rigid PVC rain water pipes conforming to IS: 13592 Type A including jointing with seal ring conforming to IS: 5382 leaving 10mm gap for thermal expansion. |  |  | 0 | 0
|  |  | Single socketed pipes |  |  | 0 | 0
| 12.41.2 | 377.4 | 110 mm diameter | Metre | 12 | 319.8305 | 3837.9661
32 | 12.42 |  | Providing and fixing on wall face unplasticised -PVC moulded fittings/accessories for unplasticised -Riging PVC rain water pipes conforming to IS:13592 Type A including jointing with seal ring conforming to IS: 5382 leaving 10mm gap for thermal expansion. |  |  | 0 | 0
| 12.42.5 |  | Bend 87.5 degree |  |  | 0 | 0
| 12.42.5.2 | 150.35 | 110mm bend | Each | 3 | 127.4153 | 382.2458
33 | 12.42 |  | Providing and fixing on wall face unplasticised -PVC moulded fittings/accessories for unplasticised -Riging PVC rain water pipes conforming to IS:13592 Type A including jointing with seal ring conforming to IS: 5382 leaving 10mm gap for thermal expansion. |  |  | 0 | 0
| 12.42.6 |  | Shoe (Plain) |  |  | 0 | 0
| 12.42.6.2 | 131.85 | 110mm Shoe | Each | 3 | 111.7373 | 335.2119
34 | 12.43 |  | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised-PVC rain water pipes by means of 50 x 50 x 50mm hard wood plugs, screwed with M.s screws of required length including cutting brick work and fixing in cement mortar 1;4 (1 cement: 4 coarse sand) and making good the wall etc. complete. |  |  | 0 | 0
| 12.43.2 | 371.3 | 110mm | Each | 12 | 314.661 | 3775.9322
|  |  | TOTAL |  |  |  | 401989.1271

## ELECT
BOQ FOR 20 BEDED SECURITY GUARD RESIDENCE FOR POWERGRID, CHANDWA S/S
PART-III( ELECTRIFICATION WORKS)
S.N. | DSR 22 | DSR Rate | DESCRIPTION | UNIT | QTY | POST GST RATE = RateX100/112 | AMOUNT
I. WIRING
1 | 1.10.3 | 990 | Wiring for Light point/ Fan point/ Exhaust Fan point/ Call Bell point with1.5 sq.mm FR PVC insulated Copper Conductor Cable in surface/ recessed PVC Conduit with modular type switch, modular plate, suitable size PVC/G.I. box etc. as required.(Group-C) | Point | 43 | 883.9286 | 38008.9286
2 | 1.31 | 401 | Supplying and fixing suitable size GI/PVC box with modular plate and cover including providing and fixing 5 pin 5/6 Amp modular type socket on switch/separate board (in surface / recessed PVC conduit wiring system) and 5/6 Amp modular type switch Earthing the 3rd pin, painting etc. as required. | Each | 11 | 358.0357 | 3938.3929
3 | 1.14.1 | 146 | Wiring for light plug and light circuit wiring with 2 x 1.5 sq.mm + 1.5 sq. mm. earth wire PVC insulated, copper conductor, single core cable in recessed / surface PVC conduit as required. | Mtr. | 114 | 130.3571 | 14860.7143
4 | 1.12 | 200 | Wiring for power plug point with 2 x 4 Sq.mm FR PVC insulated copper conductor single core Cable in recessed / surface PVC conduit along with 1 no. 4 sq. mm copper conductor wire for loop earthing as required. | Mtr | 55 | 178.5714 | 9821.4286
5 | 1.32 | 495 | Supplying & fixing suitable size GI box with modular plate and cover in front on surface or in recess, including with 6 pin 15/16 Amp modular socket out let and 15/16 Amp modular switch, connections, painting etc. as required. | Each | 4 | 441.9643 | 1767.8571
6 |  |  | Wrining for sub-main wiring with the following sizes PVC insulated copper conductor single core cable in surface/ recessed PVC conduit as required
a) | 1.14.9 | 394 | 4 x 6 + 2 x 6 sq.mm | Mtr | 50 | 351.7857 | 17589.2857
[6 empty] | TOTAL(I) | 85986.6071
II. DISTRIBUTION BOARDS.
1 | 2.4.1 | 3068 | Supplying & fixing 4 way (4 +12) three pole and neutral, sheet steel MCB distribution board 415 volts on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar,din bar, hinged front acrylic cover for the MCB knobs, detachable gland plate, internconnections, phosphatised and powder painted earthing etc. as required.(without MCBs) | Each | 1 | 2739.2857 | 2739.2857
2 |  |  | Supplying & fixing of following rating and poles, B&C series miniature circuit breaker in the existing MCB DB Complete with connection testing and commissioning etc. as required.
(I) | 2.10.1 | 199 | 6/32 A SP MCB 'C' series | Each | 12 | 177.6786 | 2132.1429
(II) | 2.10.2 | 544 | 32 A SPN MCB 'C' series | Each | 1 | 485.7143 | 485.7143
[5 empty] | TOTAL (II) |  | 5357.1429
III. ERECTION OF FIXTURE
1 | 1.34 | 117 | Supplying & fixing brass batten/angle holder including connection etc. as required. | Each | 3 | 104.4643 | 313.3929
2 | 1.35 | 98 | Erection of wall bracket, bulkhead/ ceiling fitting suitable for all sizes and shapes upto two GLS lamp complete with all accessories including connection etc.as required | Each | 9 | 87.5 | 787.5
3 | 1.41 | 168 | Installation testing commissioning of pre-wired, fluorescent fitting of all types complete with all accessories and tube etc. directly on ceiling / wall including connections with 1.5 sq.mm. PVC insulated copper conductor, single core cable etc. as required. | Each | 14 | 150 | 2100
4 | 1.45&46 | 203 | Installation, testing and commissioning of ceiling fan/wall bracket fan and regulator including wiring the down rod of standard length (30 cm) with 1.5 sq.mm PVC insulated copper conductor, single core cable etc. as required. | Each | 12 | 181.25 | 2175
5 | 1.50.1 | 363 | Installation of exhaust fan upto 450mm sweep in the exisiting opening, inlcuding making the opening / hole to suit the size of the above fan, making good, the damages, connections, testing, commissioning etc. as required. | Each | 4 | 324.1071 | 1296.4286
6 | 1.51 | 168 | Extra for fixing the louvre / shutters complete with frame for exhaust fan of all sizes. | Each | 4 | 150 | 600
[5 empty] | TOTAL (III) |  | 7272.3214
IV. SUPPLY OF FIXTURES :
1 | Market Rate Annex-2 | 3732 | 1200 mm sweep A.C. Ceiling Fan complete with double ball bearing Fan motor,blades,regulator canopies and standard down rod as reqd. | Each | 12 | 3732 | 44784
2 | Market Rate Annex-2 | 3080 | 300 mm dia. 1400 RPM A.C. exhaust fan complete. | Each | 4 | 3080 | 12320
3 | Market Rate Annex-2 | 541 | Supply & fixing bracket light suitable for 1 No. 18 Watts. G.L.S. lamps complete, glass shade etc. as per approved sample. | Each | 5 | 541 | 2705
4 | Market Rate Annex-2 | 272 | Supply of circular ceiling fitting complete with anodized aluminium base plate, glass dome etc. | Each | 4 | 272 | 1088
5 | Market Rate Annex-2 | 692.64 | Supplying & fixing powder coated strip/patty fitting complete with copper ballast, 1 x 4'-40 Watts fuorescent lamp etc. directly on ceiling/wall, including connection with 1.5 sq. mm.FR PVC insulated Copper Conductor Cable etc. as required. | Each | 14 | 692.64 | 9696.96
[5 empty] | TOTAL (IV) |  | 70593.96
[5 empty] | TOTAL |  | 169210.0314

## SEPTIC TANK
BOQ FOR THE 20 BEDED SECURITY GUARD RESIDENCE FOR POWERGIRD CHANDWA ss
PART-IV(SEPTIK TANK)
S.N. | DSR23 | DSR Rate | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
(a) | 2.8 |  | Earth work in excavation in foundation trenches or drains (not exceding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil
| 2.8.1 | 260.3 | All kinds of soil | Cum | 12 | 220.5932 | 2647.1186
(b) | 2.27 | 2123.75 | Supplying and filling in plinth with Local sand under floors including, watering, ramming consolidating and dressing complete. | Cum | 0.75 | 1799.7881 | 1349.8411
(c) | 4.1 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering-all work upto plinth level. |  |  | 0 | 0
| 4.1.5 | 7294.7 | 1:3:6 ( 1 Cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) | Cum | 0.4 | 6181.9492 | 2472.7797
(d) | 5.1.3 | 8583.4 | Providing and laying in position specifed grade of reinforced cement concrete excluding the cost of centering, shuttering, finnishing and reinforcement- All work upto plinth level : 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | Cum | 2.6 | 7274.0678 | 18912.5763
(e) | 6.1 |  | Brick work with F.P.S bricks of class designation 75 in foundation and plinth in: |  |  | 0 | 0
| 6.1.1 | 7370.65 | Cement mortar 1:4 ( 1 cement: 4 coarse sand) | Cum | 3.5 | 6246.3136 | 21862.0975
(f) | 6.12. |  | Half brick masonry with bricks of class designation 75 in foundations and plinth in: |  |  | 0 | 0
| 6.12.2 | 905.05 | Cement mortar 1:4 ( 1 cement: 4 coarse sand) | Sqm. | 2.4 | 766.9915 | 1840.7797
(g) | 13.6 |  | 20mm cement plaster finished with a floating coat of neat cement of mix; |  |  | 0 | 0
| 13.6.1 | 487.4 | 1:4 (1 cement:4 fine sand) | Sqm. | 26.7 | 413.0508 | 11028.4576
(h) | 19.18 |  | Supplying and fixing C.I cover without frame for manholes: |  |  | 0 | 0
| 19.18.2 | 3441.2 | 500 mm diameter C.I cover (medium duty) the weiht of he cover to be not less than 58 kg. | Each | 2 | 2916.2712 | 5832.5424
(i) | 19.15 |  | Providing M.S foot rests including fixing in manholes with 20 x 20 x 10 cm cement concrete blocks 1:3:6 ( 1 cement: 3 coarse sand: 6 graded stone aggregate 20mm nominal size) as per standard design: |  |  | 0 | 0
| 19.15.1 | 544.7 | (With 20 x 20 mm square bar | Each | 8 | 461.6102 | 3692.8814
(j) | 19.34.2 | 602.65 | Providing and fixing S.W. intercepting trap in manhole with stiff mixture of cement mortar 1:1 ( 1 cement :1 fine sand ) including testing of joints etc. complete. 150 mm dia | Each | 2 | 510.7203 | 1021.4407
(k) | 5.22 |  | Reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete. |  |  | 0 | 0
| 5.22.1 | 107.1 | Mild steel and medium tensile steel bars | Kg | 140 | 90.7627 | 12706.7797
(l) | 5.9 |  | Centring and shuttering including strutting, propping etc. and removal of form for: |  |  | 0 | 0
| 5.9.3 | 927.25 | Suspended floors, roofs, landings, balconies and access platform. | Sqm. | 7 | 785.8051 | 5500.6356
(m) | 5.9.1 | 392.15 | Foundations, footings, bases of columns etc. for mass concrete. | SqM | 2 | 332.3305 | 664.661
(n) | 5.9.6 | 961.3 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sq.M. | 6 | 814.661 | 4887.9661
(o) | 5.9.2 | 842.5 | walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | Sq.M. | 1 | 713.9831 | 713.9831
(p) | 18.12 |  | Providing and fixing G.I vent pipes complete with G.I fittings, bend, collar, terminal guard etc. complete as per Engineer in charge. |  |  | 0 | 0
| 18.12.8 | 1041.7 | 80mm dia nominal bore | Metre | 2 | 882.7966 | 1765.5932
[5 empty] | TOTAL |  | 96900.1335

## schedule
RFX. No. 5002004298
Schedule-I of Price Bid
Name of the bidder |  | 0 | To,
Address |  | 0 | Contracts and Materials Department
|  | 0 | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
| TOTAL AMOUNT OF CIVIL WORKS(Rs) |  |  | 2541681.6987
| TOTAL AMOUNT OF PHE WORKS(Rs) |  |  | 401989.1271
| TOTAL AMOUNT OF ELECTRICAL WORKS(Rs) |  |  | 169210.0314
| TOTAL AMOUNT OF SEPTIC TANK WORKS |  |  | 96900.1335
| GRAND TOTAL AMOUNT(Rs)/(CIVIL WORK + ELECTRICAL WORK+PHE WORK+SEPTIC TANK WORKS ) (excluding GST) |  |  | 3209780.9908
Above (+)and below (-)(in %): To be quoted by bidder
| Quoted Price |  |  | 3209780.9908
| GST (in percentage )@ |  |  | 0
| Total amount including taxes |  |  | 3209780.9908
Note: If any part of price which required to be filled by bidder kept blank, the bid price shall be considered as inclusive and evaluation shall be done accordingly
| Date | 0 | Printed name | 0
| Place | 0 | Designation | 0

## Summary
RFX. No. 5002004298
Balance work for construction of Security Barrack at 400 KV GIS Substation Chandwa under JIPP A1 Project
Name of the bidder |  | 0 |  | To,
Address |  | 0 |  | Contracts and Materials Department
|  | 0 |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated Total Estimated Cost as indicated in the "Bill of Quantity(BOQ) & Prices" covering entire scope of works enclosed herewith as Schedule-I.
I |  | Total for Installation/Services as per Schedule-I |  |  |  | 3209780.9908
II |  | Total GST on services/Installation as per Schedule-I |  |  |  | 0
III |  | Toal BID Price including all taxes |  |  |  | 3209780.9908
Date | 0 |  | Printed Name |  | 0
Place | 0 |  | Designation |  | 0