| SlN | Clause | Provision | Queries asked by the bidder | POWERGRID’s clarification |
| --- | --- | --- | --- | --- |
| 1. | Cl no. 2.2.1 a (i) of Section Project Page No: 4 of 8 | The 765kV Reactor shall be suitable for connecting HV side (765kV), with GIS SF6/Oil Interface, as per IEC-62271-211. Further, Neutral side (132kV) of 765kV Reactor shall have conventional AIS type termination. | Type of bushing requirement has been clarified in Amendment - 1 (technical) dated 26.02.22. However, we need further clarity that, on which rating of 765kV Reactor amongst 110 MVAr & 80 MVar, Oil to SF6 bushing is required or is it required in both the ratings? Request you to kindly clarify. | Technical specification is quite clear that same is required for both rating 765kV reactors. Bidder shall quote as per provisions of bidding document. |
| 2. | Cl no. 2.2.1 b (i) of Section Project Page No: 4 of 8 | The 420kV Reactor shall be suitable for connecting HV side (400kV), with GIS SF6/Oil Interface, as per IEC-62271-211. Further, Neutral side (132kV) of 420kV Reactor shall have conventional AIS type termination. | Type of bushing requirement has been clarified in Amendment - 1 (technical) dated 26.02.22. However, we need further clarity that, on which rating of 420kV Reactor amongst 125 MVAr & 63 MVar, Oil to SF6 bushing is required or is it required in both the ratings? Request you to kindly clarify. | Technical specification is quite clear that same is required for both rating 400kV reactors. Bidder shall quote as per provisions of bidding document. |