## Sheet1 (hidden)
RFX. No. 5002004437 NIT-466
Name of the Package | Providing protection wall at loc no.3,12,13 and 14 of 400kV D/C Jamshedpur-Baripada line under Jamshedpur substation

## Basic
RFX. No. 5002004437 NIT-466
Providing protection wall at loc no.3,12,13 and 14 of 400kV D/C Jamshedpur-Baripada line under Jamshedpur substation
General Guidelines for filling up the Price Schedule and other attachments.
1 | Fill only Green shaded cells in Details and Schedule-I.
2 | All the cells in Summary will be auto filled, therefore no cell is required to be filled in that sheet.
3 | Instructions ,if any will be displayed automatically after selecting the cell.
Click here to proceed.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)

## Details
RFX. No. 5002004437 NIT-466
Providing protection wall at loc no.3,12,13 and 14 of 400kV D/C Jamshedpur-Baripada line under Jamshedpur substation
Enter the following details of the bidder
Name of the bidder
Address
Contact No.
E-mail
Alternative E-mail
Printed Name
Designation
Place
Date

## Schedule-I
RFX. No. 5002004437 NIT-466
Providing protection wall at loc no.3,12,13 and 14 of 400kV D/C Jamshedpur-Baripada line under Jamshedpur substation
Schedule-I of Price Bid
Name of the bidder |  | 0 |  |  |  | To,
Address |  | 0 |  |  |  | Contracts and Materials Department
|  | 0 |  |  |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  |  |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
DSR ITEMS
NAME OF WORK CONTRACT : Providing protection wall at loc no.3,12,13 and 14 of 400kV D/C Jamshedpur-Baripada line under Jamshedpur substation
Sl No | REF. DSR-2023 | Item Description | Unit | Rate incl GST | Rate Excl GST | Qty. | Amount
A
1 | DSR'23- Item no.0020 | Hiring of Hydraulic excavator (inclusive of driver and fuel charge) which also included contractor profit and overhead charge . | Day | 9027.5 | 9027.5 | 31 | 279852.5
2 | 13.52.1 | Finishing with Epoxy paint/Zinc rich paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | Sqm | 241.75 | 204.8729 | 400 | 81949.1525
3 | 2.25(a) | Excavating, supplying and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete. | Cum | 700.5 | 593.6441 | 272 | 161471.1864
4 | 7.1.1 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand). | Cum | 7311.25 | 6195.9746 | 402.5512 | 2494197.1416
5 | 16.96 | Providing & making Gabion structure with Mechanically Woven Double Twisted Hexagonal Shaped Wire mesh Gabion Boxes as per IS 16014:2012,MORTH Clause 2500, of required size, Mesh Type 10x12(D=100 mm with tolerance of ±2%), Zinic+10% Al alloy+PVC coated, Mesh wire diameter 2.7/3.7mm (ID/OD), mechanically edged/selvedged with partitions at every 1m interval and shall have minimum 10 numbers of openings per meter of mesh perpendicular to twist, tying with lacing wire of diameter 2.2/3.2mm(ID/OD), supplied @3% by weight of Gabion boxes, filled with boulders with least dimension of 200 mm, as per drawing, all complete as per directions of Engineerin-charge. | Cum | 4882.2 | 4137.4576 | 455.8207 | 1885939.0387
6 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | cum | 7878.5 | 6676.6949 | 4.7662 | 31822.1962
7 | 12.41.1 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion,(i) Single socketed pipes.75 mm diameter | Mtr. | 248.8 | 210.8475 | 100 | 21084.7458
8 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | Cum | 260.3 | 220.5932 | 480.2017 | 105929.2429
9 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 196 | 166.1017 | 147.3889 | 24481.5544
10 | 5.9.1 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete. | Sqm | 392.15 | 332.3305 | 15.8872 | 5279.8013
11 | 19.35.2 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 600 mm dia RCC pipes. | Mtr. | 3401.25 | 2882.4153 | 30 | 86472.4576
12 |  | Hire charges of Pump set of capacity 4000 litres/hour | Day | 920 | 920 | 25 | 23000
13 |  | Supplying and erecting dewatering pumps- 2 HP | Each |  | 23332 | 1 | 23332
14 |  | Dismantling and re-erection of existing chain link fencing as per direction of Engineer-in-charge. | Mtr. |  | 2894 | 10 | 28940
15 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting,hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Kg | 117.35 | 99.4492 | 1673.28 | 166406.278
TOTAL AMOUNT for DSR Items excl. taxes | [6 empty] | 5420157.2955
Above and below (in %): To be quoted by bidder
Quoted Price | [6 empty] | 5420157.2955
GST (in percentage )@ |  |  | 18% |  | on Quoted Price |  | 975628.3132
Total amount for DSR Items including taxes | [6 empty] | 6395785.6086
Note: If any part of price which required to be filled by bidder kept blank, the bid price shall be considered as inclusive and evaluation shall be done accordingly
Date | 0 |  |  |  |  | Printed name | 0
Place | 0 |  |  |  |  | Designation | 0

## Summary
RFX. No. 5002004437 NIT-466
Providing protection wall at loc no.3,12,13 and 14 of 400kV D/C Jamshedpur-Baripada line under Jamshedpur substation
Name of the bidder |  | 0 |  | To,
Address |  | 0 |  | Contracts and Materials Department
|  | 0 |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated Total Estimated Cost as indicated in the "Bill of Quantity(BOQ) & Prices" covering entire scope of works enclosed herewith as Schedule-I.
I |  | Total for Installation/Services as per Schedule-I |  |  |  | 5420157.2955
II |  | Total GST on services/Installation as per Schedule-I |  |  |  | 975628.3132
III |  | Toal BID Price including all taxes |  |  |  | 6395785.6086
Date | 0 |  | Printed Name |  | 0
Place | 0 |  | Designation |  | 0

## Bid form 2nd envelope
RFX. No. 5002004437 NIT-466 |  |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
To:
Contract Services
Power Grid Corporation of India Ltd.,
Eastern Region Transmission System-I
Vidyut Board Colony Shastri Nagar
Patna 800023
Name of Contract : |  | Providing protection wall at loc no.3,12,13 and 14 of 400kV D/C Jamshedpur-Baripada line under Jamshedpur substation
Dear Ladies and/or Gentlemen,
1 | The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
| Schedule-I |  | Service/Installation charges
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
2.4 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us, our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | We confirm that we shall also get registered with the concerned Goods and Service Tax Authorities, in all the states where the project is located.
4 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : | 0 |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :