| S.N. | Clause No | Existing provision |  | Amended Provision |
| --- | --- | --- | --- | --- |
| 1 | Bid Price Schedule 1& 2 (Extn at 400/220KV Rajarhat GIS S/S) | S.N; Activity Description; Item Description; Material /Service Code; Unit; Qty. 13; 400KV GIS EQUIPMENT; 420kV, 3150 A, 63 kA, SF6 GIS Tie Bay module(with PIR) as per Section-Project, Technical specification; 1000004635; EA; 1. 14; 420KV, 3150A, 63KA GIS FUTURE LINE FEEDER BAY MODULE (WITH PIR) AS PERSECTION PROJECT, TECHNICAL SPECIFICATION; 1000034097; EA; 1. 89; 400KV GIS MANDATORY SPARE; 400KV GIS-ONE POLE OF 3150A CIRCUIT BREAKER WITH PIR WITH INTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETE IN ALL RESPECT; 1000058316; SET; 1. 13; Install-400KV GIS EQUIPMENT; 420KV, 3150A, 63KA GIS FUTURE LINE FEEDER BAY MODULE (WITH PIR) AS PERSECTION PROJECT, TECHNICAL SPECIFICATION; 1000004316; EA; 1. 14; 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module(with PIR) as per Section-Project, Technical specification; 1000001843; EA; 1. |  | Extn at 400/220KV Rajarhat GIS S/S Items deleted |
| 2 | Bid Price Schedule 3 (Extn at 400/220KV Rajarhat GIS S/S) |  |  |  |

| S.N. | Clause No | Existing provision | Amended Provision |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Extn at 400/220KV Rajarhat GIS S/S - Item added |  |  |  |  |
|  |  |  | Activity Description | Item Description | Material /Service Code | Unit | Qty |
| 1 | Bid Price Schedule -1& 2 (Extn at 400/220KV Rajarhat GIS S/S) | - | 400KV GIS EQUIPMENT | 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module (without PIR) as per Section-Project, Technical specification | 1000004505 | EA | 1 |
| 2 |  | - |  | 420KV, 3150A, 63KA GIS FUTURE LINE FEEDER BAY MODULE (WITHOUT PIR) AS PER SECTION PROJECT, TECHNICAL SPECIFICATION | 1000004638 | EA | 1 |
| 3 | Bid Price Schedule -3 (Extn at 400/220KV Rajarhat GIS S/S) | - | Install-400KV GIS EQUIPMENT | 420KV, 3150A, 63KA GIS FUTURE LINE FEEDER BAY MODULE (WITHOUT PIR) AS PERSECTION PROJECT, TECHNICAL SPECIFICATION | 100003980 | EA | 1 |
| 4 |  | - |  | 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module (without PIR) as per Section-Project, Technical specification | 100002132 | EA | 1 |