## Package - A (hidden)
Sub- Procurement of CT in Northern Region-III.
S.L | DESCRIPTION | Qty. (INR) | Unit
A) | Supply Portion
1 | Supply of 800 kV, 3000 A, 50 kA/1 s, 6 Core CT.Each Core Ratio: 3000/2000/500/1. (04 Nos. Cores of PX Accuracy Class, and 02 Nos. Cores of 0.2S Class) With extended rating 120% , along with Terminal connector and stool (if applicable)(Excluding Marshalling Box and Structure)
1.a | Agra HVAC | 1 | Nos.
1.b | Ballia HVAC | 1 | Nos.
1.a | Terminal Connector to suit 4.5"IPS Al tube for 880kV CT at Agra HVAC S/S | 1 | Nos.
1.b | Terminal Connector to suit 4.5"IPS Al tube for 800kV CT at Ballia HVAC S/S | 1 | Nos.

## BOQ
Procurement of Pour Point Apparatus for Oil Testing Lab for NR-III
S.L | DESCRIPTION | Qty. (INR) | Unit
1 | Pour Point Test Kit for Transformer Oil | 1 | EA
1 | CAMC charges after warranty of 1 year | 5 | EA
Note: The above BOQ estimated by POWERGRID is not exhaustive. Any additional items/ components as required for the successful completion of the work under taken may be assessed by the party and the same may be incorporated in the offer. The BOQ as assessed by the party as above should be clearly indicated in the offer. Even at the time of execution, if any additional items/ components are required to complete the system, notwithstanding the BOQ as identified by the party as above, the same shall be provided free of cost by the Contractor