| Sl. No | Ref Section | Provision in bidding document | Bidders Queries | POWERGRID Reply |
| --- | --- | --- | --- | --- |
| 1. | Section Project | The broad scope of this Reactor Package 4RT-07 shall cover following: i) 4 x 125 MVAR, 420kV, 3-Phase Shunt Reactor ii) 1 x 125 MVAR, 420kV, 3-Phase Variable Shunt Reactor iii) 4 x 63 MVAR, 420kV, 3-Phase Shunt Reactor iv) 1 x 21 MVAR, 420kV, 1-Phase Shunt Reactor | Please note that 125 MVAr VSR is a special Rating & design of Reactors. Due to the complexity of the same, We request to kindly float the requirement of VSRs in a separte package and not mix the supply of VSRs with other standard ratings of Reactors. | Bidder shall quote meeting the requirement of bidding documents. |