| Sl. No | Ref Section | Provision in bidding document | Bidders Queries | POWERGRID Reply |
| --- | --- | --- | --- | --- |
| 1. | Item Sr. No. 65 of Sch. 1 & Sch. 2 | Joint Box for 24 fibre OPGW | In Supply Schedule - 1 & F&I Schedule - 2 Line Item Sr. 65 mentioned qty - 26 EA Only. But in Installation Schedule - 3 Line Item 2 & 45 Mention total qty - 35 EA in Installation. Kindly clarify which quantity we need to consider for this Project. | Bidder to quote as per BPS. |
| 2. | Item Sr. No. 66 of Sch. 1 & Sch. 2 | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | In Supply Schedule - 1 & F&I Schedule - 2 Line Item Sr. 66 mentioned qty - 2 EA Only. But in Installation Schedule - 3 Line Item 1 & 44 Mention total qty - 4 EA in Installation. Kindly clarify which quantity we need to consider for this Project. | Bidder to quote as per BPS. |
| 3. | Item Sr. No. 67 of Sch. 1 & Sch. 2 | 24F (DWSM) APPROACH FIBRE OPTIC CABLE. | In Supply Schedule - 1 & F&I Schedule - 2 Line Item Sr. 67 mentioned qty - 2 KM Only. But in Installation Schedule - 3 Line Item 3 & 46 Mention total qty - 4 KM in Installation. Kindly clarify which quantity we need to consider for this Project. | Bidder to quote as per BPS. |
| 4. | Bid Price Schedule (BPS) (Sch-3), Sr. No. 51 | Installation of insulation sleeve on Conductor. | As per Installation Schedule - 3, we need to install insulation sleeves and quantities are provided therefore we request you to kindly arrange to provide the Quantity for Insulation Sleeves in Supply & F&I Schedule also. you to kindly arrange to provide the Quantity for Insulation Sleeves in Supply & F&I Schedule also. | It may be noted that for the subject package, in addition to installation of Insulation Sleeve, the quoted price shall also cover the scope for Supply & F&I of Insulation Sleeve. Bidders to quote accordingly. |