## Sheet1
ANNEXURE-I
BOQ
Cost estimate towards procurement of Automatic Relay Test Kit along with all accessories and Laptop at 400/220kV GIS Jauljibi Substation
Sr. No. | Item description | Specification | Qty. in nos. | Unit Rate | Total price
1 | CMC 356 Basic Package V 4.x 3,250,000.00 3,250,000.00 Consisting of : -CMC 356 test unit including manual, carry bag, power lead, Ethernet patch cable, USB connection cable, 12 leads with 4 mm safety plugs, 12 flexible terminal adapters, 4 flexible jumpers for paralleling current triple A and B - Basic Software Package -Quick CMC -State Sequencer -Ramping -Advanced Trans-play -Over Current -Advanced Distance -Advanced differential operating characteristics and Harmonic restraint IEC 61850 GOOSE |  | 1
2 | Laptop |  | 1