| Sl. No. | Volume/ Section/ Description | Clauses | Bidder’s Query | POWERGRID Reply |
| --- | --- | --- | --- | --- |
| 1 | SECTION-I A (VOLUME-II), Rev 9 (March’2024) | TECHNICAL SPECIFICATION | With reference to the above subject, we have received different GTps from vendors regarding conductor. We request you to confirm which GTPS we can take into consideration. Waiting for your reply. | Bidder may refer to Cl.1.3 of SECTION-I A (VOLUME-II), Rev 9 (March’2024) for technical requirement of the HTLS conductor. Bidder may also refer Technical Specification of HTLS conductor in SECTION-VII B (VOLUME-II), Rev 5 (Sept’2024). |