Technical Specification

- The bidder should visit the site and ascertain the availability of material, site conditions and should quote their rates considering all the factors affecting the work.

- All civil works shall be carried out as per design/drawings provided by the Employer and as per CPWD specification /applicable BIS Standards and Codes.

- CPWD specifications shall be applicable for schedule items.

- For non-schedule items, work shall be carried as per BOQ item and relevant technical specification attached in subsequent para.

- Any item for which specification is not provided herein and is not covered under CPWD specification/ BIS Standards, the same shall be executed as per manufacturer guidelines with the approval of employer. All materials shall be of best quality conforming to relevant Indian Standards and Codes.

- The Contractor shall arrange all labour, tools, equipment, materials, temporary works, constructional plant & machinery, fuel supply, transportation and all other incidental items not shown or specified but as may be required for complete performance of the Works in accordance with drawings, specifications and direction of Employer.

- All materials including cement, reinforcement steel, structural steel etc. shall be arranged by the Contractor.

- The Contractor shall execute the work as per the Standard field Quality plan, SFQP - Civil works for AIS Bay Extn. Packages Rev-0 and Civil works for Site Packages Rev-5. All testing required shall be arranged by the Contractor at his own cost.

- Fine aggregate, Coarse aggregate, Moorum, shall be supplied from Powergrid approved Source and take approval for the same from Engineer-in-Charge/or his authorised officer before supply of the materials.

- The work to be performed under this specification shall include providing all labour, supervision, materials, storages, inventories, all enabling works like scaffolding, watch and ward for the works, power, fuel, construction equipment, water, tools and plants, transportation, all taxes and duties, all labour welfare and safety measures, complete and all other incidental items not shown or specified, but reasonably implied or necessary for successful completion of the work including Contractor’s supervision and in strict accordance with the drawings and specifications, inspection and testing standards and field quality control and testing as given in the tender documents and the complete execution of the works. Any technical clarifications required regarding the drawings/specifications during the progress of works shall be obtained from the Engineer-in-Charge.

- Agency shall ensure consumption of materials for all Scheduled BOQ items as per CPWD Specification.

- STONE SPREADING AND ANTI-WEED TREATMENT:

- The material required for site surfacing/stone filling shall be free from all types of organic materials and shall be of standard quality, and as approved by the Employer.

- The material to be used for stone filling/site surfacing shall be stone aggregate of 40mm nominal size (ungraded single size) conforming to Table 2 of IS:383 – 1970. Necessary test will be applicable as per applicable SFQP - Civil works for AIS Bay Extn. Packages Rev-0 and Civil works for Site Packages Rev-5.

- After all the structures/equipment's are erected, antiweed treatment shall be applied in the switchyard the area shall be thoroughly de-weeded including removal of roots. The recommendation of local agriculture or horticulture department may be sought wherever feasible while choosing the type of chemical to be used.

- The antiweed chemical shall be procured from reputed manufacturers. The doses and application of chemical shall be strictly done as per manufacturer’s recommendation. Nevertheless, the effectiveness of the chemical shall be demonstrated by the Contractor in a test area of 10MX10M (appx) and shall be sprinkled with water at least once in the afternoon every day after forty-eight hours of application of chemical. The treated area shall be monitored over a period of two to three weeks for any growth of weeds by the Engineer – in- charge. The final approval shall be given by Engineer – in –charge based on the results.

- Engineer-in-charge shall decide final formation level so as to ensure that the site appears uniform devoid of undulations. The final formation level shall however be very close to the formation level indicated in the approved drawing.

- After antiweed treatment is complete, the surface of the switchyard area shall be maintained, rolled/compacted to the lines and grades as decided by Engineer-in-charge. The sub grade shall be consolidated by using half ton roller/surface vibrator with suitable water sprinkling arrangement to form a smooth and compact surface. The roller shall run over the sub grade till the soil is evenly and densely consolidated and behaves as an elastic mass.

- In areas that are considered by the Engineer-in-Charge to be too congested with foundations and structures for proper rolling of the site surfacing material by normal rolling equipment, the material shall be compacted by hand rammer, if necessary. Due care shall be exercised so as not to damage any foundation structures or equipment during rolling / compaction.

- A final layer of 100mm thickness of stone aggregate of 40mm nominal size (conforming to the relevant clause) shall be spread uniformly.