## Basic Data (hidden)
Enter basic data here
[Fill up data only in the relevent open area]
1 | Name of Package
2 | Specification No.
3 | Package Code
4 | Item Description | ACSR ZEBRA Conductor
5 | Quantity in km. | 6615
6 | Type Tests | Tests to be conducted | Nos of tests

## Cover
General guidelines for filling up the Price Schedules, Discount Letter & Bid Form for 2nd Envelope
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197
1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 & Discount.
2 | All the cells in Sch-5 are auto filled, therefore no cell is required to be filled up there.
3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
4 | The price quoted in respect of all items shall be excluding GST applicable on transaction between the Employer and the Contractor
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to Proceed

## Names of Bidder
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 | Manufacturer | 1
| Authorized Dealer/ Sub-dealer of Manufacturer | 2
Enter following details of the bidder | Authorized Representative of Manufacturer
Specify type of Bidder [Select from drop down menu] | #REF!
Name of Bidder
Address
Mob No
E mail
Name of Manufacturer
Address
Printed Name
Designation
PhoneNo/ Mobile No.
e-mail ID
Date
Place
Click for
Sch-1

## Sch-1
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
(SCHEDULE OF RATES AND PRICES : - Scheduled Items ) PART A
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item No. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
Scheduled items
| Part-A | Balance Civil works - Bhatapara Substation
1 | 1.0 | CARRIAGE OF MATERIALS
2 | 1.1 | By Mechanical Transport including loading,unloading and stacking
3 | 1.1.1 | Earth up to 2 km | cum | 50 |  | 0
4 | 2.1 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: |  |  |  | 0
5 | 2.1.1 | All kinds of soil | sqm | 85 |  | 0
6 | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. |  |  |  | 0
7 | 2.6.1 | All kinds of soil | cum | 490 |  | 0
8 | 2.7 | Earth work in excavation by mechanical means (Hydraulic excavator) manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. |  |  |  | 0
9 | 2.7.1 | Ordinary rock | cum | 50 |  | 0
10 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  |  | 0
11 | 2.8.1 | All kinds of soil. | cum | 125 |  | 0
12 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | cum | 650 |  | 0
13 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  |  | 0
14 | 4.1.4 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 7 |  | 0
15 | 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 29 |  | 0
16 | 4.1.10 | 1:5:10 (1 cement : 5 coarse sand (zone-lill) derived from natural sources ; 10 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 140 |  | 0
17 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for : |  |  |  | 0
18 | 4.3.1 | Foundations, footings, bases for columns | sqm | 70 |  | 0
19 | 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for |  |  |  | 0
20 | 5.9.1 | Foundations, footings, bases of columns, etc. for mass concrete | sqm | 148 |  | 0
21 | 5.9.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc, | sqm | 420 |  | 0
22 | 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | sqm | 320 |  | 0
23 | 5.22 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. |  |  |  | 0
24 | 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | kg | 10000 |  | 0
25 | 5.33 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. |  |  |  | 0
26 | 5.33.1 | All works upto plinth level |  |  |  | 0
27 | 5.33.1.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum | cum | 155 |  | 0
28 | 5.35 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | Quintal | 108.5 |  | 0
29 | 10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Kg | 4000 |  | 0
30 | 13.65 | Painting with black anti-corrosive bitumastic paint of approved brand and manufacture to give an even shade : |  |  |  | 0
31 | 13.65.1 | Two or more coats on new work | sqm | 50 |  | 0
32 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : |  |  |  | 0
33 | 19.6.2 | 150 mm dia. R.C.C. pipe | Metre | 2.5 |  | 0
34 | 19.6.3 | 250 mm dia. R.C.C. pipe | Metre | 2.5 |  | 0
35 | 19.6.4 | 300 mm dia. R.C.C. pipe | Metre | 2.5 |  | 0
36 | 19.35 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete |  |  |  | 0
37 | 19.35.1 | 450 mm dia RCC pipes. | Metre | 10 |  | 0
38 | 15.2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  |  | 0
39 | 15.2.1 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | cum | 2 |  | 0
40 | 15.2.2 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | cum | 35 |  | 0
41 | 15.3 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge | cum | 2 |  | 0
42 | 26.29 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. |  |  |  | 0
43 | 26.29.1 | Bars upto 12 mm diameter | Metre | 3150 |  | 0
44 | 26.29.2 | Bars above 12 mm diameter | Metre | 210 |  | 0
52 |  | Switchyard panel Room |  |  |  | 0
53 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  |  | 0
54 | 2.8.1 | All kinds of soil. | cum | 28 |  | 0
55 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All works upto plinth level |  |  |  | 0
56 | 4.1.8 | 1:4:8 (1 Cement : 4 Coarse sand (zone-III): 8 graded stone aggregate 40mm nominal size) | cum | 2 |  | 0
57 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for : |  |  |  | 0
58 | 4.3.1 | Foundations, footings, bases for columns | sqm | 3 |  | 0
59 | 4.10 | Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 12.5 mm nominal size derived from natural sources) | sqm | 5 |  | 0
60 | 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: |  |  |  | 0
61 | 5.9.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc, | sqm | 60 |  | 0
62 | 5.9.3 | Suspended floors, roofs, landings, balconies and access platform | sqm | 30 |  | 0
63 | 5.9.5 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | sqm | 20 |  | 0
64 | 5.9.6 | Columns, Pillars, Piers, abutments , Post and struts | sqm | 25 |  | 0
65 | 5.9.16 | Edges of slabs and breaks in floors and walls |  |  |  | 0
66 | 5.9.16.1 | Under 20 cm wide | metre | 25 |  | 0
67 | 5.22A | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. |  |  |  | 0
68 | 5.22A.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | kg | 1150 |  | 0
69 | 5.33 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. |  |  |  | 0
70 | 5.33.1 | All works upto plinth level |  |  |  | 0
71 | 5.33.1.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum | cum | 10 |  | 0
72 | 5.33.2 | All works above plinth level upto floor V level |  |  |  | 0
73 | 5.33.2.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum | cum | 8 |  | 0
74 | 5.35 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | Quintal | 13 |  | 0
75 | 6.34 | Brick work with non modular fly ash bricks conforming to 1S:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in : |  |  |  | 0
76 | 6.34.2 | Cement mortar 1:6 (1 cement: 6 Coarse sand) | cum | 15 |  | 0
77 | 9.147 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2-profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & 1S: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 — Part 3 (ii) Sites with structure height more than 20m for all wind speeds |  |  |  | 0
78 | 9.147.A1 | Two track two panels sliding window with Aluminium channel for roller track, wool pile, nyion rollers with SS 304 body. |  |  |  | 0
79 | 9.147.A1.1 | Using R2 series with frame (40 mm & above) x (40 mm & above) & sash (25 mm & above) x (50 mm & above) with zinc alloy (zamak) powder coated touch locks with hook (Height upto 1.2 metre). | sqm | 5 |  | 0
80 | 9.147.E1 | Casement window single panel with S:S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. |  |  |  | 0
81 | 9.147.E1.3 | Using R4 series with frame (64 mm & above) x (50 mm & above) & sash (64 mm & above) x (70 mm & above). (Height above 1.8 metre) | sqm | 2 |  | 0
82 | 9.147.E2 | Casement window double panels with fixed mullion with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. |  |  |  | 0
83 | 9.147.E2.3 | Using R4 series with frame (64 mm & above) x (50 mm & above) & sash (64 mm & above) x (70 mm & above) & mullion (64 mm & above) x (70 mm & above). (Height above 1.8 metre). | sqm | 4 |  | 0
84 | 10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | kg | 625 |  | 0
85 | 10.18 | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S: sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M.S, bar bent to shape as per standard drawing. | each | 2 |  | 0
86 | 11.41 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. |  |  |  | 0
87 | 11.41.2 | Size of Tile 600x600 mm | sqm | 9 |  | 0
88 | 13.4 | 12 mm cement plaster of mix : |  |  |  | 0
89 | 13.4.2 | 1:6 (1 cement: 4 coarse sand) | sqm | 60 |  | 0
90 | 13.11 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand | sqm | 70 |  | 0
91 | 13.16 | 6mm cement plaster of mix. |  |  |  | 0
92 | 13.16.1 | 1:3 ( 1 cement : 3 fine sand) | sqm | 30 |  | 0
93 | 13.26 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | sqm | 90 |  | 0
94 | 13.41 | Distempering with Oil Bound washable distemper of approved brand and manufacture to give an even shade. |  |  |  | 0
95 | 13.41.1 | New work (two or more coats) over and including priming coat with cement primer | sqm | 60 |  | 0
96 | 13.47 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: |  |  |  | 0
97 | 13.47.1 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | sqm | 70 |  | 0
98 | 13.65 | Painting with black anti-corrosive bitumastic paint of approved brand and manufacture to give an even shade : |  |  |  | 0
99 | 13.65.1 | Two or more coats on new work | sqm | 170 |  | 0
100 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : |  |  |  | 0
101 | 19.6.5 | 450 mm dia. R.C.C. pipe | metre | 3 |  | 0
102 | 21.3 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): |  |  |  | 0
103 | 21.3.2 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | sqm | 10 |  | 0
104 | 22.7 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge”: |  |  |  | 0
105 | 22.7.1 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | sqm | 45 |  | 0
107 |  | Balance Civil works - Bilaspur Substation |  |  |  | 0
108 |  | Part-A (Schedule Item) |  |  |  | 0
109 | 1.1 | CARRIAGE OF MATERIALS- By Mechanical Transport including loading,unloading and stacking |  |  |  | 0
110 | 1.1.1 | Earth up to 2 km | cum | 50 |  | 0
111 | 2.1 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: |  |  |  | 0
112 | 2.1.1 | All kinds of soil | sqm | 170 |  | 0
113 | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. |  |  |  | 0
114 | 2.6.1 | All kinds of soil | cum | 540 |  | 0
115 | 2.7 | Earth work in excavation by mechanical means (Hydraulic excavator) manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. |  |  |  | 0
116 | 2.7.1 | Ordinary rock | cum | 55 |  | 0
117 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  |  | 0
118 | 2.8.1 | All kinds of soil. | cum | 115 |  | 0
119 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | cum | 516 |  | 0
120 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  |  | 0
121 | 4.1.4 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 7 |  | 0
122 | 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 35 |  | 0
123 | 4.1.10 | 1:5:10 (1 cement : 5 coarse sand (zone-lill) derived from natural sources ; 10 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 255 |  | 0
124 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for : |  |  |  | 0
125 | 4.3.1 | Foundations, footings, bases for columns | sqm | 45 |  | 0
126 | 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for |  |  |  | 0
127 | 5.9.1 | Foundations, footings, bases of columns, etc. for mass concrete | sqm | 160 |  | 0
128 | 5.9.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc, | sqm | 380 |  | 0
129 | 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | sqm | 290 |  | 0
130 | 5.22 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. |  |  |  | 0
131 | 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | kg | 850 |  | 0
132 | 5.33 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. |  |  |  | 0
133 | 5.33.1 | All works upto plinth level |  |  |  | 0
134 | 5.33.1.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum | cum | 165 |  | 0
135 | 5.35 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | Quintal | 115.5 |  | 0
136 | 10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Kg | 4200 |  | 0
137 | 13.65 | Painting with black anti-corrosive bitumastic paint of approved brand and manufacture to give an even shade : |  |  |  | 0
138 | 13.65.1 | Two or more coats on new work | sqm | 55 |  | 0
139 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : |  |  |  | 0
140 | 19.6.2 | 150 mm dia. R.C.C. pipe | Metre | 5 |  | 0
141 | 19.6.3 | 250 mm dia. R.C.C. pipe | Metre | 5 |  | 0
142 | 19.6.4 | 300 mm dia. R.C.C. pipe | Metre | 5 |  | 0
143 | 19.35 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete |  |  |  | 0
144 | 19.35.1 | 450 mm dia RCC pipes. | Metre | 10 |  | 0
145 | 15.2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  |  | 0
146 | 15.2.1 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | cum | 5 |  | 0
147 | 15.2.2 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | cum | 120 |  | 0
148 | 15.3 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge | cum | 5 |  | 0
149 | 26.29 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. |  |  |  | 0
150 | 26.29.1 | Bars upto 12 mm diameter | Metre | 2520 |  | 0
151 | 26.29.2 | Bars above 12 mm diameter | Metre | 140 |  | 0
|  | Total for PART-A-Schedule items (Excluding GST) : |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2

## Sch-2
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 | [5 empty] | Schedule - 2
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
SCHEDULE OF RATES AND PRICES : PART-B- Non Scheduled Items
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-B: Non Scheduled Items
Balance Civil works - Bhatapara Substation
1 | NS-1 | cleaning and washing of existing stones and spreading of stones over PCC in switchyard to achieve a compacted layer thickness of 100 mm including all leads, lifts, materials, labour, and equipment, complete in all respects as per the directions of the Engineer‑in‑Charge. | sqm | 100 |  | 0
2 | NS-2 | Supplying, spreading, and leveling 40 mm single‑size gravel in the switchyard area over the PCC surface, to achieve a compacted layer thickness of 100 mm, including all leads, lifts, materials, labour, and equipment, complete in all respects as per the directions of the Engineer‑in‑Charge. | sqm | 180 |  | 0
3 | NS-3 | Supply of antiweed chemical of reputed make / brand and aplying as per manufacturer guidlines in switchyard before laying of PCC after removal of roots and throughly de-weeding. | M2 | 180 |  | 0
4 |  | The doses and application of chemical shall be strictly done as per manufacturer’s recommendation. Nevertheless the effectiveness of the chemical shall be demonstrated by the Contractor in a test area of 10MX10M (appx) and shall be sprinkled with water at least once in the afternoon every day after forty eight hours of application of chemical. The treated area shall be monitored over a period of two to three weeks for any growth of weeds by the Engineer – in- charge. The final approval shall be given by Engineer – in –charge based on the results. |  |  |  | 0
5 | Ns-04 | Erection charges of Foundation bolts including nuts, checknut and washers for Lattice and pipe structures |  |  |  | 0
|  | (i) 28mm dia | No. | 264 |  | 0
|  | Balance Civil works - Bilaspur Substation |  |  |  | 0
6 | NS-1 | cleaning and washing of existing stones and spreading of stones over PCC in switchyard to achieve a compacted layer thickness of 100 mm including all leads, lifts, materials, labour, and equipment, complete in all respects as per the directions of the Engineer‑in‑Charge. | sqm | 100 |  | 0
7 | NS-2 | Supplying, spreading, and leveling 40 mm single‑size gravel in the switchyard area over the PCC surface, to achieve a compacted layer thickness of 100 mm, including all leads, lifts, materials, labour, and equipment, complete in all respects as per the directions of the Engineer‑in‑Charge. | sqm | 180 |  | 0
8 | NS-3 | Supply of antiweed chemical of reputed make / brand and aplying as per manufacturer guidlines in switchyard before laying of PCC after removal of roots and throughly de-weeding. | M2 | 180 |  | 0
|  | The doses and application of chemical shall be strictly done as per manufacturer’s recommendation. Nevertheless the effectiveness of the chemical shall be demonstrated by the Contractor in a test area of 10MX10M (appx) and shall be sprinkled with water at least once in the afternoon every day after forty eight hours of application of chemical. The treated area shall be monitored over a period of two to three weeks for any growth of weeds by the Engineer – in- charge. The final approval shall be given by Engineer – in –charge based on the results. |  |  |  | 0
9 | Ns-04 | Erection charges of Foundation bolts including nuts, checknut and washers for Lattice and pipe structures - 28mm dia | Nos | 264 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total (PART-B) - Non Scheduled Items (Excluding GST) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-3

## (Part-III) Sch-1 (hidden)
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-A- SCHEDULED ITEMS AS PER DSR-2014)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | ITEM NO. | Item Description | Unit | Qty. | Rate | Amount
1 |  | 2 | 4 | 5 | 6 | 7 = 5 x 6
PART-III Construction of SEWERAGE SYSTEM for Residential Qtr
PART-A - (SCHEDULE ITEMS AS PER DSR - 2016)
1 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | All kinds of soil | Cu.m. | 60
2 | 2.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
| 2.10.1.2 | Pipes, cables etc. exceeding 80mm dia but not exceeding 300mm dia. | Metre | 1000
3 | 2.11 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | Metre | 50
4 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cu. M | 20
5 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | Cu. M | 50
6 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :
| 4.3.1 | Foundations, footings, bases for columns | Sq.m. | 80
7 | 17.35 | Providing and fixing soil, waste and vent pipes :
| 17.35.1 | 100 mm dia
| 17.35.1.1 | Sand cast iron S&S pipe as per IS: 1729 | metre | 10
8 | 18.27 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
| 18.27.3 | 150 mm dia pipe | metre | 50
9 | 18.28 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
| 18.28.3 | 150 mm diameter pipe | each | 20
10 | 19.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
| 19.1.2 | 150mm diameter | Metre | 1000
11 | 19.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
| 19.2.2 | 150 mm diameter S.W. pipe | Metre | 1000
12 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
| 19.6.4 | 300 mm dia RCC pipes. | metre | 30
13 | 19.15 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design :
| 19.15.1 | With 20x20 mm square bar | Each | 30
Sum of Items as per DSR-2016
|  | Percentage quoted above (+) / below(-) DSR-2016 |  |  |  | 0
|  | Total for PART-III (PART-A) -(Schedule Items) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2(Part-I)

## (Part-III) Sch-2 (hidden)
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 | [5 empty] | Schedule - 2
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-B- NON SCHEDULED ITEMS)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-II Construction of SEWERAGE SYSTEM for Residential Qtr
PART-B | NON-SCHEDULE ITEMS
1 | NS-1 | Construction brick masonary manholes in cement mortar 1:4 - 1 cement : 4 coarse sand- R.C.C. top slab with 1:2:4 mix -1 cement : 2 coarse sand : 4 approved graded stone aggregate 20mm nominal size- foundation concrete 1:4:8 mix -1 cement : 4 coarse sand :8 graded stone aggregate 40mm nominal size) inside plastring 12mm thick with cement morter 1:3(1 cement:3 Coarse sand) finished with a floating coat of neat cement and making channel in cementconcrete 1:2:4 (1 cement:2 coarse sand:graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design of CPWD.
Inside size 90X80 cm and 45cm deep including C.I. Cover with frame (light duly) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 Kg (weight of cover 23 Kg and and weight of frame 15 Kg)
| a | With Fly Ash Bricks | Each | 40
2 | NS-2 | Extra for depth for manholes
Size 90 x 80cm
|  | With Fly Ash Bricks of average compressive strength of 50 Kg/cm2 | Meter | 35
Total PART-III ( PART-B) - (Non-Schedule Items)
Printed Name :
Date : |  |  |  |  | Designation :
Place :
Click for
Sch-3(Part-I)

## Sch-3
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 | [6 empty] | Schedule - 3
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package " | [10 empty] | As per Lum-sum
(SCHEDULE OF RATES AND PRICES : PART-C- ELECTRICAL ITEMS) | [10 empty] | AS per Percent
As per lum-sum on Sch-3
Bidder’s Name and Address | [5 empty] | To: |  |  |  |  | As per Percent on Sch-3
Bidder as | [5 empty] | Contract & Material |  |  |  |  | Multipackage lum-sum
Name : | [5 empty] | Power Grid Corporation of India Ltd., |  |  |  |  | Multipackage on Percent
Address : | [5 empty] | Western Region -I Headquarters |  |  |  |  | Total Discount
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
Item. No | Activity Number | Group | Description of Item | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=6*7
1 | [6 empty] | 0
2 | [6 empty] | 0
| Total (PART-C) - Excl GST |  | NOT APPLICABLE |  |  |  | 0 | 0.18 | #REF! | #REF!
Date : | 0 | [5 empty] | Printed Name : | 0
Place : | 0 | [5 empty] | Designation : | 0
Click for
Sch-4

## Sch-4
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 |  |  | Schedule - 5
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description
1 | PART-A- Scheduled items |  | 0
2 | PART-B- Non Scheduled Items |  | 0
3 | PART-C- Electrical Items |  | 0
| Total of PART-A + PART-B |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discout

## Sch-5 After Discount
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 |  |  | Schedule - 5 After Discount
" "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
(GRAND SUMMARY - AFTER DISCOUNT)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description |  | Total Price (INR) | Total Discount | 0%
1 | PART-A- Supply |  | 0 | 0 | 0
2 | PART-B- Scheduled items |  | 0 | 0 | 0
| PART-B- Non Scheduled Items |  | 0
0
0
0
0
0
0
0
0
0
2 | PART-C- Electrical Items |  | 0 | 0 | 0
| Total of PART-A + PART-B + PART-C |  | 0 |  | 0
| GRAND TOTAL after Discount ( Excl GST ) |  | 0
| add GST @ 18% |  | 0
| GRAND TOTAL after Discount ( Incl GST) |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discount

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract & Material
Power Grid Corporation of India Ltd.,
Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Subject : |  | " "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package "
1) All the discounts mentioned below shall be applied separately.
2) Please verify Schedule-5 (after Discount) after filling this letter of discount.
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [5 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdules of all the Parts i.e. (PART-A + Part-B+PART-C) In Rs. |  |  | 0 | 0%
AND
| 2 | Discount on percent basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdulesof all the Parts i.e. (PART-A + Part-B+PART-C) In Percent (%) |  |  |  | 0%
| 1) Discount is Optional. 2) Bidder may fill any of the above two Indicated Discounts or both the Discounts. 3) Discount(s) offered at Sl. No. 1 to 2 will automatically simultaneously get accounted for in all the Schedules of all the Parts.. | [5 empty] | 0%
| 5 | We hereby offer Multi-package discount as given below:
[5 empty] | #REF! | 0%
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Note:
1) All the discounts mentioned above shall be applied separately.
2) Please verify Schedule-5 after filling the above letter of discount.
Yours faithfully,
For and on behalf of
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Bid Form 2nd Envelope
Specification No.: WR-I/RPC/SYE/NIT-188/I-1099-2025/RFX-5002005197 |  |  |  |  | Bid Form 2nd Envelope | 0 |  |  |  |  | 1 | st |  | 1 | January
[6 empty] | #REF! |  |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | [10 empty] | 6 | th | #VALUE! | 6 | June
[11 empty] | 7 | th | #VALUE! | 7 | July
To: | [10 empty] | 8 | th | #VALUE! | 8 | August
Contract & Material | [10 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [10 empty] | 10 | th |  | 10 | October
Western Region -I Headquarters | [10 empty] | 11 | th |  | 11 | November
Sampriti Nagar, Nari Ring Road | [10 empty] | 12 | th |  | 12 | December
PO: Uppalwadi, Nagpur (MS) -440026 | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | " "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package " | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of " "Execution of Civil works at Bhatapara & Bilaspur Sub-Stations under SS-110 package " under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rupees only) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of | under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rupees only) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Sch-1 |  | PART-A-SCHEDULED ITEM | [7 empty] | 21 | st
| Sch-2 |  | PART-B-NA
| Sch-3 |  | PART-C-NA
| Sch-4 |  | GRAND SUMMARY
| Sch-5 After Discount |  | GRAND SUMMARY after DISCOUNT
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 9, Section–II: SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be FIRM during the execution of Contract and not subject to any Price Adjustment . | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover Page

## N-W (hidden)
0
0
0
0
0
Rupees only
0 | zero |  | only
0 | zero | hundred
0 | zero | thousand
0 | zero | lakh
0 | zero | crore | Rupees
0 | zero
1 | one
2 | two
3 | three
4 | four
5 | five
6 | six
7 | seven
8 | eight
9 | nine
10 | ten
11 | eleven
12 | twelve
13 | thirteen
14 | fourteen
15 | fifteen
16 | sixteen
17 | seventeen
18 | eighteen
19 | nineteen
20 | twenty
21 | twenty one
22 | twenty two
23 | twenty three
24 | twenty four
25 | twenty five
26 | twenty six
27 | twenty seven
28 | twenty eight
29 | twenty nine
30 | thirty
31 | thirty one
32 | thirty two
33 | thirty three
34 | thirty four
35 | thirty five
36 | thirty six
37 | thirty seven
38 | thirty eight
39 | thirty nine
40 | forty
41 | forty one
42 | forty two
43 | forty three
44 | forty four
45 | forty five
46 | forty six
47 | forty seven
48 | forty eight
49 | forty nine
50 | fifty
51 | fifty one
52 | fifty two
53 | fifty three
54 | fifty four
55 | fifty five
56 | fifty six
57 | fifty seven
58 | fifty eight
59 | fifty nine
60 | sixty
61 | sixty one
62 | sixty two
63 | sixty three
64 | sixty four
65 | sixty five
66 | sixty six
67 | sixty seven
68 | sixty eight
69 | sixty nine
70 | seventy
71 | seventy one
72 | seventy two
73 | seventy three
74 | seventy four
75 | seventy five
76 | seventy six
77 | seventy seven
78 | seventy eight
79 | seventy nine
80 | eighty
81 | eighty one
82 | eighty two
83 | eighty three
84 | eighty four
85 | eighty five
86 | eighty six
87 | eighty seven
88 | eighty eight
89 | eighty nine
90 | ninety
91 | ninety one
92 | ninety two
93 | ninety three
94 | ninety four
95 | ninety five
96 | ninety six
97 | ninety seven
98 | ninety eight
99 | ninety nine