## Basic (hidden)
Package Name | Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
Package Code | SubStation
Specification No. | Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865

## Cover
REV_01
Price Schedules | Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay |  | SubStation
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-5 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package SS01
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Bidder from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Training Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-5 (Summary of Taxes and Duties applicable on the Services) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  |  | Sole Bidder
Others
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Others |  |  | 2
2 or More
Name of Lead Partner
Address of Lead Partner
Name of other Partner - 1
Address of other Partner - 1
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 2024 | 31
Place
Click for Sch-1

## Sch-1. (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 | [9 empty] | Schedule - 1
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Lead Partner) : | [7 empty] | To:
Sr.General Manager,
C&M Department
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted
All Prices are in Indian Rupees.
SI. No. | HSN Code | Whether HSN in column ‘ 2’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 4 ’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST TAX as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 x 9 | 11
I |  |  |  |  | SubStation | [5 empty] | Revaluation of J column | Tax Calculation
Part A - Indoor components of LT System
1 | 222222 |  | 18% | confirmed | 415V AC Main Switch Board as per the TS enclosed. | Set | 1 |  | Included | 0 | 0 | 0
2 | 2 |  | 18% |  | 415V ACDB- I as per the TS enlosed. | Set | 1 |  | Included | 0 | 0 | 0
3 | 2 |  | 18% |  | 415V ACDB- II as per the TS enclosed | Set | 1 |  | Included | 0 | 0 | 0
4 | 2 |  | 18% |  | 415V AC Main Lighting Distribution Board including two nos 100KVA rated lighting transformers as per the TS enclosed | Set | 1 |  | Included | 0 | 0 | 0
5 | 2 |  | 18% |  | 415V AC Emergency Lighting Distribution Board including one no 100KVA rated lighting transformers. | Set | 1 |  | Included | 0 | 0 | 0
6 | 2 |  | 18% |  | 415V AC Emergency Diesel Switchgear | Set | 1 |  | Included | 0 | 0 | 0
7 | 2 |  | 18% |  | 415V ACDB for colony lighting | Set | 2 |  | Included | 0 | 0 | 0
8 | 2 |  | 18% |  | 415V Air conditioning DB | Set | 1 |  | Included | 0 | 0 | 0
9 | 2 |  | 18% |  | 48V DCDB | Nos | 2 |  | Included | 0 | 0 | 0
10 | 2 |  | 18% |  | 220V DCDB | Nos | 2 |  | Included | 0 | 0 | 0
11 | 2 |  | 18% |  | Mandatory Spares as per the BOM in Vol-II | Lot | 1 |  | Included | 0 | 0 | 0
Part B - Out door components of LT system | [10 empty] | 0 | 0
1 | 1 |  | 18% |  | 630KVA, 22kV/433V, DYn1 LT transformer | Nos | 2 |  | Included | 0 | 0 | 0
2 | 1 |  | 18% |  | 33kV, 200A, Horn Gap fuse(1Ph) as per the TS enclosed. | Nos. | 6 |  | Included | 0 | 0 | 0
3 | 1 |  | 18% |  | 33KV, 630A, 3Ph, 25KA/3sec, manual operated HDB electrically ganged Isolator without earth switch as per the TS enclosed. | Nos. | 2 |  | Included | 0 | 0 | 0
4 | 1 |  | 18% |  | 22KV/433V Potential transformer (1Ph) as per the TS enclosed. | Nos. | 6 |  | Included | 0 | 0 | 0
5 | 1 |  | 18% |  | 18KV, 10KA , Class-III Surge arrestors as per TS enclosed. | Nos. | 6 |  | Included | 0 | 0 | 0
6 | 1 |  | 18% |  | 33KV Post insulators | Nos. | 24 |  | Included | 0 | 0 | 0
7 | 1 |  | 18% |  | H-Pole structure for 22KV sytem as per the indicative drawing enclosed, | Set | 2 |  | Included | 0 | 0 | 0
8 | 1 |  | 18% |  | Conductor, Clamps,Connector including equipment connectors earthing materials for 22KV system equipments including LT transformer neutral earthing, risers, Lighting spike, GI flats for earthing the structures, Equipments etc for connection of LT transformer and other 22KV equipments | Set | 2 |  | Included | 0 | 0 | 0
9 | 1 |  | 18% |  | 1CX630Sq.mm AL.XLPE cable along with clamps, Glands and straight Joints | Km | 1.4 |  | Included | 0 | 0 | 0
10 |  |  |  |  | Mandatory spares for LT transformer | [5 empty] | 0 | 0
a | 1 |  | 18% |  | All Bushings with metal parts | Set | 1 |  | Included | 0 | 0 | 0
b | 1 |  | 18% |  | OTI with sensing device | Set | 1 |  | Included | 0 | 0 | 0
c | 1 |  | 18% |  | Set of valves (o1 no. each type) | Set | 1 |  | Included | 0 | 0 | 0
d | 1 |  | 18% |  | Silica Gel container | Set | 1 |  | Included | 0 | 0 | 0
e | 1 |  | 18% |  | Bucholz relay | Set | 1 |  | Included | 0 | 0 | 0
11 | 1 |  | 18% |  | Mandatory spares for 22KV equipments as per the BOM attached | Lot | 1 |  | Included | 0 | 0 | 0
[10 empty] | 0 |  | 0
[5 empty] | Total Ex-Works Price Excluding GST |  |  |  | 0 |  |  | Total Tax
[5 empty] | Total Type Test charges as per Schedule-7 |  |  |  | 0
[5 empty] | Total Ex-works Price including Type Test charges |  |  |  | 0
[5 empty] | Total GST Tax as confirmed by Bidder |  |  |  |  | 0
Note : | Specify amount of GST on the transaction between the Contractor and the Employer.
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | --2024
Place : | [5 empty] | Printed Name :
Designation :
Click for Sch-2

## Sch-1 dis (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 | [5 empty] | Schedule - 1 |  |  |  | Direct Total | 0 | Others | `
[10 empty] | BO Total | #REF! | 0
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address (Lead Partner) : |  |  |  | To:
Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd., | [7 empty] | , & …….. …….. …….. …….. …….. ……..
Address : |  |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted. | [10 empty] | Direct
[6 empty] | All Prices are in Indian Rupees. |  |  |  |  | Bought-Out
SI. No. | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | 7
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price Direct |  |  |  | 0 | Direct
| Total Ex-Works Price Bought Out |  |  |  | 0
| Total Ex-Works Price |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  | #REF! |  |  | #REF! |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  | #REF! |  |  | #REF! |  | #REF!
[7 empty] | Discount Sch-1 | #REF! | MPD Sch-1 | #REF!
[7 empty] | Dis Alert | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | --2024
Place : |  |  | Printed Name :
Designation :
Click for Sch-2

## Sch-1
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 | [8 empty] | Schedule - 1
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | [13 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [13 empty] | AS per Percent |  | #REF!
[14 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Lead Partner) : | [7 empty] | To: | [5 empty] | As per Percent on Sch-3 |  | #REF!
Sr.General Manager,
[8 empty] | C&M Department | [5 empty] | Total Discount |  | #REF!
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SR-II,RHQ
[8 empty] | Singanayakanahalli,Yelahanka | [5 empty] | Multipackage lum-sum |  | #REF!
Bangalore -560064
[15 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | SAC/HSN (Service Accounting Codes/ Harmonized System of Nomenclature) | Whether SAC in column '2’ is confirmed. If not, indicate applicable SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 4 ’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Rate in Rs. | Total in Rs. | GST TAX as confirmed by Bidder |  |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 x 9 | 11 |  |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
|  |  | Hassan Bay Extension work | [8 empty] | Revaluation of J column | Tax Calculation
I | Supply portion
1 | 85354010 |  | 18% | confirmed | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 2 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 1 |  | Included | 0 |  | 0 | 0
5 | 85353090 |  | 18% | confirmed | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 3 |  | Included | 0 |  | 0 | 0
6 | 85353090 |  | 18% | confirmed | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 13 |  | Included | 0 |  | 0 | 0
7 | 85353090 |  | 18% | confirmed | 216kV Surge Arrester (1-phase) | EA | 3 |  | Included | 0 |  | 0 | 0
8 | 85353090 |  | 18% | confirmed | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 2 |  | Included | 0 |  | 0 | 0
9 | 85353090 |  | 18% | confirmed | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | Included | 0 |  | 0 | 0
10 | 85353090 |  | 18% | confirmed | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | Included | 0 |  | 0 | 0
11 | 85353090 |  | 18% | confirmed | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included | 0 |  | 0 | 0
12 | 85353090 |  | 18% | confirmed | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 1 |  | Included | 0 |  | 0 | 0
13 | 85353090 |  | 18% | confirmed | Erection Hardware for 400kV I type layout-Any feeder Extn. on existinghalf dia. as per technical specification | SET | 1 |  | Included | 0 |  | 0 | 0
14 | 85353090 |  | 18% | confirmed | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3 |  | Included | 0 |  | 0 | 0
15 | 85353090 |  | 18% | confirmed | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1 |  | Included | 0 |  | 0 | 0
16 | 85353090 |  | 18% | confirmed | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included | 0 |  | 0 | 0
17 | 85353090 |  | 18% | confirmed | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3 |  | Included | 0 |  | 0 | 0
18 | 85353090 |  | 18% | confirmed | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included | 0 |  | 0 | 0
19 | 85353090 |  | 18% | confirmed | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included | 0 |  | 0 | 0
20 | 85353090 |  | 18% | confirmed | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | Included | 0 |  | 0 | 0
21 | 85353090 |  | 18% | confirmed | 400kV Transformer Protection Panel (For both HV & MV side)-(withAutomation) | EA | 1 |  | Included | 0 |  | 0 | 0
22 | 85353090 |  | 18% | confirmed | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | Included | 0 |  | 0 | 0
23 | 85353090 |  | 18% | confirmed | 220KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | Included | 0 |  | 0 | 0
24 | 85353090 |  | 18% | confirmed | Augmentation of existing 220kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | Included | 0 |  | 0 | 0
25 | 85353090 |  | 18% | confirmed | Augmentation of Substation automation System for 220kV bay as perTechnical Specification | EA | 1 |  | Included | 0 |  | 0 | 0
26 | 85353090 |  | 18% | confirmed | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | Included | 0 |  | 0 | 0
27 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 0.25 |  | Included | 0 |  | 0 | 0
28 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 1 |  | Included | 0 |  | 0 | 0
29 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 1 |  | Included | 0 |  | 0 | 0
30 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 2.5 |  | Included | 0 |  | 0 | 0
31 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 8 |  | Included | 0 |  | 0 | 0
32 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 5 |  | Included | 0 |  | 0 | 0
33 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included | 0 |  | 0 | 0
34 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included | 0 |  | 0 | 0
35 | 85441110 |  | 18% | confirmed | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 0.3 |  | Included | 0 |  | 0 | 0
36 | 85441110 |  | 18% | confirmed | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 2 |  | Included | 0 |  | 0 | 0
37 | 85353090 |  | 18% | confirmed | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included | 0 |  | 0 | 0
38 | 85353090 |  | 18% | confirmed | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included | 0 |  | 0 | 0
39 | 85353090 |  | 18% | confirmed | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | Included | 0 |  | 0 | 0
40 | 85353090 |  | 18% | confirmed | HVW SPRAY SYSTEM, HYDRANT SYSTEM AND COMPLETE U/G & O/G PIPING ANDACCESSORIES ETC. OUT SIDE THE PUMP HOUSE FOR 400KV, 3-PHASEAUTOTRANSFORMER | SET | 1 |  | Included | 0 |  | 0 | 0
41 | 85353090 |  | 18% | confirmed | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | Included | 0 |  | 0 | 0
42 | 85353090 |  | 18% | confirmed | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included | 0 |  | 0 | 0
43 | 85353090 |  | 18% | confirmed | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 15 |  | Included | 0 |  | 0 | 0
44 | 85353090 |  | 18% | confirmed | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | Included | 0 |  | 0 | 0
45 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of Equipment Support (Pipe)Structures to be designed during detailed engineering | MT | 25 |  | Included | 0 |  | 0 | 0
46 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 11 |  | Included | 0 |  | 0 | 0
47 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1 |  | Included | 0 |  | 0 | 0
48 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 2 |  | Included | 0 |  | 0 | 0
Mandatory Spares
49 | 85353090 |  | 18% | confirmed | One Pole of 420kV, 3150 A, 50kA SF6circuit breaker with PIRincludinggrading capacitor (if applicable),Polecolumn interrupter, withdrivingmechanism and Marshaling Box butwithout support structure. | EA | 1 |  | Included | 0 |  | 0 | 0
50 | 85353090 |  | 18% | confirmed | Rubber gasket, O rings and seals for SF6 gas (complete replacement forone 420kV SF6 Circuit Breaker) | SET | 1 |  | Included | 0 |  | 0 | 0
51 | 85353090 |  | 18% | confirmed | Trip coil with resistor for 420kV SF6 Circuit Breaker | SET | 2 |  | Included | 0 |  | 0 | 0
52 | 85353090 |  | 18% | confirmed | Closing coil with resistor for 420kV SF6 Circuit Breaker | EA | 2 |  | Included | 0 |  | 0 | 0
53 | 85353090 |  | 18% | confirmed | Terminal pad for 420kV SF6 Circuit Breaker | EA | 2 |  | Included | 0 |  | 0 | 0
54 | 85353090 |  | 18% | confirmed | Molecular filter for 420kV SF6 Circuit Breaker | EA | 2 |  | Included | 0 |  | 0 | 0
55 | 85353090 |  | 18% | confirmed | Corona rings (1 No of each type) for 420 kV Circuit Breaker | SET | 1 |  | Included | 0 |  | 0 | 0
56 | 85353090 |  | 18% | confirmed | Relays, Power contactors, SFU, limit switches, push buttons, timers &MCB etc. (1 No of each type) for 420kV Circuit Breaker | SET | 1 |  | Included | 0 |  | 0 | 0
57 | 85353090 |  | 18% | confirmed | Pressure switches (1 No. of each type) for 420kV SF6 Circuit Breaker | SET | 1 |  | Included | 0 |  | 0 | 0
58 | 85353090 |  | 18% | confirmed | Aux. Switch/contact assembly for 420kV SF6 Circuit Breaker | SET | 1 |  | Included | 0 |  | 0 | 0
59 | 85353090 |  | 18% | confirmed | Operation counter for Circuit Breaker | EA | 1 |  | Included | 0 |  | 0 | 0
60 | 85353090 |  | 18% | confirmed | COMPLETE SPRING OPERATING MECHANISM FOR 420 KV SF6 CIRCUIT BREAKER | EA | 1 |  | Included | 0 |  | 0 | 0
61 | 85353090 |  | 18% | confirmed | One Complete Pole of Double BreakIsolator including support Insulatorwith 1 E/s (excluding structure) withMotor Operating Mechanism for 420kV,3150A, 63kA main Isolator and E/S | EA | 1 |  | Included | 0 |  | 0 | 0
62 | 85353090 |  | 18% | confirmed | COPPER CONTACT FINGERS FOR FEMALE & MALE CONTACTS OF 420KV DOUBLE BREAK ISOLATOR | SET | 2 |  | Included | 0 |  | 0 | 0
63 | 85353090 |  | 18% | confirmed | Open / Close contactor assembly, timers, key interlock push buttonswitch & auxiliary switches for 420kV Isolator | SET | 1 |  | Included | 0 |  | 0 | 0
64 | 85353090 |  | 18% | confirmed | Limit switch for 420kV Isolator | SET | 2 |  | Included | 0 |  | 0 | 0
65 | 85353090 |  | 18% | confirmed | Terminal pads & connectors for 420kV Isolator | EA | 3 |  | Included | 0 |  | 0 | 0
66 | 85353090 |  | 18% | confirmed | Corona shield rings for 420kV DB Isolator for 1-pole | SET | 3 |  | Included | 0 |  | 0 | 0
67 | 85353090 |  | 18% | confirmed | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 1 |  | Included | 0 |  | 0 | 0
68 | 85353090 |  | 18% | confirmed | 336kV Surge Arrester (1-phase) | EA | 1 |  | Included | 0 |  | 0 | 0
69 | 85353090 |  | 18% | confirmed | Surge monitor (1-Phase) | EA | 1 |  | Included | 0 |  | 0 | 0
70 | 85353090 |  | 18% | confirmed | 216kV Surge Arrester (1-phase) | EA | 1 |  | Included | 0 |  | 0 | 0
71 | 85353090 |  | 18% | confirmed | Surge monitor (1-Phase) | EA | 1 |  | Included | 0 |  | 0 | 0
72 | 85353090 |  | 18% | confirmed | Transformer differential protection relay | EA | 1 |  | Included | 0 |  | 0 | 0
73 | 85353090 |  | 18% | confirmed | Restricted earthfault relay type with non-linear resistor andassociated software in case of numerical relay | EA | 1 |  | Included | 0 |  | 0 | 0
74 | 85353090 |  | 18% | confirmed | Numerical LBB relay | EA | 1 |  | Included | 0 |  | 0 | 0
75 | 85353090 |  | 18% | confirmed | Auxliary relay (1 no of each type) | SET | 1 |  | Included | 0 |  | 0 | 0
76 | 85353090 |  | 18% | confirmed | Deluge valve (1 No. of each size) | SET | 1 |  | Included | 0 |  | 0 | 0
77 | 85353090 |  | 18% | confirmed | SPARE-SF6 GAS | KG | 60 |  | Included | 0 |  | 0 | 0
78 | 85353090 |  | 18% | confirmed | Complete Pole of 245kV, 1600A, 50kA SF6Circuit Breaker including closingresistor(if applicable), gradingcapacitor (if applicable), pole column,interrupter with driving mechanism andMarshelling Box but without supportstructure | EA | 1 |  | Included | 0 |  | 0 | 0
79 | 85353090 |  | 18% | confirmed | Rubber gasket, O rings and seals for SF6 gas (complete replacement forone 245kV SF6 Circuit Breaker) | SET | 1 |  | Included | 0 |  | 0 | 0
80 | 85353090 |  | 18% | confirmed | Trip coil with resistor for 245kV Circuit Breaker | EA | 2 |  | Included | 0 |  | 0 | 0
81 | 85353090 |  | 18% | confirmed | Closing coil with resistor for 245kV Circuit Breaker | EA | 2 |  | Included | 0 |  | 0 | 0
82 | 85353090 |  | 18% | confirmed | Terminal pad for 245kV SF6 Circuit Breaker | EA | 2 |  | Included | 0 |  | 0 | 0
83 | 85353090 |  | 18% | confirmed | Molecular filter for 245kV SF6 Circuit Breaker | EA | 2 |  | Included | 0 |  | 0 | 0
84 | 85353090 |  | 18% | confirmed | Relays, Power contactors, SFU, limit switches, push buttons, timers &MCB etc. (1 No of each type) for 245kV SF6 Circuit Breaker | SET | 1 |  | Included | 0 |  | 0 | 0
85 | 85353090 |  | 18% | confirmed | CORONA RING FOR 245KV SF6 CIRCUIT BREAKER | EA | 1 |  | Included | 0 |  | 0 | 0
86 | 85353090 |  | 18% | confirmed | SF6 Pressure gauge cum switch OR Density monitors and pressure switchas applicable (1 no. of each type) | SET | 1 |  | Included | 0 |  | 0 | 0
87 | 85353090 |  | 18% | confirmed | Aux. Switch assembly for 245kV, SF6 Circuit Breaker | SET | 1 |  | Included | 0 |  | 0 | 0
88 | 85353090 |  | 18% | confirmed | Operation counter for 245kV Circuit Breaker | EA | 1 |  | Included | 0 |  | 0 | 0
89 | 85353090 |  | 18% | confirmed | Complete pole for 245kV, 1600 Aisolator with 1 earth switch includingsupport Insulator, motor operatingmechanism (MOM) with box but excludingstructure | EA | 1 |  | Included | 0 |  | 0 | 0
90 | 85353090 |  | 18% | confirmed | Copper contact fingers for female & male contacts of 245kV DoubleBreak Isolator | SET | 2 |  | Included | 0 |  | 0 | 0
91 | 85353090 |  | 18% | confirmed | Open / Close contactor assembly, timers, key interlock push buttonswitch & auxiliary switches for 245kV Isolator | SET | 1 |  | Included | 0 |  | 0 | 0
92 | 85353090 |  | 18% | confirmed | Limit switch for 245kV Isolator | SET | 2 |  | Included | 0 |  | 0 | 0
93 | 85353090 |  | 18% | confirmed | Terminal pads & connectors (of eachtype) for 245kV 1600A DB Isolator | EA | 3 |  | Included | 0 |  | 0 | 0
94 | 85353090 |  | 18% | confirmed | Corona shield rings for 245 kV DB isolator | EA | 3 |  | Included | 0 |  | 0 | 0
95 | 85353090 |  | 18% | confirmed | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 1 |  | Included | 0 |  | 0 | 0
96 | 85353090 |  | 18% | confirmed | SPARES OF DIGITAL PRESSURE GAUGE AS PERTS | SET | 1 |  | Included | 0 |  | 0 | 0
97 | 85353090 |  | 18% | confirmed | Pressure switch for Fire Protection System | EA | 1 |  | Included | 0 |  | 0 | 0
[5 empty] | Total |  |  |  | 0
[5 empty] | GST Amount |  |  |  |  | 0 | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | --2024
Place : | [5 empty] | Printed Name :
Designation :

## Sch-2
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 | [8 empty] | Schedule - 2
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Lead Partner) : | [7 empty] | To:
C&M Department
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Local Transportation, Insurance and other Incidental Services
All Prices are in Indian Rupees.
SI. No. | HSN Code | Whether HSN in column ‘2’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Freight, Insurance, loading & unloading Charges | Total Freight, Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 2 | 3 | 4 | 5 | 6 = 4 x 5
II |  |  |  |  | Freight & Insurance
1 | 1 | 1 | 1 | 1 | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included
2 |  |  |  |  | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 2 |  | Included
3 |  |  |  |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included
4 |  |  |  |  | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 1 |  | Included
5 |  |  |  |  | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 3 |  | Included
6 |  |  |  |  | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 13 |  | Included
7 |  |  |  |  | 216kV Surge Arrester (1-phase) | EA | 3 |  | Included
8 |  |  |  |  | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 2 |  | Included
9 |  |  |  |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | Included
10 |  |  |  |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | Included
11 |  |  |  |  | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included
12 |  |  |  |  | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 1 |  | Included
13 |  |  |  |  | Erection Hardware for 400kV I type layout-Any feeder Extn. on existinghalf dia. as per technical specification | SET | 1 |  | Included
14 |  |  |  |  | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3 |  | Included
15 |  |  |  |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1 |  | Included
16 |  |  |  |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included
17 |  |  |  |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3 |  | Included
18 |  |  |  |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included
19 |  |  |  |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included
20 |  |  |  |  | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | Included
21 |  |  |  |  | 400kV Transformer Protection Panel (For both HV & MV side)-(withAutomation) | EA | 1 |  | Included
22 |  |  |  |  | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | Included
23 |  |  |  |  | 220KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | Included
24 |  |  |  |  | Augmentation of existing 220kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | Included
25 |  |  |  |  | Augmentation of Substation automation System for 220kV bay as perTechnical Specification | EA | 1 |  | Included
26 |  |  |  |  | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | Included
27 |  |  |  |  | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 0.25 |  | Included
28 |  |  |  |  | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 1 |  | Included
29 |  |  |  |  | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 1 |  | Included
30 |  |  |  |  | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 2.5 |  | Included
31 |  |  |  |  | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 8 |  | Included
32 |  |  |  |  | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 5 |  | Included
33 |  |  |  |  | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included
34 |  |  |  |  | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included
35 |  |  |  |  | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 0.3 |  | Included
36 |  |  |  |  | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 2 |  | Included
37 |  |  |  |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included
38 |  |  |  |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included
39 |  |  |  |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | Included
40 |  |  |  |  | HVW SPRAY SYSTEM, HYDRANT SYSTEM AND COMPLETE U/G & O/G PIPING ANDACCESSORIES ETC. OUT SIDE THE PUMP HOUSE FOR 400KV, 3-PHASEAUTOTRANSFORMER | SET | 1 |  | Included
41 |  |  |  |  | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | Included
42 |  |  |  |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
43 |  |  |  |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 15 |  | Included
44 |  |  |  |  | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | Included
45 |  |  |  |  | Fabrication, galvanising and supply of Equipment Support (Pipe)Structures to be designed during detailed engineering | MT | 25 |  | Included
46 |  |  |  |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 11 |  | Included
47 |  |  |  |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1 |  | Included
48 |  |  |  |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 2 |  | Included
Mandatory Spares
49 |  |  |  |  | One Pole of 420kV, 3150 A, 50kA SF6circuit breaker with PIRincludinggrading capacitor (if applicable),Polecolumn interrupter, withdrivingmechanism and Marshaling Box butwithout support structure. | EA | 1 |  | Included
50 |  |  |  |  | Rubber gasket, O rings and seals for SF6 gas (complete replacement forone 420kV SF6 Circuit Breaker) | SET | 1 |  | Included
51 |  |  |  |  | Trip coil with resistor for 420kV SF6 Circuit Breaker | SET | 2 |  | Included
52 |  |  |  |  | Closing coil with resistor for 420kV SF6 Circuit Breaker | EA | 2 |  | Included
53 |  |  |  |  | Terminal pad for 420kV SF6 Circuit Breaker | EA | 2 |  | Included
54 |  |  |  |  | Molecular filter for 420kV SF6 Circuit Breaker | EA | 2 |  | Included
55 |  |  |  |  | Corona rings (1 No of each type) for 420 kV Circuit Breaker | SET | 1 |  | Included
56 |  |  |  |  | Relays, Power contactors, SFU, limit switches, push buttons, timers &MCB etc. (1 No of each type) for 420kV Circuit Breaker | SET | 1 |  | Included
57 |  |  |  |  | Pressure switches (1 No. of each type) for 420kV SF6 Circuit Breaker | SET | 1 |  | Included
58 |  |  |  |  | Aux. Switch/contact assembly for 420kV SF6 Circuit Breaker | SET | 1 |  | Included
59 |  |  |  |  | Operation counter for Circuit Breaker | EA | 1 |  | Included
60 |  |  |  |  | COMPLETE SPRING OPERATING MECHANISM FOR 420 KV SF6 CIRCUIT BREAKER | EA | 1 |  | Included
61 |  |  |  |  | One Complete Pole of Double BreakIsolator including support Insulatorwith 1 E/s (excluding structure) withMotor Operating Mechanism for 420kV,3150A, 63kA main Isolator and E/S | EA | 1 |  | Included
62 |  |  |  |  | COPPER CONTACT FINGERS FOR FEMALE & MALE CONTACTS OF 420KV DOUBLE BREAK ISOLATOR | SET | 2 |  | Included
63 |  |  |  |  | Open / Close contactor assembly, timers, key interlock push buttonswitch & auxiliary switches for 420kV Isolator | SET | 1 |  | Included
64 |  |  |  |  | Limit switch for 420kV Isolator | SET | 2 |  | Included
65 |  |  |  |  | Terminal pads & connectors for 420kV Isolator | EA | 3 |  | Included
66 |  |  |  |  | Corona shield rings for 420kV DB Isolator for 1-pole | SET | 3 |  | Included
67 |  |  |  |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 1 |  | Included
68 |  |  |  |  | 336kV Surge Arrester (1-phase) | EA | 1 |  | Included
69 |  |  |  |  | Surge monitor (1-Phase) | EA | 1 |  | Included
70 |  |  |  |  | 216kV Surge Arrester (1-phase) | EA | 1 |  | Included
71 |  |  |  |  | Surge monitor (1-Phase) | EA | 1 |  | Included
72 |  |  |  |  | Transformer differential protection relay | EA | 1 |  | Included
73 |  |  |  |  | Restricted earthfault relay type with non-linear resistor andassociated software in case of numerical relay | EA | 1 |  | Included
74 |  |  |  |  | Numerical LBB relay | EA | 1 |  | Included
75 |  |  |  |  | Auxliary relay (1 no of each type) | SET | 1 |  | Included
76 |  |  |  |  | Deluge valve (1 No. of each size) | SET | 1 |  | Included
77 |  |  |  |  | SPARE-SF6 GAS | KG | 60 |  | Included
78 |  |  |  |  | Complete Pole of 245kV, 1600A, 50kA SF6Circuit Breaker including closingresistor(if applicable), gradingcapacitor (if applicable), pole column,interrupter with driving mechanism andMarshelling Box but without supportstructure | EA | 1 |  | Included
79 |  |  |  |  | Rubber gasket, O rings and seals for SF6 gas (complete replacement forone 245kV SF6 Circuit Breaker) | SET | 1 |  | Included
80 |  |  |  |  | Trip coil with resistor for 245kV Circuit Breaker | EA | 2 |  | Included
81 |  |  |  |  | Closing coil with resistor for 245kV Circuit Breaker | EA | 2 |  | Included
82 |  |  |  |  | Terminal pad for 245kV SF6 Circuit Breaker | EA | 2 |  | Included
83 |  |  |  |  | Molecular filter for 245kV SF6 Circuit Breaker | EA | 2 |  | Included
84 |  |  |  |  | Relays, Power contactors, SFU, limit switches, push buttons, timers &MCB etc. (1 No of each type) for 245kV SF6 Circuit Breaker | SET | 1 |  | Included
85 |  |  |  |  | CORONA RING FOR 245KV SF6 CIRCUIT BREAKER | EA | 1 |  | Included
86 |  |  |  |  | SF6 Pressure gauge cum switch OR Density monitors and pressure switchas applicable (1 no. of each type) | SET | 1 |  | Included
87 |  |  |  |  | Aux. Switch assembly for 245kV, SF6 Circuit Breaker | SET | 1 |  | Included
88 |  |  |  |  | Operation counter for 245kV Circuit Breaker | EA | 1 |  | Included
89 |  |  |  |  | Complete pole for 245kV, 1600 Aisolator with 1 earth switch includingsupport Insulator, motor operatingmechanism (MOM) with box but excludingstructure | EA | 1 |  | Included
90 |  |  |  |  | Copper contact fingers for female & male contacts of 245kV DoubleBreak Isolator | SET | 2 |  | Included
91 |  |  |  |  | Open / Close contactor assembly, timers, key interlock push buttonswitch & auxiliary switches for 245kV Isolator | SET | 1 |  | Included
92 |  |  |  |  | Limit switch for 245kV Isolator | SET | 2 |  | Included
93 |  |  |  |  | Terminal pads & connectors (of eachtype) for 245kV 1600A DB Isolator | EA | 3 |  | Included
94 |  |  |  |  | Corona shield rings for 245 kV DB isolator | EA | 3 |  | Included
95 |  |  |  |  | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 1 |  | Included
96 |  |  |  |  | SPARES OF DIGITAL PRESSURE GAUGE AS PERTS | SET | 1 |  | Included
97 |  |  |  |  | Pressure switch for Fire Protection System | EA | 1 |  | Included
[5 empty] | Total F&I Price |  |  |  | 0
Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, Insurance and other Incidental Services only in line with clause ITB 11.4(b).
Date : | --2024
Place : | [6 empty] | Printed Name :
Designation :
Click for Sch-3

## Sch-2 Dis (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  |  | Schedule - 2 Dis
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | [5 empty] | As per Lum-sum |  | 0
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES) | [5 empty] | AS per Percent |  | #REF!
[6 empty] | As per lum-sum on Sch-2 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  |  | To: |  | As per Percent on Sch-2 |  | #REF!
|  |  |  | C&M Department |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SR-II,RHQ
|  |  |  | Singanayakanahalli,Yelahanka |  | Multipackage Discount |  | #REF!
Bangalore -560064
[5 empty] | All Prices are in Indian Rupees. |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total F&I Price |  |  |  | #REF!
Date : | --2024
Place : |  |  | Printed Name :
Designation :
Click for Sch-3

## Sch-3
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | [12 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : ERECTION CHARGES) | [12 empty] | AS per Percent |  | #REF!
[13 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  |  | To: | [8 empty] | As per Percent on Sch-3 |  | #REF!
|  |  |  | C&M Department | [8 empty] | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SR-II,RHQ
|  |  |  | Singanayakanahalli,Yelahanka | [8 empty] | Multipackage lum-sum |  | #REF!
Bangalore -560064
[5 empty] | All Prices are in Indian Rupees. | [8 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | SAC/HSN (Service Accounting Codes/ Harmonized System of Nomenclature) | Whether SAC in column '2’ is confirmed. If not, indicate applicable SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 4 ’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | GST TAX as confirmed by Bidder |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | [8 empty] | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
III | Erection | [9 empty] | Revaluation of J column | Tax Calculation
1 | 995461 |  | 18% | confirmed | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | EA | 1 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included | 0 | 0 | 0
3 | 995461 |  | 18% | confirmed | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 2 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included | 0 | 0 | 0
5 | 995461 |  | 18% | confirmed | 420KV, 1-PHASE BUS POST INSULATORS | EA | 3 |  | Included | 0 | 0 | 0
6 | 995461 |  | 18% | confirmed | 245 kV,1 phase Bus Post Insulator (except for Line Traps) | EA | 13 |  | Included | 0 | 0 | 0
7 | 995461 |  | 18% | confirmed | 216kV Surge Arrester (1-phase) | EA | 3 |  | Included | 0 | 0 | 0
8 | 995461 |  | 18% | confirmed | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Tandem Isolator without E/S | EA | 2 |  | Included | 0 | 0 | 0
9 | 995461 |  | 18% | confirmed | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | Included | 0 | 0 | 0
10 | 995461 |  | 18% | confirmed | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | Included | 0 | 0 | 0
11 | 995461 |  | 18% | confirmed | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included | 0 | 0 | 0
12 | 995461 |  | 18% | confirmed | 245 kV 1600A, 50KA Circuit Breakers (3-Phase) with support | EA | 1 |  | Included | 0 | 0 | 0
13 | 995461 |  | 18% | confirmed | Erection Hardware for 400kV I type layout-Any feeder Extn. on existing half dia. as per specification | SET | 1 |  | Included | 0 | 0 | 0
14 | 995461 |  | 18% | confirmed | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3 |  | Included | 0 | 0 | 0
15 | 995461 |  | 18% | confirmed | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Transformer Bay as per specification | SET | 1 |  | Included | 0 | 0 | 0
16 | 995461 |  | 18% | confirmed | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included | 0 | 0 | 0
17 | 995461 |  | 18% | confirmed | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3 |  | Included | 0 | 0 | 0
18 | 995461 |  | 18% | confirmed | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included | 0 | 0 | 0
19 | 995461 |  | 18% | confirmed | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 6 |  | Included | 0 | 0 | 0
20 | 995461 |  | 18% | confirmed | 400kV Transformer Protection Panel (For both HV & MV side)-(with Automation) | EA | 1 |  | Included | 0 | 0 | 0
21 | 995461 |  | 18% | confirmed | 400kV Circuit Breaker Relay Panel (with Automation) | EA | 1 |  | Included | 0 | 0 | 0
22 | 995461 |  | 18% | confirmed | Augmentation of existing 400kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | Included | 0 | 0 | 0
23 | 995461 |  | 18% | confirmed | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification | EA | 1 |  | Included | 0 | 0 | 0
24 | 995461 |  | 18% | confirmed | 220kV Circuit Breaker Relay Panel (with Automation) | EA | 1 |  | Included | 0 | 0 | 0
25 | 995461 |  | 18% | confirmed | Augmentation of existing 220kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | Included | 0 | 0 | 0
26 | 995461 |  | 18% | confirmed | Augmentation of Substation automation System for 220kV bay as per Technical Specification | EA | 1 |  | Included | 0 | 0 | 0
27 | 995461 |  | 18% | confirmed | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | Included | 0 | 0 | 0
28 | 995461 |  | 18% | confirmed | 4PAIR, 0.5 SQ.MM SCREENED CABLE | KM | 0.3 |  | Included | 0 | 0 | 0
29 | 995461 |  | 18% | confirmed | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included | 0 | 0 | 0
30 | 995461 |  | 18% | confirmed | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 1.5 |  | Included | 0 | 0 | 0
31 | 995461 |  | 18% | confirmed | 1.1kV grade 10Cx2.5 sqmm Control Cable | KM | 5 |  | Included | 0 | 0 | 0
32 | 995461 |  | 18% | confirmed | 1.1kV grade 5Cx2.5 sqmm Control Cable | KM | 8 |  | Included | 0 | 0 | 0
33 | 995461 |  | 18% | confirmed | 1.1kV grade 3Cx2.5 sqmm Control Cable | KM | 2.5 |  | Included | 0 | 0 | 0
34 | 995461 |  | 18% | confirmed | 1.1kV grade 4Cx6 sqmm (PVC) Power Cable | KM | 1 |  | Included | 0 | 0 | 0
35 | 995461 |  | 18% | confirmed | 1.1kV grade 4Cx16 sqmm (PVC) Power Cable | KM | 1 |  | Included | 0 | 0 | 0
36 | 995461 |  | 18% | confirmed | 1.1kV grade 3.5Cx300 sqmm (XLPE) Power Cable | KM | 0.25 |  | Included | 0 | 0 | 0
37 | 995461 |  | 18% | confirmed | 1.1kV grade 3.5Cx35 sqmm (PVC) Power Cable | KM | 2 |  | Included | 0 | 0 | 0
38 | 995461 |  | 18% | confirmed | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included | 0 | 0 | 0
39 | 995461 |  | 18% | confirmed | HVW spray system, Hydrant system and complete U/G & O/G piping and accessories etc. out side the pump house for 400kV, 3-phaseAutotransformer | SET | 1 |  | Included | 0 | 0 | 0
40 | 995461 |  | 18% | confirmed | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | Included | 0 | 0 | 0
41 | 995461 |  | 18% | confirmed | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included | 0 | 0 | 0
42 | 995461 |  | 18% | confirmed | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | Included | 0 | 0 | 0
43 | 995461 |  | 18% | confirmed | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included | 0 | 0 | 0
44 | 995461 |  | 18% | confirmed | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 15 |  | Included | 0 | 0 | 0
45 | 995461 |  | 18% | confirmed | Illumination System for switchyard panel room of 6 m length | SET | 1 |  | Included | 0 | 0 | 0
46 | 995461 |  | 18% | confirmed | Erection of Equipment Support (Pipe) Structures to be designed during detailed engineering. | MT | 25 |  | Included | 0 | 0 | 0
47 | 995461 |  | 18% | confirmed | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 11 |  | Included | 0 | 0 | 0
48 | 995461 |  | 18% | confirmed | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 1 |  | Included | 0 | 0 | 0
49 | 995461 |  | 18% | confirmed | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 2 |  | Included | 0 | 0 | 0
50 | 995461 |  | 18% | confirmed | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 1247 |  | Included | 0 | 0 | 0
51 | 995461 |  | 18% | confirmed | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 416 |  | Included | 0 | 0 | 0
52 | 995461 |  | 18% | confirmed | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 65 |  | Included | 0 | 0 | 0
53 | 995461 |  | 18% | confirmed | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 10 |  | Included | 0 | 0 | 0
54 | 995461 |  | 18% | confirmed | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) | M3 | 225 |  | Included | 0 | 0 | 0
55 | 995461 |  | 18% | confirmed | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 518 |  | Included | 0 | 0 | 0
56 | 995461 |  | 18% | confirmed | Steel Reinforcement | MT | 36 |  | Included | 0 | 0 | 0
57 | 995461 |  | 18% | confirmed | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 30 |  | Included | 0 | 0 | 0
58 | 995461 |  | 18% | confirmed | Stone spreading in switchyard excluding PCC | M2 | 2000 |  | Included | 0 | 0 | 0
59 | 995461 |  | 18% | confirmed | Antiweed treatment | M2 | 3000 |  | Included | 0 | 0 | 0
60 | 995461 |  | 18% | confirmed | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 1000 |  | Included | 0 | 0 | 0
61 | 995461 |  | 18% | confirmed | Stone filling (40 mm size) for transformer/Reactor foundation | M3 | 21 |  | Included | 0 | 0 | 0
62 | 995461 |  | 18% | confirmed | Construction of rail cum road as per drawing including all item such as excavation,compactions, rolling watering, WBM etc. butexcluding concrete reinforcement and structural steel-Section having four rails | M2 | 123 |  | Included | 0 | 0 | 0
63 | 995461 |  | 18% | confirmed | External finishing / painting of fire wall (water proofing cement paint) (DSR 13.44.1) | M2 | 200 |  | Included | 0 | 0 | 0
64 | 995461 |  | 18% | confirmed | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 27 |  | Included | 0 | 0 | 0
65 | 995461 |  | 18% | confirmed | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 300 |  | Included | 0 | 0 | 0
66 | 995461 |  | 18% | confirmed | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 50 |  | Included | 0 | 0 | 0
[5 empty] | Total |  |  |  | 0
[5 empty] | GST Amount |  |  |  |  | 0
Click for Sch-4

## Sch-4 (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  | Schedule - 4
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Lead Partner) : |  |  | To:
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Training Charges for Training to be imparted
NOT APPLICABLE
| TOTAL TRAINING CHARGES |  |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-5

## Sch-5
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  | Schedule - 5
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Sr.General Manager,
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON SUPPLY(Sch-1) |  | 0 |  | Sales Tax | 0 | Sales Tax | 0
2 | TOTAL GST ON SERVICES (Sch-3) |  | 0
| GRAND TOTAL [] |  | 0 |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : | --2024 | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5 Dis (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  | Schedule - 5
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Lead Partner) : |  |  | To:
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | #REF!
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | #REF!
Total GST on Installation Services (Schedule-3) and Training to be imparted in India (Schedule-4)
| GRAND TOTAL [1+2] |  | #REF!
Date : | --2024 | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-6
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  | Schedule - 6
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
(GRAND SUMMARY)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Sr.General Manager,
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, Insurance and other Incidental Services
3 | TOTAL SCHEDULE NO. 3 |  | 0
Total Installtion/Service Charges
4 | TOTAL SCHEDULE NO. 4 |  | 0
Training Charges
4 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties(GST)
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  | 0
Date : | --2024 | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Discount (hidden)
This letter of discount is optional. Bidder may / may not offer any discount.
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services
Power Grid Corporation of India Ltd.,
"Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
Subject : |  | Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3 & Sch-7] In Rs. |  |  |  | #REF! | #REF!
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3 & Sch-7] In Percent (%) |  |  |  | #REF! | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 | 0% | Schedule-1 : (Direct Only) | #REF!
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | #REF!
|  | Schedule-1 : Erection Charges |  | In Rs. |  | #REF! | #REF! | Schedule-3 : Erection Charges | #REF!
|  | Schedule-4 : Training Charges |  | In Rs. |  | 0 | 0% | Schedule-4 : Training Charges | #REF!
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | 0 | 0% | Schedule-6 : Type Test Charges | #REF!
| 1 | Discount on percent basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-1 : Erection Charges |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-4 : Training Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | 0 | 0%
Discount(s) offered at sl. No. 1 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | --2024 | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Sch-6 After Discount (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  | Schedule - 6 After Discount
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay
(GRAND SUMMARY)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | #REF!
Ex-works price of Plant and Equipment
2 | TOTAL SCHEDULE NO. 2 |  | #REF!
Local Transportation, Insurance and other Incidental Services
1 | TOTAL SCHEDULE NO. 1 |  | #REF!
Total Charges for Site Levelling works
4 | TOTAL SCHEDULE NO. 4 |  | #REF!
Training Charges
2 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties(GST)
6 | TOTAL SCHEDULE NO. 7 |  | #REF!
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  | #REF!
Date : | --2024 | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7 (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  |  | Schedule 7
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | [7 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | AS per Percent |  | #REF!
[8 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  | To: |  |  |  |  | As per Percent on Sch-7 |  | #REF!
|  |  | C&M Department |  |  |  |  | Total Discount |  | #REF!
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
|  |  | Singanayakanahalli,Yelahanka |  |  |  |  | Multipackage Discount |  | #REF!
Bangalore -560064
Type test Charges
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  | #REF! |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
NOT APPLICABLE
#REF!
#REF!
#REF!
| TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Dis Alert | #REF!
Date : | --2024 | Printed Name :
Place : |  | Designation :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES ) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Lead Partner) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Sch-7 Dis (hidden)
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | [6 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [6 empty] | AS per Percent |  | #REF!
[7 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  |  | To: |  |  | As per Percent on Sch-7 |  | #REF!
|  |  |  | C&M Department |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SR-II,RHQ
|  |  |  | Singanayakanahalli,Yelahanka |  |  | Multipackage Discount |  | #REF!
Bangalore -560064
Type Tests on Earthwire
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
I | 0
(a) | #REF! | #REF! | #REF! | #REF! | #REF!
(b) | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (I) |  |  |  | #REF!
| TOTAL TEST CHARGES (I) |  |  |  | #REF!
[7 empty] | Discount Sche-7 | #REF! |  | MPD Sche-7 | #REF!
[7 empty] | Dis Alert | #REF!
Signature :
Date : | --2024 | Printed Name :
Place : |  | Designation :
Common Seal :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Lead Partner) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865 |  |  |  |  | Bid Form 2nd Envelope |  | Others |  |  | 1 | st |  | 1 | January
[7 empty] | 0 |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [9 empty] | 3 | rd |  | 3 | March
[10 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [9 empty] | 5 | th |  | 5 | May
Date : | --2024 | [8 empty] | 6 | th | #VALUE! | 6 | June
[10 empty] | 7 | th | #VALUE! | 7 | July
To: | [9 empty] | 8 | th | #VALUE! | 8 | August
Sr.General Manager,
C&M Department | [9 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [9 empty] | 10 | th |  | 10 | October
SR-II,RHQ | [9 empty] | 11 | th |  | 11 | November
Singanayakanahalli,Yelahanka | [9 empty] | 12 | th |  | 12 | December
Bangalore -560064 | [9 empty] | 13 | th
[10 empty] | 14 | th
Name of Contract : |  | Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay | [7 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [9 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. _____________ or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | _____________ | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [8 empty] | 18 | th
2 | Price Schedules | [8 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [8 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment to be supplied. | [6 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [6 empty] | 22 | th
| Schedule 3 |  | Installation Charges. |  |  | Others |  |  |  | 23 | th
| Schedule 4 |  | Training charges for training to be imparted. Not applicable | [6 empty] | 24 | th
| Schedule 5 |  | Taxes and Duties not included in Schedule 1&3 | [6 empty] | 25 | th
| Schedule 6 |  | Grand Summary [Schedule 1to 5] | [6 empty] | 26 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted-Not applicable | [6 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [8 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [8 empty] | 29 | th
2.3 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [8 empty] | 30 | th
2.4 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [8 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | 2
4 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | --2024 |  |  | Printed Name :
Place : |  |  |  | Designation :
Common Seal :
In case of bid from a Joint Venture, name & designation of representative of JV partner is to be provided and Bid Form is also to be signed by him.
Printed Name :
Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Q & C (2) (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | 0
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF! | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX | #REF! |  | 0
| C) VAT | #REF! |  | 0
| D) ENTRY TAX / OCTROI | #REF! |  | 0
E) OTHERS
| F) TOTAL TAXES & DUTIES | #REF! |  | 0
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | 0
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| #REF! |  |  |  | Excise Duty | #REF! | #REF!
| #REF! |  |  |  | CST | #REF! | #REF!
| #REF! |  |  |  | VAT | #REF! | #REF!
| #REF! |  |  |  | Entry Tax/ Octroi | #REF! | #REF!
| Others as |  |  |  | Others
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0
b) | Excise Duty, as applicable on (a) above at the rate : | 10% | Rs. | 0
c) | Amount on which Sales Tax is applicable | 0 |  | 0
d) | CST, as applicable on (a) + ED (b) above at the rate : | 2% | Rs. | 0
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 1% |  | 0
f) | Others [……………………………………………] |  | Rs.
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | 0
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | 0
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay |  | Statement of Quoted / Corrected Prices |  | Page
Spec. No. | Ref. No: SRTS-II/C&M/WC-3939/2024--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/24/06865

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | #REF!
| B) CENTRAL SALES TAX /VAT | #REF! |  | #REF!
| C) ENTRY TAX / OCTROI | #REF! |  | #REF!
| D) OTHERS | #REF! |  | 0
| E) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
a) | Excise Duty |  | Rs. | #REF!
b) | CST /VAT |  | Rs. | #REF!
c) | Entry Tax / Octroi |  | Rs. | #REF!
d) | Others |  | Rs. | #REF!
II) | Bidder has offered following discount(s)
III) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 1% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated : |  |  |  | Details of dicounts
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | #REF! | Gross LS | #REF! | #REF! | #REF! | Gross % | #REF! | #REF! | #REF!
b) | Excise Duty @ 10.3% of (a) above |  | Rs. | #REF! |  |  |  | #REF! |  |  |  | #REF!
c) | CST / VAT @ 2% of Ex-Works of Direct Supplies (a) + ED (b) above |  | Rs. | #REF! | Sch-1 Direct LS | #REF! | #REF! | #REF! | Sch-1 Direct % | #REF! | #REF! | #REF!
d) | Others |  | Rs. |  | Sch-1 BO LS | #REF! | #REF! | #REF! | Sch-1 BO % | #REF! | #REF! | #REF!
e) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF! | Sch-2 LS | #REF! | #REF! | #REF! | Sch-2 % | #REF! | #REF! | #REF!
f) | Entry Tax @ 1% of (e) above |  | Rs. | #REF! | Sch-3 LS | #REF! | #REF! | #REF! | Sch-3 % | #REF! | #REF! | #REF!
[5 empty] | Sch-7 LS | #REF! | #REF! | #REF! | Sch-7 % | #REF! | #REF! | #REF!
Augmentation of Transformation capacity by 1x500 MVA, 400/220kV ICT (3rd) at Hassan SS - Supply, Erection, Testing and Commissioning of 1 Nos of 400kV ICT Bay and 1 Nos. of 220kV ICT Bay |  | Statement of Quoted / Corrected Prices |  | Page | Different Manner | #REF!
[5 empty] | Text for Discount | #REF!
#REF!
#REF!

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred